## BoQ1
Government eProcurement System Created By: Kallol Deb Barman Created Date/Time: 16-Jun-2023 11:58 AM Tender Title: Construction of UG Sump and Fire Static Tank at Vellore Airport Tender ID: 2023_AAI_152599_1
Tender Inviting Authority: Assistant General Manager (Engg-Civil), AAI, SR, Operational Office, Chennai Airport, Chennai-600 027
Name of Work: “Construction of UG Sump and Fire Static Tank at Vellore Airport.”
Contract No: . AAI/SR/Vellore/Engg-Civil/UG Sump/2023-24/, Tender ID : 2023_AAI_152599_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S SRI MARUTHI CONSTRUCTIONS(GSTN-33ADDFS5314H1ZB) |  | RECHI CONSTRUCTION PVT LTD(GSTN-19AAGCR6941N1ZN) |  | BUILTECH ENGINEERING(GSTN-33AAMFB4055A1ZZ) |  | Classicon Projects India Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. a) All kinds of soil | 450.00 | Cum |  | 180.00 | 81000.00 | 200.00 | 90000.00 | 200.00 | 90000.00 | 250.00 | 112500.00 | 81000.00 | M/S SRI MARUTHI CONSTRUCTIONS
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50m. a) All kind of soil. | 140.00 | Cum |  | 220.00 | 30800.00 | 220.00 | 30800.00 | 200.00 | 28000.00 | 280.00 | 39200.00 | 28000.00 | BUILTECH ENGINEERING
3.00 | Construction of Subgrade embankment with Moorum/gravel soil brought out from approved quarry out side the airport premises. The complete operation will include spreading the Moorum with dozer, dressing, levelling, providing camber, grading with motor grader and consolidating with vibratory roller 8-10 tonne capacity in layers not exceeding 20cm in depth to achieve 95% of the field density including making good the undulation etc. as per technical specifications and drawings complete and directions of Engineer-in-Charge. (Cost includes all leads ,taxes, royalty, operations and obtaining field density from the approved land or Govt Engineering college). | 6950.00 | Cum |  | 725.00 | 5038750.00 | 725.00 | 5038750.00 | 780.00 | 5421000.00 | 800.00 | 5560000.00 | 5038750.00 | M/S SRI MARUTHI CONSTRUCTIONS, RECHI CONSTRUCTION PVT LTD
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40mm nominal size derived from natural sources) | 645.00 | Cum |  | 4800.00 | 3096000.00 | 5900.00 | 3805500.00 | 4500.00 | 2902500.00 | 6000.00 | 3870000.00 | 2902500.00 | BUILTECH ENGINEERING
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: a) 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20mm nominal size derived from natural sources) | 10.00 | Cum |  | 6500.00 | 65000.00 | 8000.00 | 80000.00 | 5100.00 | 51000.00 | 7000.00 | 70000.00 | 51000.00 | BUILTECH ENGINEERING
6.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. (a) All works upto plinth level (i) Concrete of M25 grade with minimum cement content of 330 kg /cum | 75.00 | Cum |  | 6500.00 | 487500.00 | 8300.00 | 622500.00 | 6250.00 | 468750.00 | 8500.00 | 637500.00 | 468750.00 | BUILTECH ENGINEERING
7.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. (a) All works above plinth level upto floor V level (i) Concrete of M25 grade with minimum cement content of 330 kg /cum | 60.00 | Cum |  | 6500.00 | 390000.00 | 8400.00 | 504000.00 | 6400.00 | 384000.00 | 9000.00 | 540000.00 | 384000.00 | BUILTECH ENGINEERING
8.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 45.00 | Quintal |  | 300.00 | 13500.00 | 50.00 | 2250.00 | 1100.00 | 49500.00 | 700.00 | 31500.00 | 2250.00 | RECHI CONSTRUCTION PVT LTD
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for (a) Foundations, footings, bases of columns, etc. for mass concrete | 125.00 | Sqm |  | 400.00 | 50000.00 | 330.00 | 41250.00 | 450.00 | 56250.00 | 380.00 | 47500.00 | 41250.00 | RECHI CONSTRUCTION PVT LTD
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for (a)Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 275.00 | Sqm |  | 475.00 | 130625.00 | 450.00 | 123750.00 | 550.00 | 151250.00 | 700.00 | 192500.00 | 123750.00 | RECHI CONSTRUCTION PVT LTD
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for (a)Suspended floors, roofs, landings, balconies and access platform | 130.00 | Sqm |  | 550.00 | 71500.00 | 460.00 | 59800.00 | 550.00 | 71500.00 | 800.00 | 104000.00 | 59800.00 | RECHI CONSTRUCTION PVT LTD
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. (a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 15000.00 | Kg |  | 87.00 | 1305000.00 | 79.00 | 1185000.00 | 92.00 | 1380000.00 | 90.00 | 1350000.00 | 1185000.00 | RECHI CONSTRUCTION PVT LTD
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. (a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 12000.00 | Kg |  | 87.00 | 1044000.00 | 80.00 | 960000.00 | 92.00 | 1104000.00 | 91.00 | 1092000.00 | 960000.00 | RECHI CONSTRUCTION PVT LTD
14.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in foundation and plinth in: (a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 6.00 | Cum |  | 7500.00 | 45000.00 | 6500.00 | 39000.00 | 6500.00 | 39000.00 | 6700.00 | 40200.00 | 39000.00 | RECHI CONSTRUCTION PVT LTD, BUILTECH ENGINEERING
15.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in superstructure above plinth level up to floor V level in all shapes and sizes in : (a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 50.00 | Cum |  | 7800.00 | 390000.00 | 6800.00 | 340000.00 | 6700.00 | 335000.00 | 7500.00 | 375000.00 | 335000.00 | BUILTECH ENGINEERING
16.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : (a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 70.00 | Cum |  | 6800.00 | 476000.00 | 6000.00 | 420000.00 | 4800.00 | 336000.00 | 6000.00 | 420000.00 | 336000.00 | BUILTECH ENGINEERING
17.00 | Random rubble masonry with hard stone in superstructure above plinth level and upto floor five level, including leveling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) at window sills, ceiling level and the like. (a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 20.00 | Cum |  | 7500.00 | 150000.00 | 6500.00 | 130000.00 | 4900.00 | 98000.00 | 6500.00 | 130000.00 | 98000.00 | BUILTECH ENGINEERING
18.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. (a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 1000.00 | Kg |  | 120.00 | 120000.00 | 125.00 | 125000.00 | 110.00 | 110000.00 | 100.00 | 100000.00 | 100000.00 | Classicon Projects India Pvt. Ltd.
19.00 | Providing and laying integral cement based treatment for water proofing on horizontal surface at all depth below ground level for under ground structures as directed by Engineer-in-Charge and consisting of : (i) Ist layer of 22 mm to 25 mm thick approved and specified rough stone slab over a 25 mm thick base of cement mortar 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound conforming to IS:2645 in the recommended proportion over the leveling course (leveling course to be paid separately). Joints sealed and grouted with cement slurry mixed with water proofing compound. (ii) 2nd layer of 25 mm thick cement mortar 1:3 (1 cement: 3 coarse sand) mixed with water proofing compound in recommended proportions. (iii) Finishing top with stone aggregate of 10 mm to 12 mm nominal size spreading @ 8 cudm/sqm thoroughly embedded in the 2nd layer. (a) Using rough kota stone. | 110.00 | Sqm |  | 1300.00 | 143000.00 | 850.00 | 93500.00 | 1380.00 | 151800.00 | 1100.00 | 121000.00 | 93500.00 | RECHI CONSTRUCTION PVT LTD
20.00 | Providing and laying integral cement based treatment for water proofing on the vertical surface by fixing specified stone slab 22 mm to 25 mm thick with cement slurry mixed with water proofing compound conforming to IS:2645 in recommended proportions with a gap of 20 mm (minimum) between stone slabs and the receiving surfaces and filling the gaps with neat cement slurry mixed with water proofing compound and finishing the exterior of stone slab with cement mortar 1:3 (1 cement : 3 coarse sand) 20 mm thick with neat cement punning mixed with water proofing compound in recommended proportion complete at all levels and as directed by Engineer-in-charge : (a) Using rough Kota stone | 195.00 | Sqm |  | 1600.00 | 312000.00 | 875.00 | 170625.00 | 1800.00 | 351000.00 | 1600.00 | 312000.00 | 170625.00 | RECHI CONSTRUCTION PVT LTD
21.00 | Providing and Placing in position suitable PVC water stops conforming to IS:12200 for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete : (a) Serrated with central bulb (225 mm wide, 8-11 mm thick) | 50.00 | Metre |  | 300.00 | 15000.00 | 600.00 | 30000.00 | 295.00 | 14750.00 | 300.00 | 15000.00 | 14750.00 | BUILTECH ENGINEERING
22.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 55.00 | Sqm |  | 1000.00 | 55000.00 | 750.00 | 41250.00 | 1250.00 | 68750.00 | 1200.00 | 66000.00 | 41250.00 | RECHI CONSTRUCTION PVT LTD
23.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 130.00 | Sqm |  | 1300.00 | 169000.00 | 750.00 | 97500.00 | 1275.00 | 165750.00 | 1200.00 | 156000.00 | 97500.00 | RECHI CONSTRUCTION PVT LTD
24.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : (a) 25 mm thick | 30.00 | Sqm |  | 1650.00 | 49500.00 | 875.00 | 26250.00 | 1250.00 | 37500.00 | 1800.00 | 54000.00 | 26250.00 | RECHI CONSTRUCTION PVT LTD
25.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. (a) 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 5845.00 | Sqm |  | 875.00 | 5114375.00 | 800.00 | 4676000.00 | 1020.00 | 5961900.00 | 900.00 | 5260500.00 | 4676000.00 | RECHI CONSTRUCTION PVT LTD
26.00 | 12 mm cement plaster of mix : (a) 1:6 (1 cement: 6 fine sand) | 200.00 | Sqm |  | 300.00 | 60000.00 | 350.00 | 70000.00 | 350.00 | 70000.00 | 300.00 | 60000.00 | 60000.00 | Classicon Projects India Pvt. Ltd., M/S SRI MARUTHI CONSTRUCTIONS
27.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : (a) 1:6 (1 cement: 6 fine sand) | 150.00 | Sqm |  | 350.00 | 52500.00 | 380.00 | 57000.00 | 400.00 | 60000.00 | 350.00 | 52500.00 | 52500.00 | Classicon Projects India Pvt. Ltd., M/S SRI MARUTHI CONSTRUCTIONS
28.00 | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete. | 635.00 | Sqm |  | 700.00 | 444500.00 | 750.00 | 476250.00 | 830.00 | 527050.00 | 760.00 | 482600.00 | 444500.00 | M/S SRI MARUTHI CONSTRUCTIONS
29.00 | Pointing on stone work with cement mortar 1:3 (1 cement : 3 fine sand) : (a) Flush/ Ruled pointing | 635.00 | Sqm |  | 300.00 | 190500.00 | 100.00 | 63500.00 | 330.00 | 209550.00 | 300.00 | 190500.00 | 63500.00 | RECHI CONSTRUCTION PVT LTD
30.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : (a) Water thinnable cement primer | 125.00 | Sqm |  | 50.00 | 6250.00 | 80.00 | 10000.00 | 25.00 | 3125.00 | 56.00 | 7000.00 | 3125.00 | BUILTECH ENGINEERING
31.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : (a) Two or more coats on new work | 125.00 | Sqm |  | 130.00 | 16250.00 | 85.00 | 10625.00 | 45.00 | 5625.00 | 130.00 | 16250.00 | 5625.00 | BUILTECH ENGINEERING
32.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : (a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 195.00 | Sqm |  | 140.00 | 27300.00 | 90.00 | 17550.00 | 20.00 | 3900.00 | 140.00 | 27300.00 | 3900.00 | BUILTECH ENGINEERING
33.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 100.00 | Sqm |  | 160.00 | 16000.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 120.00 | 12000.00 | 10000.00 | RECHI CONSTRUCTION PVT LTD
34.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. (a) 65 mm nominal dia Pipes | 550.00 | Metre |  | 1400.00 | 770000.00 | 250.00 | 137500.00 | 1950.00 | 1072500.00 | 1350.00 | 742500.00 | 137500.00 | RECHI CONSTRUCTION PVT LTD
35.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, exposed on wall i/c cutting and making good the walls etc. (a) 100 mm dia nominal bore | 150.00 | Metre |  | 1500.00 | 225000.00 | 450.00 | 67500.00 | 1500.00 | 225000.00 | 1500.00 | 225000.00 | 67500.00 | RECHI CONSTRUCTION PVT LTD
36.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : (a) For fixed portion (i) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 200.00 | Kg |  | 525.00 | 105000.00 | 580.00 | 116000.00 | 500.00 | 100000.00 | 450.00 | 90000.00 | 90000.00 | Classicon Projects India Pvt. Ltd.
37.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : (a) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) (i) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 50.00 | Kg |  | 525.00 | 26250.00 | 590.00 | 29500.00 | 600.00 | 30000.00 | 525.00 | 26250.00 | 26250.00 | Classicon Projects India Pvt. Ltd., M/S SRI MARUTHI CONSTRUCTIONS
38.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. (a) Pre-laminated particle board with decorative on one side and balancing lamination on other side | 5.00 | Sqm |  | 900.00 | 4500.00 | 500.00 | 2500.00 | 1150.00 | 5750.00 | 1000.00 | 5000.00 | 2500.00 | RECHI CONSTRUCTION PVT LTD
39.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): (a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 10.00 | Sqm |  | 1350.00 | 13500.00 | 850.00 | 8500.00 | 9200.00 | 92000.00 | 1400.00 | 14000.00 | 8500.00 | RECHI CONSTRUCTION PVT LTD
40.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 3.00 | Each |  | 450.00 | 1350.00 | 700.00 | 2100.00 | 560.00 | 1680.00 | 1000.00 | 3000.00 | 1350.00 | M/S SRI MARUTHI CONSTRUCTIONS
41.00 | Providing Structural design for UG tank/Static tank from the Government institutions including providing all structural details and drawings etc. necessary for the execution of work. | 1.00 | Job |  | 20000.00 | 20000.00 | 100000.00 | 100000.00 | 75000.00 | 75000.00 | 250000.00 | 250000.00 | 20000.00 | M/S SRI MARUTHI CONSTRUCTIONS
42.00 | SITC of horizontal openwell submersible pump of 200 LPM discharge (minimum) at 64 mtr head, C.I impellore , SS shaft etc with 10HP/7.5 KW motor suitable to 50 mm dia delivery line for operation on 415 V, 3 Phase power supply etc, min. 6 mtr suitable submersible cable including providing outdoor starter panel (IP66) with digital volt & ammeter, contacor,push button,selector switch, suitable foundation, Overload, High-Low voltage & Dry run protection and making connections etc complete as required. (Model:KOS 1065 of kirloskar make or equivalent model as per list of AAI Approved makes) | 2.00 | SET |  | 50000.00 | 100000.00 | 110000.00 | 220000.00 | 46000.00 | 92000.00 | 70000.00 | 140000.00 | 92000.00 | BUILTECH ENGINEERING
43.00 | Supplying and laying of following size HDPE pipe ISI marked along with all accessories like socket, bend,couplers,ect.Conforming to IS 14930, part II complete with fitting and cutting, jointing etc.direct inground (75 CM below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering erc. complete as required. (63 mm dia (OD 63mm & ID 51 mm nomional) | 50.00 | Mtrs |  | 500.00 | 25000.00 | 460.00 | 23000.00 | 1970.00 | 98500.00 | 400.00 | 20000.00 | 20000.00 | Classicon Projects India Pvt. Ltd.
44.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/HDPE/ METAL pipe as required. (A) Upto 35 Sq.mm | 50.00 | Mtrs |  | 300.00 | 15000.00 | 250.00 | 12500.00 | 450.00 | 22500.00 | 50.00 | 2500.00 | 2500.00 | Classicon Projects India Pvt. Ltd.
45.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (A) 3.5X35 Sq.mm (32mm) | 2.00 | Each |  | 1000.00 | 2000.00 | 390.00 | 780.00 | 315.00 | 630.00 | 425.00 | 850.00 | 630.00 | BUILTECH ENGINEERING
46.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 50.00 | Mtrs |  | 200.00 | 10000.00 | 50.00 | 2500.00 | 37.00 | 1850.00 | 50.00 | 2500.00 | 1850.00 | BUILTECH ENGINEERING
47.00 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronzegunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets confirming to IS 13095 of following size as requiresd. (A) 50 mm dia | 4.00 | SET |  | 500.00 | 2000.00 | 3025.00 | 12100.00 | 2300.00 | 9200.00 | 1600.00 | 6400.00 | 2000.00 | M/S SRI MARUTHI CONSTRUCTIONS
48.00 | Providing, installation, testing and commissioning of non-return valve of following size confirming to IS: 5312 complete with rubber gasket, GI bolts, nuts, washers etc. as required. (A) 50 mm dia | 2.00 | SET |  | 1000.00 | 2000.00 | 2550.00 | 5100.00 | 3800.00 | 7600.00 | 1500.00 | 3000.00 | 2000.00 | M/S SRI MARUTHI CONSTRUCTIONS
| Total in Figures |  |  |  |  | 20977450.00 |  | 20187230.00 |  | 22555660.00 |  | 23075550.00
Lowest Amount Quoted BY: RECHI CONSTRUCTION PVT LTD(20187230.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of UG Sump and Fire Static Tank at Vellore Airport Tender ID: 2023_AAI_152599_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RECHI CONSTRUCTION PVT LTD | 20187230.00 | L1
| 2 | M/S SRI MARUTHI CONSTRUCTIONS | 20977450.00 | L2
| 3 | BUILTECH ENGINEERING | 22555660.00 | L3
| 4 | Classicon Projects India Pvt. Ltd. | 23075550.00 | L4