## BoQ1
Government eProcurement System Created By: Dadan Singh Created Date/Time: 20-Jun-2023 05:14 PM Tender Title: Periodical Maintenance, Repairs and Operation of Electrical Installations of NITB, 140 KLD Capacity STP and Addressable Fire alarm and detection system of NITB and NAV-AIDS Building at R.B. Airport, Bhopal for the year 2023-2025. Tender ID: 2023_AAI_152708_1
Tender Inviting Authority: AGM(E-E), AAI, R.B. Airport, Bhopal
Name of Work: Periodical Maintenance, Repairs & Operation of Electrical Installations of NITB, 140 KLD Capacity STP & Addressable Fire alarm and detection system of NITB and NAV-AIDS Building at R.B. Airport, Bhopal for the year 2023-2025.
Contract No: AAI/BPL/ENGG(E)/NIT-04/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Rajpati Construction(GSTN-23AAPFR1193J1ZX) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | N L Neema(GSTN-23AAQPN1495C1ZP) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Relyaxis Enterprises(GSTN-23BVPPB7346R1ZX) |  | RD INFRATECH ENGINEERS PRIVATE LIMITED(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | SOMBANSI ENVIRO ENGG PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical maintenance, repair & operation of electrical & mechanical installations at various locations as mentioned in the special conditions of contract of New Terminal Building, Fire alarm system and 140 KLD Sewage Treatment by deploying adequate manpower in shifts as mentioned in the special conditions of contract complete as required. (on all working days inclusive of Sundays & Holidays) | 24.00 | Month |  | 826997.00 | 19847928.00 | 895000.00 | 21480000.00 | 875000.00 | 21000000.00 | 905751.00 | 21738024.00 | 915000.00 | 21960000.00 | 889786.00 | 21354864.00 | 913723.00 | 21929352.00 | 817000.00 | 19608000.00 | 887872.00 | 21308928.00 | 954408.00 | 22905792.00 | 19608000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
2.00 | Rewinding and repairing of single / three phase submersible motor - pump set of capacity below 5.0 HP, to and from transportation to workshop including testing complete as required (Agency shall be responsible to rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer)
2.01 | First Year | 4.00 | Job |  | 2890.00 | 11560.00 | 5000.00 | 20000.00 | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 3000.00 | 12000.00 | 3000.00 | 12000.00 | 5000.00 | 20000.00 | 500.00 | 2000.00 | 7500.00 | 30000.00 | 3500.00 | 14000.00 | 2000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
2.02 | Second Year | 4.00 | Job |  | 2390.00 | 9560.00 | 5000.00 | 20000.00 | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 3000.00 | 12000.00 | 3500.00 | 14000.00 | 7000.00 | 28000.00 | 500.00 | 2000.00 | 7500.00 | 30000.00 | 3900.00 | 15600.00 | 2000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
3.00 | Rewinding and repairing of three phase submersible motor - pump set of capacity 7.5/10 HP, to and from transportation to workshop including testing complete as required (Agency shall be responsible to rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer)
3.01 | First Year | 4.00 | Job |  | 5390.00 | 21560.00 | 10000.00 | 40000.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 4000.00 | 16000.00 | 4000.00 | 16000.00 | 6000.00 | 24000.00 | 2000.00 | 8000.00 | 6000.00 | 24000.00 | 4500.00 | 18000.00 | 8000.00 | M/s BHARAT ELECTRIC, NAGPUR, RD INFRATECH ENGINEERS PRIVATE LIMITED
3.02 | Second Year | 4.00 | Job |  | 4890.00 | 19560.00 | 10000.00 | 40000.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 4000.00 | 16000.00 | 4200.00 | 16800.00 | 7500.00 | 30000.00 | 2000.00 | 8000.00 | 6000.00 | 24000.00 | 5000.00 | 20000.00 | 8000.00 | M/s BHARAT ELECTRIC, NAGPUR, RD INFRATECH ENGINEERS PRIVATE LIMITED
4.00 | Rewinding and repairing of three phase submersible motor - pump set of capacity above 10 HP, to and from transportation to workshop including testing complete as required (Agency shall be responsible to rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer)
4.01 | First Year | 4.00 | Job |  | 6390.00 | 25560.00 | 12000.00 | 48000.00 | 4500.00 | 18000.00 | 3500.00 | 14000.00 | 5500.00 | 22000.00 | 4500.00 | 18000.00 | 6500.00 | 26000.00 | 2000.00 | 8000.00 | 10000.00 | 40000.00 | 7500.00 | 30000.00 | 8000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
4.02 | Second Year | 4.00 | Job |  | 5890.00 | 23560.00 | 12000.00 | 48000.00 | 4500.00 | 18000.00 | 3500.00 | 14000.00 | 5500.00 | 22000.00 | 5000.00 | 20000.00 | 8000.00 | 32000.00 | 2000.00 | 8000.00 | 10000.00 | 40000.00 | 8000.00 | 32000.00 | 8000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
5.00 | Lifting & Lowering of upto 10 HP submersible pump motor set along with detaching of column pipe by opening nuts & bolts and taking out entire pump system and lowering of entire pump system in the reverse order of the above process i/c chain block and supporting pipes transportation, testing and commissioning etc. as required.
5.01 | First Year | 400.00 | Meter |  | 50.00 | 20000.00 | 150.00 | 60000.00 | 10.00 | 4000.00 | 6.00 | 2400.00 | 30.00 | 12000.00 | 40.00 | 16000.00 | 250.00 | 100000.00 | 30.00 | 12000.00 | 55.00 | 22000.00 | 50.00 | 20000.00 | 2400.00 | N L Neema
5.02 | Second Year | 400.00 | Meter |  | 50.00 | 20000.00 | 150.00 | 60000.00 | 10.00 | 4000.00 | 6.00 | 2400.00 | 30.00 | 12000.00 | 45.00 | 18000.00 | 300.00 | 120000.00 | 30.00 | 12000.00 | 55.00 | 22000.00 | 50.00 | 20000.00 | 2400.00 | N L Neema
6.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl. No. Bollard light pole of length not exceeding 3 Meter | 100.00 | Each |  | 95.00 | 9500.00 | 300.00 | 30000.00 | 50.00 | 5000.00 | 200.00 | 20000.00 | 160.00 | 16000.00 | 180.00 | 18000.00 | 900.00 | 90000.00 | 50.00 | 5000.00 | 145.00 | 14500.00 | 900.00 | 90000.00 | 5000.00 | M/s BHARAT ELECTRIC, NAGPUR, RD INFRATECH ENGINEERS PRIVATE LIMITED
7.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl. No. Street light poles of length not exceeding 11 Meter | 100.00 | Each |  | 210.00 | 21000.00 | 800.00 | 80000.00 | 100.00 | 10000.00 | 500.00 | 50000.00 | 400.00 | 40000.00 | 250.00 | 25000.00 | 2500.00 | 250000.00 | 50.00 | 5000.00 | 390.00 | 39000.00 | 1200.00 | 120000.00 | 5000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
8.00 | Making & fixing of Pole cap for 9 meter street light poles / Bollard Street light poles with locking arrangement & suitable thickness matching with poles complete etc. as required | 200.00 | Each |  | 950.00 | 190000.00 | 500.00 | 100000.00 | 100.00 | 20000.00 | 100.00 | 20000.00 | 300.00 | 60000.00 | 375.00 | 75000.00 | 250.00 | 50000.00 | 200.00 | 40000.00 | 250.00 | 50000.00 | 1000.00 | 200000.00 | 20000.00 | M/s BHARAT ELECTRIC, NAGPUR, N L Neema
9.00 | Testing of treated water sample of sewage treatment plant from government approved laboratory. Collect water sample from outlet of sewage treatment plant, test water sample from government approved laboratory and submit the test report of water sample to the engineer in-charge at the end of each month. | 24.00 | Job |  | 3500.00 | 84000.00 | 3000.00 | 72000.00 | 2000.00 | 48000.00 | 500.00 | 12000.00 | 3000.00 | 72000.00 | 1200.00 | 28800.00 | 7000.00 | 168000.00 | 2000.00 | 48000.00 | 1250.00 | 30000.00 | 3000.00 | 72000.00 | 12000.00 | N L Neema
10.00 | Supply of consumables as mentioned below on monthly basis for maintaining desired quality of treated Water from STP as & when required (a)Alum-35 Kg (b) DAP-40 Kg (c) URIA-40 Kg (d) Chlorine-40 Ltr (e) Jaggery-30 Kg | 24.00 | Month |  | 7500.00 | 180000.00 | 10000.00 | 240000.00 | 4000.00 | 96000.00 | 1500.00 | 36000.00 | 15000.00 | 360000.00 | 7500.00 | 180000.00 | 20000.00 | 480000.00 | 3000.00 | 72000.00 | 6380.00 | 153120.00 | 15000.00 | 360000.00 | 36000.00 | N L Neema
11.00 | Quarterly visit by Service Engineer of OEM/ Authorised dealer of OEM for checking the complete fire alarm system installed at New Terminal Building and other locations as mentioned in the Special Conditions of Contract including submission of service reports to the Engineer-in-charge. | 8.00 | Job |  | 5500.00 | 44000.00 | 10000.00 | 80000.00 | 5000.00 | 40000.00 | 1000.00 | 8000.00 | 12000.00 | 96000.00 | 3000.00 | 24000.00 | 25000.00 | 200000.00 | 500.00 | 4000.00 | 25000.00 | 200000.00 | 3500.00 | 28000.00 | 4000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.00 | Execution of works as per CPWD DSR (E&M) 2022, DAR (E&M) 2022 & Latest CPWD Specifications as & when required. CPWD DSR (E&M) - Chapter 1 to 10, 14 & 17 The rate shall be quoted for this item as per examples given below- • Please refer clause 43 of GTT page No. GTT-10 before quoting rates for this item. • If bidder wants to quote the rates at par with rates of DSR-2022 (E & M), then bidder has to quote 1.00 in the rate column. • If bidder wants to quote the rates 10% above the rates of DSR- 2022 (E & M), then bidder has to quote 1.10 in the rate column. • If bidder wants to quote the rates 10% below the rates of DSR- 2022 (E & M), then bidder has to quote 0.90 in the rate column. | 300000.00 | Percentage |  | .69 | 207000.00 | 1.00 | 300000.00 | .55 | 165000.00 | .90 | 270000.00 | .85 | 255000.00 | .60 | 180000.00 | 1.10 | 330000.00 | 1.20 | 360000.00 | .80 | 240000.00 | .85 | 255000.00 | 165000.00 | M/s BHARAT ELECTRIC, NAGPUR
| Total in Figures |  |  |  |  | 20734788.00 |  | 22718000.00 |  | 21452000.00 |  | 22222824.00 |  | 22983000.00 |  | 22016464.00 |  | 23877352.00 |  | 20202000.00 |  | 22267548.00 |  | 24200392.00
Lowest Amount Quoted BY: RD INFRATECH ENGINEERS PRIVATE LIMITED(20202000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Periodical Maintenance, Repairs and Operation of Electrical Installations of NITB, 140 KLD Capacity STP and Addressable Fire alarm and detection system of NITB and NAV-AIDS Building at R.B. Airport, Bhopal for the year 2023-2025. Tender ID: 2023_AAI_152708_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RD INFRATECH ENGINEERS PRIVATE LIMITED | 20202000.00 | L1
| 2 | Rajpati Construction | 20734788.00 | L2
| 3 | M/s BHARAT ELECTRIC, NAGPUR | 21452000.00 | L3
| 4 | Manish Electricals | 22016464.00 | L4
| 5 | N L Neema | 22222824.00 | L5
| 6 | ABHISHEK INTEGRATIONS LIMITED | 22267548.00 | L6
| 7 | CENTRE TAP ENGINEERING | 22718000.00 | L7
| 8 | Techno Electricals | 22983000.00 | L8
| 9 | Relyaxis Enterprises | 23877352.00 | L9
| 10 | SOMBANSI ENVIRO ENGG PVT LTD | 24200392.00 | L10