## BoQ1
Government eProcurement System Created By: Joshua Kindo Created Date/Time: 14-Jun-2023 04:40 PM Tender Title: ARMO of EandM Installations at BM Airport Ranchi. SH Providing Maintenance Services for EandM Installations of NITB, Sub-station, AAI Residential Colony, Old TB, CISF barrack, MT pool andcargo division for the year 2023-25. Tender ID: 2023_AAI_153007_1
Tender Inviting Authority: JGM (Engg-Elect), AAI, B.M.Airport, Ranchi.
Name of Work: ARMO of EandM Installations at BM Airport Ranchi. SH Providing Maintenance Services for EandM Installations of NITB, Sub-station, AAI Residential Colony, Old TB, CISF barrack, MT pool and cargo division for the year 2023-25.
Contract No: 2023_AAI_153007_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S AMAR ENTERPRISES(GSTN-20AAMFA2722R1ZE) |  | M/s CGPL ELECTROMECH PVT LTD(GSTN-07AAGCC8228F1ZO) |  | M/S CHAUDHARY CONSTRUCTION(GSTN-20AAPFC0455J1ZN) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head - I : Operation and Maintenance Operation and Periodical Maintenance of 33 KV/433V sub station, 5x750 KVA DG sets, Internal and External Electrical Installations of Integrated Terminal Building, New Sub Station, AAI Residential Colony, Amenities in Car Parking & near ITB, Car Parking & ITB Road St. Lighting, Internal and External Electrical Installations of old terminal building , MT pool , CISF barrack ,cargo division, Approach Road & old and new Car Parking Lights etc. by deploying adequate manpower as per the conditions of contract involving operation, repairs & maintenance / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions and technical specifications of contract on all day including Sundays & Holidays.
1.01 | I st year | 12.00 | Month | 991902.00 | 839000.00 | 10068000.00 | 831750.00 | 9981000.00 | 902500.00 | 10830000.00 | 919222.00 | 11030664.00 | 9981000.00 | M/s CGPL ELECTROMECH PVT LTD
1.02 | II nd year | 12.00 | Month | 991902.00 | 839000.00 | 10068000.00 | 835550.00 | 10026600.00 | 902500.00 | 10830000.00 | 919222.00 | 11030664.00 | 10026600.00 | M/s CGPL ELECTROMECH PVT LTD
2.00 | Sub Head - I : Operation and Maintenance Coordination for renewal of CEA Licence at New terminal Building and runway power house by providing assistance in submission of drawings, reports, documents etc. including getting site inspection by CEA authorities to obtain approval of licence and submission to AAI. Statutory govt. fees shall be paid by AAI derectly to CEA. Any associated works if necessary as per CEA observation during inspection shall be carried out by AAI through the AMC as required. | 1.00 | Each | 50000.00 | 30000.00 | 30000.00 | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 50000.00 | 50000.00 | 20000.00 | M/S CHAUDHARY CONSTRUCTION
3.00 | Sub Head - II : Repair and Painting Works Transportation of diesel from AAI authorised petrol pump to power house( to and fro 08 KM) in 200 Ltr. barrels/ drums including loading/ unloading (for 600- 800 Ltr.) per trip as and when required. | 200.00 | Trip | 750.00 | 290.00 | 58000.00 | 450.00 | 90000.00 | 300.00 | 60000.00 | 1000.00 | 200000.00 | 58000.00 | M/S AMAR ENTERPRISES
4.00 | Sub Head - II : Repair and Painting Works Annual maintenance contract of Rockwell automation make (model : Allen Bradley) Micrologix 1400 PLC for automatic operation of 5 nos. of D.G. sets (AMF panel with synchronization).including control circuit from DG Sets to AMF panels, AMF panels, and other LT panels in Sub-Station.
4.01 | I st year | 1.00 | Job | 50000.00 | 35000.00 | 35000.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 65000.00 | 65000.00 | 15000.00 | M/s CGPL ELECTROMECH PVT LTD
4.02 | II nd year | 1.00 | Job | 50000.00 | 35000.00 | 35000.00 | 18000.00 | 18000.00 | 20000.00 | 20000.00 | 65000.00 | 65000.00 | 18000.00 | M/s CGPL ELECTROMECH PVT LTD
5.00 | Sub Head - II : Repair and Painting Works AMC of hydraulic crash rated bollards and tyre killer
5.01 | I st year | 1.00 | Job | 75000.00 | 50000.00 | 50000.00 | 8500.00 | 8500.00 | 15000.00 | 15000.00 | 50000.00 | 50000.00 | 8500.00 | M/s CGPL ELECTROMECH PVT LTD
5.02 | II nd year | 1.00 | Job | 80000.00 | 50000.00 | 50000.00 | 9000.00 | 9000.00 | 15000.00 | 15000.00 | 50000.00 | 50000.00 | 9000.00 | M/s CGPL ELECTROMECH PVT LTD
6.00 | Sub Head - II : Repair and Painting Works AMC of 250 KWp terrace mounted Solar panels along with inverter and other accessories as complete(Faulty spares will be provided by AAI).
6.01 | I st year | 1.00 | Job | 60000.00 | 50000.00 | 50000.00 | 2500.00 | 2500.00 | 12000.00 | 12000.00 | 40000.00 | 40000.00 | 2500.00 | M/s CGPL ELECTROMECH PVT LTD
6.02 | II nd year | 1.00 | Job | 65000.00 | 50000.00 | 50000.00 | 3000.00 | 3000.00 | 12000.00 | 12000.00 | 40000.00 | 40000.00 | 3000.00 | M/s CGPL ELECTROMECH PVT LTD
7.00 | Sub Head - II : Repair and Painting Works Decorating City side of Airport with minimum 50 nos PAR Lights , 300 nos Led Rice lights , 20 nos flood lights giving tri colour effects or as per theme dicided by E-I-C during national holidays or festivals.
7.01 | I st year | 7.00 | Days | 35000.00 | 20000.00 | 140000.00 | 9500.00 | 66500.00 | 12000.00 | 84000.00 | 30000.00 | 210000.00 | 66500.00 | M/s CGPL ELECTROMECH PVT LTD
7.02 | II nd year | 7.00 | Days | 35000.00 | 20000.00 | 140000.00 | 10500.00 | 73500.00 | 12000.00 | 84000.00 | 30000.00 | 210000.00 | 73500.00 | M/s CGPL ELECTROMECH PVT LTD
8.00 | Sub Head - II : Repair and Painting Works Servicing, maintenance and testing of L & T make Air Circuit Breaker - 1250/1000/800/630A FP, EDO complete as required.
8.01 | I st year | 24.00 | Each | 10000.00 | 4500.00 | 108000.00 | 3500.00 | 84000.00 | 6000.00 | 144000.00 | 3800.00 | 91200.00 | 84000.00 | M/s CGPL ELECTROMECH PVT LTD
8.02 | II nd year | 24.00 | Each | 10000.00 | 4500.00 | 108000.00 | 3800.00 | 91200.00 | 6000.00 | 144000.00 | 3800.00 | 91200.00 | 91200.00 | M/s CGPL ELECTROMECH PVT LTD, ABHISHEK INTEGRATIONS LIMITED
9.00 | Sub Head - II : Repair and Painting Works Servicing, maintenance and testing of L & T make Air Circuit Breaker - 2500 A, FP, EDO complete as required.
9.01 | I st year | 7.00 | Each | 12500.00 | 4000.00 | 28000.00 | 3500.00 | 24500.00 | 6000.00 | 42000.00 | 4200.00 | 29400.00 | 24500.00 | M/s CGPL ELECTROMECH PVT LTD
9.02 | II nd year | 7.00 | Each | 12500.00 | 5000.00 | 35000.00 | 3800.00 | 26600.00 | 6000.00 | 42000.00 | 4200.00 | 29400.00 | 26600.00 | M/s CGPL ELECTROMECH PVT LTD
10.00 | Sub Head - II : Repair and Painting Works Servicing, maintenance and calibration of earth fault and over load relay with secondary injection kit etc. of 05 nos. HT panel complete as required.
10.01 | I st year | 7.00 | Each | 15000.00 | 6000.00 | 42000.00 | 7000.00 | 49000.00 | 3000.00 | 21000.00 | 7500.00 | 52500.00 | 21000.00 | M/S CHAUDHARY CONSTRUCTION
10.02 | II nd year | 7.00 | Each | 15000.00 | 6000.00 | 42000.00 | 7500.00 | 52500.00 | 3000.00 | 21000.00 | 7500.00 | 52500.00 | 21000.00 | M/S CHAUDHARY CONSTRUCTION
11.00 | Sub Head - II : Repair and Painting Works Servicing, maintenance and testing of 33 kV HT - Vaccum Circuit Breaker of Siemens make etc. complete as required.
11.01 | I st year | 7.00 | Each | 20000.00 | 9000.00 | 63000.00 | 11500.00 | 80500.00 | 7000.00 | 49000.00 | 8000.00 | 56000.00 | 49000.00 | M/S CHAUDHARY CONSTRUCTION
11.02 | II nd year | 7.00 | Each | 22000.00 | 9000.00 | 63000.00 | 12000.00 | 84000.00 | 7000.00 | 49000.00 | 8000.00 | 56000.00 | 49000.00 | M/S CHAUDHARY CONSTRUCTION
12.00 | Sub Head - II : Repair and Painting Works Testing of BDV value of transformer oil at site as per direction of EIC | 10.00 | Each | 5000.00 | 2000.00 | 20000.00 | 2500.00 | 25000.00 | 1000.00 | 10000.00 | 3000.00 | 30000.00 | 10000.00 | M/S CHAUDHARY CONSTRUCTION
13.00 | Sub Head - II : Repair and Painting Works Dehydration and filtration of transformer oil at site including testing for BDV before and after dehydration and filtration and submission of test reports etc. as required for power Transformers
13.01 | I st year | 4000.00 | Litres | 25.00 | 12.00 | 48000.00 | 9.00 | 36000.00 | 13.00 | 52000.00 | 14.00 | 56000.00 | 36000.00 | M/s CGPL ELECTROMECH PVT LTD
13.02 | II nd year | 4000.00 | Litres | 25.00 | 12.00 | 48000.00 | 9.50 | 38000.00 | 13.00 | 52000.00 | 14.00 | 56000.00 | 38000.00 | M/s CGPL ELECTROMECH PVT LTD
14.00 | Sub Head - II : Repair and Painting Works Rewinding the following with copper winding wires of required size and heat varnishing etc. as required including less for dismantled copper wire etc. as and when required.
14.01 | Ceiling fans upto 1400 mm | 20.00 | Each | 650.00 | 500.00 | 10000.00 | 450.00 | 9000.00 | 200.00 | 4000.00 | 450.00 | 9000.00 | 4000.00 | M/S CHAUDHARY CONSTRUCTION
14.02 | Exhaust fans upto 450 mm | 10.00 | Each | 800.00 | 700.00 | 7000.00 | 500.00 | 5000.00 | 200.00 | 2000.00 | 550.00 | 5500.00 | 2000.00 | M/S CHAUDHARY CONSTRUCTION
14.03 | Wall Fans | 10.00 | Each | 800.00 | 800.00 | 8000.00 | 550.00 | 5500.00 | 200.00 | 2000.00 | 550.00 | 5500.00 | 2000.00 | M/S CHAUDHARY CONSTRUCTION
14.04 | Replacement of ball bearing for above fans. | 20.00 | Each | 250.00 | 120.00 | 2400.00 | 350.00 | 7000.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 2000.00 | M/S CHAUDHARY CONSTRUCTION, ABHISHEK INTEGRATIONS LIMITED
15.00 | Sub Head - II : Repair and Painting Works Shortening height of Perimeter Light Poles at various location complete in all respect and as per instruction of EIC | 75.00 | Each | 3000.00 | 500.00 | 37500.00 | 350.00 | 26250.00 | 550.00 | 41250.00 | 1500.00 | 112500.00 | 26250.00 | M/s CGPL ELECTROMECH PVT LTD
16.00 | Sub Head - II : Repair and Painting Works Providing and fixing vinyl sticker on the existing information signage board inside NITB of required design and letters. The letters in Hindi and English will be electro cut computerised automated to be transferred on existing polycarbonate sheet after removing the existing vinyl sticker complete as directed by engineer-in -charge as and when required. | 10.00 | Sqm | 250.00 | 140.00 | 1400.00 | 3500.00 | 35000.00 | 100.00 | 1000.00 | 220.00 | 2200.00 | 1000.00 | M/S CHAUDHARY CONSTRUCTION
17.00 | Sub Head - II : Repair and Painting Works Painting of Fire fighting equipments i.e. Pumps, Hose cabinets, Pipes etc. with two coats of red synthetic enemel paint as approved by engineer-in-charge after scrubbing and cleaning the old paint from the existing surface. | 80.00 | Sqm | 250.00 | 150.00 | 12000.00 | 550.00 | 44000.00 | 150.00 | 12000.00 | 80.00 | 6400.00 | 6400.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Sub Head - II : Repair and Painting Works Painting of Street light Poles of height more than 7 m and upto 9 m with one coat of primer and two coats of approved alumminium paint after scrubbing and cleaning the old paint complete from the existng surface. | 120.00 | Each | 1600.00 | 300.00 | 36000.00 | 600.00 | 72000.00 | 575.00 | 69000.00 | 750.00 | 90000.00 | 36000.00 | M/S AMAR ENTERPRISES
19.00 | Sub Head - II : Repair and Painting Works Painting of checkered plate/ Earth pit cover with two coat of black enamel paint after scrubbing and cleaning the old paint complete from the existng surface. | 50.00 | Sqm | 250.00 | 150.00 | 7500.00 | 350.00 | 17500.00 | 100.00 | 5000.00 | 80.00 | 4000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Sub Head - II : Repair and Painting Works Lettering of maximum 2" size (Alpha/ Numerical) on the existing surface of feeder pillar / panel/ earth pits with synthetic enamel paint of approved colour as approved by engineer-in-charge etc. as required. | 1000.00 | Each | 60.00 | 10.00 | 10000.00 | 75.00 | 75000.00 | 20.00 | 20000.00 | 20.00 | 20000.00 | 10000.00 | M/S AMAR ENTERPRISES
21.00 | Sub Head - II : Repair and Painting Works Lifting and lowering of Underground Submersible Pump Motor set upto 5 HP installed at various locations at airport colony. | 4.00 | Job | 15000.00 | 12000.00 | 48000.00 | 6500.00 | 26000.00 | 7500.00 | 30000.00 | 8250.00 | 33000.00 | 26000.00 | M/s CGPL ELECTROMECH PVT LTD
22.00 | Sub Head - III : Supply of Material (As and when required ) Supply of Spring charging motor with gearbox suitable for L&T make U-Power FP ACB of rating 800A/1000A/1250A/2500A. | 4.00 | Each | 7000.00 | 6500.00 | 26000.00 | 12500.00 | 50000.00 | 4000.00 | 16000.00 | 26939.00 | 107756.00 | 16000.00 | M/S CHAUDHARY CONSTRUCTION
23.00 | Sub Head - III : Supply of Material (As and when required ) Supply of box type heavy duty capacitor of following rating suitable to work on 3 phase, 440 V, 50 Hz AC supply.
23.01 | 5 kVAR | 5.00 | Each | 5000.00 | 2500.00 | 12500.00 | 600.00 | 3000.00 | 1000.00 | 5000.00 | 1318.00 | 6590.00 | 3000.00 | M/s CGPL ELECTROMECH PVT LTD
23.02 | 10 kVAR | 5.00 | Each | 8000.00 | 3000.00 | 15000.00 | 1400.00 | 7000.00 | 1500.00 | 7500.00 | 2635.00 | 13175.00 | 7000.00 | M/s CGPL ELECTROMECH PVT LTD
23.03 | 25 kVAR | 4.00 | Cum | 15000.00 | 8000.00 | 32000.00 | 3500.00 | 14000.00 | 1500.00 | 6000.00 | 6449.00 | 25796.00 | 6000.00 | M/S CHAUDHARY CONSTRUCTION
23.04 | 50 kVAR | 3.00 | Each | 25000.00 | 10000.00 | 30000.00 | 8500.00 | 25500.00 | 2000.00 | 6000.00 | 12898.00 | 38694.00 | 6000.00 | M/S CHAUDHARY CONSTRUCTION
24.00 | Sub Head - III : Supply of Material (As and when required ) Supply of Shunt release coil for L&T make U-Power FP ACB of raring 1250/ 2500 A. | 2.00 | Each | 10000.00 | 8000.00 | 16000.00 | 3500.00 | 7000.00 | 4000.00 | 8000.00 | 3513.00 | 7026.00 | 7000.00 | M/s CGPL ELECTROMECH PVT LTD
25.00 | Sub Head - III : Supply of Material (As and when required ) Supply of heavy duty SMF battery of following rating :-
25.01 | 12V, 100 AH. Exide XP or equivalent | 2.00 | Each | 16000.00 | 6000.00 | 12000.00 | 14500.00 | 29000.00 | 8000.00 | 16000.00 | 6600.00 | 13200.00 | 12000.00 | M/S AMAR ENTERPRISES
25.02 | 12V, 180 AH. Exide XP or equivalent | 4.00 | Each | 20000.00 | 15000.00 | 60000.00 | 17500.00 | 70000.00 | 15500.00 | 62000.00 | 15400.00 | 61600.00 | 60000.00 | M/S AMAR ENTERPRISES
26.00 | Sub Head - III : Supply of Material (As and when required ) Supply of Single Core FR-LSH PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volts Conforming to IS: 694.
26.01 | 1.5 sqmm. | 1200.00 | Mtr. | 25.00 | 12.00 | 14400.00 | 20.00 | 24000.00 | 20.00 | 24000.00 | 19.00 | 22800.00 | 14400.00 | M/S AMAR ENTERPRISES
26.02 | 2.5 sqmm. | 1200.00 | Mtr. | 35.00 | 20.00 | 24000.00 | 35.00 | 42000.00 | 20.00 | 24000.00 | 29.00 | 34800.00 | 24000.00 | M/S AMAR ENTERPRISES, M/S CHAUDHARY CONSTRUCTION
26.03 | 4.0 sqmm. | 1200.00 | Mtr. | 40.00 | 25.00 | 30000.00 | 52.00 | 62400.00 | 40.00 | 48000.00 | 35.00 | 42000.00 | 30000.00 | M/S AMAR ENTERPRISES
27.00 | Sub Head - III : Supply of Material (As and when required ) Supply of Safety shutter for 4P U-power ACBs of 2500A rating. | 4.00 | Each | 10000.00 | 8000.00 | 32000.00 | 2500.00 | 10000.00 | 500.00 | 2000.00 | 3414.00 | 13656.00 | 2000.00 | M/S CHAUDHARY CONSTRUCTION
28.00 | Sub Head - III : Supply of Material (As and when required ) Supply of medium intensity obstruction light as per latest ICAO specification | 6.00 | Each | 10000.00 | 5000.00 | 30000.00 | 1500.00 | 9000.00 | 5000.00 | 30000.00 | 4950.00 | 29700.00 | 9000.00 | M/s CGPL ELECTROMECH PVT LTD
29.00 | Sub Head - III : Supply of Material (As and when required ) Supply of transformer oil.as per latest government specifications for power transformer. | 400.00 | Litre | 150.00 | 150.00 | 60000.00 | 145.00 | 58000.00 | 125.00 | 50000.00 | 132.00 | 52800.00 | 50000.00 | M/S CHAUDHARY CONSTRUCTION
30.00 | Sub Head - III : Supply of Material (As and when required ) Supply of syubmersible pump of 3 hp make KSB model UMAI or equivalent | 2.00 | Each | 30000.00 | 25000.00 | 50000.00 | 6500.00 | 13000.00 | 15000.00 | 30000.00 | 28422.00 | 56844.00 | 13000.00 | M/s CGPL ELECTROMECH PVT LTD
31.00 | Sub Head - III : Supply of Material (As and when required ) Supply of submersible pump of 5 HP make KSB model UMAI or equivalent | 1.00 | Each | 35000.00 | 30000.00 | 30000.00 | 7500.00 | 7500.00 | 18000.00 | 18000.00 | 40700.00 | 40700.00 | 7500.00 | M/s CGPL ELECTROMECH PVT LTD
32.00 | Sub Head - III : Supply of Material (As and when required ) Supply of table solar fan minimum 16 w, upto 1300 rpm, fan diameter minimum 35.00 cm at all Security booths situated along the perimeter road | 12.00 | Each | 8000.00 | 6000.00 | 72000.00 | 2200.00 | 26400.00 | 4500.00 | 54000.00 | 8800.00 | 105600.00 | 26400.00 | M/s CGPL ELECTROMECH PVT LTD
33.00 | Sub Head - III : Supply of Material (As and when required ) Supply of wall mounted 300 mm sweep fan suitable to work on single phase, 230V, 50 Hz AC supply. | 4.00 | Each | 2824.00 | 2000.00 | 8000.00 | 2600.00 | 10400.00 | 1000.00 | 4000.00 | 2420.00 | 9680.00 | 4000.00 | M/S CHAUDHARY CONSTRUCTION
34.00 | Sub Head - III : Supply of Material (As and when required ) Supply of heavy duty exhaust fan of following size having 1400 RPM suitable to work on single phase, 230V, 50 Hz AC supply :-
34.01 | (a) 300 mm | 10.00 | Each | 4113.00 | 3000.00 | 30000.00 | 3600.00 | 36000.00 | 1500.00 | 15000.00 | 2695.00 | 26950.00 | 15000.00 | M/S CHAUDHARY CONSTRUCTION
34.02 | (b) 450 mm | 10.00 | Each | 7012.00 | 5500.00 | 55000.00 | 4500.00 | 45000.00 | 2000.00 | 20000.00 | 4290.00 | 42900.00 | 20000.00 | M/S CHAUDHARY CONSTRUCTION
35.00 | Sub Head - III : Supply of Material (As and when required ) Supply of 400 mm sweep pedestrail fan suitable to work on single phase, 230V, 50 Hz AC supply. | 4.00 | Each | 3559.00 | 2000.00 | 8000.00 | 2400.00 | 9600.00 | 2000.00 | 8000.00 | 3850.00 | 15400.00 | 8000.00 | M/S AMAR ENTERPRISES, M/S CHAUDHARY CONSTRUCTION
36.00 | Sub Head - III : Supply of Material (As and when required ) Procurement of Street Lights of 70W.
36.01 | (i) Strip | 30.00 | Each | 1000.00 | 900.00 | 27000.00 | 3500.00 | 105000.00 | 500.00 | 15000.00 | 880.00 | 26400.00 | 15000.00 | M/S CHAUDHARY CONSTRUCTION
36.02 | (ii) Driver | 30.00 | Each | 1334.00 | 900.00 | 27000.00 | 2500.00 | 75000.00 | 500.00 | 15000.00 | 1540.00 | 46200.00 | 15000.00 | M/S CHAUDHARY CONSTRUCTION
37.00 | Sub Head - III : Supply of Material (As and when required ) Supply of Legrand Myrius 673044 6A 5 Pin White Universal Sockets with safety Shuter | 10.00 | Each | 249.00 | 200.00 | 2000.00 | 1500.00 | 15000.00 | 150.00 | 1500.00 | 156.00 | 1560.00 | 1500.00 | M/S CHAUDHARY CONSTRUCTION
38.00 | Sub Head - III : Supply of Material (As and when required ) Supply of 6A/16A, Uni Socket. | 20.00 | Each | 100.00 | 100.00 | 2000.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 138.00 | 2760.00 | 2000.00 | M/S AMAR ENTERPRISES, M/S CHAUDHARY CONSTRUCTION
39.00 | Sub Head - III : Supply of Material (As and when required ) Supply of 6A/13A Combine Socket (For All Kind Of Pins). | 50.00 | Each | 60.00 | 50.00 | 2500.00 | 320.00 | 16000.00 | 50.00 | 2500.00 | 144.00 | 7200.00 | 2500.00 | M/S AMAR ENTERPRISES, M/S CHAUDHARY CONSTRUCTION
40.00 | Sub Head - III : Supply of Material (As and when required ) Supply of white 1M Modular Combined Plate. | 20.00 | Each | 290.00 | 150.00 | 3000.00 | 350.00 | 7000.00 | 100.00 | 2000.00 | 94.00 | 1880.00 | 1880.00 | ABHISHEK INTEGRATIONS LIMITED
41.00 | Sub Head - III : Supply of Material (As and when required ) Supply of white 2M Modular Combined Plate. | 20.00 | Each | 305.00 | 200.00 | 4000.00 | 400.00 | 8000.00 | 125.00 | 2500.00 | 100.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
42.00 | Sub Head - III : Supply of Material (As and when required ) Supply of white 3M Modular Combined Plate. | 50.00 | Each | 332.00 | 120.00 | 6000.00 | 550.00 | 27500.00 | 125.00 | 6250.00 | 118.00 | 5900.00 | 5900.00 | ABHISHEK INTEGRATIONS LIMITED
43.00 | Sub Head - III : Supply of Material (As and when required ) Supply of 6A, Bell Push Switch. | 20.00 | Each | 43.00 | 30.00 | 600.00 | 350.00 | 7000.00 | 30.00 | 600.00 | 24.00 | 480.00 | 480.00 | ABHISHEK INTEGRATIONS LIMITED
44.00 | Sub Head - III : Supply of Material (As and when required ) Supply of 20 W, tube fittings suitable to operate on single phase, 230V, 50 Hz AC supply. | 200.00 | Each | 485.00 | 300.00 | 60000.00 | 720.00 | 144000.00 | 300.00 | 60000.00 | 506.00 | 101200.00 | 60000.00 | M/S AMAR ENTERPRISES, M/S CHAUDHARY CONSTRUCTION
45.00 | Sub Head - IV DSR Works Percentage above or below on the rates of DSR'2018 (CPWD)-Electrical items worth totaling to Rs.5,00,000.00 as per requirement. (Note: The firm has to quote/upload the Percentage above/ below (+/- %) on the quantity mentioned against this item directly in the form of multiplying factor in the rate coloumn as clarified below: For Example: If desired to quote 5% above on SR-2018 rates, the rate column shall be filled as 1.05. If desired to quote 3% below on SR-2018 rates, the rate column shall be filled as 0.97.) | 1.00 | Each | 500000.00 | 300000.00 | 300000.00 | 1.05 | 1.05 | 325000.00 | 325000.00 | .90 | .90 | .90 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 22639800.00 |  | 22200451.05 |  | 23702100.00 |  | 24894875.90
Lowest Amount Quoted BY: M/s CGPL ELECTROMECH PVT LTD(22200451.05)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of EandM Installations at BM Airport Ranchi. SH Providing Maintenance Services for EandM Installations of NITB, Sub-station, AAI Residential Colony, Old TB, CISF barrack, MT pool andcargo division for the year 2023-25. Tender ID: 2023_AAI_153007_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s CGPL ELECTROMECH PVT LTD | 22200451.05 | L1
| 2 | M/S AMAR ENTERPRISES | 22639800.00 | L2
| 3 | M/S CHAUDHARY CONSTRUCTION | 23702100.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 24894875.90 | L4