## BoQ1
Government eProcurement System Created By: Vinod Kumar Pandey Created Date/Time: 30-May-2023 11:56 AM Tender Title: Renovation of VIP Lounge, T-12 Toilet block in New Terminal Building at LBSI Airport, Varanasi Tender ID: 2023_AAI_153081_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Renovation of VIP Lounge, T-12 Toilet block in New Terminal Building at LBSI Airport, Varanasi
Contract No: 2023_AAI_153081_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S.K. CONSTRUCTION(GSTN-09ACHPY6641G1Z3) |  | Rahul Constructions(GSTN-06AAFFR4603K1Z8) |  | RADHIKEY ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.01 | Demolishing cement concrete including disposal of material within 50 metres lead: 1:3:6 or richer mix | 28.23 | cum |  | 450.00 | 12703.50 | 999.00 | 28201.77 | 600.00 | 16938.00 | 12703.50 | S.K. CONSTRUCTION
1.02 | Demolishing R.C.C. work manually/by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge. | .75 | cum |  | 900.00 | 675.00 | 1111.00 | 833.25 | 700.00 | 525.00 | 525.00 | RADHIKEY ENTERPRISES
1.03 | Demolishing brick work including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer in charge a) In cement mortar | 2.25 | cum |  | 250.00 | 562.50 | 1399.00 | 3147.75 | 600.00 | 1350.00 | 562.50 | S.K. CONSTRUCTION
1.04 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead: a) Of area 3 sq. metres and below | 7.00 | each |  | 200.00 | 1400.00 | 265.00 | 1855.00 | 300.00 | 2100.00 | 1400.00 | S.K. CONSTRUCTION
1.05 | Dismantling stone slab/tiles flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 316.71 | sqm |  | 15.00 | 4750.65 | 49.00 | 15518.79 | 60.00 | 19002.60 | 4750.65 | S.K. CONSTRUCTION
1.06 | Dismantling steel work manually/by mechanical means in built up sections without dismembering, Refabricating and refixing same as per site requirement as per direction of Engineer-in-charge. | 200.00 | kg |  | 2.00 | 400.00 | 1.99 | 398.00 | 30.00 | 6000.00 | 398.00 | Rahul Constructions
1.07 | Dismantling wooden boardings in lining of walls and partitions, excluding supporting members but including stacking within 50 metres lead : Thickness above 10 mm up to 25 mm | 205.49 | sqm |  | 25.00 | 5137.25 | 45.65 | 9380.62 | 60.00 | 12329.40 | 5137.25 | S.K. CONSTRUCTION
1.08 | Dismantling C.I. pipes including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means breaking lead caulked joints, melting of lead and making into blocks including stacking of pipes & lead at site within 50 metre lead as per direction of Engineer-in-charge: a) Up to 150 mm diameter metre | 120.00 | mtr |  | 50.00 | 6000.00 | 199.00 | 23880.00 | 100.00 | 12000.00 | 6000.00 | S.K. CONSTRUCTION
1.09 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 9.00 | each |  | 300.00 | 2700.00 | 99.00 | 891.00 | 300.00 | 2700.00 | 891.00 | Rahul Constructions
1.10 | Dismantling of Sanitary fixtures & fittings including WC, Urinals, Wash Basins etc. including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 23.00 | each |  | 50.00 | 1150.00 | 199.00 | 4577.00 | 200.00 | 4600.00 | 1150.00 | S.K. CONSTRUCTION
1.11 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing, false ceiling and toilet cubicles including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 186.68 | sqm |  | 15.00 | 2800.20 | 29.00 | 5413.72 | 50.00 | 9334.00 | 2800.20 | S.K. CONSTRUCTION
1.12 | Dismantling G.I. pipes (internal work) including chasing wall after taking out the pipes, manually/ by mechanical means and making wall good with 1:3:6 concrete including stacking of pipes lead as per direction and satisfaction of Engineer-in-charge : 15 mm to 75 mm nominal bore | 200.00 | mtr |  | 20.00 | 4000.00 | 149.00 | 29800.00 | 40.00 | 8000.00 | 4000.00 | S.K. CONSTRUCTION
1.13 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground as sujested by EIC. | 98.33 | sqm |  | 20.00 | 1966.60 | 39.00 | 3834.87 | 50.00 | 4916.50 | 1966.60 | S.K. CONSTRUCTION
1.14 | Dismantling of toilet fixtures of type including stacking of useful materials at store and disposal of unserviceable material to dumping ground as shown by EIC all complete. | 27.00 | each |  | 50.00 | 1350.00 | 111.00 | 2997.00 | 50.00 | 1350.00 | 1350.00 | RADHIKEY ENTERPRISES, S.K. CONSTRUCTION
1.15 | Dismantling or taking out fixed mirror in toilet including disposal of unserviceable surplus material and stacking of serviceable material at sutaible place as direction and satisfaction by Engineer-in-charge. | 7.74 | sqm |  | 50.00 | 387.00 | 49.00 | 379.26 | 100.00 | 774.00 | 379.26 | Rahul Constructions
1.16 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : a) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 19.50 | sqm |  | 310.00 | 6045.00 | 533.00 | 10393.50 | 500.00 | 9750.00 | 6045.00 | S.K. CONSTRUCTION
1.17 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 348.47 | Kg |  | 82.00 | 28574.54 | 78.00 | 27180.66 | 110.00 | 38331.70 | 27180.66 | Rahul Constructions
1.18 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2.24 | cum |  | 7100.00 | 15904.00 | 8888.00 | 19909.12 | 7500.00 | 16800.00 | 15904.00 | S.K. CONSTRUCTION
1.19 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:3 (1 cement :3 coarse sand) | 112.00 | sqm |  | 760.00 | 85120.00 | 777.00 | 87024.00 | 560.00 | 62720.00 | 62720.00 | RADHIKEY ENTERPRISES
1.20 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :"1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 18.77 | cum |  | 5850.00 | 109804.50 | 5999.00 | 112601.23 | 7200.00 | 135144.00 | 109804.50 | S.K. CONSTRUCTION
1.21 | Extra for providing and placing 2 nos. 6 mm dia M.S. bars at every third course of half brick masonry. | 94.50 | sqm |  | 50.00 | 4725.00 | 75.00 | 7087.50 | 120.00 | 11340.00 | 4725.00 | S.K. CONSTRUCTION
1.22 | Providing and fixing 18 mm thick gang saw cut, mirror polished,premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size,approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.Granite of any colour and shade.Area of slab upto 0.50 sqm | 10.40 | sqm |  | 3280.00 | 34112.00 | 2799.00 | 29109.60 | 4000.00 | 41600.00 | 29109.60 | Rahul Constructions
1.23 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:b) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 7.77 | sqm |  | 2150.00 | 16705.50 | 2222.00 | 17264.94 | 5000.00 | 38850.00 | 16705.50 | S.K. CONSTRUCTION
1.24 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters. (Overall area of shutter to be measured over item no. 21) | 7.56 | sqm |  | 450.00 | 3402.00 | 199.00 | 1504.44 | 1050.00 | 7938.00 | 1504.44 | Rahul Constructions
1.25 | Supplying and installation of 12 mm thick frameless toughened glass door of Dorma-Germany / Linox-Australia / Geze-Germany or approved equivalent. Glass to be ordered double layer high density super fine toughened glass of any required size. Glass to be toughened by special chemical to strengthened by double impact, all edge to be machine polished and sides also to be toughened. The work also includes cutting of floor (15mm strip of size 15mm X 15mm) for floor spring this would hold the glass at bottom. The work includes cost of all cut outs/holes The doors to be hung on Doorma heavy floor spring BTS 84 - DORMA / FS 004 - Linox / TS 500 EN3 of Geze or approved equivalent . The patch fittings consisting of all required patch fittings for doors with side and upper panels,upper and bootom patches,floor lock with cylinder and strike plate and pull handle of size 350mmX22mm complete as per direction of Engineer-In-Charge. Single Leaf Door Shutter (size 1.2 m X 2.1 m) | 1.00 | sqm |  | 12500.00 | 12500.00 | 11111.00 | 11111.00 | 8600.00 | 8600.00 | 8600.00 | RADHIKEY ENTERPRISES
1.26 | Providing & fixing Stainless Steel tower bolts of OZONE TBS-10"/6" SS 304 grade or approved equivalent of grade 304 heavy duty with necessary Stainless Steel screws, etc. complete as per directions of Engineer-in- Chargea) 250 x 25 mm | 6.00 | each |  | 800.00 | 4800.00 | 555.00 | 3330.00 | 200.00 | 1200.00 | 1200.00 | RADHIKEY ENTERPRISES
1.27 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position all complete | 500.00 | Kg |  | 88.00 | 44000.00 | 88.00 | 44000.00 | 120.00 | 60000.00 | 44000.00 | S.K. CONSTRUCTION, Rahul Constructions
1.28 | Providing and fixing 12-15 mm thick moulded Acryllic solid surface counter/ slab tops of Dupont/Samsung Staron/Avonite or approved equivalent for kitchen platforms , vanity counters,window sills, facias and similar location of required size of approved shade, colour and texture fixed over 12 mm thick base ply with seamless joints through thermoforming process including all fixing, sticking, moulding, bending, use of flexible ply (if required) as per requirements of the approved drawings etc. and as per the directions of the Engineer in charge complete at all levels.Solid surface of approved shade & company | 17.40 | sqm |  | 12500.00 | 217500.00 | 79999.00 | 1391982.60 | 17216.00 | 299558.40 | 217500.00 | S.K. CONSTRUCTION
1.29 | Providing and laying in floors anti skid homogenous vitrified tiles with water absorption less than 0.08% and conforming to IS:15622 of approved Belgium Grey NITCO/Marbonite -Ash Grey/Porselano – Dew Grey JOHNSON/ Fresco Azul RAK CERAMICS brand/ manufacturer, of size 600 x 600mm x 9.6 to 10mm and 600 x 300 x 9.6 to 10mm in combination as per approved drawing without warpage of approved make and colour shades laid on 20 mm bed of cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints of thickness 3 mm with solid epoxy grout of PIDILITE / LATICRETE / BAL ENDURA / FERROUS CRETE or approved equivalent of desired shade etc. complete and as per pattern specified in approved drawings and specifications complete as per directions of Engineer-in-charge. | 108.83 | sqm |  | 980.00 | 106653.40 | 999.00 | 108721.17 | 745.00 | 81078.35 | 81078.35 | RADHIKEY ENTERPRISES
1.30 | 38 mm thick wood block flooring of first class teak wood laid over 25 mm thick leveling layer of cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 10 mm nominal size) to be paid separately, coated with a thin layer of hot bitumen penetration 80/25 (blown type) @ 2.45 kg per sqm, including fixing blocks in position after dipping in hot bitumen (blown type) up to half depth, planed, levelled smooth and finished complete. | 88.35 | sqm |  | 7250.00 | 640537.50 | 6999.00 | 618361.65 | 4065.00 | 359142.75 | 359142.75 | RADHIKEY ENTERPRISES
1.31 | Providing and fixing expansion hold fasteners on C.C. /R.C.C./Brick masonry surface backing including drilling necessary holes and the cost of bolt etc complete.(a) Fastener with threaded dia 10 mm | 100.00 | each |  | 22.00 | 2200.00 | 29.00 | 2900.00 | 30.00 | 3000.00 | 2200.00 | S.K. CONSTRUCTION
1.32 | Providing and fixing pre-polished mirror finished homogenous vitrified tile with water absorption less than 0.08% and conforming to IS:15622 of approved brand/manufacturer in skirting risers of steps and dado on wall over 12mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry @ 3.3 kg/sqm including pointing in white cement mixed with pigment to match the shade complete as per directions of Engineer-In-Charge.a) 600x300x9.6 to 10mm thick | 351.38 | sqm |  | 1100.00 | 386518.00 | 999.00 | 351028.62 | 800.00 | 281104.00 | 281104.00 | RADHIKEY ENTERPRISES
1.33 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/ partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification andalso including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :a) 12.5 mm thick tapered edge gypsum moisture resistant board | 186.68 | sqm |  | 990.00 | 184813.20 | 1111.00 | 207401.48 | 860.00 | 160544.80 | 160544.80 | RADHIKEY ENTERPRISES
1.34 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :(a) Two or more coats on new work | 200.00 | sqm |  | 90.00 | 18000.00 | 99.00 | 19800.00 | 120.00 | 24000.00 | 18000.00 | S.K. CONSTRUCTION
1.35 | Wall & Ceiling painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :(a) Two or more coats on new work | 186.68 | sqm |  | 95.00 | 17734.60 | 119.00 | 22214.92 | 125.00 | 23335.00 | 17734.60 | S.K. CONSTRUCTION
1.36 | Providing and fixing plain lining with necessary screws/nuts & bolts/ nails, including a coat of approved primer on one face, and fixed on wooden /steel frame work, complete as per direction of Engineer-incharge (Frame work shall be paid for separately). 12mm thick commercial ply conforming to IS : 1328 BWR type | 112.80 | sqm |  | 850.00 | 95880.00 | 999.00 | 112687.20 | 700.00 | 78960.00 | 78960.00 | RADHIKEY ENTERPRISES
1.37 | Providing & fixing in position 4mm thk. Aluminium composite panels in external face, column/wall cladding and canopy ceiling of approved make conforming to ASTM standard /specifications comprising polyethylene core sandwiched between two skins of 0.50mm thick special alloyed aluminium sheet to have overall thickness of 4mm with exterior coating of PVDF Paint. Fixing of surface cladding to masonry/ concrete faces/steel structure as called for, including appropriate and adequate framework of aluminium tubular sections 50x25x3mm and 25x38x3mm to fix the composite panel to the frame, straight/slope and curvilinear profile and shapes including all accessories and all incidental work. The cladding shall be done in accordance with the drawings, fixed to sides and faces of columns /piers, to sills and soffits of window opening, returned over coping, to R.C.C/ structural steel system, etc, to line and level. The joints shall be properly sealed with approved Silicon sealant to make the joints watertight and weather proof including, fixing over aluminium frame using mechanical fasteners such as Aluminium cleats and Stainless Steel fasteners. Specially designed frame work with vertical and horizontal members of extruded aluminium section which shall be made of alloy 6063 T6, as approved by the Engineer-in-charge (as per drawing enclosed)The work shall be complete as per specification and directions of Engineer-in -Charge. | 45.00 | sqm |  | 4250.00 | 191250.00 | 4555.00 | 204975.00 | 250.00 | 11250.00 | 11250.00 | RADHIKEY ENTERPRISES
1.38 | Providing & fixing of white vitreous China wall mounting cascade type water closet American standard Acacia E double vortex WC 2/4.2 L 3119 WT/ Proguard (sc.seat&cover),KHOLER Vitreous 99994IN-0, ROCA The GAP RS346477460 & RE801472464, JAQUAR O PS-WHT-15951 with CP bolts, nuts, CI chair hanging arrangements, bakelite seat & cover with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with flush valve American standard /Grohe WC 38987000,Kohler 7702IN-P-NA, Jaquar JCS-WHT-2400 Flushing cistern GD 2 & 38732000 Skate Cosmopolitan Wall plate/Kholer 8857IN-M-MS1 ROCA RE890195001 Jaquar JCP-CHR-392415 approved including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 8.00 | each |  | 9950.00 | 79600.00 | 12222.00 | 97776.00 | 30000.00 | 240000.00 | 79600.00 | S.K. CONSTRUCTION
1.39 | Providing & fixing sensor based automatic battery operated electronic wash basin sensor tap of chrome finished American standard model no FFAS8506-D00500BF0 - 24500,KHOLER 18057IN-ND-CP AUCLEN, ROCA RT5A5609C0N, JAQUAR SNR-CHR-51011 AQ UISENSE or approved equivalent) with solenoid valve at inlet, Doppler based sensor, control box complete with all flexible pipes & accessories as per direction of Engineer-Incharge. | 10.00 | each |  | 8900.00 | 89000.00 | 12222.00 | 122220.00 | 18000.00 | 180000.00 | 89000.00 | S.K. CONSTRUCTION
1.40 | Providing & fixing of white vitreous china under counter wash basin 550x450 American standard Activa modle no 600 mm WP-0440.000.04,KHOLER 2215IN-0 LADENA, 2240X-0 VINTAGE, ROCA RS327871461, JAQUAR FNS-WHT-40701 with CP brass waste assembly, CP cast brass bottle trap with extension piece (Jaquar ALD-CHR-769L300X190 / Grohe A-8107-D1Y / Kohler 7314IN-CP, Roca RF9066A1 or approved equivalent), 450 mm long CP copper connections pipes (Jaquar Cat No. 803B or approved equivalent), wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 8.00 | each |  | 5000.00 | 40000.00 | 4555.00 | 36440.00 | 15000.00 | 120000.00 | 36440.00 | Rahul Constructions
1.41 | Providing & fixing Off white vitreous china flat back urinal with automatic flushing systems American Standard CP-6507.322.04\Concept 1.9 L Urinal HE2,KHOLER 16321T-M-0 PATIO TOUCHLESS, ROCA RS35945E000 EURET or approved equivalent) comprising of all plumbing, electronic and electrical items. CP brass flush pipe with CP brass elbow, CP brass spreader, CP wall flange, infrared photo cells, eyes electrically operated solenoid valve, step down transformer / equipment and any other item required to provide satisfactory functioning including necessary wall cutting / chasing and making good, as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 8.00 | each |  | 16800.00 | 134400.00 | 21111.00 | 168888.00 | 30000.00 | 240000.00 | 134400.00 | S.K. CONSTRUCTION
1.42 | Providing & fixing C.P. hand spray with lever control (health faucet) American Standard TP 405, KHOLER 12925IN-CP, ROCA RF9060A1, JAQUAR ALD-CHR-573 or approved equivalent) and flexible hose 1 m long connection with C.P. holder for hand spray complete in all respects as per direction of Engineer-Incharge. | 12.00 | each |  | 1650.00 | 19800.00 | 1999.00 | 23988.00 | 10000.00 | 120000.00 | 19800.00 | S.K. CONSTRUCTION
1.43 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. a) 15 mm dia nominal bore | 4.00 | each |  | 450.00 | 1800.00 | 777.00 | 3108.00 | 1200.00 | 4800.00 | 1800.00 | S.K. CONSTRUCTION
1.44 | Providing & fixing 15 mm dia C.P. brass angle valve American Standard FLR 5053N A-4400, KHOLER 80155IN-4-CP CUFF, ROCA RF525159700, JAQUAR AQT-CHR-3057 with C.P. brass wall flange with any other items complete including cutting and making good the walls wherever required as per direction of Engineer-Incharge. | 25.00 | each |  | 600.00 | 15000.00 | 888.00 | 22200.00 | 1000.00 | 25000.00 | 15000.00 | S.K. CONSTRUCTION
1.45 | Providing and fixing plasticised PVC connection pipe with brass unions :45 cm length 15 mm nominal bore | 10.00 | each |  | 40.00 | 400.00 | 79.00 | 790.00 | 120.00 | 1200.00 | 400.00 | S.K. CONSTRUCTION
1.46 | Providing & fixing stainless steel jumbo roll toilet tissue dispenser (Bobrick cat no. B2890 or approved equivalent) with stainless steel roller complete with accessories ,including cutting and making good the walls and floors wherever required as per direction of Engineer-Incharge. | 12.00 | each |  | 6500.00 | 78000.00 | 9999.00 | 119988.00 | 1000.00 | 12000.00 | 12000.00 | RADHIKEY ENTERPRISES
1.47 | Providing & fixing recessed liquid soap dispenser (Bobrick cat no. B-822 or approved equivalent) as per direction of Engineer-Incharge. | 10.00 | each |  | 4500.00 | 45000.00 | 7777.00 | 77770.00 | 800.00 | 8000.00 | 8000.00 | RADHIKEY ENTERPRISES
1.48 | Providing & fixing of 760 mm long stainless steel grab bar ( Bobrick code B-5806.99x30 /) or approved equivalent) including screw, rawl plugs making wall good, complete as per directions of Engineer-Incharge. | 1.00 | each |  | 4250.00 | 4250.00 | 6999.00 | 6999.00 | 1000.00 | 1000.00 | 1000.00 | RADHIKEY ENTERPRISES
1.49 | Providing & fixing of 1065 mm long stainless steel grab bar (Bobrick code B-5806.99 x42/) or approved equivalent) including screw, rawl plugs making wall good, complete as per directions of Engineer-Incharge.. | 1.00 | each |  | 4500.00 | 4500.00 | 7999.00 | 7999.00 | 1500.00 | 1500.00 | 1500.00 | RADHIKEY ENTERPRISES
1.50 | Providing & fixing recessed paper towel dispenser and waste receptable (Bobrick cat no. B-3944 )or approved equivalent) as per direction of Engineer-Incharge. | 4.00 | each |  | 45800.00 | 183200.00 | 59999.00 | 239996.00 | 1500.00 | 6000.00 | 6000.00 | RADHIKEY ENTERPRISES
1.51 | Providing & fixing of modular toilet cubicles ( Titan Standard 12 mm series of Merino/ sturdo classique of greenlam industries or approved equivalent) consisting of high pressure 12 mm thick compact laminate board as per IS 2046 (Indian Standards) and as per fire retardant BS-476/97 standards with phenolic core panels for partitions of intermediate divider, doors and pilasters(. The cubicle shall have dimensions of 1500 mm depth x 900 mm width x 2050 mm height with a door size of minimum head rail on top of panels and panels shall be fixed on the floor with a clearance of maximum 150 mm using stainless steel satin finish adjustable legs screwed to the floor included stainless steel (SS) lock set, SS door knob, SS gravity self closing hinge, SS coat hook with door stopper, SS U channel, SS head rail, SS adjustable foot, SS tabular holder, SS head rail wall bracket, SS head rail corner connection and SS noise reducing tape, etc.(all SS accessories shall be of Grade 304) as per direction of Engineer-Incharge.Note:- The quantity shall be calculated on basis of surface area of compact laminate board. | 20.50 | sqm |  | 7250.00 | 148625.00 | 8999.00 | 184479.50 | 4000.00 | 82000.00 | 82000.00 | RADHIKEY ENTERPRISES
1.52 | Providing & fixing Urinal Modesty Panels having standard dimension of 1200 mm Height x 450 -500 mm Width and 12 mm thickness (SS Series of Merino Industries /sturdo classique of greenlam industries or approved equivalent) Panel starts 500-600 mm above ground level, complete with compact Laminate Board: 12 mm thick Compact Laminate ( Titan Series of Merino Industries or approved equivalent) made as per IS 2046 (Indian Standard) and as per fire retardant BS-476/97 standard and should be heat, bacteria, water, chemical, scratch and impact resistant 12 mm thick solid compact laminate panels as per approved texture/shade. The product should have Green Guard Certificate. Including all accessories as per approval and direction of Engineer-in-Charge Modesty panels will be fixed with right angle bracket which will provided in stainless steel grade-304. (a) Right Angle Bracket b) Screws & Wall Plugs. Hardware & Fixing : All screws will of 304 Grade in stainless steel with satin finish & panel will be supported by right angle brackets & will be used to hold the panels with a clearance height upto 500-600 mm. The work includes all accessories, machineries, tools etc., complete as per direction of Engineer-in-charge. | 7.00 | each |  | 4280.00 | 29960.00 | 5999.40 | 41995.80 | 40000.00 | 280000.00 | 29960.00 | S.K. CONSTRUCTION
1.53 | Providing & fixing sanitary napkin dispenser (ELAN FEMININE) or approved equivalent) as per direction of Engineer-Incharge. | 15.00 | each |  | 9550.00 | 143250.00 | 12999.00 | 194985.00 | 1500.00 | 22500.00 | 22500.00 | RADHIKEY ENTERPRISES
1.54 | Providing and fixing water closet squatting pan (Indian type W.C. Asian Pan Ultra White Parryware C01231C, CERA Orissa Pan S3020102) with 100 mm sand cast Iron P or S trap, with all fittings and fixtures complete,with flush valve American standard /Grohe WC 38987000,Kohler 7702IN-P-NA, Jaquar JCS-WHT-2400 Flushing cistern GD 2 & 38732000 Skate Cosmopolitan Wall plate/Kholer 8857IN-M-MS1 ROCA RE890195001 Jaquar JCP-CHR-392415 approved including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 3.00 | each |  | 6000.00 | 18000.00 | 6999.00 | 20997.00 | 4500.00 | 13500.00 | 13500.00 | RADHIKEY ENTERPRISES
1.55 | Providing & fixing of Handicapped white vitreous China wall mounting cascade type water closet American standard Loreno 3128ID-WT / WDII2600S-WT, KHOLER Patio 18131IN-S-0, ROCA The Giralda RS346467460 & RE80P467001, JAQUAR FLS-WHT-5951 with CP bolts, nuts, CI chair hanging arrangements, bakelite seat & cover with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with flush valve American standard /Grohe 37050000 Flushing cistern GD 2 & 38732000 Skate Cosmopolitan Wall plate/Kholer or approved equivalent) including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 1.00 | each |  | 8650.00 | 8650.00 | 11999.00 | 11999.00 | 15000.00 | 15000.00 | 8650.00 | S.K. CONSTRUCTION
1.56 | Providing & fixing of Robe hook for VIP Lounge washroom American standard FFAS1381-908500BC0, KOHLER 25073IN-CP, Roca RA916700001, Jaquar ONY-CHR-59791 or approved equivalent with accessories and other accessories complete as required as per direction of Engineer-Incharge. | 2.00 | each |  | 850.00 | 1700.00 | 1111.00 | 2222.00 | 2000.00 | 4000.00 | 1700.00 | S.K. CONSTRUCTION
1.57 | Providing & fixing of Towel Ring for VIP Lounge washroom American standard FFAS1390-908500BC0, Roca RA916070172 or approved equivalent with other accessories complete as required as per direction of Engineer-Incharge. | 2.00 | each |  | 1100.00 | 2200.00 | 1999.60 | 3999.20 | 500.00 | 1000.00 | 1000.00 | RADHIKEY ENTERPRISES
1.58 | Providing and fixing 3 layer PP-R (Poly propylene random copolymer) pipes SDR 7.4 U V stabilized and anti - microbial fusion welded, having thermal stability for hot and cold water supply including all PP-R plain and brass threaded polypropylene random fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes testing of joints complete as per direction of Engineer-Incharge. Concealed work including cutting chases and making good the walls etc. a) PN -16 Pipe, 20 mm outer diameter | 100.00 | mtr |  | 280.00 | 28000.00 | 377.00 | 37700.00 | 190.00 | 19000.00 | 19000.00 | RADHIKEY ENTERPRISES
1.59 | Providing and fixing 3 layer PP-R (Poly propylene random copolymer) pipes SDR 7.4 U V stabilized and anti - microbial fusion welded, having thermal stability for hot and cold water supply including all PP-R plain and brass threaded polypropylene random fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes testing of joints complete as per direction of Engineer-Incharge. Concealed work including cutting chases and making good the walls etc. a) PN -16 Pipe, 32 mm outer diameter | 60.00 | mtr |  | 390.00 | 23400.00 | 444.00 | 26640.00 | 250.00 | 15000.00 | 15000.00 | RADHIKEY ENTERPRISES
1.60 | Providing, fixing, joints and testing in position the following UPVC Pipe confirming to IS:4985 of 6kg sqcm for sanitary and sewage system cut to required length pipe to be laid below level in trenches up to required depth, including excavation in all kind of soil (hard rock) dewatering, refilling, watering, ramming and removing the surplus excavated material and putting 100 m sand all-round and making good the same. 50 mm OD | 100.00 | mtr |  | 215.00 | 21500.00 | 269.50 | 26950.00 | 200.00 | 20000.00 | 20000.00 | RADHIKEY ENTERPRISES
1.61 | Providing, fixing, joints and testing in position the following UPVC Pipe confirming to IS:4985 of 6kg sqcm for sanitary and sewage system cut to required length pipe to be laid below level in trenches up to required depth, including excavation in all kind of soil (hard rock) dewatering, refilling, watering, ramming and removing the surplus excavated material and putting 100 m sand all-round and making good the same. 75 mm OD | 40.00 | mtr |  | 465.00 | 18600.00 | 599.00 | 23960.00 | 100.00 | 4000.00 | 4000.00 | RADHIKEY ENTERPRISES
1.62 | Providing, fixing, joints and testing in position the following UPVC Pipe confirming to IS:4985 of 6kg sqcm for sanitary and sewage system cut to required length pipe to be laid below level in trenches up to required depth, including excavation in all kind of soil (hard rock) dewatering, refilling, watering, ramming and removing the surplus excavated material and putting 100 m sand all-round and making good the same. 110 mm OD | 104.00 | mtr |  | 545.00 | 56680.00 | 599.00 | 62296.00 | 100.00 | 10400.00 | 10400.00 | RADHIKEY ENTERPRISES
1.63 | Providing and fixing 3M Frosted Sparkle Graphic Film over the designated locations with wet applications at all floors in any design and pattern complete as per the direction and satisfaction of Engineer-in- charge. (No deductions shall be made for the blank areas in the pattern. only film area will be measured) | 5.04 | sqm |  | 1100.00 | 5544.00 | 888.00 | 4475.52 | 1500.00 | 7560.00 | 4475.52 | Rahul Constructions
1.64 | Providing and fixing beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 6.48 | sqm |  | 1260.00 | 8164.80 | 2222.00 | 14398.56 | 2000.00 | 12960.00 | 8164.80 | S.K. CONSTRUCTION
1.65 | Providing and fixing 100 mm stainless steel grating for Floor trap. | 6.00 | each |  | 150.00 | 900.00 | 299.00 | 1794.00 | 100.00 | 600.00 | 600.00 | RADHIKEY ENTERPRISES
1.66 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | .32 | cum |  | 100000.00 | 32000.00 | 99999.00 | 31999.68 | 160000.00 | 51200.00 | 31999.68 | Rahul Constructions
1.67 | Providing and fixing towel rail complete with brackets JAQ ASIAN 1111NM Singal Towel rail 600mm long all complete as per instruction of EIC. | 2.00 | each |  | 1200.00 | 2400.00 | 1333.00 | 2666.00 | 1000.00 | 2000.00 | 2000.00 | RADHIKEY ENTERPRISES
1.68 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.5mm thick | 56.43 | sqm |  | 1100.00 | 62073.00 | 777.00 | 43846.11 | 900.00 | 50787.00 | 43846.11 | Rahul Constructions
1.69 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete.200mm | 8.00 | each |  | 500.00 | 4000.00 | 555.00 | 4440.00 | 500.00 | 4000.00 | 4000.00 | RADHIKEY ENTERPRISES, S.K. CONSTRUCTION
1.70 | Providing and fixing aluminium runner (G- channel) with roller and all necessary fittings to sliding door all complete as per direction of EIC. | 2.00 | mtr |  | 3000.00 | 6000.00 | 1999.00 | 3998.00 | 500.00 | 1000.00 | 1000.00 | RADHIKEY ENTERPRISES
1.71 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 3.00 | each |  | 2500.00 | 7500.00 | 199.00 | 597.00 | 2000.00 | 6000.00 | 597.00 | Rahul Constructions
1.72 | Provinding and placing SS Padalbin 7ltr Dustbin in Terminal building at required places as per direction of EIC. | 20.00 | each |  | 800.00 | 16000.00 | 999.00 | 19980.00 | 2500.00 | 50000.00 | 16000.00 | S.K. CONSTRUCTION
1.73 | Providing and fixing of laminated and glossy pictures on minimum 3mm acrylic sheet for interior design work depicting local art work for Airport toilet and VIP lounge fixing on required surface with adhesive all complete as per satisfaction of EIC. | 24.00 | sqm |  | 2250.00 | 54000.00 | 3333.00 | 79992.00 | 4000.00 | 96000.00 | 54000.00 | S.K. CONSTRUCTION
1.74 | Providing and fixing 6 mm thick moulded Acryllic solid surface of Dupont/Samsung Staron/Avonite or approved equivalent for wall panelling of required size of approved shade, colour and texture fixed over 12 mm thick base ply with seamless joints through thermoforming process including all fixing, sticking, moulding, bending, use of flexible ply (if required) as per requirements of the approved drawings etc. all complete as per the directions of the Engineer in charge. | 49.50 | sqm |  | 5150.00 | 254925.00 | 6999.00 | 346450.50 | 7850.00 | 388575.00 | 254925.00 | S.K. CONSTRUCTION
1.75 | Providing & fixing 19 mm thick commercial board ISI marked (IS 1659) in cupboards / shelves/ false floors etc including fixing board with nails/ addhessive etc. complete as per directions of Engineer-In - Charge | 60.00 | sqm |  | 1165.00 | 69900.00 | 1333.00 | 79980.00 | 4500.00 | 270000.00 | 69900.00 | S.K. CONSTRUCTION
1.76 | Providing and application of texture paint on wall/ columns with acrylic resins in water dispersion and special metallic and pearly components make the highly flexible in terms of the variety of decorative effects that can be achieved with special texture paint of OIKOS – Italy Multidecor series, /Pidilite / Acro or approved equivalent as per approved colour and pattern as per direction of Engineer-In -Charge. The works include application of one coat of primer, two coat of low VOC Emulsion using tinted roller and brush ( as per manufacturer's specification and approval of E-I-C). and one coat of metallic pearl special texture paint applied with recommended tool for application as per selected finish( as per manufacturer's specification and approval of E-I-C) , including cost and conveyance of all material , labour , sundries, tools and machinery etc. including the base preparation with POP/ Putty etc. all complete as per approved pattern and color as per direction of Engineer-In-Charge. | 26.61 | sqm |  | 650.00 | 17296.50 | 1111.00 | 29563.71 | 120.00 | 3193.20 | 3193.20 | RADHIKEY ENTERPRISES
1.77 | Providing and fixing 20x2mm thick stainless steel T section strip (golden clour) in wall lining with structural steel adhisive etc, all complete as per direction of the Engineer in-charge. | 200.00 | mtr |  | 725.00 | 145000.00 | 999.00 | 199800.00 | 1500.00 | 300000.00 | 145000.00 | S.K. CONSTRUCTION
1.78 | Providing and fixing wooden moulded beading to door and window frames with iron screws, plugs and priming coat on unexposed surface etc. complete : 2nd class teak wood 50x12 mm | 300.00 | mtr |  | 165.00 | 49500.00 | 199.00 | 59700.00 | 333.00 | 99900.00 | 49500.00 | S.K. CONSTRUCTION
1.79 | Providing and fixing SS 304 grade Gutterman channel of size 100x30 mm with Top Grating of load class Human load . Steel tray (drip tray) of standard design with necessary fabrication, hanger and support under the horizontal suspended soil / waste header. Tray shall be installed in slope with drain connection at end. The installation shall be to the satisfaction / approval of Engineer-in-charge. The installation shall be to the satisfaction / approval of Engineer-in-charge. | 9.00 | mtr |  | 3200.00 | 28800.00 | 3999.00 | 35991.00 | 2500.00 | 22500.00 | 22500.00 | RADHIKEY ENTERPRISES
1.80 | Providing & fixing lavatory wash basin for handicapped toilet American Standard WP-1530.001.04 & CL0741S-6DACT, KHOLER 20812IN-1-0 STRUKTURA, ROCA RS327230000 Access or approved equivalent) and CP cast Brass bottle trap with extension piece (Jaquar ALD-CHR-769L300X190 / Grohe A-8107-D1Y / Kohler 7314IN-CP, Roca RF9066A1 or approved equivalent) for handicap toilet complete with brackets, tracks, waste pipes and other accessories complete as required as per direction of Engineer-Incharge. | 1.00 | Each |  | 20000.00 | 20000.00 | 14999.00 | 14999.00 | 25000.00 | 25000.00 | 14999.00 | Rahul Constructions
1.81 | Providing & fixing Sink Cock for Pantry /Kitchen KHOLER PULLDOWN KITCHEN FAUCET K-R562-SD-VS) with extension piece (Jaquar ,Grohe P or approved equivalent), 450 mm long CP copper connections pipes (Jaquar Cat No. 803B or approved equivalent), wherever required as per direction of Engineer-Incharge. | 1.00 | Each |  | 8000.00 | 8000.00 | 199999.00 | 199999.00 | 15000.00 | 15000.00 | 8000.00 | S.K. CONSTRUCTION
1.82 | Providing & fixing Sink for Pantry /Kitchen sink with drain board CERA- B4712502 or approved equivalent) with Pantry Sink & CP brass waste assembly, CP cast Brass bottle trap with extension piece (Jaquar ALD-CHR-769L300X190 / Grohe A-8107-D1Y / Kohler 7314IN-CP, Roca RF9066A1 or approved equivalent), wall flanges and rubber adapters for waste connection complete wherever required as per direction of Engineer-Incharge. | 1.00 | Each |  | 12600.00 | 12600.00 | 33333.00 | 33333.00 | 15000.00 | 15000.00 | 12600.00 | S.K. CONSTRUCTION
1.83 | Providing & fixing of white wash basin for VIP Lounge washroom, KHOLER Vitreous 19034IN-XBV-0 Escale vanity top 100cm w/gov, s White "6910.1000"with CP brass waste assembly, CP cast brass bottle trap with extension piece (Jaquar Cat No. 769B / Grohe cat no. 28920 / Kohler cat no. K-16407IN-CP or approved equivalent), 450 mm long CP copper connections pipes (Jaquar Cat No. 803B or approved equivalent), wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 1.00 | Each |  | 42000.00 | 42000.00 | 55555.00 | 55555.00 | 15000.00 | 15000.00 | 15000.00 | RADHIKEY ENTERPRISES
1.84 | Supplying and installation of 12 mm thick frameless toughened glass door of Dorma-Germany / Linox-Australia / Geze-Germany or approved equivalent. Glass to be ordered double layer high density super fine toughened glass of any required size. Glass to be toughened by special chemical to strengthened by double impact, all edge to be machine polished and sides also to be toughened. The work also includes cutting of floor (15mm strip of size 15mm X 15mm) for floor spring this would hold the glass at bottom. The work includes cost of all cut outs/holes The doors to be hung on Doorma heavy floor spring BTS 84 - DORMA / FS 004 - Linox / TS 500 EN3 of Geze or approved equivalent . The patch fittings consisting of all required patch fittings for doors with side and upper panels,upper and bootom patches,floor lock with cylinder and strike plate and pull handle of size 350mmX22mm complete as per direction of Engineer-In-Charge. a) Double Leaf Door Shutter(2.0 m X 2.4 m) | 4.20 | Sqm |  | 6850.00 | 28770.00 | 7999.00 | 33595.80 | 10000.00 | 42000.00 | 28770.00 | S.K. CONSTRUCTION
1.85 | Providing and fixing of stainless steel 304 grade of Dorma-dpl make (code no. 54.4400.02.200)/Reynears-USA or approved equivalent round pipe handles of size 300 x 19 mm dia. with necessary screws etc. complete. | 4.00 | pair |  | 2500.00 | 10000.00 | 2555.00 | 10220.00 | 3000.00 | 12000.00 | 10000.00 | S.K. CONSTRUCTION
1.86 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 8.00 | Each |  | 150.00 | 1200.00 | 54.00 | 432.00 | 300.00 | 2400.00 | 432.00 | Rahul Constructions
1.87 | Design,Supply, fabrication, and installation of IMP - Metal , Plain & impossed stainless steel sheet SS 316L in N3D- 06 Gold (Austeneid empossed Pattern) 316 Superior grade finish of Naman Steel or approved equivalent make with 1.5mm as shown in drawing with 90 degree rightangle sharp V grooving bending without radius and as per approval including marine ply thick 19mm thick framework as per vendor design. Metal to be cladded on 19mm marine plywood with apprpriate make silicone Mc coy produced soudal construction FC Silicone Sizes and spacing to be designed by bidder wit neat and clean appearance . No where screws should be visible . Metal panel shall be completed in all aspects as shown in drawing including all other necesary related works as specified and as directed by Engineer in Charge . Necessary cutout to be provided as specified . same shall be cleaned and handed over to the client . | 27.60 | Sqm |  | 6250.00 | 172500.00 | 199.00 | 5492.40 | 5000.00 | 138000.00 | 5492.40 | Rahul Constructions
1.88 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 100.00 | cum |  | 250.00 | 25000.00 | 222.00 | 22200.00 | 800.00 | 80000.00 | 22200.00 | Rahul Constructions
1.89 | Carriage of material By Mechanical Transport (Tractor with trolly) including loading,unloading and stacking of serviceable material at designated locations/Store and disposal of unserviceable material as per direction of EIC. | 10.00 | trip |  | 1200.00 | 12000.00 | 1999.00 | 19990.00 | 1500.00 | 15000.00 | 12000.00 | S.K. CONSTRUCTION
1.90 | Providing architectural/engineering consultancy with detailed 3-D concept design for the renovation of 1 VIP lounge and 1 toilet as per the items selected in estimate and preparataion of architectural/structural design drawings of selected 3-D concept design. Design should be based on latest BIS codes and standard engineering practice. The design shall be prepared by qualified and registered architectural/engineering consultant, approved by Engineer-in-charge, all complete as per existing drawings of VIP lounge and toilet. The agency shall be solely responsible for the adequacy and structural safety of the proposed structure. After approval of 3-D concept design, architectural/engineering drawing 3 (three) set of good for construction design & drawing showinig all relevant details shall be submitted duly signed by consultant and after completion of work as build drawing (03 sets) to b e submitted. | 1.00 | Job |  | 110000.00 | 110000.00 | 66666.00 | 66666.00 | 100000.00 | 100000.00 | 66666.00 | Rahul Constructions
2.00 | Electricial works :
2.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 29.00 | Point |  | 1250.00 | 36250.00 | 1599.00 | 46371.00 | 600.00 | 17400.00 | 17400.00 | RADHIKEY ENTERPRISES
2.02 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 40.00 | Point |  | 800.00 | 32000.00 | 888.00 | 35520.00 | 600.00 | 24000.00 | 24000.00 | RADHIKEY ENTERPRISES
2.03 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. (a)(2 X 2.5 sq. mm +1 X 2.5 sq. mm earth wire) | 215.00 | Meter |  | 280.00 | 60200.00 | 299.00 | 64285.00 | 140.00 | 30100.00 | 30100.00 | RADHIKEY ENTERPRISES
2.04 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess , including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 2.00 | Each |  | 450.00 | 900.00 | 499.00 | 998.00 | 600.00 | 1200.00 | 900.00 | S.K. CONSTRUCTION
2.05 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 150.00 | Metre |  | 350.00 | 52500.00 | 299.00 | 44850.00 | 170.00 | 25500.00 | 25500.00 | RADHIKEY ENTERPRISES
2.06 | Supplying and fixing following size/modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 3 Module (100mmx75mm) | 8.00 | Each |  | 225.00 | 1800.00 | 199.00 | 1592.00 | 180.00 | 1440.00 | 1440.00 | RADHIKEY ENTERPRISES
2.07 | Supplying and fixing following size /modules, GI box along with modulat base & Cover plate for modular switches in recess etc. as required. 6 Module | 13.00 | Each |  | 290.00 | 3770.00 | 299.00 | 3887.00 | 230.00 | 2990.00 | 2990.00 | RADHIKEY ENTERPRISES
2.08 | Supplying and fixing following modular switch/socket on the existing modular plate & switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A switch | 19.00 | Each |  | 110.00 | 2090.00 | 89.00 | 1691.00 | 70.00 | 1330.00 | 1330.00 | RADHIKEY ENTERPRISES
2.09 | Supplying and fixing following modular switch/socket on the existing modular plate & switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A switch | 8.00 | Each |  | 100.00 | 800.00 | 133.00 | 1064.00 | 150.00 | 1200.00 | 800.00 | S.K. CONSTRUCTION
2.10 | Supplying and fixing following modular switch/socket on the existing modular plate & switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 A socket outlet. | 19.00 | Each |  | 80.00 | 1520.00 | 99.00 | 1881.00 | 120.00 | 2280.00 | 1520.00 | S.K. CONSTRUCTION
2.11 | Supplying and fixing following modular switch/socket on the existing modular plate & switch/socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 A socket outlet. | 8.00 | Each |  | 140.00 | 1120.00 | 159.00 | 1272.00 | 180.00 | 1440.00 | 1120.00 | S.K. CONSTRUCTION
2.12 | Supplying and fixing following size/modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 2 Module (75mmx75mm) | 5.00 | Each |  | 200.00 | 1000.00 | 199.00 | 995.00 | 150.00 | 750.00 | 750.00 | RADHIKEY ENTERPRISES
2.13 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (Telephone socket outlet(RJ-11) ) | 3.00 | Each |  | 100.00 | 300.00 | 111.00 | 333.00 | 100.00 | 300.00 | 300.00 | RADHIKEY ENTERPRISES, S.K. CONSTRUCTION
2.14 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (TV antenna socket outlet) | 1.00 | Each |  | 200.00 | 200.00 | 111.00 | 111.00 | 200.00 | 200.00 | 111.00 | Rahul Constructions
2.15 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. (Conduit 25 mm) | 80.00 | Meter |  | 200.00 | 16000.00 | 222.00 | 17760.00 | 80.00 | 6400.00 | 6400.00 | RADHIKEY ENTERPRISES
2.16 | Supplying and drawing co-axial TV cable RG-6 grade, 0.7 mm solid copper conductor PE insulated, shielded with fine tinned copper braid and protected with PVC sheath in the existing surface/ recessed steel/ PVC conduit as required. | 100.00 | Meter |  | 35.00 | 3500.00 | 39.00 | 3900.00 | 40.00 | 4000.00 | 3500.00 | S.K. CONSTRUCTION
2.17 | Supplying and fixing of following ways surface/recess mounting, horizontal type three pole and neutral ,sheet steel , MCB distribution board , 415V, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, interconnections, powder painted including earthing etc.as required. (But without MCB/RCCB/Isolator) 6 way (4 +18),PPI DB , Double door | 1.00 | Meter |  | 11500.00 | 11500.00 | 11111.00 | 11111.00 | 10000.00 | 10000.00 | 10000.00 | RADHIKEY ENTERPRISES
2.18 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way, Double door | 1.00 | Each |  | 1600.00 | 1600.00 | 1777.00 | 1777.00 | 3500.00 | 3500.00 | 1600.00 | S.K. CONSTRUCTION
2.19 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way , Double door | 1.00 | Each |  | 1800.00 | 1800.00 | 1888.00 | 1888.00 | 3500.00 | 3500.00 | 1800.00 | S.K. CONSTRUCTION
2.20 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.(Single pole MCB 6-32 Amp) | 20.00 | Each |  | 165.00 | 3300.00 | 222.00 | 4440.00 | 190.00 | 3800.00 | 3300.00 | S.K. CONSTRUCTION
2.21 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 4.00 | Each |  | 25.00 | 100.00 | 11.00 | 44.00 | 30.00 | 120.00 | 44.00 | Rahul Constructions
2.22 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 volts, Miniature circuit breaker (MCB), in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 600.00 | 1200.00 | 699.00 | 1398.00 | 1500.00 | 3000.00 | 1200.00 | S.K. CONSTRUCTION
2.23 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 volts, miniature current circuit breaker (MCB), in the existing MCB DB complete with connections, testing and commissioning etc. as required (40 amps) | 3.00 | Each |  | 850.00 | 2550.00 | 999.00 | 2997.00 | 1500.00 | 4500.00 | 2550.00 | S.K. CONSTRUCTION
2.24 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 Volts, on surface /recess, complete with testing and commissioning etc. as required. For 6 way , Double door TPN MCBDB | 1.00 | Each |  | 1200.00 | 1200.00 | 999.00 | 999.00 | 4000.00 | 4000.00 | 999.00 | Rahul Constructions
2.25 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following single pole and neutral, sheet steel, MCB distribution board, 240 Volts, on surface /recess, complete with testing and commissioning etc. as required. For 12 way , Double door SPN MCBDB | 2.00 | Each |  | 650.00 | 1300.00 | 699.00 | 1398.00 | 4000.00 | 8000.00 | 1300.00 | S.K. CONSTRUCTION
2.26 | Supplying and fixing following rating , four pole , 415 V , isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63A | 1.00 | Each |  | 750.00 | 750.00 | 799.00 | 799.00 | 2200.00 | 2200.00 | 750.00 | S.K. CONSTRUCTION
2.27 | Supply of recessed mounted LED circular downlighter of rated capacity of 15W to 20 W, with minimum lumen output 95 lumens per Watt, pre die- cast aluminium housing, integrated driver and suitable to operate on 230-240V, 50Hz AC supply complete as per technical specification etc as required.( Make : Philips ( LuxSpace Pro) Model: DN590B M LED20S -6500 PSU WH WB or equivalent.) | 50.00 | Each |  | 2650.00 | 132500.00 | 2999.00 | 149950.00 | 1800.00 | 90000.00 | 90000.00 | RADHIKEY ENTERPRISES
2.28 | Supply of approx 4 feet length recessed LED luminaire of rated capacity 14 W to 20 W, minimum lumen output 95 lumens/Watt, with pre-wired luminaire, aluminium extruded linear lighting luminaires, internal wiring, integral electronic control driver complete etc. as required.( Make : Philips (PureLine Slim) Model: RC780X LED22S-6500 PSU W5L113 OD WH ) or equivalent.) | 44.00 | Each |  | 4500.00 | 198000.00 | 5222.00 | 229768.00 | 600.00 | 26400.00 | 26400.00 | RADHIKEY ENTERPRISES
2.29 | Supply of LED flexible type Strip Light complete with drivers etc. complete as required. ( Make : Philips, SkyCove LED Strip : LED Strip SKYCove 5M WW with driver or equivalent) | 30.00 | Mtr. |  | 250.00 | 7500.00 | 219.00 | 6570.00 | 300.00 | 9000.00 | 6570.00 | Rahul Constructions
2.30 | Supplying , installation , testing and commissioning of Passive Infrared(PIR) technology based occupancy,sensor having high performace , non regulated programmable type , suitable for connected load upto 10Amp , for mounting height up to 2.8 mtr and for 5 m diameter coverage area along with necessary fixing arrangements i/c programming at site etc. complete as required. | 7.00 | Each |  | 3500.00 | 24500.00 | 3999.00 | 27993.00 | 5000.00 | 35000.00 | 24500.00 | S.K. CONSTRUCTION
2.31 | Installation, testing and commissioning of pre-wired, LED Recess/ surface Mounted,15-20W LED fitting etc of item no-26 above fixtures with all accessories including nut bolt washer and hanging/fixing arrangements if required directly on existing in False ceiling / surface/ including connection as per site requirement. | 50.00 | Each |  | 260.00 | 13000.00 | 333.00 | 16650.00 | 1800.00 | 90000.00 | 13000.00 | S.K. CONSTRUCTION
2.32 | Installation, testing and commissioning of pre-wired,14-20 watt LED Slash LED Recess/ surface Mounted,LED light etc of item no-27 above fixtures with all accessories including nut bolt washer and hanging/fixing arrangements if required directly on existing in False ceiling / wall / surface including connection as per site requirement. | 44.00 | Each |  | 300.00 | 13200.00 | 333.00 | 14652.00 | 1800.00 | 79200.00 | 13200.00 | S.K. CONSTRUCTION
2.33 | Installation, testing and commissioning of pre-wired, LED strip on Recess/ surface etc of item no-28 above fixtures with all accessories includingwiring, hanging/fixing arrangements if required directly on existing in False ceiling / wall / surface including connection as per site requirement. | 30.00 | Each |  | 260.00 | 7800.00 | 299.00 | 8970.00 | 1500.00 | 45000.00 | 7800.00 | S.K. CONSTRUCTION
2.34 | Supplying and fixing modular type call bell/ buzzer with LED indication, suitable for single phase, 230 volts, complete as required. | 2.00 | Each |  | 600.00 | 1200.00 | 666.00 | 1332.00 | 800.00 | 1600.00 | 1200.00 | S.K. CONSTRUCTION
2.35 | Supply of following sizes of Power Cables, multi stranded conductor, XLPE Insulated, cores laid up, PVC tape / Extruded Inner sheathed , Armour, FRLS at outer sheathed,1100V grade as per IS 7098(Part 1) 1988 (a) 4 CORE 10 sq.mm. CU Ar. XLPE cable) | 25.00 | Meter |  | 600.00 | 15000.00 | 599.00 | 14975.00 | 500.00 | 12500.00 | 12500.00 | RADHIKEY ENTERPRISES
2.36 | Supply of following sizes of Power Cables, multi stranded conductor, XLPE Insulated, cores laid up, PVC tape / Extruded Inner sheathed , Armour, FRLS at outer sheathed,1100V grade as per IS 7098(Part 1) 1988 (a)3 CORE 6 sq.mm. CU Ar. XLPE cable | 65.00 | Meter |  | 250.00 | 16250.00 | 299.00 | 19435.00 | 300.00 | 19500.00 | 16250.00 | S.K. CONSTRUCTION
2.37 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on cable tray as required. Upto 35 sq. mm (clamped with 0.55mm thick saddle) | 45.00 | Meter |  | 30.00 | 1350.00 | 33.00 | 1485.00 | 400.00 | 18000.00 | 1350.00 | S.K. CONSTRUCTION
2.38 | Laying and fixing of one number PVC insulated and PVC sheathed power cable of 1.1 KV grade of following size on wall surface as requird. Upto 35 sq mm (clamped with 0.55mm thick saddle) | 45.00 | Meter |  | 38.00 | 1710.00 | 44.00 | 1980.00 | 400.00 | 18000.00 | 1710.00 | S.K. CONSTRUCTION
2.39 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required. (a)(4 C X 10 sq. mm) | 2.00 | Each |  | 220.00 | 440.00 | 219.00 | 438.00 | 300.00 | 600.00 | 438.00 | Rahul Constructions
2.40 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required (a)3 C X 6 sq. mm | 2.00 | Each |  | 150.00 | 300.00 | 129.00 | 258.00 | 300.00 | 600.00 | 258.00 | Rahul Constructions
2.41 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 30.00 | Each |  | 50.00 | 1500.00 | 61.00 | 1830.00 | 200.00 | 6000.00 | 1500.00 | S.K. CONSTRUCTION
2.42 | Supply & fixing of Heavy duty, Wall mounted,fully Automatic Hand Dryers suitable to operate on single phase,230V,50Hz AC supply having Stainless steel body,motor speed upto 2500 RPM, noise level upto 70dB,etc. | 4.00 | Each |  | 12500.00 | 50000.00 | 13999.00 | 55996.00 | 5000.00 | 20000.00 | 20000.00 | RADHIKEY ENTERPRISES
2.43 | Providing and fixing illuminated signs for washrooms and drinking water (refer design drawing 2.4a-S, 2.4a-G, Tata Elxsi Limited guidelines) including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge. Wall Mounted Utility Sign as per Tata elexi Guide Lines for Toilets Gents , Ledies , Drinking Water and PH Toilet. (450mm x 450mm x 50mm) | 4.00 | Each |  | 8000.00 | 32000.00 | 8999.00 | 35996.00 | 400.00 | 1600.00 | 1600.00 | RADHIKEY ENTERPRISES
2.44 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required.(Thickness 0.63 mm sheet) | 60.00 | Sqmtr. |  | 800.00 | 48000.00 | 849.00 | 50940.00 | 2000.00 | 120000.00 | 48000.00 | S.K. CONSTRUCTION
2.45 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required(Thickness 0.80 mm sheet) | 10.00 | Sqmtr. |  | 850.00 | 8500.00 | 999.00 | 9990.00 | 2000.00 | 20000.00 | 8500.00 | S.K. CONSTRUCTION
2.46 | Supplying & fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete as required. | 6.50 | Sqmtr. |  | 4500.00 | 29250.00 | 4999.00 | 32493.50 | 1500.00 | 9750.00 | 9750.00 | RADHIKEY ENTERPRISES
2.47 | Supplying and fixing of 19mm thickness duly laminated aluminium foil of mat finish closed cell Nitril rubber (Class "O" ) insulation on existing duct after applying suitable adhesive for Nitril rubber. The joint shall be sealed with 50mm wide and 3 mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required above. Valves should have pressure rating of 25 Bar minimum. | 15.00 | Sqmtr. |  | 560.00 | 8400.00 | 666.00 | 9990.00 | 1000.00 | 15000.00 | 8400.00 | S.K. CONSTRUCTION
2.48 | Supplying, installation, testing and commissioning of heavy duty inline exhaust fan with centrifugal blower and motor encased in sheet metal casing. The motor shall be suitable for 220 volt, 1 phase, 50 Hz, AC supply. The price shall include fan speed regulator etc. as required as per specification of following sizes.(2700 CFM With 15 mm static pressure) | 1.00 | Each |  | 36500.00 | 36500.00 | 43333.00 | 43333.00 | 6000.00 | 6000.00 | 6000.00 | RADHIKEY ENTERPRISES
2.49 | Supplying, fixing testing commissioning of supply air diffusers of powder coated aluminium with aluminium volume control dampers with anti smudge ring & removable core. | 3.00 | Sqmtr. |  | 8600.00 | 25800.00 | 9999.00 | 29997.00 | 600.00 | 1800.00 | 1800.00 | RADHIKEY ENTERPRISES
2.50 | Supply of 2 pair telephone cable having of 0.5 mm high conductivity, solid annealed bare copper with high density polyethylene insulation, paired, polyester and sheathed with high Oxygen Index, fire retardant, PVC compound, grey outer sheath. | 50.00 | Mtr |  | 15.00 | 750.00 | 17.00 | 850.00 | 40.00 | 2000.00 | 750.00 | S.K. CONSTRUCTION
2.51 | Supply of CAT6 , unarmored , 4 Pair unshielded twisted pair (UTP) LAN (Computer) cable. | 50.00 | Mtr |  | 30.00 | 1500.00 | 34.00 | 1700.00 | 50.00 | 2500.00 | 1500.00 | S.K. CONSTRUCTION
2.52 | Laying /drawing of telephone(2p) / data cable (4p) in existing 25 mm Metal/PVC conduit /casing capping complete as required. | 100.00 | Mtr |  | 20.00 | 2000.00 | 17.00 | 1700.00 | 50.00 | 5000.00 | 1700.00 | Rahul Constructions
| Total in Figures |  |  |  |  | 5590550.24 |  | 7552868.94 |  | 5945941.70
Lowest Amount Quoted BY: S.K. CONSTRUCTION(5590550.24)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of VIP Lounge, T-12 Toilet block in New Terminal Building at LBSI Airport, Varanasi Tender ID: 2023_AAI_153081_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S.K. CONSTRUCTION | 5590550.24 | L1
| 2 | RADHIKEY ENTERPRISES | 5945941.70 | L2
| 3 | Rahul Constructions | 7552868.94 | L3