## BoQ1
Government eProcurement System Created By: Malkit Singh Created Date/Time: 14-Jun-2023 04:15 PM Tender Title: Construction of Glide Path and Localizer Building and other associated works at Dehradun Airport Tender ID: 2023_AAI_154005_1
Tender Inviting Authority: AGM(E-C), AAI, Dehradun Airport, Dehradun
Name of Work: Construction of Glide Path & Localizer Building and other associated works at Dehradun Airport.
Contract No: 2023_AAI_154005_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S.K. CONSTRUCTION(GSTN-09ACHPY6641G1Z3) |  | M/S Mittal Construction Company(GSTN-03AFNPM7391E1ZA) |  | Umiya Construction(GSTN-24AABFU5911F1ZH) |  | R.G. Infrateck(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | 825.00 | Sqm |  | 65.00 | 53625.00 | 50.00 | 41250.00 | 140.00 | 115500.00 | 55.00 | 45375.00 | 41250.00 | M/S Mittal Construction Company
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | 145.00 | Cum |  | 145.00 | 21025.00 | 180.00 | 26100.00 | 140.00 | 20300.00 | 195.00 | 28275.00 | 20300.00 | Umiya Construction
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth,consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 75.00 | Cum |  | 125.00 | 9375.00 | 120.00 | 9000.00 | 90.00 | 6750.00 | 155.00 | 11625.00 | 6750.00 | Umiya Construction
4.00 | Excavating holes more than 0.10 cum & upto 0.5 cum including getting out the excavated soil, then returning the soil as required in layers not exceeding 20cm in depth, including consolidating each deposited layer by ramming, watering etc, disposing of surplus excavated soil, as directed within a lead of 50 m and lift upto 1.5 m. All kinds of soil | 6.00 | Each |  | 250.00 | 1500.00 | 200.00 | 1200.00 | 2500.00 | 15000.00 | 304.00 | 1824.00 | 1200.00 | M/S Mittal Construction Company
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 70.00 | Cum |  | 5860.00 | 410200.00 | 6000.00 | 420000.00 | 5700.00 | 399000.00 | 7150.00 | 500500.00 | 399000.00 | Umiya Construction
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 80.00 | Cum |  | 5140.00 | 411200.00 | 4500.00 | 360000.00 | 4400.00 | 352000.00 | 5650.00 | 452000.00 | 352000.00 | Umiya Construction
7.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for plain cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana/Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering and finishing as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the minimum specified cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level : Concrete of M25 grade with minimum cement content of 300 kg /cum | 75.00 | Cum |  | 7165.00 | 537375.00 | 6500.00 | 487500.00 | 7800.00 | 585000.00 | 6950.00 | 521250.00 | 487500.00 | M/S Mittal Construction Company
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 330.00 | Sqm |  | 165.00 | 54450.00 | 400.00 | 132000.00 | 550.00 | 181500.00 | 370.00 | 122100.00 | 54450.00 | S.K. CONSTRUCTION
9.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto and above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 9325.00 | Kg |  | 81.00 | 755325.00 | 90.00 | 839250.00 | 87.00 | 811275.00 | 86.00 | 801950.00 | 755325.00 | S.K. CONSTRUCTION
10.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarseaggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 95.00 | Cum |  | 7120.00 | 676400.00 | 7000.00 | 665000.00 | 8200.00 | 779000.00 | 7250.00 | 688750.00 | 665000.00 | M/S Mittal Construction Company
11.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 100.00 | Cum |  | 5265.00 | 526500.00 | 6500.00 | 650000.00 | 6400.00 | 640000.00 | 7450.00 | 745000.00 | 526500.00 | S.K. CONSTRUCTION
12.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | Each |  | 8500.00 | 17000.00 | 3000.00 | 6000.00 | 9000.00 | 18000.00 | 6175.00 | 12350.00 | 6000.00 | M/S Mittal Construction Company
13.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 2.00 | Each |  | 5500.00 | 11000.00 | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 4275.00 | 8550.00 | 8000.00 | M/S Mittal Construction Company
14.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2.00 | Each |  | 1250.00 | 2500.00 | 1500.00 | 3000.00 | 850.00 | 1700.00 | 2612.00 | 5224.00 | 1700.00 | Umiya Construction
15.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge Internal work - Exposed on wall 20 mm nominal dia Pipes | 50.00 | Mtr. |  | 350.00 | 17500.00 | 100.00 | 5000.00 | 250.00 | 12500.00 | 105.00 | 5250.00 | 5000.00 | M/S Mittal Construction Company
16.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 25 mm dia nominal bore | 200.00 | Mtr. |  | 450.00 | 90000.00 | 500.00 | 100000.00 | 450.00 | 90000.00 | 428.00 | 85600.00 | 85600.00 | R.G. Infrateck
17.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 2.00 | Each |  | 1200.00 | 2400.00 | 2000.00 | 4000.00 | 2800.00 | 5600.00 | 1425.00 | 2850.00 | 2400.00 | S.K. CONSTRUCTION
18.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 6.00 | Each |  | 900.00 | 5400.00 | 1500.00 | 9000.00 | 2100.00 | 12600.00 | 912.00 | 5472.00 | 5400.00 | S.K. CONSTRUCTION
19.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each |  | 21500.00 | 43000.00 | 35000.00 | 70000.00 | 25000.00 | 50000.00 | 75000.00 | 150000.00 | 43000.00 | S.K. CONSTRUCTION
20.00 | Providing and fixing of prefabricated (frangible hut) of size 8m x 5m (outer to outer) and 3000 mm height along the wall and 3500 mm at the centre. It is made of 50 mm thick sandwitch panel made of 2 mm thick FRP/GRP sheet at the outer sides and middle part consists of PU foam of density 40 kg/m3 which has to be installed in to the operational area. Provision of one no. of partition wall with partially glass door of size 920 mm(w) x 2000 mm (height) & locking arrangment and provision of one no. door of size 920 mm (w) x 2000 mm (h) with locking facility at the shorter side wall with a suitable provision necessary holes on wall for passing AC conduit and suitable provision necessary holes for electrical cable and a suitable provision necessary holes for NAV-AID cable as per requirement etc. The cost of the hut is inclusive of design, vetting of design by Govt. Engg. College, fabrication(i/c all fitting arrangements), transportation and commissioning of the hut at the proposed site as per drawing given in page No. .DRW-1 of tender document and speification over cement concrete platform (Cement Concrete platform shall be paid seperately). The exterior of the hut shall be provided with design of white and red squares (2 feet x 2 feet) and as per direction of E-I-C. All complete as per attached drawing and as directed by the Engineer-in-Charge. | 2.00 | Job |  | 1425600.00 | 2851200.00 | 1875000.00 | 3750000.00 | 1775000.00 | 3550000.00 | 2048438.00 | 4096876.00 | 2851200.00 | S.K. CONSTRUCTION
21.00 | Providing and fixing of prefabricated (frangible hut) of size 2m x 2m (outer to outer) and 3000 mm height along one wall and 3500 mm at the opposite wall. It is made of 50 mm thick sandwitch panel made of 2 mm thick FRP/GRP sheet at the outer sides and middle part consists of PU foam of density 40 kg/m3 which has to be installed in to the operational area. Provision of one no. door of size 920 mm (w) x 2000 mm (h) with locking facility at the higher side wall with a provision of necessary hole arrangements on wall for passing AC conduit and necessary hole arrangements for electrical cable and necessary hole arrangements for NAV-AID cable etc The cost of the hut is inclusive of design, vetting of design by Govt. Engg. College, fabrication (i/c all fitting arrangements), transportation and commissioning of the hut at the proposed site as per drawing given in page No.DRW-1 of tender document and speification over cement concrete platform (Cement Concrete platform shall be paid seperately). The exterior of the hut shall be provided with design of white and red squares (2 feet x 2 feet) and as per direction of E-I-C. All complete as per attached drawing and as directed by the Engineer-in-Charge. | 1.00 | Job |  | 321600.00 | 321600.00 | 425000.00 | 425000.00 | 450000.00 | 450000.00 | 296875.00 | 296875.00 | 296875.00 | R.G. Infrateck
22.00 | Providing and fixing of prefabricated (frangible hut) of size 2m x 2m (outer to outer) and 3000 mm height along one wall and 3500 mm at the opposite wall. It is made of 50 mm thick sandwitch panel made of 2 mm thick FRP/GRP sheet at the outer sides and middle part consists of PU foam of density 40 kg/m3 which has to be installed in to the operational area. Provision of one no. door of size 920 mm (w) x 2000 mm (h) with locking facility at the higher side wall with a provision of exhaust fan at higher wall and necessary hole arrangement for electrical installations and necessary hole arrangement for sanitary installations etc The cost of the hut is inclusive of design, vetting of design by Govt. Engg. College, fabrication (i/c all fitting arrangements), transportation and commissioning of the hut at the proposed site as per drawing given in page No..DRW-1 of tender document and speification over cement concrete platform (Cement Concrete platform shall be paid seperately). The exterior of the hut shall be provided with design of white and red squares (2 feet x 2 feet) and as per direction of E-I-C. All complete as per attached drawing and as directed by the Engineer-in-Charge. | 2.00 | Job |  | 316000.00 | 632000.00 | 425000.00 | 850000.00 | 465000.00 | 930000.00 | 296875.00 | 593750.00 | 593750.00 | R.G. Infrateck
23.00 | Earthwork i/c loading, carriage, unloading and spreading of available earth in ( with in AAI premises) layers at site all complete as per direction and satisfaction of Engineer-In-Charge. Upto 5 Km lead. | 71900.00 | Cum |  | 174.00 | 12510600.00 | 135.00 | 9706500.00 | 161.00 | 11575900.00 | 166.00 | 11935400.00 | 9706500.00 | M/S Mittal Construction Company
24.00 | Supply of following size XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1 KV grade conforming to IS:7098 (part-I) with up-to-date amendments complete as required. 3.5C X 240 sq.mm. | 600.00 | Meter |  | 1120.00 | 672000.00 | 1700.00 | 1020000.00 | 2050.00 | 1230000.00 | 1488.00 | 892800.00 | 672000.00 | S.K. CONSTRUCTION
25.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Above 185 sq. mm and upto 400 sq. mm | 550.00 | Meter |  | 140.00 | 77000.00 | 150.00 | 82500.00 | 130.00 | 71500.00 | 214.00 | 117700.00 | 71500.00 | Umiya Construction
26.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 185 sq. mm and upto 400 sq. mm | 50.00 | Meter |  | 180.00 | 9000.00 | 150.00 | 7500.00 | 110.00 | 5500.00 | 196.00 | 9800.00 | 5500.00 | Umiya Construction
27.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 90 mm dia (OD-90 mm & ID-76 mm nominal) | 600.00 | Meter |  | 280.00 | 168000.00 | 440.00 | 264000.00 | 280.00 | 168000.00 | 570.00 | 342000.00 | 168000.00 | S.K. CONSTRUCTION, Umiya Construction
28.00 | Supply & making end termination with brass compression gland and aluminium lugs for following size of PVC insulated & PVC sheathed / XLPE aluminium conductor cale of 1.1KV grade as required. 3.5 X 240 sq. mm | 16.00 | Set |  | 5500.00 | 88000.00 | 1500.00 | 24000.00 | 1000.00 | 16000.00 | 4008.00 | 64128.00 | 16000.00 | Umiya Construction
29.00 | Providing & Laying of 100 mm dia medium class G.I. Pipe 75 cm below the ground under the road for cable crossing I/c cutting of road, excavation, refilling and making good the same with cement concrete etc as reqd. | 50.00 | Meter |  | 800.00 | 40000.00 | 1800.00 | 90000.00 | 1500.00 | 75000.00 | 1425.00 | 71250.00 | 40000.00 | S.K. CONSTRUCTION
30.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 6.00 | Set |  | 12000.00 | 72000.00 | 15000.00 | 90000.00 | 13000.00 | 78000.00 | 32063.00 | 192378.00 | 72000.00 | S.K. CONSTRUCTION
31.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 50.00 | Meter |  | 1300.00 | 65000.00 | 1500.00 | 75000.00 | 1800.00 | 90000.00 | 4809.00 | 240450.00 | 65000.00 | S.K. CONSTRUCTION
32.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 150.00 | Meter |  | 500.00 | 75000.00 | 1000.00 | 150000.00 | 300.00 | 45000.00 | 3919.00 | 587850.00 | 45000.00 | Umiya Construction
33.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 250.00 | Meter |  | 510.00 | 127500.00 | 50.00 | 12500.00 | 50.00 | 12500.00 | 72.00 | 18000.00 | 12500.00 | M/S Mittal Construction Company, Umiya Construction
34.00 | Fabrication, supply, installation, testing and commisioning of cubical Indoor dust & vermin proof LT Panel of suitable size (1.8 X 1.4 X 0.5 or more) compartmentalised with hinged lockable doors made of 14SWG MS Sheet & base channel of 100mm i/c providing & fixing insulators, 250 Ampere bus bars, wiring etc complete as required as per specifications. The following switchgers shall be provided in the Panel: (Drawing attached ) INCOMING- 3.5C x 240sqmm a) 100 A, 36 kA, 4 pole MCCB - 1 Nos (Incomer) Legrand DPX 125 category no. 423618 or equivalent. b) 100 A, 36 kA, 4 pole MCCB - 1 No (Buscoupler) Legrand DPX 125 category no. 423618 or equivalent. c) 100 A, 4 pole Changeover switch (with 2 No. incoming & 1 No. outgoing)- 1 No (Changeover switch) Legrand DCX-M CHANGEOVER SWITCHE - category no.431122 or equivalent. (Both the incomers and bus couplers should be electrically and mechenically interlocked in such a way so that only 2 can be switched on at a time.) d) 63 A, 36 kA, 4 pole MCCB - 2 No (Outgoing) Legrand DPX 125 category no. 423616 or equivalent. e) TPN 63 A-2Nos, DP 40 A -2Nos, SP-16A-8Nos, SP-10A-4Nos f) Digital Ammeters (0 to 100Amps) -2 Nos. g) Digital Voltmeter(0 to 500volts) - 2 Nos. h) LED type Indicating Lamps - 5 Sets with ON, OFF, TRIP indication (at various switch gears) and 2 Sets with RYB Indication (for 2 Incomers) | 2.00 | Job |  | 14000.00 | 28000.00 | 650000.00 | 1300000.00 | 235000.00 | 470000.00 | 229247.00 | 458494.00 | 28000.00 | S.K. CONSTRUCTION
35.00 | Supply, installation, testing & commissioning of the following extensible cubicle, outdoor mounting, totally enclosed, free standing floor mounting, dust & vermin proof Feeder Pillar made out of 2 mm thick CRCA sheet with powder coated paint suitable for 415V 3 phase, 4 wire, 50 Hz, AC supply complete with a set of insulated link, front and back double doors with inner side asbestos sheet lining, double MS hinges and MS handles for opening the door, locking on both the doors with two keys for each lock, 2mm thick MS base plate for brass compression cable glands, danger plate, cable entry and cable connections from rear part, suitable G.I. earth bus with Protection IP-54 size 1050H*600W*400Dsq.mm and 600mm height stand (Job includes construction of cement concrete base with necessary brick work as per actual site requirement)with following, complete schematic drawing & specifications as required. INCOMING - 1 No -240 Sqmm Armoured. Aluminium Cable BUS-BAR- 1 set-4 x 300 Amps Aluminium Busbars made of electrolytic high conductivity aluminium of suitable size. OUTGOINGS- 1 No -240 Sqmm Armoured. Aluminium Cable | 4.00 | Job |  | 90000.00 | 360000.00 | 240000.00 | 960000.00 | 140000.00 | 560000.00 | 89063.00 | 356252.00 | 356252.00 | R.G. Infrateck
36.00 | Supply of indoor surface and wall mounted LED batten with polycarbonate housing & integrated electronic driver complete with all accessories. [Make: Havells, model- LUMILINEBS20WLED830SPCWH or equivalent) | 8.00 | Each |  | 6500.00 | 52000.00 | 3000.00 | 24000.00 | 500.00 | 4000.00 | 4453.00 | 35624.00 | 4000.00 | Umiya Construction
37.00 | Installation, Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 8.00 | Each |  | 1500.00 | 12000.00 | 500.00 | 4000.00 | 700.00 | 5600.00 | 1069.00 | 8552.00 | 4000.00 | M/S Mittal Construction Company
38.00 | Supply of 1400mm sweep ceiling fan suitable for operation on 220V, 50 HZ, single phase AC Supply complete with double pole ball bearing, motor, blades, steel downrod, canopy, capacitor etc.including all accessories. [Make: Crompton Greave, Usha, Havells or as per approved makes list] | 4.00 | Each |  | 8000.00 | 32000.00 | 3000.00 | 12000.00 | 2400.00 | 9600.00 | 4810.00 | 19240.00 | 9600.00 | Umiya Construction
39.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | 4.00 | Each |  | 1500.00 | 6000.00 | 500.00 | 2000.00 | 150.00 | 600.00 | 1247.00 | 4988.00 | 600.00 | Umiya Construction
40.00 | Supply of 1x45 watt LED street light made up of pressure die cast aluminium housing with high efficiency LED as lighting source and lens with Toughned Glass having Bottom Opening seperate driver compartment with IP66 protection and impact resistance of IK07.complete with all accessories as reqd. (make: Havells ENDURASUNDOWNSL45WLED765PASYBOPC or equivalent) | 4.00 | Each |  | 3000.00 | 12000.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 5344.00 | 21376.00 | 6000.00 | Umiya Construction
41.00 | Supplying and fixing of 32 mm dia x 2.00 meters long G.I. Pipe (medium class) bracket for mounting of LED street light fitting on pole including bending the pipe to the required shape, 40mm x 3mm flat iron clamps and wiring with 1.5 sq. mm FRLS PVC wire and painting the flat iron with primer and finish paints as reqd. | 4.00 | Each |  | 600.00 | 2400.00 | 2500.00 | 10000.00 | 800.00 | 3200.00 | 2672.00 | 10688.00 | 2400.00 | S.K. CONSTRUCTION
42.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 14.00 | Point |  | 1100.00 | 15400.00 | 2500.00 | 35000.00 | 800.00 | 11200.00 | 2316.00 | 32424.00 | 11200.00 | Umiya Construction
43.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 25.00 | Mtr |  | 280.00 | 7000.00 | 400.00 | 10000.00 | 270.00 | 6750.00 | 624.00 | 15600.00 | 6750.00 | Umiya Construction
44.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 30.00 | Mtr |  | 300.00 | 9000.00 | 600.00 | 18000.00 | 400.00 | 12000.00 | 1069.00 | 32070.00 | 9000.00 | S.K. CONSTRUCTION
45.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 30.00 | Mtr |  | 350.00 | 10500.00 | 300.00 | 9000.00 | 215.00 | 6450.00 | 624.00 | 18720.00 | 6450.00 | Umiya Construction
46.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 20.00 | Mtr |  | 700.00 | 14000.00 | 500.00 | 10000.00 | 370.00 | 7400.00 | 713.00 | 14260.00 | 7400.00 | Umiya Construction
47.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | 25.00 | Mtr |  | 600.00 | 15000.00 | 900.00 | 22500.00 | 550.00 | 13750.00 | 1069.00 | 26725.00 | 13750.00 | Umiya Construction
48.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 6 Module (200mmX75mm) | 4.00 | Each |  | 3500.00 | 14000.00 | 400.00 | 1600.00 | 350.00 | 1400.00 | 1158.00 | 4632.00 | 1400.00 | Umiya Construction
49.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A switch | 14.00 | Each |  | 600.00 | 8400.00 | 100.00 | 1400.00 | 85.00 | 1190.00 | 713.00 | 9982.00 | 1190.00 | Umiya Construction
50.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 4.00 | Each |  | 800.00 | 3200.00 | 400.00 | 1600.00 | 315.00 | 1260.00 | 1247.00 | 4988.00 | 1260.00 | Umiya Construction
51.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 4.00 | Each |  | 600.00 | 2400.00 | 60.00 | 240.00 | 42.00 | 168.00 | 277.00 | 1108.00 | 168.00 | Umiya Construction
52.00 | Supplying and fixing metal box (modular type) of 180mm x 100mm x 60mm deep (nominal size) on surface or in recess with suitable sizes Phenolic laminated sheet cover in the front including providing and fixing 3 pin 15/16 amps. Socket outlet and 15/16A Tumbler/piano type switch connection, painting etc. as reqd. (for power plug) | 8.00 | Each |  | 4500.00 | 36000.00 | 500.00 | 4000.00 | 444.00 | 3552.00 | 3563.00 | 28504.00 | 3552.00 | Umiya Construction
53.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 14.00 | Each |  | 1200.00 | 16800.00 | 250.00 | 3500.00 | 222.00 | 3108.00 | 2138.00 | 29932.00 | 3108.00 | Umiya Construction
54.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole and Neutral | 4.00 | Each |  | 600.00 | 2400.00 | 600.00 | 2400.00 | 555.00 | 2220.00 | 2672.00 | 10688.00 | 2220.00 | Umiya Construction
55.00 | Supplying and fixing following rating four pole 415 volts isolater in the existing MCB DB complete with connections, testing and commissioning etc as reqd. 63 Amp. | 4.00 | Each |  | 800.00 | 3200.00 | 600.00 | 2400.00 | 411.00 | 1644.00 | 3206.00 | 12824.00 | 1644.00 | Umiya Construction
56.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (4 + 12), Double door | 2.00 | Each |  | 2200.00 | 4400.00 | 4000.00 | 8000.00 | 3333.00 | 6666.00 | 38297.00 | 76594.00 | 4400.00 | S.K. CONSTRUCTION
57.00 | Jointing copper / G.I. tape (with another copper/ G I tape, base of the finial or any other metallic object) by riveting / nut bolting/ sweating and soldering etc as required. | 30.00 | Nos |  | 600.00 | 18000.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 3563.00 | 106890.00 | 3000.00 | Umiya Construction
58.00 | Supplying and Fixing of rubber mats suitable for working on 1.1 KV and confirming to IS:5425/69 with the following size and thickness. (Make- Jyoti) or equivalent. 1m x 2m x 2.5mm. | 10.00 | Nos |  | 2500.00 | 25000.00 | 3500.00 | 35000.00 | 1100.00 | 11000.00 | 5344.00 | 53440.00 | 11000.00 | Umiya Construction
59.00 | Providing and fixing Copper tape 20mm x 3mm thick on surface of infrastructure with clamps, insulator. Horizontal run for Lightening conductor | 80.00 | Mtr |  | 250.00 | 20000.00 | 500.00 | 40000.00 | 890.00 | 71200.00 | 3741.00 | 299280.00 | 20000.00 | S.K. CONSTRUCTION
60.00 | Providing and fixing Copper tape 20mm x 3mm thick on surface of infrastructure with clamps, insulator. Vertical Run | 25.00 | Mtr |  | 300.00 | 7500.00 | 500.00 | 12500.00 | 890.00 | 22250.00 | 3919.00 | 97975.00 | 7500.00 | S.K. CONSTRUCTION
61.00 | Providing and fixing of following length of lightening conductor final made of 25mm dia 2mm thich cu tube having tripple prong at top with cu base plate i/c stay wire, clamps, turn buckle and inulator etc as reqd. 5' length with trident prong. | 4.00 | No |  | 12000.00 | 48000.00 | 15000.00 | 60000.00 | 2000.00 | 8000.00 | 5344.00 | 21376.00 | 8000.00 | Umiya Construction
62.00 | Providing and fixing of following length of lightening conductor final made of 25mm dia 2mm thich cu tube having tripple prong at top with cu base plate i/c stay wire, clamps, turn buckle and inulator etc as reqd. 20' length eith trident prong. | 2.00 | No |  | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 2999.00 | 5998.00 | 26719.00 | 53438.00 | 5998.00 | Umiya Construction
63.00 | Supply, installtion, Testing and commissioning of three Phase Surge protecction device ( SPD) having 100KVA amplitude and 10/350 micro seconds neutral to earth , 50 kA 10/350 micro seconds line to neutral , with limiting voltage less than 1.5 KV with in built Aersol based fire exinguisher to be installed in parallel at the mains power entry point & shall be of modular type including copper wire 16 sqmm 12 mtrs for connectiing surge protection devie in parallel to the busbar of the main electrical panel, 63 amp 3 phase MCB 4 pole with enclosure alongwith all acessories as required for installing SPD.make- Seom-Prosurge Electronics co. ltd. | 2.00 | Job |  | 140000.00 | 280000.00 | 30000.00 | 60000.00 | 36500.00 | 73000.00 | 35625.00 | 71250.00 | 60000.00 | M/S Mittal Construction Company
64.00 | Supply of 3.0 TR Tower type Air conditioner 3 or more star rated, operating on Non-CFC refrigerant or as per recommendation of OEM, Floor mounting type consisiting of non-ductable single type room unit (Evaporator unit) with cordless remote control and one no. outdoor condensing unit conforming to IS 1391 (part 2) with up to date amendments suitable for operation on 415 V, 50 HZ, 3-phase AC supply capable of performing (a) Cooling (b) Dehumidifying (c) Air-Circulating (d) Filtering and i/c standard dimensions refrigerant piping-5 mtrs. and power cable 4/5 C x 4 Sqmm - 5 mtrs etc. complete as required as per technical specifications. Evaporator and condensing coils shall be made up of copper. | 4.00 | No. |  | 145000.00 | 580000.00 | 150000.00 | 600000.00 | 84000.00 | 336000.00 | 106875.00 | 427500.00 | 336000.00 | Umiya Construction
65.00 | Installation, testing and commissioning of 3.0 TR capacity tower type airconditioners including Supply & fixing of suitable iron stand for indoor & outdoor units, mounting of the indoor and outdoor units as per site requirement, laying of refrigerant piping and cables between indoor and outdoor units etc as per manufacturer's guidelines etc as reqd. | 4.00 | Job |  | 20000.00 | 80000.00 | 4000.00 | 16000.00 | 1500.00 | 6000.00 | 23750.00 | 95000.00 | 6000.00 | Umiya Construction
66.00 | Supply of refrigerent copper pipe of suitable size including insulation for above said Tower type airconditioners for interconnecting indoor and outdoor units etc. as required. | 50.00 | Meter |  | 700.00 | 35000.00 | 1500.00 | 75000.00 | 1111.00 | 55550.00 | 6145.00 | 307250.00 | 35000.00 | S.K. CONSTRUCTION
67.00 | Supply of electrical cable of suitable size for above said Tower type airconditioners for interconnecting indoor and outdoor units etc. as required. | 100.00 | Meter |  | 460.00 | 46000.00 | 200.00 | 20000.00 | 150.00 | 15000.00 | 214.00 | 21400.00 | 15000.00 | Umiya Construction
68.00 | Supply and fixing of 25 mm dia size hard PVC drain pipe for above said 3.0 TR capacity Tower type airconditioners | 25.00 | Meter |  | 160.00 | 4000.00 | 100.00 | 2500.00 | 1200.00 | 30000.00 | 89.00 | 2225.00 | 2225.00 | R.G. Infrateck
69.00 | Supply of 5 KVA rating automatic voltage stabilizer suitable for operation on 170 V - 280 V, I/P single phase, AC Supply with high/low voltage cut of time delay 2-3 min with O/P voltage 220 V + 9% I/C cable lead confirming to IS–specification etc. as required. (Make : MICROTEK, Model- EM-5170+or equivalent) | 4.00 | No. |  | 65000.00 | 260000.00 | 4500.00 | 18000.00 | 4000.00 | 16000.00 | 17813.00 | 71252.00 | 16000.00 | Umiya Construction
70.00 | Supply of 1.1 KV grade, XLPE insulated and PVC sheathed aluminium conductor, armoured LT Cable, conforming to IS 7098 (Part -1) 1988 with upto date amendments and as specified, of following sizes. 4C x 25 Sqmm | 20.00 | mtr. |  | 900.00 | 18000.00 | 250.00 | 5000.00 | 300.00 | 6000.00 | 277.00 | 5540.00 | 5000.00 | M/S Mittal Construction Company
71.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 20.00 | Mtr. |  | 800.00 | 16000.00 | 70.00 | 1400.00 | 100.00 | 2000.00 | 89.00 | 1780.00 | 1400.00 | M/S Mittal Construction Company
72.00 | Supplying and making indoor end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4C X 25 sq. mm (28mm) | 10.00 | Each |  | 8000.00 | 80000.00 | 200.00 | 2000.00 | 2000.00 | 20000.00 | 944.00 | 9440.00 | 2000.00 | M/S Mittal Construction Company
73.00 | Providing and fixing 4.00 mm dia copper wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 20.00 | mtr. |  | 1500.00 | 30000.00 | 50.00 | 1000.00 | 150.00 | 3000.00 | 267.00 | 5340.00 | 1000.00 | M/S Mittal Construction Company
74.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 4.00 | Each |  | 12000.00 | 48000.00 | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 6235.00 | 24940.00 | 4800.00 | M/S Mittal Construction Company
75.00 | Supplying and fixing 30 amps, 415 volts, TPN industrial type, socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 30 amps "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required | 4.00 | Each |  | 10000.00 | 40000.00 | 2500.00 | 10000.00 | 2200.00 | 8800.00 | 8372.00 | 33488.00 | 8800.00 | Umiya Construction
76.00 | Supply of portable type floor mounted Dehumidifier with PVC body, and humidity control capacity of approx. 22 Ltrs per day and water storage capacity of 3.5 to 4.0 Ltrs. suitable for operation on 220 V, single phase AC power supply. | 2.00 | Nos |  | 45600.00 | 91200.00 | 15000.00 | 30000.00 | 20000.00 | 40000.00 | 53438.00 | 106876.00 | 30000.00 | M/S Mittal Construction Company
77.00 | Supply of following sizes of exhaust fan complete suitable for operation on 220V, 50Hz, Single Phase AC Supply with all accessories such as, motor, blade, MS Powder Coated louvre shutter, capacitor etc. including all fixing accessories as required & as specified. a) 300mm sweep, 1400 rpm | 2.00 | Each |  | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 4000.00 | 8000.00 | 4453.00 | 8906.00 | 5000.00 | S.K. CONSTRUCTION, M/S Mittal Construction Company
78.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. A) Upto 450 mm sweep | 2.00 | Each |  | 650.00 | 1300.00 | 3500.00 | 7000.00 | 500.00 | 1000.00 | 1781.00 | 3562.00 | 1000.00 | Umiya Construction
79.00 | Supplying, installation, testing & commissioning sector panel suitable for following zones, complete with visual indications for short circuit fault, open circuit fault, fire condition and all other standard facilities as per IS:2189 with mimic diagram for all area/zone covered, complete with all connections, interconnections as required. 4 Zone | 2.00 | Each |  | 265000.00 | 530000.00 | 10000.00 | 20000.00 | 20000.00 | 40000.00 | 20484.00 | 40968.00 | 20000.00 | M/S Mittal Construction Company
80.00 | Supplying, installation, testing & commissioning of 2 Zone Auto Dialer Fire Alarm Panel with active LD system complete with all connections etc. as required. | 2.00 | Nos |  | 6000.00 | 12000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 27609.00 | 55218.00 | 12000.00 | S.K. CONSTRUCTION
81.00 | Supplying, installation, testing & commisssioning of intelligent addressable programmable sounder complete as required. | 2.00 | Nos |  | 25500.00 | 51000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 8016.00 | 16032.00 | 16032.00 | R.G. Infrateck
82.00 | Supplying, installation, testing & commissioning of addressable manual call point complete as required. | 2.00 | Nos |  | 30010.00 | 60020.00 | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 6769.00 | 13538.00 | 10000.00 | Umiya Construction
83.00 | Supplying & laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring annealed copper conductor having XLPE insulation, steel wire armouring & FRLS outer sheath complete as required. | 100.00 | mtr |  | 210.00 | 21000.00 | 100.00 | 10000.00 | 200.00 | 20000.00 | 295.00 | 29500.00 | 10000.00 | M/S Mittal Construction Company
84.00 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required. | 4.00 | Nos |  | 8000.00 | 32000.00 | 1500.00 | 6000.00 | 5000.00 | 20000.00 | 3117.00 | 12468.00 | 6000.00 | M/S Mittal Construction Company
85.00 | Supply and laying of high density polyethylene (HDPE) pipe having 40mm dia confirming to Indian Standard IS:4984 part II with latest amendment, complete with all associated accessories like ccouplers, bends, tee etc. in the soil upto 500 mm deep, back filling & making good the same as per site requirement ccomplete as required. | 7500.00 | mtr |  | 120.00 | 900000.00 | 333.00 | 2497500.00 | 285.00 | 2137500.00 | 107.00 | 802500.00 | 802500.00 | R.G. Infrateck
86.00 | Laying off armoured Fibre optic cable in the existing RCC/hume/stoneware/metal pipe/HDPE pipe/ covered duct etc. complete as required. | 7500.00 | mtr |  | 60.00 | 450000.00 | 90.00 | 675000.00 | 50.00 | 375000.00 | 134.00 | 1005000.00 | 375000.00 | Umiya Construction
87.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 Cement: 2 Coarse Sand : 4 graded stone aggregate 20 mm nominal size) of size 60 cm x60 cm at the bottom and 50 cm x 50 cm at the top with a thickness of 10 cm including inscription duly engraved as required. | 150.00 | No. |  | 250.00 | 37500.00 | 1000.00 | 150000.00 | 1481.00 | 222150.00 | 1781.00 | 267150.00 | 37500.00 | S.K. CONSTRUCTION
| Total in Figures |  |  |  |  | 25877295.00 |  | 27307140.00 |  | 27163331.00 |  | 28957989.00
Lowest Amount Quoted BY: S.K. CONSTRUCTION(25877295.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Glide Path and Localizer Building and other associated works at Dehradun Airport Tender ID: 2023_AAI_154005_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S.K. CONSTRUCTION | 25877295.00 | L1
| 2 | Umiya Construction | 27163331.00 | L2
| 3 | M/S Mittal Construction Company | 27307140.00 | L3
| 4 | R.G. Infrateck | 28957989.00 | L4