## BoQ1
Government eProcurement System Created By: Subhra Santa Ghosh Created Date/Time: 20-Jun-2023 12:18 PM Tender Title: Development of Cargo Terminal at BagdograAirport Tender ID: 2023_AAI_154048_1
Tender Inviting Authority: Jt. GM (E-C)
Name of Work: Development of Cargo Terminal at Bagdogra Airport.
Contract No: 2023_AAI_154048_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | unison construction(GSTN-19AENPG8335B3ZF) |  | Youngmen Traders(GSTN-19AEIPB6323B1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 12.46 | Cum |  | 6260.00 | 77999.60 | 6385.00 | 79557.10 | 77999.60 | unison construction
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). | 96.16 | Cum |  | 4950.00 | 475992.00 | 5049.00 | 485511.84 | 475992.00 | unison construction
3.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2.45 | Cum |  | 7109.00 | 17417.05 | 7251.00 | 17764.95 | 17417.05 | unison construction
4.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 6.14 | Cum |  | 8000.00 | 49120.00 | 8160.00 | 50102.40 | 49120.00 | unison construction
5.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 7.49 | Cum |  | 9830.00 | 73626.70 | 10027.00 | 75102.23 | 73626.70 | unison construction
6.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1408.05 | Kg |  | 105.00 | 147845.25 | 107.00 | 150661.35 | 147845.25 | unison construction
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 38.96 | Kg |  | 105.00 | 4090.80 | 107.00 | 4168.72 | 4090.80 | unison construction
8.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand). | 14.64 | Cum |  | 7950.00 | 116388.00 | 8109.00 | 118715.76 | 116388.00 | unison construction
9.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 27.90 | Sqm |  | 900.00 | 25110.00 | 918.00 | 25612.20 | 25110.00 | unison construction
10.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100x10 mm | 6.00 | Each |  | 45.00 | 270.00 | 46.00 | 276.00 | 270.00 | unison construction
11.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100 mm | 3.00 | Each |  | 44.00 | 132.00 | 45.00 | 135.00 | 132.00 | unison construction
12.00 | 25 mm thick PVC flush door shutters made out of a one piece Multi chamber extruded PVC section of the size of 762 mm X 25 mm or less as per requirement with an average wall thickness of 1 mm (± 0.3 mm).PVC foam end cap of size 23x10 mm are provided on both vertical edges to ensure the overall thickness of 25 mm. M.S. tube having dimensions 19 mm x 19 mm and 1.0 mm (± 0.1 mm) is inserted along the hinge side of the door. Core of the door shutter should be filled with High Density Polyurethane foam. The Top & Bottom edges of the shutter are covered with an end-cap of the size 25 mm X 11 mm. Door shutter shall be reinforced with special polymeric reinforcements as per manufacturer’s specification and direction of Engineer-in-charge to take up necessary hardware and fixtures. Stickers indicating the locations of hardware will be pasted at appropriate places. | 4.92 | Sqm |  | 2250.00 | 11070.00 | 2295.00 | 11291.40 | 11070.00 | unison construction
13.00 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with a wall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineerin-Charge. | 14.70 | Metre |  | 390.00 | 5733.00 | 398.00 | 5850.60 | 5733.00 | unison construction
14.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes. | 6218.58 | Kg |  | 149.00 | 926568.42 | 152.00 | 945224.16 | 926568.42 | unison construction
15.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 1527.99 | Kg |  | 140.00 | 213918.60 | 143.00 | 218502.57 | 213918.60 | unison construction
16.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 461.30 | Sqm |  | 790.00 | 364427.00 | 806.00 | 371807.80 | 364427.00 | unison construction
17.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Gutter (600 mm over all girth). | 29.20 | Metre |  | 950.00 | 27740.00 | 969.00 | 28294.80 | 27740.00 | unison construction
18.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand). | 62.25 | Sqm |  | 220.00 | 13695.00 | 224.00 | 13944.00 | 13695.00 | unison construction
19.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand). | 60.00 | Sqm |  | 250.00 | 15000.00 | 255.00 | 15300.00 | 15000.00 | unison construction
20.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 2071.96 | Sqm |  | 155.00 | 321153.80 | 158.00 | 327369.68 | 321153.80 | unison construction
21.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 416.26 | Sqm |  | 121.00 | 50367.46 | 123.00 | 51199.98 | 50367.46 | unison construction
22.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 3.74 | Cum |  | 2580.00 | 9649.20 | 2632.00 | 9843.68 | 9649.20 | unison construction
23.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar. | 25.19 | Cum |  | 1500.00 | 37785.00 | 1530.00 | 38540.70 | 37785.00 | unison construction
24.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: G.S. Sheet. | 33.75 | Sqm |  | 110.00 | 3712.50 | 112.00 | 3780.00 | 3712.50 | unison construction
25.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | 450.00 | Sqm |  | 120.00 | 54000.00 | 122.00 | 54900.00 | 54000.00 | unison construction
26.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 90.00 | Cum |  | 6260.00 | 563400.00 | 6385.00 | 574650.00 | 563400.00 | unison construction
27.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately). | 392.00 | Metre |  | 295.00 | 115640.00 | 301.00 | 117992.00 | 115640.00 | unison construction
28.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests. | 1.00 | Each |  | 4350.00 | 4350.00 | 4437.00 | 4437.00 | 4350.00 | unison construction
29.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid. | 2.00 | Each |  | 5000.00 | 10000.00 | 5100.00 | 10200.00 | 10000.00 | unison construction
30.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern. | 4.00 | Each |  | 8000.00 | 32000.00 | 8160.00 | 32640.00 | 32000.00 | unison construction
31.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap. | 2.00 | Each |  | 3500.00 | 7000.00 | 3570.00 | 7140.00 | 7000.00 | unison construction
32.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge: 15 mm nominal dia Pipes. | 10.00 | Metre |  | 350.00 | 3500.00 | 357.00 | 3570.00 | 3500.00 | unison construction
33.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge: 40 mm nominal dia Pipes. | 15.00 | Metre |  | 1200.00 | 18000.00 | 1224.00 | 18360.00 | 18000.00 | unison construction
34.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 4000.00 | Ltrs |  | 12.50 | 50000.00 | 13.00 | 52000.00 | 50000.00 | unison construction
35.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore. | 2.00 | Each |  | 650.00 | 1300.00 | 663.00 | 1326.00 | 1300.00 | unison construction
36.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore. | 9.00 | Each |  | 560.00 | 5040.00 | 571.00 | 5139.00 | 5040.00 | unison construction
37.00 | Providing and fixing unplasticised P.V.C. connection pipe with PTMT Nuts, collar and bush of approved quality and colour. 15 mm nominal bore with 30cm length. | 8.00 | Each |  | 95.00 | 760.00 | 97.00 | 776.00 | 760.00 | unison construction
38.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion. Powder coated aluminium (minimum thickness of powder coating 50 micron). | 158.35 | Kg |  | 560.00 | 88676.00 | 571.00 | 90417.85 | 88676.00 | unison construction
39.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS:12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side. | 16.08 | Sqm |  | 895.00 | 14391.60 | 913.00 | 14681.04 | 14391.60 | unison construction
40.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm). | 24.12 | Sqm |  | 1265.00 | 30511.80 | 1290.00 | 31114.80 | 30511.80 | unison construction
41.00 | Supply of following sizes XLPE insulated and PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098, Part-I 1988 with up to date amendments and confirming to technical specifications.(The outer sheath shall be FRLS.) (a) 3.5c x 35 Sq.mm | 200.00 | Mtr |  | 419.00 | 83800.00 | 440.00 | 88000.00 | 83800.00 | unison construction
41.10 | (b) 3c x 10 Sq.mm | 100.00 | Mtr |  | 295.00 | 29500.00 | 310.00 | 31000.00 | 29500.00 | unison construction
42.00 | Supply of LED suspended type (minimum 50 watt) luminaire suitable to operate on 140-270 V, 50 Hz, AC supply having pressure die cast aluminium housing/ Extruded aluminium/CRCA/standard alloy housing ,with minimum IP-65 protection,having efficacy of min 110 lm/W,Suitable for surface/suspended mounting, complete with all types of accessories, mounting device and driver ready to be installed at site as per Technical Specifications attached. | 22.00 | Each |  | 3300.00 | 72600.00 | 3465.00 | 76230.00 | 72600.00 | unison construction
43.00 | Supply of surface/recessed type 2' x 2' (minimum 36W) LED type downlighter suitable to operate on 140-270 V, 50 Hz, AC supply having Extruded aluminium/CRCA/standard alloy housing ,with minimum IP-20 protection,having efficacy of min 100 lm/W, complete with all types of accessories and driver ready to be installed at site as per Technical Specifications attached. | 20.00 | Each |  | 2000.00 | 40000.00 | 2100.00 | 42000.00 | 40000.00 | unison construction
44.00 | Supply of LED type flood light (minimum 100 watt) luminaire suitable to operate on 140-270 V, 50 Hz, AC supply having Extruded aluminium/CRCA/standard alloy housing ,with minimum IP65 protection,having efficacy of min 110 lm/W, complete with all types of accessories, mounting device and driver ready to be installed at site as per Technical Specifications attached. | 10.00 | Each |  | 6200.00 | 62000.00 | 6510.00 | 65100.00 | 62000.00 | unison construction
45.00 | Supply of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 18.00 | Each |  | 3800.00 | 68400.00 | 3990.00 | 71820.00 | 68400.00 | unison construction
46.00 | Supply of pedestal fan of minimum 400 mm sweep suitable to operate on 230 V, 50 Hz, single phase AC Supply complete as required for ready to be installed at site. | 5.00 | Each |  | 3500.00 | 17500.00 | 3675.00 | 18375.00 | 17500.00 | unison construction
47.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (a) Group C | 10.00 | Point |  | 1100.00 | 11000.00 | 1155.00 | 11550.00 | 11000.00 | unison construction
48.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. (a) Group C | 28.00 | Point |  | 1100.00 | 30800.00 | 1155.00 | 32340.00 | 30800.00 | unison construction
49.00 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. (a) 2x2.5 sq.mm. + 1x2.5 sq.mm. earth wire | 30.00 | Mtr |  | 245.00 | 7350.00 | 257.00 | 7710.00 | 7350.00 | unison construction
50.00 | Supply and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit as required. (a) 3x1.5 sq.mm. | 150.00 | Mtr |  | 80.00 | 12000.00 | 84.00 | 12600.00 | 12000.00 | unison construction
51.00 | Supplying and fixing of following sizes of steel conduit along with accessorice in surface/recessed including painting in case of surface conduit or cutting the wall and making good the same in case of recessed conduit as required. (a) 20 mm | 100.00 | Mtr |  | 195.00 | 19500.00 | 205.00 | 20500.00 | 19500.00 | unison construction
51.10 | (b) 25 mm | 30.00 | Mtr |  | 240.00 | 7200.00 | 252.00 | 7560.00 | 7200.00 | unison construction
52.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) (a) 4 way (4 + 12), Double door | 1.00 | Each |  | 3100.00 | 3100.00 | 3255.00 | 3255.00 | 3100.00 | unison construction
53.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) (a) 6 way, Double door | 1.00 | Each |  | 1500.00 | 1500.00 | 1575.00 | 1575.00 | 1500.00 | unison construction
54.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (a) Single pole | 10.00 | Each |  | 220.00 | 2200.00 | 231.00 | 2310.00 | 2200.00 | unison construction
54.10 | (b) Single pole & Neutral | 1.00 | Each |  | 550.00 | 550.00 | 578.00 | 578.00 | 550.00 | unison construction
54.20 | (c) Triple pole | 2.00 | Each |  | 900.00 | 1800.00 | 945.00 | 1890.00 | 1800.00 | unison construction
54.30 | (d) Triple pole & Neutral | 1.00 | Each |  | 1150.00 | 1150.00 | 1208.00 | 1208.00 | 1150.00 | unison construction
55.00 | ITC of pre-wired, fluorescent fitting /LED fitting/ compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 20.00 | Each |  | 168.00 | 3360.00 | 176.00 | 3520.00 | 3360.00 | unison construction
56.00 | ITC of pre-wired, LED midbay light of all types by supply and fixing of suitable chains, complete with all accessories, suspended from ceiling, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 22.00 | Each |  | 168.00 | 3696.00 | 176.00 | 3872.00 | 3696.00 | unison construction
57.00 | ITC of pre-wired, LED flood light type luminaries of all types by supply and fixing of suitable dia pole arm/clamp/iron channel in paraphet, complete with all accessories etc. directly on wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 10.00 | Each |  | 410.00 | 4100.00 | 431.00 | 4310.00 | 4100.00 | unison construction
58.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (a) Upto 35 sq. mm | 120.00 | Mtr |  | 25.00 | 3000.00 | 26.00 | 3120.00 | 3000.00 | unison construction
59.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required. (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 180.00 | Mtr |  | 30.00 | 5400.00 | 32.00 | 5760.00 | 5400.00 | unison construction
60.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed /XLPE aluminium conductor cable of 1.1 kV grade as required. (a) 3.5c x 35 sq. mm (32mm) | 10.00 | Set |  | 385.00 | 3850.00 | 404.00 | 4040.00 | 3850.00 | unison construction
61.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed /XLPE aluminium conductor cable of 1.1 kV grade as required. (a) 3.5c x 35 sq. mm | 2.00 | Set |  | 3600.00 | 7200.00 | 3780.00 | 7560.00 | 7200.00 | unison construction
62.00 | Providing, laying and fixing following dia ISI marked G.I. pipe (medium class) in ground/concreate/road crossing complete with all types of accessories including trenching (minimum 75 cm deep) and re-filling/making good the same with soil/concreate etc. as required. (a) 50mm dia. | 60.00 | Mtr |  | 590.00 | 35400.00 | 620.00 | 37200.00 | 35400.00 | unison construction
62.10 | (b) 80mm dia. | 30.00 | Mtr |  | 810.00 | 24300.00 | 851.00 | 25530.00 | 24300.00 | unison construction
63.00 | ITC of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 18.00 | Each |  | 175.00 | 3150.00 | 184.00 | 3312.00 | 3150.00 | unison construction
64.00 | Providing and fixing extra conduit down rod of 20 mm dia, 2 X 10 cm length wiring with 2 X 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored). | 10.00 | Each |  | 60.00 | 600.00 | 63.00 | 630.00 | 600.00 | unison construction
| Total in Figures |  |  |  |  | 4553386.78 |  | 4662355.61
Lowest Amount Quoted BY: unison construction(4553386.78)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Cargo Terminal at BagdograAirport Tender ID: 2023_AAI_154048_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | unison construction | 4553386.78 | L1
| 2 | Youngmen Traders | 4662355.61 | L2