## BoQ1
Government eProcurement System Created By: ANIL KUMAR Created Date/Time: 25-Jul-2023 12:04 PM Tender Title: Patna-Elevators, Escalators and Travellators Tender ID: 2023_AAI_154151_1
Tender Inviting Authority: AGM(Engg.-E)-ER, O/o Executive Director (Engg.)-ER & NER, Airports Authority of India, First Floor, Old R.D. Building, Safdarjung Airport, New Delhi – 110003
Name of Work: Construction of New Domestic Terminal Building and Other Structures (Phase I & II) at Patna Airport. SH: SITC of Elevators, Escalators and Travellators including AICMC
Contract No: Tender ID: 2023_AAI_154151_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Johnson Lifts Pvt Ltd(GSTN-33AAACJ0838Q1ZD) |  | ORBIS ELEVATOR CO LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing & commissioning of Machine Room Less electric traction type Heavy Duty Lifts of following Capacity & type, suitable for operation on 415 V + 10%, 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1 Mtr/sec, electromagnetic brake system, Simplex/ Duplex mode operations, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car and at all floors with UP/DOWN direction, light fixtures, ventilation fan, etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Devie (MRD) in the event of power failure etc., as required. The traction motor of machine room less Lift shall be of gearless type and placed inside the Lift hoist way. Elevators shall be compatible for BMS & Fire alarm system.
1.01 | 16 Passengers,1088 KG Capacity, 4 Stops, openings and entrance at front side on all the serving floors, automatic centre opening Glass door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 15.5 mtrs. (Approx) suitable for Simplex operation {L-02, L-05 & L-06} | 3.00 | Each |  | 2735000.00 | 8205000.00 | 2015000.00 | 6045000.00 | 6045000.00 | ORBIS ELEVATOR CO LTD
1.02 | 16 Passengers,1088 KG Capacity,3 Stops,openings and entrance at front side on all the serving floors, automatic centre opening Glass door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 15.5 mtrs. (Approx) suitable for Simplex operation. {L-01} | 1.00 | Each |  | 2538000.00 | 2538000.00 | 1970000.00 | 1970000.00 | 1970000.00 | ORBIS ELEVATOR CO LTD
1.03 | 16 Passengers,1088 KG Capacity,3 Stops,openings and entrance at front side on all the serving floors, automatic centre opening Glass door,car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 17.0 mtrs. (Approx) suitable for Simplex operation. {L-07 &L-12} | 2.00 | Each |  | 2540000.00 | 5080000.00 | 1995000.00 | 3990000.00 | 3990000.00 | ORBIS ELEVATOR CO LTD
1.04 | 29 Passengers,1972 KG Capacity,2 Stops,openings and entrance at front on all the serving floors, automatic centre opening Glass door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 10.0 mtrs. (Approx) suitable for Duplex operation. {L-03 & L-04} | 2.00 | Each |  | 3744000.00 | 7488000.00 | 2540000.00 | 5080000.00 | 5080000.00 | ORBIS ELEVATOR CO LTD
1.05 | 20 Passengers,1360 KG Capacity,2 Stops,openings and entrance at front side on all the serving floors, automatic centre opening Glass door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 10.0 mtrs. (Approx) suitable for Simplex operation. {L-08 & L-11} | 2.00 | Each |  | 2975000.00 | 5950000.00 | 2110000.00 | 4220000.00 | 4220000.00 | ORBIS ELEVATOR CO LTD
1.06 | 16 Passengers,1088 KG Capacity,2 Stops,openings and entrance at Opposite (reverse) side, automatic centre opening Glass door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 5.0 mtrs. (Approx) suitable for Simplex operation. {L-09, L-10 & L-14} | 3.00 | Each |  | 2543000.00 | 7629000.00 | 1880000.00 | 5640000.00 | 5640000.00 | ORBIS ELEVATOR CO LTD
1.07 | 1088 KG Capacity,2 Stops, openings and entrance at Opposite (reverse) side , automatic centre opening Stainless Steel Hairline finish door, car enclosure provided with Stainless Steel Hairline finish panel on sides and with travel height of 17.0mtrs. (Approx) suitable for Simplex operation. {L-13} | 1.00 | Each |  | 2520000.00 | 2520000.00 | 2045000.00 | 2045000.00 | 2045000.00 | ORBIS ELEVATOR CO LTD
2.00 | ESCALATORS Design, Supplying, Installation, Testing & Commissioning of Indoor type reversible Escalator having step width of 1000 mm and Escalator shall be of capable operating at 0.5 m/s, capacity of 6000 persons / hour having emergency push buttons at both end and middle, complete with all safety features motor, gear box, skirting etc suitable for both side operation complete as per drawing and specification complete as required including following: (i) Vertical Rise : 5 Meter (ii) Inclination : 30 Degree with surface (iii) Step Width : 1000 mm (Nominal) (iv) Flat Steps : 4 Flat Steps (v) Controller: Microprocessor based variable frequency regenerative drive (Closed Loop) (vi) Power-415 V + 10%, 3 phase, 50 Hz , 4 wires system. (vii) Type of balustrade: Height=1000 mm (Nominal), Thickness=10 mm tempered glass. (viii)Nominal Speed : 0.5 m/sec (ix)Traffic Flow Light : Both End (x) Machine : Worm Gear/Helical Gear (xi) Escalators shall be compatible for BMS & FADS system {ESC-1A,1B,2, 3, 4A, 4B} | 6.00 | Each |  | 4661000.00 | 27966000.00 | 4512000.00 | 27072000.00 | 27072000.00 | ORBIS ELEVATOR CO LTD
3.00 | TRAVELLATORS Design, Supplying, Installation, Testing & Commissioning of reversible Travellator (Moving walkway) on foot over bridge of total travel distance of 40 mtr (Nominal) having step width of 1000 mm and Travellator shall be of capable operating at 0.5 m/s, capacity of 6000 persons / hour having emergency push buttons at both end and at middle, complete with all safety features motor, gear box, skirting etc suitable for both side operations as per drawing and specification complete as required including following: (i) Travel Distance : 40 Meter (Nominal) (ii) Inclination : 0 Degree with surface (iii)Surface Inclination:- 3 deg (Approx) (iv) Step Width : 1000 mm (Nominal) (v) Controller: Microprocessor based variable frequency regenerative drive (Closed Loop) (vi) Power- 415 V + 10%, 3 phase, 50 Hz , 4 wires system. (vii) Type of balustrade: Height=1000 mm (Nominal), Thickness=10 mm tempered glass. (viii)Nominal Speed : 0.5 m/sec (ix)Traffic Flow Light : Both End (x) Machine : Worm Gear/Helical Gear (xi) Travellators shall be compatible for BMS & FADS system {TRAVELATOR-1, 2, 3 & 4} | 4.00 | Each |  | 8983500.00 | 35934000.00 | 9000000.00 | 36000000.00 | 35934000.00 | Johnson Lifts Pvt Ltd
4.00 | AICMC OF ELEVATORS Annual Comprehensive Maintenance Contract for Elevators of different sizes and capacity as mentioned at Sl. No. 1.1 to 1.7 for 14 years period after the expiry of defect liablity period of 1 year including providing all manpower, spares, consumable, tools etc. by carrying out monthly, quarterly, annual maintenance checks including carrying out preventive and breakdown maintenance activities as per OEM recommendation etc & as per conditions of contract.
4.01 | 1st Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 209524.00 | 2703655.79 | 107700.00 | 1389739.26 | 1389739.26 | ORBIS ELEVATOR CO LTD
4.02 | 2nd Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 222095.00 | 2641375.83 | 116300.00 | 1383155.90 | 1383155.90 | ORBIS ELEVATOR CO LTD
4.03 | 3rd Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 235421.00 | 2580355.41 | 125600.00 | 1376651.36 | 1376651.36 | ORBIS ELEVATOR CO LTD
4.04 | 4th Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 249546.00 | 2521013.51 | 135600.00 | 1369885.44 | 1369885.44 | ORBIS ELEVATOR CO LTD
4.05 | 5th Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 264519.00 | 2462671.89 | 146500.00 | 1363915.00 | 1363915.00 | ORBIS ELEVATOR CO LTD
4.06 | 6th Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 283035.00 | 2428610.12 | 158000.00 | 1355734.80 | 1355734.80 | ORBIS ELEVATOR CO LTD
4.07 | 7th Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 302848.00 | 2395103.69 | 171000.00 | 1352370.60 | 1352370.60 | ORBIS ELEVATOR CO LTD
4.08 | 8th Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 324047.00 | 2362237.82 | 184500.00 | 1344968.10 | 1344968.10 | ORBIS ELEVATOR CO LTD
4.09 | 9th Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 349971.00 | 2351315.16 | 199300.00 | 1339016.98 | 1339016.98 | ORBIS ELEVATOR CO LTD
4.10 | 10th Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 377969.00 | 2340459.64 | 215200.00 | 1332561.44 | 1332561.44 | ORBIS ELEVATOR CO LTD
4.11 | 11th Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 408206.00 | 2329386.72 | 232500.00 | 1326738.00 | 1326738.00 | ORBIS ELEVATOR CO LTD
4.12 | 12th Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 444945.00 | 2340321.71 | 251100.00 | 1320735.78 | 1320735.78 | ORBIS ELEVATOR CO LTD
4.13 | 13th Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 484990.00 | 2351328.52 | 271200.00 | 1314831.84 | 1314831.84 | ORBIS ELEVATOR CO LTD
4.14 | 14th Year after expiry of Defect Liablity Period (Each Elevator for 1 Year) | 14.00 | Job |  | 528639.00 | 2361641.87 | 293000.00 | 1308948.20 | 1308948.20 | ORBIS ELEVATOR CO LTD
5.00 | AICMC OF ESCALATORS Annual Comprehensive Maintenance Contract for Escalators of different sizes and capacity as mentioned at Sl. No. 2.0 for 14 years period after the expiry of defect liablity period of 1 year including providing all manpower, spares, consumable, tools etc. by carrying out monthly, quarterly, annual maintenance checks including carrying out preventive and breakdown maintenance activities as per OEM recommendation etc & as per conditions of contract.
5.01 | 1st Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 200000.00 | 1106040.00 | 234600.00 | 1297384.92 | 1106040.00 | Johnson Lifts Pvt Ltd
5.02 | 2nd Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 212000.00 | 1080564.00 | 253400.00 | 1291579.80 | 1080564.00 | Johnson Lifts Pvt Ltd
5.03 | 3rd Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 224720.00 | 1055599.73 | 273600.00 | 1285208.64 | 1055599.73 | Johnson Lifts Pvt Ltd
5.04 | 4th Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 238203.00 | 1031323.71 | 295500.00 | 1279396.80 | 1031323.71 | Johnson Lifts Pvt Ltd
5.05 | 5th Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 252495.00 | 1007455.05 | 319000.00 | 1272810.00 | 1007455.05 | Johnson Lifts Pvt Ltd
5.06 | 6th Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 270170.00 | 993523.16 | 345000.00 | 1268703.00 | 993523.16 | Johnson Lifts Pvt Ltd
5.07 | 7th Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 289082.00 | 979814.53 | 372300.00 | 1261873.62 | 979814.53 | Johnson Lifts Pvt Ltd
5.08 | 8th Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 309318.00 | 966371.30 | 402000.00 | 1255928.40 | 966371.30 | Johnson Lifts Pvt Ltd
5.09 | 9th Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 334063.00 | 961901.00 | 434000.00 | 1249659.60 | 961901.00 | Johnson Lifts Pvt Ltd
5.10 | 10th Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 360788.00 | 957459.19 | 469000.00 | 1244632.20 | 957459.19 | Johnson Lifts Pvt Ltd
5.11 | 11th Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 389651.00 | 952930.49 | 506500.00 | 1238696.40 | 952930.49 | Johnson Lifts Pvt Ltd
5.12 | 12th Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 424720.00 | 957403.82 | 547000.00 | 1233047.40 | 957403.82 | Johnson Lifts Pvt Ltd
5.13 | 13th Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 462945.00 | 961907.12 | 590800.00 | 1227564.24 | 961907.12 | Johnson Lifts Pvt Ltd
5.14 | 14th Year after expiry of Defect Liablity Period (Each Escalator for 1 Year) | 6.00 | Job |  | 504610.00 | 966126.31 | 638000.00 | 1221514.80 | 966126.31 | Johnson Lifts Pvt Ltd
6.00 | AICMC OF TRAVELLATORS Annual Comprehensive Maintenance Contract for Travellators of different sizes and capacity as mentioned at Sl. No. 3.0 for 14 years period after the expiry of defect liablity period of 1 year including providing all manpower, spares, consumable, tools etc. by carrying out monthly, quarterly, annual maintenance checks including carrying out preventive and breakdown maintenance activities as per OEM recommendation etc & as per conditions of contract.
6.01 | 1st Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 380972.00 | 1404567.57 | 468000.00 | 1725422.40 | 1404567.57 | Johnson Lifts Pvt Ltd
6.02 | 2nd Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 403830.00 | 1372214.34 | 505500.00 | 1717689.00 | 1372214.34 | Johnson Lifts Pvt Ltd
6.03 | 3rd Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 428060.00 | 1340512.70 | 546000.00 | 1709853.60 | 1340512.70 | Johnson Lifts Pvt Ltd
6.04 | 4th Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 453744.00 | 1309686.68 | 589000.00 | 1700089.60 | 1309686.68 | Johnson Lifts Pvt Ltd
6.05 | 5th Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 480968.00 | 1279374.88 | 637000.00 | 1694420.00 | 1279374.88 | Johnson Lifts Pvt Ltd
6.06 | 6th Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 514636.00 | 1261681.62 | 687000.00 | 1684249.20 | 1261681.62 | Johnson Lifts Pvt Ltd
6.07 | 7th Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 550661.00 | 1244273.60 | 742000.00 | 1676623.20 | 1244273.60 | Johnson Lifts Pvt Ltd
6.08 | 8th Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 589207.00 | 1227200.34 | 802000.00 | 1670405.60 | 1227200.34 | Johnson Lifts Pvt Ltd
6.09 | 9th Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 636343.00 | 1221524.02 | 867000.00 | 1664293.20 | 1221524.02 | Johnson Lifts Pvt Ltd
6.10 | 10th Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 687251.00 | 1215884.47 | 935500.00 | 1655086.60 | 1215884.47 | Johnson Lifts Pvt Ltd
6.11 | 11th Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 742231.00 | 1210133.42 | 1010000.00 | 1646704.00 | 1210133.42 | Johnson Lifts Pvt Ltd
6.12 | 12th Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 809032.00 | 1215813.29 | 1091000.00 | 1639554.80 | 1215813.29 | Johnson Lifts Pvt Ltd
6.13 | 13th Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 881845.00 | 1221531.69 | 1178000.00 | 1631765.60 | 1221531.69 | Johnson Lifts Pvt Ltd
6.14 | 14th Year after expiry of Defect Liablity Period (Each Travellator for 1 Year) | 4.00 | Job |  | 961211.00 | 1226889.72 | 1272000.00 | 1623580.80 | 1226889.72 | Johnson Lifts Pvt Ltd
7.00 | Note : 1. Rate quoted shall be inclusive of all taxes, duties, cess, fee, royalty charges etc. levied under any statute but exclusive of Goods & Services Tax (GST), which shall be paid to the contractor for any taxable supply / services / works against a valid tax invoice as per terms and conditions of the contract. 2. For further details of BOQ please refer tender document.
| Total in Figures |  |  |  |  | 169209185.43 |  | 152008990.12
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words (Iteration 0)
|  |  | Bidder Price | Amount in Words
1 | Johnson Lifts Pvt Ltd | 152008990.00 | Not Quoted | Not Quoted
2 | ORBIS ELEVATOR CO LTD | 152008990.00 | 151008990.00 | Fifteen Crore Ten Lakh Eight Thousand Nine Hundred and Ninty
Lowest Amount Quoted BY: ORBIS ELEVATOR CO LTD(151008990.00)

## BOQ Summary
BOQ Summary Details Tender Title: Patna-Elevators, Escalators and Travellators Tender ID: 2023_AAI_154151_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ORBIS ELEVATOR CO LTD | 152008990.12 | L1
| 2 | Johnson Lifts Pvt Ltd | 169209185.43 | L2