## BoQ1
Government eProcurement System Created By: Vinay Kumar Tamrakar Created Date/Time: 05-Jun-2023 03:42 PM Tender Title: Construction of CCR hall on first floor of existing New ESS at Raipur Airport. Tender ID: 2023_AAI_154267_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Construction of CCR hall on first of existing New ESS at Raipur Airport.
Contract No: 2023_AAI_154267_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BANSAL INDUSTRIES(GSTN-NA) |  | M/s Awadhesh Construction(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. (a)Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 37.50 | CUM |  | 1794.25 | 67284.38 | 1500.00 | 56250.00 | 56250.00 | M/s Awadhesh Construction
2.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 23.37 | cum |  | 2620.56 | 61252.97 | 1600.00 | 37398.40 | 37398.40 | M/s Awadhesh Construction
3.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: 1:1½:3 (1 cement : 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 3.60 | CUM |  | 8765.40 | 31555.44 | 4500.00 | 16200.00 | 16200.00 | M/s Awadhesh Construction
4.00 | Centering and shuttering including strutting, propping etc. and removal of form work for :
4.10 | Retaining walls, return walls, walls (any thickness) including attached pilasters, buttresses, plinth and string courses fillets, kerbs and steps etc. | 9.00 | SQM |  | 600.76 | 5406.84 | 400.00 | 3600.00 | 3600.00 | M/s Awadhesh Construction
5.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 10.00 | CUM |  | 9647.10 | 96471.00 | 4900.00 | 49000.00 | 49000.00 | M/s Awadhesh Construction
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for
6.10 | Suspended floors, roofs, landings, balconies and access platform | 20.00 | SQM |  | 686.06 | 13721.20 | 450.00 | 9000.00 | 9000.00 | M/s Awadhesh Construction
6.20 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 30.00 | SQM |  | 544.47 | 16334.10 | 475.00 | 14250.00 | 14250.00 | M/s Awadhesh Construction
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 780.00 | KG |  | 80.68 | 62930.40 | 90.00 | 70200.00 | 62930.40 | BANSAL INDUSTRIES
8.00 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 360.00 | SQM |  | 766.00 | 275760.00 | 500.00 | 180000.00 | 180000.00 | M/s Awadhesh Construction
9.00 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 5.0 in superstructure above plinth level up to floor five level in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 20.00 | CUM |  | 5218.00 | 104360.00 | 4700.00 | 94000.00 | 94000.00 | M/s Awadhesh Construction
10.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 180.00 | SQM |  | 263.60 | 47448.00 | 250.00 | 45000.00 | 45000.00 | M/s Awadhesh Construction
11.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Double charge vitrified tile polished finish of size of Tile 600 x 600 mm | 24.00 | Sqm |  | 1160.00 | 27840.00 | 925.00 | 22200.00 | 22200.00 | M/s Awadhesh Construction
12.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size 600 x 600 mm | 6.00 | Sqm |  | 1173.30 | 7039.80 | 950.00 | 5700.00 | 5700.00 | M/s Awadhesh Construction
13.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 18.00 | Sqm |  | 955.00 | 17190.00 | 850.00 | 15300.00 | 15300.00 | M/s Awadhesh Construction
14.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 160.00 | Sqm |  | 111.00 | 17760.00 | 110.00 | 17600.00 | 17600.00 | M/s Awadhesh Construction
15.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 160.00 | Sqm |  | 123.30 | 19728.00 | 125.00 | 20000.00 | 19728.00 | BANSAL INDUSTRIES
16.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 1160.00 | Kg |  | 79.47 | 92185.20 | 105.00 | 121800.00 | 92185.20 | BANSAL INDUSTRIES
17.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 5770.00 | Kg |  | 100.60 | 580462.00 | 125.00 | 721250.00 | 580462.00 | BANSAL INDUSTRIES
18.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Electric resistance or induction butt welded tubes | 9780.00 | Kg |  | 126.00 | 1232280.00 | 130.00 | 1271400.00 | 1232280.00 | BANSAL INDUSTRIES
19.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. (i) Single socketed pipes. 110 mm diameter | 60.00 | Mtr |  | 286.00 | 17160.00 | 225.00 | 13500.00 | 13500.00 | M/s Awadhesh Construction
20.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.
20.10 | Coupler 110 mm | 14.00 | each |  | 108.00 | 1512.00 | 95.00 | 1330.00 | 1330.00 | M/s Awadhesh Construction
20.20 | Bend 87.5° 110 mm bend | 14.00 | each |  | 118.00 | 1652.00 | 115.00 | 1610.00 | 1610.00 | M/s Awadhesh Construction
20.30 | Shoe (Plain) 110 mm Shoe | 12.00 | each |  | 104.00 | 1248.00 | 120.00 | 1440.00 | 1248.00 | BANSAL INDUSTRIES
21.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. 80x1.25 mm M.S. laths with 1.25 mm thick top cover | 15.00 | Sqm |  | 2700.00 | 40500.00 | 6000.00 | 90000.00 | 40500.00 | BANSAL INDUSTRIES
22.00 | Providing and fixing ball bearing for rolling shutters. | 2.00 | Each |  | 380.00 | 760.00 | 1500.00 | 3000.00 | 760.00 | BANSAL INDUSTRIES
23.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. Exceeding 10.00 sqm and upto 16.80 sqm in the area | 15.00 | Sqm |  | 996.00 | 14940.00 | 2500.00 | 37500.00 | 14940.00 | BANSAL INDUSTRIES
24.00 | Extra for providing grilled rolling shutters manufactured out of 8 mm dia M.S. bar instead of laths as per design approved by Engineer-in- charge, (area of grill to be measured). | 8.00 | Sqm |  | 600.70 | 4805.60 | 4000.00 | 32000.00 | 4805.60 | BANSAL INDUSTRIES
25.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including,required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 300.00 | Sqm |  | 1565.00 | 469500.00 | 1925.00 | 577500.00 | 469500.00 | BANSAL INDUSTRIES
26.00 | Providing and fixing rectangular high density polyethylene water storage loft tank with cover, conforming to ISI : 12701, colour of opaque white or as approved by Engineer-in-charge. The rate includes making necessary holes for inlet, outlet & over flow pipes. The base support i/c fittings & fixtures for tank shall be paid separately. | 1000.00 | Per liter |  | 8.80 | 8800.00 | 8.00 | 8000.00 | 8000.00 | M/s Awadhesh Construction
27.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
27.10 | For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 736.00 | Kg |  | 418.00 | 307648.00 | 595.00 | 437920.00 | 307648.00 | BANSAL INDUSTRIES
27.20 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 323.00 | Kg |  | 507.00 | 163761.00 | 600.00 | 193800.00 | 163761.00 | BANSAL INDUSTRIES
28.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge. Pre-laminated particle board with decorative lamination on both sides | 23.00 | Sqm |  | 854.00 | 19642.00 | 895.00 | 20585.00 | 19642.00 | BANSAL INDUSTRIES
29.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 55.00 | Sqm |  | 1190.00 | 65450.00 | 1350.00 | 74250.00 | 65450.00 | BANSAL INDUSTRIES
30.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 163.00 | Mtr |  | 76.50 | 12469.50 | 175.00 | 28525.00 | 12469.50 | BANSAL INDUSTRIES
31.00 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineerin-charge complete. 205 X 19 mm | 2.00 | each |  | 263.00 | 526.00 | 300.00 | 600.00 | 526.00 | BANSAL INDUSTRIES
32.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 20.00 | each |  | 211.00 | 4220.00 | 450.00 | 9000.00 | 4220.00 | BANSAL INDUSTRIES
33.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | 20.00 | each |  | 82.00 | 1640.00 | 250.00 | 5000.00 | 1640.00 | BANSAL INDUSTRIES
34.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100 mm | 28.00 | Each |  | 47.90 | 1341.20 | 120.00 | 3360.00 | 1341.20 | BANSAL INDUSTRIES
35.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 9.00 | Each |  | 56.00 | 504.00 | 90.00 | 810.00 | 504.00 | BANSAL INDUSTRIES
36.00 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineerin- charge Extruded section profile size 42x50 mm | 6.00 | Mtr |  | 251.70 | 1510.20 | 500.00 | 3000.00 | 1510.20 | BANSAL INDUSTRIES
37.00 | Providing and fixing to existing door frames. 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 1.80 | Sqm |  | 1605.00 | 2889.00 | 3000.00 | 5400.00 | 2889.00 | BANSAL INDUSTRIES
38.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 25.00 | Mtr |  | 460.32 | 11508.00 | 250.00 | 6250.00 | 6250.00 | M/s Awadhesh Construction
39.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work
39.10 | 20 mm nominal dia Pipes | 45.00 | Mtr |  | 247.20 | 11124.00 | 120.00 | 5400.00 | 5400.00 | M/s Awadhesh Construction
39.20 | 40 mm nominal dia Pipes | 30.00 | Mtr |  | 502.00 | 15060.00 | 350.00 | 10500.00 | 10500.00 | M/s Awadhesh Construction
40.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
40.10 | 25 mm nominal bore | 1.00 | Each |  | 477.00 | 477.00 | 900.00 | 900.00 | 477.00 | BANSAL INDUSTRIES
40.20 | 20 mm nominal bore | 1.00 | Each |  | 414.00 | 414.00 | 1250.00 | 1250.00 | 414.00 | BANSAL INDUSTRIES
40.30 | 40 mm nominal bore | 1.00 | Each |  | 634.00 | 634.00 | 1900.00 | 1900.00 | 634.00 | BANSAL INDUSTRIES
41.00 | Providing and fixing floor mounted, white vitreous china single piece, double traps syphonic water closet of approved brand/make, shape, size and pattern including integrated white vitreous china cistern of capacity 10 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. | 1.00 | Each |  | 14430.00 | 14430.00 | 4500.00 | 4500.00 | 4500.00 | M/s Awadhesh Construction
42.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 1.00 | Each |  | 1503.00 | 1503.00 | 4000.00 | 4000.00 | 1503.00 | BANSAL INDUSTRIES
43.00 | Providing Engineering Consultancy Services for Civil works including structural design of MS/hollow steel sections & existing RCC work, Polyisocyanurate roofing, Polyisocyanurate wall panneling etc., other services including submission of detailed drawings, working / shop drawings, Structural design shall be got approved / vetted from a Goverment Engineering College / NIT / IIT before execution of work. Shop / working drawings may be got approved from Engineer-in-charge before execution of work. All design shall be done as per tender specifications, as per provisions of NBC & other relevant codes i/c IS Codes etc. Any other details / design related to consultancy work which are essential for successful execution of works etc. shall also be provided complete as per direction and satisfaction of Engineer-in-Charge. | 1.00 | Job |  | 130088.00 | 130088.00 | 125000.00 | 125000.00 | 125000.00 | M/s Awadhesh Construction
44.00 | Providing and fixing Polyisocyanurate insulated sandwich panels, The wall panels shall be made up of 50mm thick composite PIR sandwich between Pre-Painted Galvanized Iron Sheet. The panels shall be made of micro ribbing Pre-Painted Galvanized Iron Sheet on both sides with 50mm thick layer of PIR of density of more than 40 kg/m3 as insulation. The wall panels will have tongue groove arrangement. Pre-Painted Galvanized Iron Sheet shall have minimum coating of 4-5micron epoxy primer and 25micron polyester top coat on the finish surface and 7-8micron primer alkyl base on reverse. The PPGI sheet shall have plastic protective guard film of minimum 25 microns to avoid scratches during transportation & installation. Material shall be Fire retardant type including CFC free PIR pannel should be GRIHA Certified. the cost shall also inclued the required hardware accessories such as U Channel, Clamling device etc. complete as per direction and satisfaction of Engineer-in-Charge. | 380.00 | SQM |  | 2730.00 | 1037400.00 | 2600.00 | 988000.00 | 988000.00 | M/s Awadhesh Construction
45.00 | Providing and fixing Polyisocyanurate insulated sandwich panels, The insulated Roofing shall be 50+30mm thick PIR insulated Sandwich panels with density of more than 40 Kg/m3. The top covering on roof panels will trapezoidal Pre-coated galvanized iron sheet with crest height 30±1mm,crest width 24±1mm and pitch 200±1mm & bottom covering on roof panels shall be micro ribbing Pre-coated galvanized iron sheet. Pre-Painted Galvanized Iron Sheet shall have minimum coating of 4-5micron epoxy primer and 25micron polyester top coat on the finish surface and 7-8micron primer alkyl base on reverse. The PPGI sheet shall have plastic protective guard film of minimum 25 microns to avoid scratches during transportation & installation. Material shall be Fire retardant type including CFC free PIR pannel should be GRIHA Certified. the cost shall also inclued the required hardware accessories such as required Channel, Clamling device threaded GI sheet down rods etc. complete as per direction and satisfaction of Engineer-in-Charge. | 400.00 | Sqm |  | 2873.40 | 1149360.00 | 3000.00 | 1200000.00 | 1149360.00 | BANSAL INDUSTRIES
46.00 | Providing & Grouting of dowel tubes / Shear keys / Joints of precast members with M-60 grade cementitious grout (Non Shrink) of approved make by suitable means ( Free flowing /pump),curing etc. Complete as per directions of Engineer-in-charge. (The payment shall be made on the basis of actual weight of approved grout injected.) Stirrer mixed cementitious grout (non shrink) of approved make in dowel tubes / Shear keys / Joints of precast members. | 2150.00 | Kg |  | 68.70 | 147705.00 | 30.00 | 64500.00 | 64500.00 | M/s Awadhesh Construction
47.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : (a) Ridges plain (500 - 600mm) | 26.00 | Mtr |  | 404.00 | 10504.00 | 500.00 | 13000.00 | 10504.00 | BANSAL INDUSTRIES
48.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : (b) Flashings/ Aprons.( Upto 600 mm) | 84.00 | Mtr |  | 380.00 | 31920.00 | 700.00 | 58800.00 | 31920.00 | BANSAL INDUSTRIES
49.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : (c) Gutter (600 mm over all girth) | 52.00 | Mtr |  | 1000.00 | 52000.00 | 500.00 | 26000.00 | 26000.00 | M/s Awadhesh Construction
50.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 400.00 | Sqm |  | 118.00 | 47200.00 | 100.00 | 40000.00 | 40000.00 | M/s Awadhesh Construction
51.00 | Providing and fixing in position Soil Waste PVC pipe and vent or antisyphonage pipes supreme/ Astral/ Finolex make or equivalent as per IS - 13592(working pressure of 6kg/ cm2) including cutting, jointing with approve solvent cement compount as per IS - 14735, wastage etc. complete as per manufacturer's specifications and satisfaction of Engineer-in-charge. 100mm dia | 15.00 | Mtr |  | 390.00 | 5850.00 | 200.00 | 3000.00 | 3000.00 | M/s Awadhesh Construction
52.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 2.00 | Each |  | 390.00 | 780.00 | 1300.00 | 2600.00 | 780.00 | BANSAL INDUSTRIES
53.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15 mm nominal bore | 2.00 | Each |  | 449.00 | 898.00 | 1300.00 | 2600.00 | 898.00 | BANSAL INDUSTRIES
54.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 2.00 | Each |  | 77.00 | 154.00 | 125.00 | 250.00 | 154.00 | BANSAL INDUSTRIES
| Total in Figures |  |  |  |  | 6588496.82 |  | 6876728.40
Lowest Amount Quoted BY: BANSAL INDUSTRIES(6588496.82)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of CCR hall on first floor of existing New ESS at Raipur Airport. Tender ID: 2023_AAI_154267_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BANSAL INDUSTRIES | 6588496.82 | L1
| 2 | M/s Awadhesh Construction | 6876728.40 | L2