## BoQ1
Government eProcurement System Created By: RAVICHANDRAN SEETHARAMAN Created Date/Time: 16-Jun-2023 05:11 PM Tender Title: Construction of Compound wall, Perimeter Road, RCC Drain for NITB at Trichy Airport. S.H. Electrical Works Tender ID: 2023_AAI_154896_1
Tender Inviting Authority: Assistant General Manager (Engg-Elect), AAI, Trichy International Airport, Trichy - 620 007.
Name of Work: Construction of Compound wall, Perimeter Road,RCC Drain for NITB at Trichy Airport. S.H:Electrical Works.
Contract No: AAI/TRY/E-E/PROJECT/BOUNDARY WALL/2023
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | surbhi association(GSTN-23AGKPD2522N1ZK) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | LAKSHMI ELECTRICAL WORKS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I Supply of Cables Supply of XLPE insulated,screened extruded PVC type ST2 inner sheath, extruded PVC outer sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1978 with upto date amendments etc as required for the following sizes.(Make : As per approved list.) 3.5C X 95 sq.mm | 700.00 | Mtr |  | 425.00 | 297500.00 | 415.00 | 290500.00 | 492.00 | 344400.00 | 490.00 | 343000.00 | 449.00 | 314300.00 | 410.00 | 287000.00 | 287000.00 | LAKSHMI ELECTRICAL WORKS
2.00 | Supply of XLPE insulated,screened extruded PVC type ST2 inner sheath, extruded PVC outer sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1978 with upto date amendments etc as required for the following sizes.(Make : As per approved list.) 4C x 16 Sqmm. | 1500.00 | Mtr |  | 138.00 | 207000.00 | 130.00 | 195000.00 | 149.00 | 223500.00 | 150.00 | 225000.00 | 139.00 | 208500.00 | 140.00 | 210000.00 | 195000.00 | vk sam engineering
3.00 | SH:II : SITC of LED lights,Outdoor Feeder pillar,GI poles Supply of pole mounted street light LED luminaries, IP65, having minimum lumen output of 4950 lm, system efficacy not less than 110 lumen/watt, control driver with more than 4kV surge suppressor, made up of pressure die cast aluminum alloy housing with toughened glass/tempered protective custom moulded poly carponate diffuser fixed to the housing with SS screws, powered by built in potted, isolated electronic LED driver , suitable to operate on single phase, 50Hz AC supply, meeting with requirements specfied in the technical specification. | 40.00 | Each |  | 1890.00 | 75600.00 | 1787.00 | 71480.00 | 2500.00 | 100000.00 | 2500.00 | 100000.00 | 1889.00 | 75560.00 | 2425.00 | 97000.00 | 71480.00 | vk sam engineering
4.00 | Supply and fixing of LED Highbay downlight luminaries, IP65, having minimum lumen output of 8250 lm, system efficacy not less than 110 lumen/watt, control driver with more than 4kV surge suppressor, made up of pressure die cast aluminum alloy housing with toughened glass/tempered protective custom moulded poly carponate diffuser fixed to the housing with SS screws, powered by built in potted, isolated electronic LED driver , suitable to operate on single phase, 50Hz AC supply i/c. provision og suitable clamps ,interconection with 3Cx2.5 PVC insulated flexiable copper cable as per site condition . meeting with requirements specfied in the technical specification | 6.00 | Each |  | 3960.00 | 23760.00 | 5415.00 | 32490.00 | 5000.00 | 30000.00 | 5000.00 | 30000.00 | 5399.00 | 32394.00 | 3375.00 | 20250.00 | 20250.00 | LAKSHMI ELECTRICAL WORKS
5.00 | Fabrication and Supply of GI pole of 65 mm dia class B, up to max length of 6mtrs in which one side making wrinkle free bend up to a length of 1mtr with an angle not morethan 20 degree and suitable reducer to fix the item no 2 other end welded with 12mm thick MS/GI base plate (300X300X12mm) with 4no holes and frontside U shape cutting for accommodating the 50mm dia GI pipe along with pole so as overall height of the pole shall be 5mtr including two coats of aluminium painting and pole number etc as required. | 37.00 | Nos |  | 6300.00 | 233100.00 | 9701.00 | 358937.00 | 9500.00 | 351500.00 | 9500.00 | 351500.00 | 4969.00 | 183853.00 | 4700.00 | 173900.00 | 173900.00 | LAKSHMI ELECTRICAL WORKS
6.00 | Supply of IP65, IK08, Thermoplastic polycarbonate junction box of size 225mm (L) x 295mm (H) x 122 mm (D), Anti corrosive, dust, water, instulated an shock proof on the existing tubular pole with suitable MS clamp including providing & fixing 1no. 6A SP MCB B series and Din rail mounting 32 A terminal connector feed through (coloured R,Y,B &N) -4nos. connections etc. complete as required. | 37.00 | Nos |  | 1200.00 | 44400.00 | 3451.00 | 127687.00 | 2300.00 | 85100.00 | 2300.00 | 85100.00 | 2999.00 | 110963.00 | 1590.00 | 58830.00 | 44400.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.00 | SITC of out door feeder pillar IP54, double door weather proof cubical panel fabricated from 2mm thick CRCA sheet duly rust inhibited dust and vermin proof and powder coated complete with rubbers gasket, hinged compartments, door, removable gland plated for cable entry, busbar. cable chamber, sheet steel compartment segregation name plate inter connections of busbar earthing, to accommodate the following accessories mentioned below etc as required. (i/c cement concrete foundations) 1. 200 Amps, 25 KA ,415V, 50 Hz 4 pole TM,MCCB with rotary handle - 1 Nos incomer. 2. 32 Amps, 25 KA , 415 V, 4 pole ,TM, MCCB with rotary handle - 7 Nos outgoings 3.Indication lamp LED type (RYB) - 8 set (both incomer and out going) 4. DIN Type HRC fuse - 1 set for incomer. 5. Digital multifunctional meter with CTs- 1 No. 6. Contactors 4P - 40A with 2NO + 2NC - 3nos 7. (0-24)Hrs Analog Timers - 3 nos | 1.00 | Job |  | 205000.00 | 205000.00 | 315875.00 | 315875.00 | 200000.00 | 200000.00 | 200000.00 | 200000.00 | 252999.00 | 252999.00 | 125000.00 | 125000.00 | 125000.00 | LAKSHMI ELECTRICAL WORKS
8.00 | Installation, testing and commissioning of Street LED fitting on existing pole with 3C x 2.5 sqmm PVC insulated flexiable copper cable from cable looping box to fitting and wiring fromJunction box to light fititing including fixing of Junction junction box on the pole etc as required. Excluding cement concrete for foundation. | 37.00 | Nos |  | 400.00 | 14800.00 | 1353.00 | 50061.00 | 400.00 | 14800.00 | 400.00 | 14800.00 | 199.00 | 7363.00 | 500.00 | 18500.00 | 7363.00 | CHENNAI ENGINEERING SERVICES
9.00 | Construction of RCC foundation suitable for installation of 5mtr tubular pole with 1:2:4 Cement concrete to the required depth (600X600X1000mm) as per special conditions(1:cement :2coarse sand:4graded stone aggregate 20mm nominal size)and necessary base concrete of 1:3:6 for 100mm thickness below the pole foundation (1cement :3 fine sand : 6graded stone aggregate 40mm nominal size) suitable finishing on surface above the ground level with grouting 4nos GI -J bolt 700mm length boltnuts and washers for installation of tubular pole etc., complete as required. (including Reinforcement for RCC work including straightening,cutting,bending, placing in position and binding all complete) | 37.00 | Job |  | 6000.00 | 222000.00 | 7125.00 | 263625.00 | 3500.00 | 129500.00 | 3500.00 | 129500.00 | 3999.00 | 147963.00 | 3750.00 | 138750.00 | 129500.00 | surbhi association, M/s LEESHA ELECTRICALS
10.00 | Providing & fixing of 50 mm dia class "B" GI pipe of 2 Mtr length with existing pole including cutting , making bending to recieve cables and threading as required, providing with one no of rubber bush with holes suitable to receive 2no of 4 x 16 Sqmm and 2 nos of 6 SWG GI wire etc complete as required. | 37.00 | Job |  | 1150.00 | 42550.00 | 1127.00 | 41699.00 | 1200.00 | 44400.00 | 1200.00 | 44400.00 | 1469.00 | 54353.00 | 1450.00 | 53650.00 | 41699.00 | vk sam engineering
11.00 | Providing & fixing of 50 mm dia class "B" GI pipe for Concrete / Bitumen road crossings, including excvation up to 50 cm, laying pipe, filling top layer of 150 mm thisck with 1:2:4 concrete, neat finish etc as required as per site condition. | 24.00 | Mtr |  | 1200.00 | 28800.00 | 1444.00 | 34656.00 | 800.00 | 19200.00 | 800.00 | 19200.00 | 799.00 | 19176.00 | 950.00 | 22800.00 | 19176.00 | CHENNAI ENGINEERING SERVICES
12.00 | SH:III : laying of cables ,DWC pipe ,Termination and Earthing Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/DWC/HDPE/ METAL pipe as required. Upto 35 sq. mm | 1400.00 | Mtr |  | 40.00 | 56000.00 | 49.00 | 68600.00 | 25.00 | 35000.00 | 25.00 | 35000.00 | 29.00 | 40600.00 | 30.00 | 42000.00 | 35000.00 | surbhi association, M/s LEESHA ELECTRICALS
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/DWC/HDPE/ METAL pipe as required. Above 35 sq. mm and upto 95 sq. mm | 700.00 | Mtr |  | 60.00 | 42000.00 | 62.00 | 43400.00 | 50.00 | 35000.00 | 50.00 | 35000.00 | 39.00 | 27300.00 | 22.50 | 15750.00 | 15750.00 | LAKSHMI ELECTRICAL WORKS
14.00 | Supplying and making end termination with brass flame proof double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 95 Sq.mm (45mm) | 2.00 | Set |  | 650.00 | 1300.00 | 676.00 | 1352.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 999.00 | 1998.00 | 1350.00 | 2700.00 | 1000.00 | surbhi association, M/s LEESHA ELECTRICALS
15.00 | Supplying and making end termination with brass flame proof double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4C x 16 Sqmm. (28mm) | 94.00 | Set |  | 300.00 | 28200.00 | 202.00 | 18988.00 | 150.00 | 14100.00 | 150.00 | 14100.00 | 439.00 | 41266.00 | 450.00 | 42300.00 | 14100.00 | surbhi association, M/s LEESHA ELECTRICALS
16.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 10.00 | Set |  | 8500.00 | 85000.00 | 6768.00 | 67680.00 | 7500.00 | 75000.00 | 7500.00 | 75000.00 | 4999.00 | 49990.00 | 7500.00 | 75000.00 | 49990.00 | CHENNAI ENGINEERING SERVICES
17.00 | Providing and laying earth connections from earth electrode with 6 SWG dia. G.I. Wire in 15 mm. dia. G.I. Pipe from earth electrode as required. | 100.00 | Mtr |  | 210.00 | 21000.00 | 270.00 | 27000.00 | 220.00 | 22000.00 | 220.00 | 22000.00 | 199.00 | 19900.00 | 150.00 | 15000.00 | 15000.00 | LAKSHMI ELECTRICAL WORKS
18.00 | Providing and fixing 6SWG dia. G.I. Wire on surface or in recess for loop earthing alongwith the existing surface / recessed conduit / submain wiring / cable as required. | 1400.00 | Mtr |  | 26.00 | 36400.00 | 23.00 | 32200.00 | 35.00 | 49000.00 | 35.00 | 49000.00 | 19.00 | 26600.00 | 70.00 | 98000.00 | 26600.00 | CHENNAI ENGINEERING SERVICES
19.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand :4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 15.00 | Each |  | 800.00 | 12000.00 | 1083.00 | 16245.00 | 500.00 | 7500.00 | 500.00 | 7500.00 | 379.00 | 5685.00 | 1200.00 | 18000.00 | 5685.00 | CHENNAI ENGINEERING SERVICES
20.00 | Supplying and laying of 63 mm dia (OD-63 mm & ID-51 mm nominal) DWC HDPE pipe, 450N, ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 2100.00 | Mtr |  | 240.00 | 504000.00 | 306.00 | 642600.00 | 150.00 | 315000.00 | 150.00 | 315000.00 | 169.00 | 354900.00 | 180.00 | 378000.00 | 315000.00 | surbhi association, M/s LEESHA ELECTRICALS
21.00 | Excavation work in foundation trenches or drains not exceeding 1.5m in width or 10 sqm on plan including dressing of sides and ramming of bottoms lift up to 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50m. Hard rock (blastering prohibted) | 4.00 | Cum |  | 1500.00 | 6000.00 | 4512.00 | 18048.00 | 300.00 | 1200.00 | 300.00 | 1200.00 | 799.00 | 3196.00 | 6500.00 | 26000.00 | 1200.00 | surbhi association, M/s LEESHA ELECTRICALS
22.00 | SH:IV SITC of split AC, Motorized sliding gate & internal wiring Supply of 1.5TR ,above ISEER 4.5, Split Type Air Conditioners, Invertor with 5 Star Rating, fitted with Hermetically Sealed or Rotary or Scroll or Reciprocating Compressors, Operating on Refriegerant eco friendly green gas suitable for wall mounting , Conforming to IS suitable for operation on 230 V. 50 Hz. Single Phase, AC Supply capable of performing, Dehumidifying, Air Circulating, Filtering, drain and including supply of refrigerant pipe and drain pipe as per OEM standard length , Outdoor Unit support stand as per site requirement. | 2.00 | Nos |  | 44000.00 | 88000.00 | 30638.00 | 61276.00 | 35200.00 | 70400.00 | 35000.00 | 70000.00 | 39999.00 | 79998.00 | 32050.00 | 64100.00 | 61276.00 | vk sam engineering
23.00 | Installation of Testing Commissioning of 1.5 Ton 5 Star Inverter Split AC including Wall Cutting, Hole Cutting , Plastering and making wall good condition & electrical connection with wire,fixing stablizer , complete as required. | 2.00 | Job |  | 1500.00 | 3000.00 | 3063.00 | 6126.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 1999.00 | 3998.00 | 1250.00 | 2500.00 | 2500.00 | LAKSHMI ELECTRICAL WORKS
24.00 | Laying of Extra copper Refrigerant Piping with insulation along with Electrical Cable from Indoor to Outdoor with clamping including beyond standard length available with supply ac i.e 3 mtr.etc. Complete as required as per tonnage requirement of respective split ac Complete as required. . [Suitable for 1.5 TR] | 5.00 | Mtr |  | 650.00 | 3250.00 | 2527.00 | 12635.00 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 599.00 | 2995.00 | 700.00 | 3500.00 | 2995.00 | CHENNAI ENGINEERING SERVICES
25.00 | Laying of Extra Drain piping of diameter 1/2 inch beyond 3.5 Meters etc. Complete as required. | 10.00 | Mtr |  | 80.00 | 800.00 | 387.00 | 3870.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 59.00 | 590.00 | 115.00 | 1150.00 | 590.00 | CHENNAI ENGINEERING SERVICES
26.00 | Supplying of Wall Mounting Type, 4KVA Capacity, single phase, automatic line voltage stabilzer, suitable operation on 170 volts to 270 volts AC input, 200 volts to 240 volts AC output, single phase, 50HZ AC power supply with built in time delay, high voltage cut off at 275, and low voltage cut off at 165 volts and input/output/trip indications and suitable for application of 1.5 Ton Air conditioning unit etc as required. | 2.00 | Job |  | 2800.00 | 5600.00 | 4512.00 | 9024.00 | 3500.00 | 7000.00 | 3500.00 | 7000.00 | 1999.00 | 3998.00 | 1690.00 | 3380.00 | 3380.00 | LAKSHMI ELECTRICAL WORKS
27.00 | SITC of electromechanical sliding gate motor of minimum capacity of 3 HP including Star Delta starter & Motor Gear Box mechanism, to suitable existing MS gate including control unit ,metal rack ,flashing light, push button local/remote switch ,photocells, electrical junction box with suitable size electrical cables for interconnection up to JB from motor, modifying the existing gate if required , civil foundation etc as required. | 4.00 | Job |  | 85000.00 | 340000.00 | 178912.00 | 715648.00 | 160000.00 | 640000.00 | 159000.00 | 636000.00 | 189999.00 | 759996.00 | 169000.00 | 676000.00 | 340000.00 | LAKSHMI ELECTRICAL ENTERPRISES
28.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH HPVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc as required. Group C Point | 25.00 | Point |  | 750.00 | 18750.00 | 1710.00 | 42750.00 | 900.00 | 22500.00 | 900.00 | 22500.00 | 759.00 | 18975.00 | 1400.00 | 35000.00 | 18750.00 | LAKSHMI ELECTRICAL ENTERPRISES
29.00 | Wiring for light/ power plug with 2X4 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No 4 sq. mm FRLSH PVC insulated copper conductor single core cable for loop earthing as required. | 20.00 | Mtr |  | 190.00 | 3800.00 | 292.00 | 5840.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 169.00 | 3380.00 | 328.00 | 6560.00 | 3380.00 | CHENNAI ENGINEERING SERVICES
30.00 | Wiring for light/ power plug with 4X4 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 2 Nos 4 sq. mm FRLSH PVC insulated copper conductor single core cable for loop earthing as required. | 20.00 | Mtr |  | 280.00 | 5600.00 | 384.00 | 7680.00 | 450.00 | 9000.00 | 450.00 | 9000.00 | 279.00 | 5580.00 | 470.00 | 9400.00 | 5580.00 | CHENNAI ENGINEERING SERVICES
31.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSHH PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X2.5 sq. mm earth wire | 50.00 | Mtr |  | 300.00 | 15000.00 | 243.00 | 12150.00 | 250.00 | 12500.00 | 250.00 | 12500.00 | 159.00 | 7950.00 | 70.00 | 3500.00 | 3500.00 | LAKSHMI ELECTRICAL WORKS
32.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 20mm | 20.00 | Mtr |  | 85.00 | 1700.00 | 189.00 | 3780.00 | 75.00 | 1500.00 | 75.00 | 1500.00 | 79.00 | 1580.00 | 73.00 | 1460.00 | 1460.00 | LAKSHMI ELECTRICAL WORKS
33.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 25mm | 20.00 | Mtr |  | 105.00 | 2100.00 | 161.00 | 3220.00 | 95.00 | 1900.00 | 95.00 | 1900.00 | 109.00 | 2180.00 | 84.00 | 1680.00 | 1680.00 | LAKSHMI ELECTRICAL WORKS
34.00 | Supplying and fixing suitable size GI box with modular plate and cover in FRLSHH on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. 6 pin 15/16 A socket outlet | 4.00 | Nos |  | 725.00 | 2900.00 | 509.00 | 2036.00 | 500.00 | 2000.00 | 500.00 | 2000.00 | 669.00 | 2676.00 | 670.00 | 2680.00 | 2000.00 | surbhi association, M/s LEESHA ELECTRICALS
35.00 | Supplying and drawing following sizes of FRLSH PVC insulate copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. a)3X1.5 Sq.mm | 30.00 | Mtr |  | 60.00 | 1800.00 | 63.00 | 1890.00 | 70.00 | 2100.00 | 70.00 | 2100.00 | 99.00 | 2970.00 | 97.00 | 2910.00 | 1800.00 | LAKSHMI ELECTRICAL ENTERPRISES
36.00 | Supplying and fixing following way, Vertical type three pole and neutral, sheet steel, MCB distribution board,IP 43, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder ainted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way (8+ 36), Double door | 1.00 | No |  | 10500.00 | 10500.00 | 16245.00 | 16245.00 | 11000.00 | 11000.00 | 11000.00 | 11000.00 | 7599.00 | 7599.00 | 8300.00 | 8300.00 | 7599.00 | CHENNAI ENGINEERING SERVICES
37.00 | Supplying and fixing following way, Vertical type three pole and neutral, sheet steel, MCB distribution board,IP 43, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder ainted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (4+24 ) Double door TPN DB | 1.00 | No |  | 9500.00 | 9500.00 | 12184.00 | 12184.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 4999.00 | 4999.00 | 5185.00 | 5185.00 | 4000.00 | surbhi association, M/s LEESHA ELECTRICALS
38.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve,miniature circuit breaker suitable for inductive load of following poles in the existingMCB DB complete with connections, testing and commissioning etc. as required. A). Single pole | 50.00 | Nos |  | 190.00 | 9500.00 | 292.00 | 14600.00 | 175.00 | 8750.00 | 175.00 | 8750.00 | 239.00 | 11950.00 | 167.00 | 8350.00 | 8350.00 | LAKSHMI ELECTRICAL WORKS
39.00 | Supplying and fixing 32 amps rating, 415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Tripple Pole with Neutral 32 Amps MCB | 6.00 | Nos |  | 1400.00 | 8400.00 | 2075.00 | 12450.00 | 2000.00 | 12000.00 | 2000.00 | 12000.00 | 999.00 | 5994.00 | 840.00 | 5040.00 | 5040.00 | LAKSHMI ELECTRICAL WORKS
40.00 | Supplying and fixing Cable End Boxes (IP 43) suitable for following tripple pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with testing and commissioning etc., For 12Way, double Door TPN MCB DB | 1.00 | Nos |  | 2900.00 | 2900.00 | 1353.00 | 1353.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 2799.00 | 2799.00 | 2700.00 | 2700.00 | 1353.00 | vk sam engineering
41.00 | Supplying and fixing Cable End Boxes (IP 43) suitable for following tripple pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with testing and commissioning etc., For 4Way, double Door TPN MCB DB | 1.00 | Nos |  | 1950.00 | 1950.00 | 1083.00 | 1083.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 1999.00 | 1999.00 | 900.00 | 900.00 | 900.00 | LAKSHMI ELECTRICAL WORKS
42.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP, MCB, insheet steel enclosure, on surface or in recess, with chained metal cover for thesocket out let and complete with connections, testing and commissioning etc., as required. | 2.00 | Nos |  | 925.00 | 1850.00 | 1995.00 | 3990.00 | 1200.00 | 2400.00 | 1200.00 | 2400.00 | 1299.00 | 2598.00 | 1500.00 | 3000.00 | 1850.00 | LAKSHMI ELECTRICAL ENTERPRISES
43.00 | Supplying and fixing 30 A, 415 V, TPN Industrial type socket,with 4 pole and earth, metal enclosed plug topalongwith 20 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc., as required. | 3.00 | Nos |  | 8100.00 | 24300.00 | 3362.00 | 10086.00 | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 3299.00 | 9897.00 | 2625.00 | 7875.00 | 7875.00 | LAKSHMI ELECTRICAL WORKS
44.00 | Supply and fixing with all accessories of surface/ wall mounted 40W, 4 feet LED Tube Light indoor Fixture with aluminium housing and integrated electronic driver complete with all accesories having minimum lumen output of 4000lm suitable to operate on 230 V single phase, 50Hz AC supply in line with tender specifications complete as required. | 6.00 | Nos |  | 850.00 | 5100.00 | 1444.00 | 8664.00 | 350.00 | 2100.00 | 350.00 | 2100.00 | 1229.00 | 7374.00 | 815.00 | 4890.00 | 2100.00 | surbhi association, M/s LEESHA ELECTRICALS
45.00 | Supply and fixing of wall mounting fan size 450mm sweep, 3 speed control button,3 blade, minimum air delivery 100 M3/Min,vertical adjustment angle facility ,with speed control knob ,energy efficient suitable to operate 230V supply, 50Hz. etc as required | 4.00 | Nos |  | 6600.00 | 26400.00 | 7671.00 | 30684.00 | 2250.00 | 9000.00 | 2200.00 | 8800.00 | 3999.00 | 15996.00 | 2650.00 | 10600.00 | 8800.00 | M/s LEESHA ELECTRICALS
46.00 | Supply and fixing 300 mm dia Heavy duty ,1400 RPM, Metal Exhaust fan including making hole,providing shutter ,interconnection ,suitable to operate single phase supply ,50 Hz, etc as required as per site condition. | 2.00 | Each |  | 2400.00 | 4800.00 | 4061.00 | 8122.00 | 2900.00 | 5800.00 | 3000.00 | 6000.00 | 4999.00 | 9998.00 | 2650.00 | 5300.00 | 4800.00 | LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  |  | 2783910.00 |  | 3725509.00 |  | 2957150.00 |  | 2952850.00 |  | 2956928.00 |  | 2794390.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(2783910.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Compound wall, Perimeter Road, RCC Drain for NITB at Trichy Airport. S.H. Electrical Works Tender ID: 2023_AAI_154896_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 2783910.00 | L1
| 2 | LAKSHMI ELECTRICAL WORKS | 2794390.00 | L2
| 3 | M/s LEESHA ELECTRICALS | 2952850.00 | L3
| 4 | CHENNAI ENGINEERING SERVICES | 2956928.00 | L4
| 5 | surbhi association | 2957150.00 | L5
| 6 | vk sam engineering | 3725509.00 | L6