## BoQ1
Government eProcurement System Created By: Bidyut Roy Created Date/Time: 22-Jun-2023 12:36 PM Tender Title: Construction of New DVOR at Kolhapur Airport. Tender ID: 2023_AAI_154987_1
Tender Inviting Authority: Asst. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, KOLHAPUR AIRPORT, KOLHAPUR.
Name of Work: Construction of New DVOR at Kolhapur Airport. SH : Electrical Works.
Contract No: 2023 _AAI_154987_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OK AGENCIES(GSTN-27ABDPJ0462B1Z9) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | Virtus Techno(GSTN-NA) |  | Skumar Electricals(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.1 KV grade aluminium conductor & XLPE insulated and PVC sheathed armoured cable of following sizes conforming to IS:1554(Part 1)1988 / IS:7098 (Part 1) with up to date ammendments. 3.5 X 300 sq mm | 4000.00 | Mtr |  | 1306.00 | 5224000.00 | 1320.00 | 5280000.00 | 1214.00 | 4856000.00 | 1471.50 | 5886000.00 | 1620.00 | 6480000.00 | 4856000.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
2.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Above 185 sq. mm and upto 400 sq. mm | 4000.00 | Mtr |  | 60.00 | 240000.00 | 60.00 | 240000.00 | 68.00 | 272000.00 | 175.50 | 702000.00 | 110.00 | 440000.00 | 240000.00 | OK AGENCIES, Techno Electricals
3.00 | Supplying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. complete as required. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 3900.00 | Mtr |  | 125.00 | 487500.00 | 140.00 | 546000.00 | 130.00 | 507000.00 | 162.00 | 631800.00 | 130.00 | 507000.00 | 487500.00 | OK AGENCIES
4.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 3900.00 | Mtr |  | 100.00 | 390000.00 | 140.00 | 546000.00 | 113.00 | 440700.00 | 162.00 | 631800.00 | 30.00 | 117000.00 | 117000.00 | Skumar Electricals
5.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable. 3.5C X 300 sq.mm | 12.00 | Set |  | 1000.00 | 12000.00 | 1500.00 | 18000.00 | 1716.00 | 20592.00 | 2909.25 | 34911.00 | 3254.00 | 39048.00 | 12000.00 | OK AGENCIES
6.00 | Supply, installation, testing and commissioning of vermin & dust proof, front operated cubicle type, indoor type extendable LT panel board made out of 14 SWG thick (min. 2mm) CRCA sheet duly rust inhibited, powder coated, fully compartmentalized complete with double hinged front door with lockable wagon handle with name plates, heavy duty rubber gaskets, removable gland plates made out of 3 mm thick sheet steel, IP 54 and all other parameters to be as per specification etc. with following: 1) Incomer of 02 nos 200A,25KA 4Pole MCCB with Magnetic release and Neutral link (overload adjustable), 2) Outgoing of (i) 03 nos 160A 25 KA 4Pole MCCB with Magnetic release and Neutral link (overload adjustable), (ii) Outgoing of 04 nos 63A 4Pole MCB, 3) Automatic Transfer Switch: 250A, 4 pole ( Make : HPL model no. LV430320 or equivalent) 4) 300A TPN Busbars of high conductivity electrolytic quality Aluminium Alloy ,50 mm channel base frame, 5) Earth bar: 50mmX5mm, 6) LED indication lamp for phase indication and ON-OFF indication: 3+3+6+6=18 nos 7) 3-phase Multi function meter for Incomers: 02 no. etc complete as required. | 1.00 | Job |  | 342930.00 | 342930.00 | 728000.00 | 728000.00 | 362640.00 | 362640.00 | 276750.00 | 276750.00 | 235000.00 | 235000.00 | 235000.00 | Skumar Electricals
7.00 | SITC of AMF panel : Supply, installation, testing, commissioning of 3 phase , 4 wire, 415 V, 50 Hz, Automatic Mains Failure Control Panel for 25 KVA DG set with by pass arrangement, suitable rating power contactor required for the incomers for mains and alternator supply, suitable size of copper bus bars, control relays, battery charging circuit, meters, indicators, supply and laying of control cable of suitable quantity between the AMF panel and DG set etc including making interconnections and confirming to specifications as required. The set shall be capable to deliver and transfer full load within a switch over time of 5 to 15 seconds complete etc as per specification. | 2.00 | Set |  | 100000.00 | 200000.00 | 370000.00 | 740000.00 | 281200.00 | 562400.00 | 283500.00 | 567000.00 | 45000.00 | 90000.00 | 90000.00 | Skumar Electricals
8.00 | Supply of 25KVA silent type trolley mounted DG set with acoustic enclosure and control panel. The DG set should be radiator cooled, should develop suitable BHP at 1500 RPM as recommended by OEM. The DG set should have integrated fuel tank of capacity 75-100 Ltr. The DG set must be equipped with manual control pannel and maintenance free battery and must confirm to relevant latest CPCB norms. The Trolley for mounting DG sets should be capable to sustain the weight of DG set and its accessories, equipped with pulling arrangement, 04 nos. of tubeless tyre of 16 inch size, 04 nos. of 50W LED flood lights with provision of adjustment for rotation. The trolley should be painted with one coat of red oxide and two coats of enamel paint etc. as per the instruction of Engineer-in- charge. | 2.00 | Job |  | 575000.00 | 1150000.00 | 690000.00 | 1380000.00 | 446254.00 | 892508.00 | 506250.00 | 1012500.00 | 500000.00 | 1000000.00 | 892508.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
9.00 | Design, fabrication, assembling, supply, installation, testing and commissioning of frangible as per ICAO specifications and weather proof outdoor type LT panels feeder piller with canopy with IP 65 suitable for 440volts 50 Hz AC (3 phase Supply) supply system fabricated in compartmentalized design from CRCA sheet steel of 2 mm thick for frame work and covers,3 mm thick for gland plates i/c cleaning and finishing complete 7 tank process for powder coating in approved shade, extendable type TPN aluminium alloy busbars of high condectivity, DMC/SMC busbar supports, with bottom base channel of MS section not less than 100mm X 50 mm X 5 mm thick, entire panel shall have a common copper earthbar of sutable size at the rear with 2 Nos. earth studs, solid connection from main busbar to switchgears with required size of aluminium busbar & control wiring with 1.5 sqmm FRLS insulated copper conductor cable, cable alleys, cable gland plates i/c accessories as per specification and providing switchgears, metering instruments etc. along with frangible coupling of suitable size to accomidate the above panel assembly as per specifications complete as required. 1) Incomer of 01 nos 250A,25KA 4Pole MCCB 2) Outgoing of (i) 02 nos 200 KA 4pole MCCB 3) 400A 4Pole Busbars of high conductivity electrolytic quality Aluminium Alloy ,50 mm channel base frame, 5) Earth bar: 50mmX5mm, 6) LED indication lamp for phase indication and ON-OFF indication: 3+3+4+10=20 nos 7) 3-phase Multi function meter for Incomers: 01 no. etc complete as required. | 2.00 | Job |  | 140000.00 | 280000.00 | 340255.00 | 680510.00 | 166980.00 | 333960.00 | 195750.00 | 391500.00 | 160000.00 | 320000.00 | 280000.00 | OK AGENCIES
10.00 | Supplying and making outdoor Straight Through joint with cast resin compound including aluminium lugs and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 8.00 | Set |  | 4000.00 | 32000.00 | 5000.00 | 40000.00 | 10152.00 | 81216.00 | 5601.15 | 44809.20 | 4500.00 | 36000.00 | 32000.00 | OK AGENCIES
11.00 | Supply of 1.1 KV grade aluminium conductor & XLPE insulated and PVC sheathed armoured cable of following sizes conforming to IS:1554(Part 1)1988 / IS:7098 (Part 1) with up to date ammendments. a) 4c X 16 sq.mm | 200.00 | Mtr |  | 118.00 | 23600.00 | 200.00 | 40000.00 | 125.00 | 25000.00 | 150.66 | 30132.00 | 175.00 | 35000.00 | 23600.00 | OK AGENCIES
12.00 | Supply of 1.1 KV grade aluminium conductor & XLPE insulated and PVC sheathed armoured cable of following sizes conforming to IS:1554(Part 1)1988 / IS:7098 (Part 1) with up to date ammendments. b) 3.5c X 50 sq mm | 200.00 | Mtr |  | 245.00 | 49000.00 | 400.00 | 80000.00 | 255.00 | 51000.00 | 297.14 | 59428.00 | 335.00 | 67000.00 | 49000.00 | OK AGENCIES
13.00 | Supply of 1.1 KV grade aluminium conductor & XLPE insulated and PVC sheathed armoured cable of following sizes conforming to IS:1554(Part 1)1988 / IS:7098 (Part 1) with up to date ammendments. c) 3.5c X 70 sq mm | 400.00 | Mtr |  | 329.00 | 131600.00 | 550.00 | 220000.00 | 345.00 | 138000.00 | 401.76 | 160704.00 | 450.00 | 180000.00 | 131600.00 | OK AGENCIES
14.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on wall surface as required. a) Upto 35 sq. mm. | 200.00 | Mtr |  | 40.00 | 8000.00 | 50.00 | 10000.00 | 59.00 | 11800.00 | 94.50 | 18900.00 | 60.00 | 12000.00 | 8000.00 | OK AGENCIES
15.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on wall surface as required. b) Above 35 sq. mm and upto 95 sq. mm | 400.00 | Mtr |  | 80.00 | 32000.00 | 50.00 | 20000.00 | 66.00 | 26400.00 | 128.25 | 51300.00 | 60.00 | 24000.00 | 20000.00 | Techno Electricals
16.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Upto 400 sq. mm | 200.00 | Mtr |  | 60.00 | 12000.00 | 50.00 | 10000.00 | 74.00 | 14800.00 | 148.50 | 29700.00 | 110.00 | 22000.00 | 10000.00 | Techno Electricals
17.00 | Supplying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. complete as required. 75 mm (Inner dia) | 200.00 | Mtr |  | 85.00 | 17000.00 | 140.00 | 28000.00 | 284.00 | 56800.00 | 101.25 | 20250.00 | 110.00 | 22000.00 | 17000.00 | OK AGENCIES
18.00 | Laying of HDPE pipe of any dimension in ground at a depth of more than 0.75 meters including making necessary fitting & cutting, jointing etc. as required as per site condition. | 200.00 | Mtr |  | 100.00 | 20000.00 | 150.00 | 30000.00 | 119.00 | 23800.00 | 94.50 | 18900.00 | 35.00 | 7000.00 | 7000.00 | Skumar Electricals
19.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. a) 4 X 16 sq. mm | 4.00 | Set |  | 200.00 | 800.00 | 400.00 | 1600.00 | 419.00 | 1676.00 | 345.60 | 1382.40 | 500.00 | 2000.00 | 800.00 | OK AGENCIES
20.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. b) 3.5 X 50 sq mm | 4.00 | Set |  | 450.00 | 1800.00 | 500.00 | 2000.00 | 621.00 | 2484.00 | 765.45 | 3061.80 | 700.00 | 2800.00 | 1800.00 | OK AGENCIES
21.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. c) 3.5 X 70 sq mm | 4.00 | Set |  | 450.00 | 1800.00 | 600.00 | 2400.00 | 674.00 | 2696.00 | 896.40 | 3585.60 | 900.00 | 3600.00 | 1800.00 | OK AGENCIES
22.00 | Supply, Installation, Testing and Commissioning of Three Phase Surge Protection Device (SPD) (with enclosure) of class B+C and having 100KA 10/350 micro seconds neutral to earth, 50 KA 10/350 micro sec line to neutral, with limiting voltage less than 1.5 KV shall be provided on the mains power entry point at the incomers before UPS & shall be of modular type. Make: Tercel, Australia or equivalent. | 2.00 | Job |  | 66000.00 | 132000.00 | 120000.00 | 240000.00 | 54000.00 | 108000.00 | 71358.30 | 142716.60 | 95000.00 | 190000.00 | 108000.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
23.00 | Supply, Installation, Testing & Commissioning of 32 Amps multistage 1 Phase Series Power Filter (with enclosure) with neutral protection with MOV 20kA+20KA rating in IP55 grade Powder coated metal enclosure with a 63 Amps service bypass changeover switch and copper inter connecting cables and end termination etc as required to be installed at site in the input of the UPS/Voltage stabilizer in series. Make: Tercel, Australia or equivalent. | 2.00 | Job |  | 60000.00 | 120000.00 | 89000.00 | 178000.00 | 97500.00 | 195000.00 | 114750.00 | 229500.00 | 85000.00 | 170000.00 | 120000.00 | OK AGENCIES
24.00 | Supply, Installation, Testing and Commissioning of Single Phase Surge Protection Device (SPD) (with enclosure) of class C and having 100KA, less than and equal to 100 nano seconds neutral to earth, 50 KA, less than and equal to 25 nano seconds line to neutral, with limiting voltage less than 1.5 KV shall be provided on the exit point at the UPS input and UPS output & shall be of modular type. Make: Tercel, Australia or equivalent. | 4.00 | Job |  | 38000.00 | 152000.00 | 85000.00 | 340000.00 | 41008.00 | 164032.00 | 8775.00 | 35100.00 | 45000.00 | 180000.00 | 35100.00 | Virtus Techno
25.00 | SITC of 1.5 ton split type Air conditioners with 4 kVA voltage stabilizer, wall mounting type (three star rating) fitted with hermetically sealed compressors operating on refrigerant R 410/R 407a/Non CFC suitable for operation on 230 V, 50 Hz Single phase AC supply capable of performing Cooling, Dehumidifying, Air Circulating and Filtering functions i/c making necessary outdoor stand finishing with the cement plastering and neat cement for installing the out door unit as per the site conditions and as directed by the Engineer-In-Charge & Supply and fixing of suitable drain pipes,interconection between indoor and out door unit i/c minor civil works as per the site conditions. | 8.00 | Job |  | 43000.00 | 344000.00 | 47000.00 | 376000.00 | 36543.00 | 292344.00 | 39550.77 | 316406.16 | 61000.00 | 488000.00 | 292344.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
26.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 8.00 | Each |  | 1400.00 | 11200.00 | 1500.00 | 12000.00 | 1069.00 | 8552.00 | 3456.00 | 27648.00 | 2500.00 | 20000.00 | 8552.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
27.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 4.00 | Set |  | 15000.00 | 60000.00 | 18000.00 | 72000.00 | 20500.00 | 82000.00 | 15120.00 | 60480.00 | 18500.00 | 74000.00 | 60000.00 | OK AGENCIES
28.00 | Brazzing of Copper Earth Strips for proper continuity between the strips. | 2.00 | Each |  | 100.00 | 200.00 | 1000.00 | 2000.00 | 300.00 | 600.00 | 324.00 | 648.00 | 1500.00 | 3000.00 | 200.00 | OK AGENCIES
29.00 | Supply of Copper Wire (Non stranded) At least 4 mm diameter | 50.00 | Mtr |  | 100.00 | 5000.00 | 150.00 | 7500.00 | 39.00 | 1950.00 | 132.30 | 6615.00 | 110.00 | 5500.00 | 1950.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
30.00 | Supply and Fixing of Copper Rod with all accessories (Lightening Arrestor)1 inch dia x 5 feet complete as required. | 5.00 | Each |  | 4000.00 | 20000.00 | 5000.00 | 25000.00 | 10460.00 | 52300.00 | 2025.00 | 10125.00 | 8350.00 | 41750.00 | 10125.00 | Virtus Techno
31.00 | Supply of Electrical cable 50 sq mm multi strand copper conductor PVC sheathed. | 50.00 | Mtr |  | 1000.00 | 50000.00 | 700.00 | 35000.00 | 498.00 | 24900.00 | 583.80 | 29190.00 | 750.00 | 37500.00 | 24900.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
32.00 | Supply of GI pipe of 50mm dia. | 42.00 | Mtr |  | 475.00 | 19950.00 | 700.00 | 29400.00 | 470.00 | 19740.00 | 553.50 | 23247.00 | 300.00 | 12600.00 | 12600.00 | Skumar Electricals
33.00 | Supply of Extension board 4 x 5/15 Amp with individual switch 25 meter using 3 X 1.5 sq mm copper conductor armored PVC sheathed. | 2.00 | Each |  | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 1389.00 | 2778.00 | 2227.50 | 4455.00 | 2500.00 | 5000.00 | 2000.00 | Techno Electricals
34.00 | Supply of BATTERY STAND To house 4 x 120 AH Battery. | 1.00 | Each |  | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 1992.00 | 1992.00 | 2835.00 | 2835.00 | 2500.00 | 2500.00 | 1992.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
35.00 | Supplying and installing of following perforated hot dipped Galvanised Iron cable trays ( galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections , joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. 300 mm width X 50 mm depth X 1.6 mm thickness. | 50.00 | Mtr |  | 950.00 | 47500.00 | 1700.00 | 85000.00 | 894.00 | 44700.00 | 972.00 | 48600.00 | 850.00 | 42500.00 | 42500.00 | Skumar Electricals
36.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/coke and salt as required. | 8.00 | Set |  | 5000.00 | 40000.00 | 9000.00 | 72000.00 | 9111.00 | 72888.00 | 9011.25 | 72090.00 | 9500.00 | 76000.00 | 40000.00 | OK AGENCIES
37.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing cable as required | 80.00 | Mtr |  | 30.00 | 2400.00 | 30.00 | 2400.00 | 38.00 | 3040.00 | 21.60 | 1728.00 | 20.00 | 1600.00 | 1600.00 | Skumar Electricals
38.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc.complete as required. | 20.00 | Mtr |  | 1000.00 | 20000.00 | 1400.00 | 28000.00 | 1265.00 | 25300.00 | 1687.50 | 33750.00 | 2200.00 | 44000.00 | 20000.00 | OK AGENCIES
39.00 | SITC of Microprocessor based 4-zone non-expandable conventional fire alarm panel. The panel should be equiped of 4 zone capacity to take maximum 20 detectors per zone, reset function inbuilt and Alarm & Fault Display by individual LEDs for each detector group. 240 volts AC power supply, Inbuilt SIM and line Auto-dailler, automatic battery charger, 2nos x 12 volt sealed maintenance free batteries sufficient for 12 hours normal working. | 1.00 | Nos. |  | 20000.00 | 20000.00 | 110000.00 | 110000.00 | 12240.00 | 12240.00 | 40500.00 | 40500.00 | 192996.00 | 192996.00 | 12240.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
40.00 | Supply of Conventional Type smoke Detector with LED indication , with mounting base. | 8.00 | Nos. |  | 1000.00 | 8000.00 | 4000.00 | 32000.00 | 1046.00 | 8368.00 | 1417.50 | 11340.00 | 2500.00 | 20000.00 | 8000.00 | OK AGENCIES
41.00 | Supply of Conventional Hooter | 1.00 | Nos. |  | 1000.00 | 1000.00 | 7000.00 | 7000.00 | 1290.00 | 1290.00 | 1350.00 | 1350.00 | 3500.00 | 3500.00 | 1000.00 | OK AGENCIES
42.00 | Manual Call points complete with connection cable. | 1.00 | Nos. |  | 500.00 | 500.00 | 2000.00 | 2000.00 | 1406.00 | 1406.00 | 1147.50 | 1147.50 | 3500.00 | 3500.00 | 500.00 | OK AGENCIES
43.00 | Supply of 2x1.5 sq.mm copper flexible two core wire in PVC conduit , with terminations etc. as required. | 50.00 | Mtr |  | 100.00 | 5000.00 | 175.00 | 8750.00 | 107.00 | 5350.00 | 45.87 | 2293.50 | 90.00 | 4500.00 | 2293.50 | Virtus Techno
44.00 | Supply and installation of ABC/CO2 type Fire Extinguishers of capacity 5Kg with all accessories and fixingh arrengment complete as required. | 10.00 | Job |  | 8400.00 | 84000.00 | 5000.00 | 50000.00 | 3080.00 | 30800.00 | 5130.00 | 51300.00 | 6000.00 | 60000.00 | 30800.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
45.00 | Supply and installation of AERSOL based automatic Fire Extinguishers of capacity 5Kg with all accessories and fixingh arrengment complete as required. | 6.00 | Job |  | 5000.00 | 30000.00 | 6700.00 | 40200.00 | 23800.00 | 142800.00 | 14175.00 | 85050.00 | 8500.00 | 51000.00 | 30000.00 | OK AGENCIES
46.00 | Supply and laying of 10 X 1 M Anti Static MATS laid completely below the DVOR/ DME equipment room shall be made in CNS work. | 11.00 | Each |  | 7000.00 | 77000.00 | 3500.00 | 38500.00 | 4700.00 | 51700.00 | 10125.00 | 111375.00 | 7000.00 | 77000.00 | 38500.00 | Techno Electricals
47.00 | Supply and fixing of Rechargable LED emergency light with minimum backup lighting of 4 hours of power consumption; minimum of 4 watt | 2.00 | Job |  | 1000.00 | 2000.00 | 3000.00 | 6000.00 | 4648.00 | 9296.00 | 8370.00 | 16740.00 | 3000.00 | 6000.00 | 2000.00 | OK AGENCIES
48.00 | Supply, installation, testing and commissioning of Twin dome LED type aviation obstruction light luminair with lamp, fixtures, mounting clamp, nut bolt etc. complete as required as per ICAO specifications as required. | 4.00 | Job |  | 4000.00 | 16000.00 | 7500.00 | 30000.00 | 6040.00 | 24160.00 | 8775.00 | 35100.00 | 6000.00 | 24000.00 | 16000.00 | OK AGENCIES
49.00 | Providing, laying and fixing following dia RCC pipe NP4 class (light duty) in ground complete with RCC collars, jointing with cement mortar 1:2 (1 cement : 2 fine sand) including trenching (75 cm deep) and refilling etc as required. (300 mm inner dia.) | 100.00 | Mtr |  | 1400.00 | 140000.00 | 2000.00 | 200000.00 | 1359.00 | 135900.00 | 1147.50 | 114750.00 | 1200.00 | 120000.00 | 114750.00 | Virtus Techno
50.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 25.00 | Cum |  | 5000.00 | 125000.00 | 7000.00 | 175000.00 | 7117.00 | 177925.00 | 8775.00 | 219375.00 | 7800.00 | 195000.00 | 125000.00 | OK AGENCIES
51.00 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design. | 16.00 | Job |  | 25000.00 | 400000.00 | 15000.00 | 240000.00 | 4825.00 | 77200.00 | 33075.00 | 529200.00 | 36500.00 | 584000.00 | 77200.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
52.00 | Excavation of the cable trenches in hard rock / road cutting not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 50.00 | Cum |  | 890.00 | 44500.00 | 5000.00 | 250000.00 | 216.00 | 10800.00 | 1282.50 | 64125.00 | 4200.00 | 210000.00 | 10800.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
| Total in Figures |  |  |  |  | 10638280.00 |  | 13340260.00 |  | 10472823.00 |  | 12905193.76 |  | 12586894.00
Lowest Amount Quoted BY: Metropolitan Infrabuild Development And Services Pvt Ltd(10472823.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New DVOR at Kolhapur Airport. Tender ID: 2023_AAI_154987_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Metropolitan Infrabuild Development And Services Pvt Ltd | 10472823.00 | L1
| 2 | OK AGENCIES | 10638280.00 | L2
| 3 | Skumar Electricals | 12586894.00 | L3
| 4 | Virtus Techno | 12905193.76 | L4
| 5 | Techno Electricals | 13340260.00 | L5