## BoQ1
Government eProcurement System Created By: Manoj Kumar Sahoo Created Date/Time: 04-Aug-2023 04:16 PM Tender Title: Design, Supply, Installation, Testing and Commissioning of Roof Top Grid Connected 40kWp Solar Photo Voltaic (PV) Power Plant at Visakhapatnam Airport Tender ID: 2023_AAI_155180_2
Tender Inviting Authority:SENIOR MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, VISAKHAPATNAM AIRPORT, VISAKHAPATNAM.
Name of Work: Design, Supply, Installation, Testing and Commissioning of Roof Top Grid Connected 40kWp Solar Photo Voltaic (PV) Power Plant at Visakhapatnam Airport.
Contract No: 2023_AAI_155180_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NOVA ENERGIE(GSTN-07AJBPL2521P1Z5) |  | M/s. Green Secure Energy Private Limited(GSTN-36AAECG1079Q1Z3) |  | Naturetech Infrastruture Pvt. Ltd.(GSTN-NA) |  | Pavanasuta Renewable Energy Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH : I - DSITC of 40 kWp roof top solar power plant Design, detailed engineering, manufacturing, supply, installation testing and commissioning of Grid connected Rooftop Solar power plant of capacity 40kWp on the existing Concrete roof by Monocrystalline Solar PV Modules, suitable rating inverter having features of remote monotoring, reverse power protection, Synchronizer suitable for existing supply, Islanding facility, suitable size IP 65 DC DB/JB for connceting the Module Output with the provision for Isolation, String Monitoring and Control for each String, AC & DC cables, MC4 connectors, communication data cables, cabling on cable tray / conduit, provision of Zero export device lightening protection system, surge protection system, AC earthing, DC earthing, LT cabling and necessary modifications to the existing LT power supply system situated approx. 100 mtr away from existing roof etc. as per specifications including transportation, insurance, transit insurance, loading, unloading, shifting of material, mobilising man power, required mounting arrangements, walkways of FRP and their anti-leak mounting arrangements, making necessary Panel fixing arrangement on the RCC roof etc, storage of materials, charges to be incurred for all NOC, CEA clearance, liaisoning with APEPDCL etc. and any other items or accessories required for successful commissioning of power plant etc. as per technical specifications. | 1.00 | Job |  | 1899900.00 | 1899900.00 | 2241585.00 | 2241585.00 | 2120000.00 | 2120000.00 | 2308077.00 | 2308077.00 | 1899900.00 | NOVA ENERGIE
2.00 | SH :II - AICMC of 40 kWp Solar Power Plant after DLP All inclusive Comprehensive Maintenance of 40kWp Roof top Solar plant after DLP as provided under the main contract including trouble shooting and breakdown maintenance etc. as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer-in-Charge and as per terms and conditions specified (the response time in case of breakdown shall not be more than 8 hours). (Note: 1. Warranty period for PCU/ inverter is 05 years 2. Warranty period for solar PV module is 10 years and the same shall be taken in to consideration while quoting the rate for AICMC)
2.01 | First year after DLP | 1.00 | Job |  | 70296.30 | 70296.30 | 82938.65 | 82938.65 | 78440.00 | 78440.00 | 85398.85 | 85398.85 | 70296.30 | NOVA ENERGIE
2.02 | Second year after DLP | 1.00 | Job |  | 83025.63 | 83025.63 | 97957.26 | 97957.26 | 92644.00 | 92644.00 | 100862.96 | 100862.96 | 83025.63 | NOVA ENERGIE
2.03 | Third year after DLP | 1.00 | Job |  | 87015.42 | 87015.42 | 102664.59 | 102664.59 | 97096.00 | 97096.00 | 105709.93 | 105709.93 | 87015.42 | NOVA ENERGIE
2.04 | Fourth year after DLP | 1.00 | Job |  | 91195.20 | 91195.20 | 107596.08 | 107596.08 | 101760.00 | 101760.00 | 110787.70 | 110787.70 | 91195.20 | NOVA ENERGIE
2.05 | Fifth year after DLP | 1.00 | Job |  | 95374.98 | 95374.98 | 112527.57 | 112527.57 | 106424.00 | 106424.00 | 115865.47 | 115865.47 | 95374.98 | NOVA ENERGIE
| Total in Figures |  |  |  |  | 2326807.53 |  | 2745269.15 |  | 2596364.00 |  | 2826701.91
Lowest Amount Quoted BY: NOVA ENERGIE(2326807.53)

## BOQ Summary
BOQ Summary Details Tender Title: Design, Supply, Installation, Testing and Commissioning of Roof Top Grid Connected 40kWp Solar Photo Voltaic (PV) Power Plant at Visakhapatnam Airport Tender ID: 2023_AAI_155180_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NOVA ENERGIE | 2326807.53 | L1
| 2 | Naturetech Infrastruture Pvt. Ltd. | 2596364.00 | L2
| 3 | M/s. Green Secure Energy Private Limited | 2745269.15 | L3
| 4 | Pavanasuta Renewable Energy Pvt Ltd | 2826701.91 | L4