## BoQ1
Government eProcurement System Created By: Ravindra singh Mehrok Created Date/Time: 25-Jul-2023 12:20 PM Tender Title: Opera. and Maint. Contract of Electrical and Mechanical Installations at New Terminal Building, Water supply system, Operation of Conveyor system and supply of electrical spares at Vadodara Airport, Vadodara (For 02 Year ) (Yr 2023-24 and 2024-25) Tender ID: 2023_AAI_155270_1
Tender Inviting Authority: Asst.Gen. Manager(E-E), AAI, CA, Vadodara
Name of Work :- Operation and Maintenance Contract of Electrical & Mechanical Installations at New Terminal Building, Water supply system, operation of Conveyour system & Supply of Electrical Spares at Vadodara Airport (For 2 year period) (Year 2023-24 & 2024-25).
Contract No: AAI/BO/E-E/NIT-02/NITB AMC/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I :- Operation and Maintenance of E & M installations of NITB. Operation and Preventive Maintenance of Electrical / Mechanical Installations at NITB and associated ancillary buildings by attending complaints / faults / breakdown & ensuring serviceability, satisfactory working condition of all the systems, up keeping all records as per preventive maintenance schedule etc. by providing the adequate & suitable man power with tools & tackles in shifts as mentioned in the special conditions of contract complete as required on all days including sundays & holidays. | 24.00 | Month |  | 246000.00 | 5904000.00 | 251500.00 | 6036000.00 | 271140.00 | 6507360.00 | 239251.00 | 5742024.00 | 5742024.00 | ABHISHEK INTEGRATIONS LIMITED
2.01 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Hi-Skilled | 100.00 | Hours |  | 120.00 | 12000.00 | 95.00 | 9500.00 | 115.00 | 11500.00 | 112.00 | 11200.00 | 9500.00 | Manish Electricals
2.02 | Skilled | 100.00 | Hours |  | 105.00 | 10500.00 | 95.00 | 9500.00 | 105.00 | 10500.00 | 102.00 | 10200.00 | 9500.00 | Manish Electricals
2.03 | Un-skilled | 100.00 | Hours |  | 90.00 | 9000.00 | 90.00 | 9000.00 | 80.00 | 8000.00 | 77.00 | 7700.00 | 7700.00 | ABHISHEK INTEGRATIONS LIMITED
3.00 | Rendering services for Computer Operator having minimum 5 year office Experience (Highly Skilled) with a knowledge of MS office / Office work , E-tendering through CPP Portal , E-office & SAP software in the AAI office at Vadodara Airport as per the direction & satisfaction of the Engineer-in-Charge as mentioned in the special conditions of contract complete as required on all days excluding sundays (Note :- This item shall be executed as per requirement) | 24.00 | Month |  | 55000.00 | 1320000.00 | 51000.00 | 1224000.00 | 58200.00 | 1396800.00 | 52178.00 | 1252272.00 | 1224000.00 | Manish Electricals
4.01 | Rewinding of following Motors with original no.of turn and wire gauge i/c repairing of bush, replacement of bearing, termination of connecting lead, connection, testing & commissioning complete as required. (Dismantled copper wire need not to return). a) upto 2HP Motor | 10.00 | Each |  | 1200.00 | 12000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
4.02 | b) 3 HP Motor | 2.00 | Each |  | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 1200.00 | 2400.00 | 2400.00 | ABHISHEK INTEGRATIONS LIMITED
4.03 | c) 7.5 HP Motor | 4.00 | Each |  | 3500.00 | 14000.00 | 3000.00 | 12000.00 | 5000.00 | 20000.00 | 2000.00 | 8000.00 | 8000.00 | ABHISHEK INTEGRATIONS LIMITED
4.04 | d) 10HP Motor | 4.00 | Each |  | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 6000.00 | 24000.00 | 3000.00 | 12000.00 | 12000.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Fixing of aviation light fittig at the height upto 35 meter by Hiring Boom lift as per site requirement | 10.00 | Job |  | 4000.00 | 40000.00 | 12000.00 | 120000.00 | 3500.00 | 35000.00 | 3000.00 | 30000.00 | 30000.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Repairing of existing earth pit including fixing of CI / MS Cover plate, funnel, necessary brick work, plastering and painting the masonary chamber complete as per site requirement (This item doesn't include supply of CI /MS Cover plate but include funnel etc. | 30.00 | Job |  | 1000.00 | 30000.00 | 600.00 | 18000.00 | 4500.00 | 135000.00 | 600.00 | 18000.00 | 18000.00 | ABHISHEK INTEGRATIONS LIMITED, Manish Electricals
7.00 | Withdrawing of submersible pump moter set upto 10HP with GI/ HDPE /MS column Pipe including cost of labour, T & P and material required as per site requirement. | 5.00 | Job |  | 3000.00 | 15000.00 | 6000.00 | 30000.00 | 3000.00 | 15000.00 | 2500.00 | 12500.00 | 12500.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Re-installation / Installation of submersible pump moter set upto 10HP with GI/HDPE/MS column Pipe including cost of labour, T & P and material required as per site requirement. | 5.00 | Job |  | 4000.00 | 20000.00 | 6000.00 | 30000.00 | 7500.00 | 37500.00 | 2500.00 | 12500.00 | 12500.00 | ABHISHEK INTEGRATIONS LIMITED
9.00 | Supply and fixing of steel wire rope for submersible pump including cost of labour, T & P and material required as per site requirement. | 150.00 | Mtr |  | 90.00 | 13500.00 | 90.00 | 13500.00 | 150.00 | 22500.00 | 120.00 | 18000.00 | 13500.00 | Techno Electricals, Manish Electricals
10.00 | Execution / carryout the work for items covered / listed in Delhi Scheduled of rates (DSR E&M-2022) published by CPWD as per CPWD specifications for an amount of Rs.3,00,000/- [Excluding GST] as required. (Agency has to execute schedule item listed in CPWD DSR E&M-2022 as and when required by AAI. May please refer NIT clause 23(e), Page no. NIT - 4 & 5 for quotating of rate for this item no.24) | 1.00 | Job |  | 245000.00 | 245000.00 | 260000.00 | 260000.00 | 200000.00 | 200000.00 | 240000.00 | 240000.00 | 200000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
11.00 | SH-II :- Operation and Maintenance of Water supply Pump Operation of different type of water supply pumps, drainage pumps, mutigrade media filters, activated carbon filters, softeners, RO plant etc. including Backwash, Rinse & Clean-in-place (CIP) of the same as required with deployment of minimum manpower as per special conditions of contract. | 24.00 | Months |  | 142427.00 | 3418248.00 | 150500.00 | 3612000.00 | 159059.00 | 3817416.00 | 140612.00 | 3374688.00 | 3374688.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Descaling of RO Plant with recommended chemical / desclaing treatment by using Acidic cleaner and Antiscalant of reputed make as approved by Engineer-in-charge and as per the recommendation of OEM.. | 8.00 | Job |  | 7000.00 | 56000.00 | 4000.00 | 32000.00 | 3000.00 | 24000.00 | 8000.00 | 64000.00 | 24000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
13.00 | Regular Antiscalant dosing by TITAN ASD or equivelent Antiscalant to maintain performance of RO Plant as per OEM recommendation (0.3Kg x 31 day )= 10kg/month x 02 year | 240.00 | Kg |  | 175.00 | 42000.00 | 250.00 | 60000.00 | 200.00 | 48000.00 | 150.00 | 36000.00 | 36000.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Recharging (Regenerate) of softener by ion exchange method (minimum 250 KG common salt/ non iodised salt) including preparation of brine solution as and when required. | 72.00 | Job |  | 1800.00 | 129600.00 | 1200.00 | 86400.00 | 1000.00 | 72000.00 | 750.00 | 54000.00 | 54000.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Supply & mixing of liquid Sodium Hypochlorite in water as and when required. | 50.00 | Kg |  | 200.00 | 10000.00 | 150.00 | 7500.00 | 1250.00 | 62500.00 | 30.00 | 1500.00 | 1500.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Taking samples of drinking water from different locations and submit report of potability test from Govt. laboratory / Govt. Approved laboratory . | 96.00 | Job |  | 1200.00 | 115200.00 | 1500.00 | 144000.00 | 2500.00 | 240000.00 | 2500.00 | 240000.00 | 115200.00 | Techno Electricals
17.00 | Supply of 20" Spun Filter suitable for 1150 LPH RO plant installed at Vadodara Airport | 24.00 | Each |  | 600.00 | 14400.00 | 200.00 | 4800.00 | 250.00 | 6000.00 | 150.00 | 3600.00 | 3600.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Supply of 10", 5 Micron, Pre Filter for RO outlet point at provided in NITB. | 96.00 | Each |  | 350.00 | 33600.00 | 90.00 | 8640.00 | 150.00 | 14400.00 | 65.00 | 6240.00 | 6240.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Supply of 8.5", 900IV carbon Filter for RO outlet point at provided in NITB. | 24.00 | Each |  | 280.00 | 6720.00 | 60.00 | 1440.00 | 150.00 | 3600.00 | 85.00 | 2040.00 | 1440.00 | Manish Electricals
20.00 | Supply of 40'' membrane for RO Plant (Make- Matrix /DOW/Permionics ) | 4.00 | Each |  | 12000.00 | 48000.00 | 12000.00 | 48000.00 | 12500.00 | 50000.00 | 8000.00 | 32000.00 | 32000.00 | ABHISHEK INTEGRATIONS LIMITED
21.00 | SH:III:- Operation of Departure conveyor system (01 set) and Arrival carousals conveyor system (03 sets) Operation and preventive maintenance of Departure conveyor system (01 set) and Arrival carousals conveyor system (03 sets) in two shifts as by deploying adequate & suitable man power with tools & tackles in shifts as mentioned in the special conditions of contract complete as required on all days including sundays & holidays. | 24.00 | Month |  | 156000.00 | 3744000.00 | 163860.00 | 3932640.00 | 172340.00 | 4136160.00 | 153122.00 | 3674928.00 | 3674928.00 | ABHISHEK INTEGRATIONS LIMITED
22.01 | SH:IV:- Supply of Electrical spares. Supply of following sizes (Nominal cross sectional area based on CR Value as per IS) FRLSH insulated Stranded copper conductor, wiring cable of approved make and different colour as per requirement (180 Mtr length of each Roll) a) Single core,1.5Sqmm Wire | 6.00 | Coil |  | 1700.00 | 10200.00 | 22.00 | 132.00 | 1250.00 | 7500.00 | 2160.00 | 12960.00 | 132.00 | Manish Electricals
22.02 | b) Single core,2.5Sqmm Wire | 4.00 | Coil |  | 2600.00 | 10400.00 | 32.00 | 128.00 | 2000.00 | 8000.00 | 3780.00 | 15120.00 | 128.00 | Manish Electricals
22.03 | c) Single core,4Sqmm Wire | 1.00 | Coil |  | 3850.00 | 3850.00 | 48.00 | 48.00 | 3000.00 | 3000.00 | 5760.00 | 5760.00 | 48.00 | Manish Electricals
22.04 | d) Single core,6Sqmm Wire | 1.00 | Coil |  | 5800.00 | 5800.00 | 75.00 | 75.00 | 4300.00 | 4300.00 | 9000.00 | 9000.00 | 75.00 | Manish Electricals
23.01 | Supply of following Size Three Core Unsheathed Industrial Flexible FRLS Stranded copper conductor,insulated cable conforming IS 694:1990 with Flexible bright Annealed Copper conductor, for Voltage Grade upto 1100V.(Make - AAI approved make list) and (100 Mtr length of each Roll). a) 3 core x 1.5 Sqmm | 3.00 | Coil |  | 6000.00 | 18000.00 | 95.00 | 285.00 | 4000.00 | 12000.00 | 5131.00 | 15393.00 | 285.00 | Manish Electricals
23.02 | b) 3 core x 2.5 Sqmm | 4.00 | Coil |  | 9500.00 | 38000.00 | 120.00 | 480.00 | 6250.00 | 25000.00 | 8244.00 | 32976.00 | 480.00 | Manish Electricals
23.03 | c) 3 core x 4 sqmm | 2.00 | Coil |  | 14500.00 | 29000.00 | 160.00 | 320.00 | 9950.00 | 19900.00 | 13114.00 | 26228.00 | 320.00 | Manish Electricals
24.01 | Supply of following types of Ballast, LED Driver & LED /Non-LED lamp as complete as per site requirement. (Make: AAI approved make) A) Electronic Ballast :- a) 36W, 240V,Electronics ballast (Make : Philips, EBE(Slim) 136TLD) | 25.00 | No |  | 225.00 | 5625.00 | 150.00 | 3750.00 | 310.00 | 7750.00 | 115.00 | 2875.00 | 2875.00 | ABHISHEK INTEGRATIONS LIMITED
24.02 | b) 1 x 54W,T5 Electronics ballast (Make : Philips) | 50.00 | No |  | 615.00 | 30750.00 | 300.00 | 15000.00 | 700.00 | 35000.00 | 875.00 | 43750.00 | 15000.00 | Manish Electricals
24.03 | c) 150W MHN -TD Ballast suitable for existing fitting. (Make-Philips, Model-BSN 150 M361) | 20.00 | No |  | 600.00 | 12000.00 | 400.00 | 8000.00 | 750.00 | 15000.00 | 950.00 | 19000.00 | 8000.00 | Manish Electricals
24.04 | B) Igniter :- a) 150W MHN -TD Igniter | 20.00 | No |  | 170.00 | 3400.00 | 180.00 | 3600.00 | 450.00 | 9000.00 | 180.00 | 3600.00 | 3400.00 | Techno Electricals
24.05 | C) LED Drivers:- a) LED Strip Driver, 2A,12V,24W Output,220-240 Input, (Make: Philips, Model:C024C200V012FNP3AI) | 60.00 | No |  | 320.00 | 19200.00 | 280.00 | 16800.00 | 310.00 | 18600.00 | 250.00 | 15000.00 | 15000.00 | ABHISHEK INTEGRATIONS LIMITED
24.06 | b) LED strip Driver, 5A,12V,60W Output,220-240 Input. (Make: Philips, Model:C060C500V012FNE1AI) | 5.00 | No |  | 525.00 | 2625.00 | 280.00 | 1400.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 1400.00 | Manish Electricals
24.07 | c) LED Driver, 24W,AC 180V to 280V, (Make: Osram, Model no.OTi DALI 50/220-240/24) | 10.00 | No |  | 600.00 | 6000.00 | 325.00 | 3250.00 | 300.00 | 3000.00 | 3650.00 | 36500.00 | 3000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
24.08 | d) LED Driver 0.70A,16/26W for 25W LED Fitting (Make: Philips, Part no.25W/700mA) | 5.00 | No |  | 1000.00 | 5000.00 | 325.00 | 1625.00 | 500.00 | 2500.00 | 600.00 | 3000.00 | 1625.00 | Manish Electricals
24.09 | D) Lamps:- a) 9W LED Lamp (Make: As per list of approved make of tender) | 110.00 | No |  | 100.00 | 11000.00 | 100.00 | 11000.00 | 125.00 | 13750.00 | 70.00 | 7700.00 | 7700.00 | ABHISHEK INTEGRATIONS LIMITED
24.10 | b) 150W MHN -TD Lamp (Make: As per list of approved make of tender) suitable for existing fitting. | 40.00 | No |  | 385.00 | 15400.00 | 600.00 | 24000.00 | 400.00 | 16000.00 | 350.00 | 14000.00 | 14000.00 | ABHISHEK INTEGRATIONS LIMITED
24.11 | c) 4W-40W Threaded type, LED Frosted Finish lamp (Make: Phillips/ As per list of approved make of tender) suitable for existing fitting. | 100.00 | No |  | 770.00 | 77000.00 | 300.00 | 30000.00 | 150.00 | 15000.00 | 120.00 | 12000.00 | 12000.00 | ABHISHEK INTEGRATIONS LIMITED
24.12 | d) 54W T5 Lamp (Make: As per list of approved make of tender) | 60.00 | No |  | 120.00 | 7200.00 | 200.00 | 12000.00 | 160.00 | 9600.00 | 165.00 | 9900.00 | 7200.00 | Techno Electricals
24.13 | e) 24V DC, LED Strip suitable for existing fitting (Make: Osram) | 50.00 | Mtrs |  | 400.00 | 20000.00 | 1800.00 | 90000.00 | 100.00 | 5000.00 | 90.00 | 4500.00 | 4500.00 | ABHISHEK INTEGRATIONS LIMITED
24.14 | f) 220V AC, (each module contain at least 3 LED) LED Strip suitable without Driver (Make-Osram, Model-BackLED L CX G5 or equivalent) | 100.00 | Nos. |  | 500.00 | 50000.00 | 120.00 | 12000.00 | 50.00 | 5000.00 | 40.00 | 4000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
24.15 | g) 12V DC, LED Strip suitable with Driver (Make: As per list of approved make of tender) (this item doesn't include driver) | 120.00 | Mtrs |  | 600.00 | 72000.00 | 300.00 | 36000.00 | 500.00 | 60000.00 | 35.00 | 4200.00 | 4200.00 | ABHISHEK INTEGRATIONS LIMITED
24.16 | h) 1000W Halogen lamp (Make: As per list of approved make of tender) | 10.00 | No |  | 120.00 | 1200.00 | 150.00 | 1500.00 | 80.00 | 800.00 | 80.00 | 800.00 | 800.00 | ABHISHEK INTEGRATIONS LIMITED, PREMIER ENGINEERING TECHNICS PVT. LTD.
24.17 | i) 36W, Non-LED Tube Rod (Make as per AAI Approved make) | 50.00 | No |  | 330.00 | 16500.00 | 400.00 | 20000.00 | 250.00 | 12500.00 | 50.00 | 2500.00 | 2500.00 | ABHISHEK INTEGRATIONS LIMITED
25.01 | Supply of following type of MCCB (In Accordance with IS/IEC 60898-1) 240/415V, 50Hz, Suitable for motor & other Inductive loads etc. as required. a) 630A,4P,50KA MCCB, 'C' Series, (DN3-630N) (Make: L&T, Cat no.CM94104OOT1OG ) | 1.00 | No |  | 30000.00 | 30000.00 | 38000.00 | 38000.00 | 20000.00 | 20000.00 | 24083.00 | 24083.00 | 20000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.02 | b) 400A,4P,50KA MCCB, 'C' Series, (DN3-400N) (Make: L&T, Cat no.CM94103OOr1OG ) | 1.00 | No |  | 20000.00 | 20000.00 | 32000.00 | 32000.00 | 16000.00 | 16000.00 | 17111.00 | 17111.00 | 16000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.03 | c) 250A,4P,36KA MCCB, 'C' Series, (DN2-250D) (Make: L&T, Cat no.CM92109OOP1OG ) | 1.00 | No |  | 17000.00 | 17000.00 | 21000.00 | 21000.00 | 12000.00 | 12000.00 | 12911.00 | 12911.00 | 12000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
25.04 | d) 160A,4P,36KA MCCB, 'C' Series, (DN2-250D) (Make: L&T, Cat no.CM92109OON1OG ) | 1.00 | No |  | 15000.00 | 15000.00 | 9000.00 | 9000.00 | 10000.00 | 10000.00 | 12180.00 | 12180.00 | 9000.00 | Manish Electricals
25.05 | e) 125A,4P,36KA MCCB, 'C' Series, (DN2-250D) (Make: L&T, Cat no.CM92108OOM1OG ) | 1.00 | No |  | 13000.00 | 13000.00 | 7000.00 | 7000.00 | 10000.00 | 10000.00 | 10223.00 | 10223.00 | 7000.00 | Manish Electricals
26.01 | Supply of following type of RCCB (In Accordance with IS12640-1 & IEC 61008-1) 240/415V,50Hz,10KA short circuit withstand capacity as required. a) 63A,4P,300 mA RCCB (Make : as per AAI approved make) | 5.00 | No |  | 2500.00 | 12500.00 | 3000.00 | 15000.00 | 2200.00 | 11000.00 | 2214.00 | 11070.00 | 11000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
27.01 | Supply of Piano / modular type Switch / Socket / Plug Top of following type and rating suitable to operate on 240V,50Hz AC Supply (as per list of approved make of tender) a) 5A/6A,3pin,240V, Piano type Socket | 30.00 | No |  | 27.00 | 810.00 | 125.00 | 3750.00 | 45.00 | 1350.00 | 23.00 | 690.00 | 690.00 | ABHISHEK INTEGRATIONS LIMITED
27.02 | b) 16A ,3pin,240V,Piano type Socket | 30.00 | No |  | 75.00 | 2250.00 | 100.00 | 3000.00 | 75.00 | 2250.00 | 64.00 | 1920.00 | 1920.00 | ABHISHEK INTEGRATIONS LIMITED
27.03 | c) 16/20A,1way,240V Piano type Switch | 30.00 | No |  | 75.00 | 2250.00 | 100.00 | 3000.00 | 75.00 | 2250.00 | 61.00 | 1830.00 | 1830.00 | ABHISHEK INTEGRATIONS LIMITED
27.04 | d) 5/6A,1way,240V Piano type Switch | 120.00 | No |  | 20.00 | 2400.00 | 35.00 | 4200.00 | 30.00 | 3600.00 | 12.00 | 1440.00 | 1440.00 | ABHISHEK INTEGRATIONS LIMITED
27.05 | e) 10A,240V,Modular Switch (make- Anchor ROMA or Equivalent suitable for existing system) | 10.00 | No |  | 40.00 | 400.00 | 50.00 | 500.00 | 60.00 | 600.00 | 32.00 | 320.00 | 320.00 | ABHISHEK INTEGRATIONS LIMITED
27.06 | f) 20A,240V,Modular Switch (make- Anchor ROMA or Equivalent suitable for existing system) | 20.00 | No |  | 100.00 | 2000.00 | 50.00 | 1000.00 | 120.00 | 2400.00 | 82.00 | 1640.00 | 1000.00 | Manish Electricals
27.07 | g) 6A/16A (combine),3 Pin,240V,Modular type Shutterd Socket(make- Anchor ROMA or Equivalent suitable for existing system) | 30.00 | No |  | 165.00 | 4950.00 | 100.00 | 3000.00 | 120.00 | 3600.00 | 126.00 | 3780.00 | 3000.00 | Manish Electricals
27.08 | h) 25A ,3 Pin,240V,Modular type Shutterd Socket (make- Anchor ROMA or Equivalent suitable for existing system) | 10.00 | No |  | 325.00 | 3250.00 | 150.00 | 1500.00 | 250.00 | 2500.00 | 126.00 | 1260.00 | 1260.00 | ABHISHEK INTEGRATIONS LIMITED
27.09 | i) Modular cover frame (Both Inner and Outer) 2 Module, (Make- ANCHOR ROMA) suitable for existing fitting. | 20.00 | No |  | 70.00 | 1400.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 55.00 | 1100.00 | 1100.00 | ABHISHEK INTEGRATIONS LIMITED
27.10 | j) Modular cover frame (Both Inner and Outer) 3 Module, (Make- ANCHOR ROMA ) suitable for existing fitting. | 20.00 | No |  | 90.00 | 1800.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 65.00 | 1300.00 | 1300.00 | ABHISHEK INTEGRATIONS LIMITED
27.11 | k) 5A/6A,240V, Plug Top | 30.00 | No |  | 55.00 | 1650.00 | 20.00 | 600.00 | 50.00 | 1500.00 | 43.00 | 1290.00 | 600.00 | Manish Electricals
27.12 | l) 15A,240V, Plug Top | 10.00 | No |  | 75.00 | 750.00 | 30.00 | 300.00 | 100.00 | 1000.00 | 57.00 | 570.00 | 300.00 | Manish Electricals
27.13 | m) 32A,240V, 1P+N+E, 50Hz AC Industrial Distribution Box with socket and Top (without MCB) | 10.00 | No |  | 1700.00 | 17000.00 | 900.00 | 9000.00 | 1250.00 | 12500.00 | 1205.00 | 12050.00 | 9000.00 | Manish Electricals
27.14 | n) 32A-6H/380-415V, 3P+N+E, 50Hz Industrial Distribution Box with socket and Top (without MCB) | 2.00 | No |  | 2100.00 | 4200.00 | 600.00 | 1200.00 | 2200.00 | 4400.00 | 1810.00 | 3620.00 | 1200.00 | Manish Electricals
27.15 | o) Supply of Ding dong bell | 10.00 | No |  | 175.00 | 1750.00 | 100.00 | 1000.00 | 180.00 | 1800.00 | 113.00 | 1130.00 | 1000.00 | Manish Electricals
27.16 | p) Supply of Remote bell | 25.00 | No |  | 400.00 | 10000.00 | 150.00 | 3750.00 | 400.00 | 10000.00 | 479.00 | 11975.00 | 3750.00 | Manish Electricals
27.17 | q) Modular PVC Box -3 Module (make- Anchor/Havells or equivalent) | 25.00 | No |  | 100.00 | 2500.00 | 35.00 | 875.00 | 125.00 | 3125.00 | 42.00 | 1050.00 | 875.00 | Manish Electricals
27.18 | r) Modular PVC Box -6 Module (make- Anchor/Havells or equivalent) | 25.00 | No |  | 200.00 | 5000.00 | 40.00 | 1000.00 | 200.00 | 5000.00 | 59.00 | 1475.00 | 1000.00 | Manish Electricals
27.19 | s) PVC Box with plate for piano type switch and socket-3 Module | 25.00 | No |  | 175.00 | 4375.00 | 40.00 | 1000.00 | 100.00 | 2500.00 | 45.00 | 1125.00 | 1000.00 | Manish Electricals
27.20 | t) PVC Box with plate for piano type switch and socket-6 Module | 25.00 | No |  | 225.00 | 5625.00 | 50.00 | 1250.00 | 150.00 | 3750.00 | 74.00 | 1850.00 | 1250.00 | Manish Electricals
28.01 | Supply of Following type Capacitor / Condenser for ceiling fan / exhaust fan, APFC Panel suitable for 240V,50Hz AC supply (Make-Epcos, Neptune) a) 2.5 MFD for Ceiling Fan Capacitor | 200.00 | No |  | 45.00 | 9000.00 | 30.00 | 6000.00 | 30.00 | 6000.00 | 19.00 | 3800.00 | 3800.00 | ABHISHEK INTEGRATIONS LIMITED
28.02 | b) 3.5 MFD Square type for Large wall/ table/Exhaust Fan Capacitor | 30.00 | No |  | 65.00 | 1950.00 | 25.00 | 750.00 | 50.00 | 1500.00 | 20.00 | 600.00 | 600.00 | ABHISHEK INTEGRATIONS LIMITED
28.03 | c) 5KVAR,415Volt,50Hz, Super Heavy Duty Cylinder Type capacitor suitable for existing APFC Panel | 5.00 | No |  | 1900.00 | 9500.00 | 2000.00 | 10000.00 | 1200.00 | 6000.00 | 1025.00 | 5125.00 | 5125.00 | ABHISHEK INTEGRATIONS LIMITED
28.04 | d) 10KVAR,415Volt,50Hz, Super Heavy Duty Cylinder Type capacitor suitable for existing APFC Panel | 10.00 | No |  | 3000.00 | 30000.00 | 4000.00 | 40000.00 | 2500.00 | 25000.00 | 1750.00 | 17500.00 | 17500.00 | ABHISHEK INTEGRATIONS LIMITED
28.05 | e) 25KVAR,440Volt,50Hz, Super Heavy Duty Cylinder Type capacitor suitable for existing APFC Panel | 10.00 | No |  | 6900.00 | 69000.00 | 5000.00 | 50000.00 | 3500.00 | 35000.00 | 3500.00 | 35000.00 | 35000.00 | ABHISHEK INTEGRATIONS LIMITED, PREMIER ENGINEERING TECHNICS PVT. LTD.
28.06 | Supply of following size uPVC Trunking Profile (casing capping) with accessories as reqd. (Precision / AKG / AAI approved make) a) Casing caping 25mm | 120.00 | Mtr |  | 22.00 | 2640.00 | 30.00 | 3600.00 | 30.00 | 3600.00 | 28.00 | 3360.00 | 2640.00 | Techno Electricals
28.07 | b) Casing caping 20mm | 200.00 | Mtr |  | 21.00 | 4200.00 | 20.00 | 4000.00 | 25.00 | 5000.00 | 22.00 | 4400.00 | 4000.00 | Manish Electricals
29.00 | Supply of 22.5 mm size flush mounted type LED indicators with internal circuit suitable for 240V,50Hz AC Supply, Colour as per site requirement .(Make:- AAI approved make List). | 150.00 | No |  | 125.00 | 18750.00 | 70.00 | 10500.00 | 100.00 | 15000.00 | 95.00 | 14250.00 | 10500.00 | Manish Electricals
30.00 | Supply of 4W,220-440Volt,50Hz Emergency Light ( Make:- Philips/ as per list of approved make of tender) | 15.00 | No |  | 2000.00 | 30000.00 | 5000.00 | 75000.00 | 1200.00 | 18000.00 | 1745.00 | 26175.00 | 18000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
31.00 | Supply of PVC Extention Board with minimum 10A capacity, 4 way socket with individual switch having minimum 1.5mm wires (Make:Anchor/ or similar of Legrand / L&T/ Havells) | 10.00 | No |  | 750.00 | 7500.00 | 300.00 | 3000.00 | 600.00 | 6000.00 | 539.00 | 5390.00 | 3000.00 | Manish Electricals
32.01 | Supply of following contactor :- a) ML-3, 415V,50Hz Power Contactor (Make: L&T) | 2.00 | No |  | 8350.00 | 16700.00 | 6000.00 | 12000.00 | 5500.00 | 11000.00 | 7390.00 | 14780.00 | 11000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
32.02 | b) ML-4 , 415V,50Hz Power Contactor (Make: L&T) | 2.00 | No |  | 13500.00 | 27000.00 | 8000.00 | 16000.00 | 6000.00 | 12000.00 | 12080.00 | 24160.00 | 12000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
33.00 | 9W Aviation obstruction light Single dome (Make: as per list of approved make of tender) | 15.00 | No |  | 2700.00 | 40500.00 | 4000.00 | 60000.00 | 3000.00 | 45000.00 | 3500.00 | 52500.00 | 40500.00 | Techno Electricals
34.00 | Supply of 22W LED, 4 Feet, aluminium base batten Tube light fitting,suitable for operation on 230V, 50Hz, single phase AC Supply (Make: Philips / Bajaj/ Crompton / Halonix ) | 60.00 | No |  | 350.00 | 21000.00 | 400.00 | 24000.00 | 250.00 | 15000.00 | 3250.00 | 195000.00 | 15000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
35.00 | Supply of Float switch sensor for vertical submersible pump | 20.00 | No |  | 500.00 | 10000.00 | 600.00 | 12000.00 | 200.00 | 4000.00 | 380.00 | 7600.00 | 4000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
36.00 | Supply of 6A Auto manual selector switch with center off (AC23A,440V,3KW-3.8A) (Make : L&T) | 20.00 | No |  | 200.00 | 4000.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 530.00 | 10600.00 | 4000.00 | Techno Electricals, Manish Electricals, PREMIER ENGINEERING TECHNICS PVT. LTD.
37.00 | Supply of 32A/660V AC/DC, Trip & close type TNC Control switch suitable for existing sysrem. (Make : L&T) | 10.00 | No |  | 1500.00 | 15000.00 | 900.00 | 9000.00 | 700.00 | 7000.00 | 848.00 | 8480.00 | 7000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
38.00 | 360 degree, Surface mount, PIR sensor for auto control of light (Make :- MK Honeywell, Model- K5016 ) | 15.00 | No |  | 2200.00 | 33000.00 | 600.00 | 9000.00 | 2000.00 | 30000.00 | 1800.00 | 27000.00 | 9000.00 | Manish Electricals
39.00 | Supply of heavy duty 16A. 6 Pin male & Female connector for BAJAJ make high mast tower. | 5.00 | No |  | 2500.00 | 12500.00 | 500.00 | 2500.00 | 3000.00 | 15000.00 | 350.00 | 1750.00 | 1750.00 | ABHISHEK INTEGRATIONS LIMITED
40.00 | Supply of duly painted MS Heavy Duty Earth Pit Cover (1 feet x 1 feet) made of minimum 5mm thick MS Chekard plate with suitable frame and handle. | 50.00 | Each |  | 750.00 | 37500.00 | 550.00 | 27500.00 | 300.00 | 15000.00 | 865.00 | 43250.00 | 15000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
| Total in Figures |  |  |  |  | 16338518.00 |  | 16592088.00 |  | 17660161.00 |  | 15818767.00
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(15818767.00)

## BOQ Summary
BOQ Summary Details Tender Title: Opera. and Maint. Contract of Electrical and Mechanical Installations at New Terminal Building, Water supply system, Operation of Conveyor system and supply of electrical spares at Vadodara Airport, Vadodara (For 02 Year ) (Yr 2023-24 and 2024-25) Tender ID: 2023_AAI_155270_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED | 15818767.00 | L1
| 2 | Techno Electricals | 16338518.00 | L2
| 3 | Manish Electricals | 16592088.00 | L3
| 4 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 17660161.00 | L4