## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 05-Jul-2023 06:39 PM Tender Title: Provision of Street lights for Approach Road of New DVOR, New Fire Station and E and M Workshop at Vijayawada Airport Tender ID: 2023_AAI_155947_1
Tender Inviting Authority: Joint General Manager (Engg-E), AAI, Vijayawada International Airport.
Name of Work: Provision of Street lights for Approach Road of New DVOR, New Fire Station and E&M Workshop at Vijayawada Airport
Contract No: 2023_AAI_155947_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | Messers Rajesh Gawde(GSTN-23AFHPG7133A1Z4) |  | surbhi association(GSTN-23AGKPD2522N1ZK) |  | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 4CX16 Sq.mm XLPE insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part-I) 2011 with up to date amendments etc as required. (Make: As per AAI list of approved makes) | 4870.00 | Mtr | 100.00 | 210.00 | 1022700.00 | 134.00 | 652580.00 | 120.00 | 584400.00 | 170.00 | 827900.00 | 165.00 | 803550.00 | 584400.00 | Messers Rajesh Gawde
2.00 | Supply of 10Core x 2.5 Sq.mm XLPE insulated and PVC sheathed copper conductor armoured control cable of 1.1 KV grade conforming to IS 7098 (Part-1) with upto date amendments etc.,complete as required. (Make: As per AAI list of approved makes) | 500.00 | Mtr | 100.00 | 540.00 | 270000.00 | 338.00 | 169000.00 | 330.00 | 165000.00 | 400.00 | 200000.00 | 450.00 | 225000.00 | 165000.00 | Messers Rajesh Gawde
3.00 | Supply of LED Street light fitting with wattage of 45W with high power LEDs, system efficay not less than 110 lumen/watt, suitable optics for uniform light distribution, integral control driver with minimum 3kV surge suppressor, fitting made up of high pressure die-cast aluminium housing with suitable thermal management arrangement, toughned glass with IP 65 protection, suitable to operate on single phase AC supply, inline with technical specifications etc., complete as required. | 160.00 | Each | 100.00 | 2100.00 | 336000.00 | 1428.00 | 228480.00 | 1500.00 | 240000.00 | 1800.00 | 288000.00 | 3300.00 | 528000.00 | 228480.00 | Industrial Traders
4.00 | Supply of LED Wellglass fitting with wattage of 40W with high power LEDs, system efficay not less than 110 lumen/watt, suitable optics with uniform light distribution, integral control driver with surge suppressor, fitting made up of high pressure die-cast aluminium housing with suitable thermal management arrangement, toughned glass with IP 65 protection, suitable to operate on single phase AC supply, inline with technical specifications etc., complete as required. | 12.00 | Each | 100.00 | 3500.00 | 42000.00 | 2160.00 | 25920.00 | 1800.00 | 21600.00 | 1600.00 | 19200.00 | 5500.00 | 66000.00 | 19200.00 | surbhi association
5.00 | Supply of LED Post top fitting with wattage of 40W with high power LEDs, system efficay not less than 110 lumen/watt, aenthetically designed, glare free operation for uniform light distribution, integral control driver with surge suppressor, fitting made up of high pressure die-cast aluminium housing with suitable thermal management arrangement, toughned glass with IP 65 protection, suitable to operate on single phase AC supply, inline with technical specifications etc., complete as required. | 10.00 | Each | 100.00 | 4000.00 | 40000.00 | 3960.00 | 39600.00 | 4440.00 | 44400.00 | 4500.00 | 45000.00 | 5500.00 | 55000.00 | 39600.00 | Industrial Traders
6.00 | Fabrication, S.I.T.C of Outdoor MV Feeder Pillar Panel with double door arrangement made out of 3mm thick outer sheet and 2mm thick inner sheet and partition CRCA sheet steel, dust tight, vermin proof, totally enclosed, cubicle type WITH TOP CANOPY FOR RAIN PROTECTION, floor mounting, free standing, suitable for operation at 433 V, 3 phase, 4 wire, 50 Hz, A.C. Power Supply System of street lights operation complete with all accessories, interconnection, connection, earthing, painting, grouting, providing pedastal UPTO THE HEIGHT OF 450 MM, Cable Entry provision etc. as required and comprising of following: 63A FPN MCCB as a Incomer, 3 Nos. 16 A TPN MCB as Outgoing, 24 Hrs digital/analogue timer, 25 A TP Power contactors for the automatic switching of Luminaries with Auto/Manual Switching Option, power tool controls, Pri-wiring, Phase Indication LED Lamps for Incomer, One VAF meter suitable din rail along with interconnections, pre-wiring with suitable size wires /cables, termination etc., as required. | 1.00 | Job | 100.00 | 64000.00 | 64000.00 | 62042.00 | 62042.00 | 126000.00 | 126000.00 | 50000.00 | 50000.00 | 139301.00 | 139301.00 | 50000.00 | surbhi association
7.00 | Supplying and laying of 50 mm Outer Dia., PE80, PN-6 Pipe ISI marked HDPE Pipe along with all accessories like socket, bend, couplers, T-Joint etc. conforming to IS 4984, complete with fitting and cutting, jointing etc. Direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. Note: Only required quantity of HDPE Pipe to be supplied and laid at site. If any balance pipe is available after laying and same shall be taken back by agency. Payment will be made an actual utilization at site. Nothing will be paid extra. | 4460.00 | Mtr | 100.00 | 225.00 | 1003500.00 | 240.00 | 1070400.00 | 254.00 | 1132840.00 | 140.00 | 624400.00 | 165.00 | 735900.00 | 624400.00 | surbhi association
8.00 | Supplying and laying of 50 mm Outer Dia., PE80, PN-6 Pipe ISI marked, HDPE Pipe along with all accessories like socket, bend, couplers etc. conforming to IS 4984 Direct laying in RCC Hume pipe / Trench complete as required. | 140.00 | Mtr | 100.00 | 300.00 | 42000.00 | 192.00 | 26880.00 | 207.00 | 28980.00 | 100.00 | 14000.00 | 100.00 | 14000.00 | 14000.00 | surbhi association, DEEPAKELECTRICALS
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of up to 35sq.mm in the existing RCC / HUME / METAL / HDPE / DWC pipe as required. | 4600.00 | Mtr | 100.00 | 30.00 | 138000.00 | 24.00 | 110400.00 | 28.75 | 132250.00 | 15.00 | 69000.00 | 25.00 | 115000.00 | 69000.00 | surbhi association
10.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 50.00 | Mtr | 100.00 | 120.00 | 6000.00 | 36.00 | 1800.00 | 51.75 | 2587.50 | 15.00 | 750.00 | 35.00 | 1750.00 | 750.00 | surbhi association
11.00 | Supply and fixing of PVC out door type cable termination box of size (205X255X112) mm with IP66 protection along with 4-way connector, 6A SP MCB, din rail using 2 Nos. of 2mm MS U clamp suitable to fix the box etc., complete as required. | 140.00 | Each | 100.00 | 1200.00 | 168000.00 | 2400.00 | 336000.00 | 1380.00 | 193200.00 | 2300.00 | 322000.00 | 1500.00 | 210000.00 | 168000.00 | Manish Electricals
12.00 | Supplying and making end termination with brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4CX16 Sq.mm (25mm) | 168.00 | Set | 100.00 | 500.00 | 84000.00 | 480.00 | 80640.00 | 460.00 | 77280.00 | 300.00 | 50400.00 | 280.00 | 47040.00 | 47040.00 | DEEPAKELECTRICALS
13.00 | Fabrication and Supply of GI pole of 65 mm dia. class B, up to max length of 6mtrs in which one side making wrinkle free bend / braket up to a length of 1mtr with an angle not more than 125° and suitable reducer to fix the street light fitting and other end welded with 12mm thick GI base plate (300X300X12mm) with 4 No of holes for pole fixing and one side of plate U shape cutting for accommodating the 40mm dia. GI pipe along with suitable bolts, nuts, washers etc., overall height of the pole shall not be more 6mtr including two coats of aluminum painting and pole number etc., as required. | 110.00 | Job | 100.00 | 4800.00 | 528000.00 | 6000.00 | 660000.00 | 6325.00 | 695750.00 | 9500.00 | 1045000.00 | 7730.00 | 850300.00 | 528000.00 | Manish Electricals
14.00 | Construction of specified grade of steel reinforced cement concrete (RCC) foundation of size 450mm x 450mm x 1200mm depth, suitable for installation of 6mtr tubular street light pole with 1:1.5:3 Cement concrete (1 Cement : 1.5 Coarse sand : 3 Graded stone aggregate 20mm nominal size) and necessary base concrete of 1:3:6 for 100mm thickness below the pole foundation (1 Cement : 3 Fine sand : 6 Graded stone aggregate 40mm nominal size) suitable finishing on surface above the ground level with provision of 4nos. of 16mm dia. 700mm length, one end threaded and other end J bending, G.I Grouting rods with bolts, nuts, washers etc., for installation of tubular pole complete as per site requirement. (Note: Earth excavation, centering, shuttering, finishing reinforcement for RCC work including strengthening, cutting, bending, placing in position and binding all complete - All work up to plinth level included in the scope of work) | 115.00 | Job | 100.00 | 1200.00 | 138000.00 | 6000.00 | 690000.00 | 5750.00 | 661250.00 | 2600.00 | 299000.00 | 3500.00 | 402500.00 | 138000.00 | Manish Electricals
15.00 | Shifting, loading & unloading, re-erection, testing and commissioning up to 5 Mtr height GI Street light poles with all accessories on existing pole foundation. Job including two wiring from control box to fitting wirh 3core x 1.5 Sq.mm, FRLSH Copper conductor, flexible cables, connection from box to fitting, coats of aluminium painting and pole number etc., complete as required | 15.00 | Each | 100.00 | 3000.00 | 45000.00 | 1920.00 | 28800.00 | 6555.00 | 98325.00 | 1000.00 | 15000.00 | 2500.00 | 37500.00 | 15000.00 | surbhi association
16.00 | Installation, erection, testing and commissioning up to 6 Mtr height GI Street light poles with all accessories on existing foundation. Job including wiring from control box to fitting wirh 3core x 1.5 Sq.mm, FRLSH Copper conductor, flexible cables, connection from box to fitting etc., complete as required | 110.00 | Each | 100.00 | 3500.00 | 385000.00 | 960.00 | 105600.00 | 1035.00 | 113850.00 | 1000.00 | 110000.00 | 2500.00 | 275000.00 | 105600.00 | Industrial Traders
17.00 | Fabrication SITC of outdoor type cable junction box, single door with locking arrangement made out of 3mm thick outer sheet and 2mm thick inner sheet steel, dust tight, vermin proof, totally enclosed, cubicle type WITH TOP CANOPY FOR RAIN PROTECTION, floor mounting, free standing panel box suitable for suitable for connection of 10 core x 2.5 Sq.mm control cable with all accessories (i.e. terminations, connecters terminals, copper lugs, marking ferrules etc.) including D-rail for fixing of connectors interconnection, connection, earthing, painting, grouting, providing pedastal upto the 450MM painting, cable entry provision etc. complete with all respects. | 2.00 | Job | 100.00 | 25000.00 | 50000.00 | 19200.00 | 38400.00 | 8625.00 | 17250.00 | 15000.00 | 30000.00 | 4500.00 | 9000.00 | 9000.00 | DEEPAKELECTRICALS
18.00 | Installation, testing and commissioning various capacity LED fitting on existing street poles height of 6 Mtr / recess / ceiling / including providing and laying of 3core x 2.5 sq.mm, FRLSH, multicore, PVC insulated and FR PVC round sheathed, Copper conductor cable through pole pipe from cable looping box to fitting and wiring including fixing of PVC junction box on the pole etc., as per site required. | 140.00 | Each | 100.00 | 250.00 | 35000.00 | 360.00 | 50400.00 | 1035.00 | 144900.00 | 350.00 | 49000.00 | 350.00 | 49000.00 | 35000.00 | Manish Electricals
19.00 | Providing & fixing of 40 mm dia class "B" GI pipe of 2 Mtr length in pole foundation with existing pole including cutting, making bending to recieve cables as required, providing with one no of rubber bush with holes suitable to receive 2no of 4 x 16 Sq.mm and 2 nos of 6 SWG GI wire etc complete as required. | 115.00 | Each | 100.00 | 1200.00 | 138000.00 | 864.00 | 99360.00 | 1840.00 | 211600.00 | 1000.00 | 115000.00 | 650.00 | 74750.00 | 74750.00 | DEEPAKELECTRICALS
20.00 | Providing & fixing of 40 mm dia class "B" GI pipe of wall brakets up to 2 Mtr length fixing on existing wall including cutting, fixing arrangement, making bending to fixing of street fitting as required, providing with one no of rubber bush with holes suitable to receive cable etc. complete as required. | 10.00 | Each | 100.00 | 1350.00 | 13500.00 | 1200.00 | 12000.00 | 1495.00 | 14950.00 | 1200.00 | 12000.00 | 700.00 | 7000.00 | 7000.00 | DEEPAKELECTRICALS
21.00 | Providing and laying of 6 SWG dia G.I. wire on surface / /along with existing cable for loop earthing and panel earthing / pole earthing coneection etc. completeas required. | 4460.00 | Mtr | 100.00 | 30.00 | 133800.00 | 36.00 | 160560.00 | 25.30 | 112838.00 | 20.00 | 89200.00 | 42.00 | 187320.00 | 89200.00 | surbhi association
22.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 5.00 | Each | 100.00 | 7500.00 | 37500.00 | 7200.00 | 36000.00 | 9775.00 | 48875.00 | 7000.00 | 35000.00 | 6900.00 | 34500.00 | 34500.00 | DEEPAKELECTRICALS
23.00 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, G.I. tube, having single prong at top, with 85 mm dia 6 mm thick G.I. base plate including holes etc. complete as required. | 10.00 | Each | 100.00 | 4000.00 | 40000.00 | 2640.00 | 26400.00 | 1725.00 | 17250.00 | 2300.00 | 23000.00 | 2500.00 | 25000.00 | 17250.00 | Messers Rajesh Gawde
24.00 | Jointing of G.I. tape (with another G I tape, base of the finial or any other metallic object) by riveting / nut bolting/ sweating and soldering etc as required. | 10.00 | Each | 100.00 | 1200.00 | 12000.00 | 240.00 | 2400.00 | 230.00 | 2300.00 | 50.00 | 500.00 | 350.00 | 3500.00 | 500.00 | surbhi association
25.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For horizontal run) | 230.00 | Mtr | 100.00 | 600.00 | 138000.00 | 120.00 | 27600.00 | 161.00 | 37030.00 | 125.00 | 28750.00 | 200.00 | 46000.00 | 27600.00 | Industrial Traders
26.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For vertical run) | 100.00 | Mtr | 100.00 | 480.00 | 48000.00 | 120.00 | 12000.00 | 172.50 | 17250.00 | 125.00 | 12500.00 | 240.00 | 24000.00 | 12000.00 | Industrial Traders
27.00 | Providing and fixing testing joint, made of 20 mm X 3 mm thick G.I. strip, 125 mm long, with 4 nos. of G.I. bolts, nuts, chuck nuts and spring washers etc. complete as required. | 20.00 | Each | 100.00 | 600.00 | 12000.00 | 240.00 | 4800.00 | 1035.00 | 20700.00 | 200.00 | 4000.00 | 350.00 | 7000.00 | 4000.00 | surbhi association
28.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 4.00 | Each | 100.00 | 9000.00 | 36000.00 | 12000.00 | 48000.00 | 9200.00 | 36800.00 | 6500.00 | 26000.00 | 9000.00 | 36000.00 | 26000.00 | surbhi association
29.00 | Providing and fixing 30 mm X 6 mm G.I. strip in 50 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 96.00 | Mtr | 100.00 | 950.00 | 91200.00 | 720.00 | 69120.00 | 1058.00 | 101568.00 | 700.00 | 67200.00 | 700.00 | 67200.00 | 67200.00 | surbhi association, DEEPAKELECTRICALS
30.00 | Providing, laying and fixing 50mm dia G.I. pipe (medium class) in PCC / Bitumin Road complete with G.I. fittings including trenching (70 cm deep) and re-filling etc as required. | 12.00 | Mtr | 100.00 | 750.00 | 9000.00 | 720.00 | 8640.00 | 920.00 | 11040.00 | 750.00 | 9000.00 | 750.00 | 9000.00 | 8640.00 | Industrial Traders
31.00 | Demolishing Brick wall / PCC / RCC / CC / Bitumin road etc. by manually / mechanical means including disposal of material within 100 metres lead as per direction of Engineer - in - charge. | 4.00 | Cum | 100.00 | 1500.00 | 6000.00 | 3600.00 | 14400.00 | 9775.00 | 39100.00 | 500.00 | 2000.00 | 2000.00 | 8000.00 | 2000.00 | surbhi association
32.00 | Providing and laying in position cement concrete 1:2:4 (1cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation / road crossing etc., including fram work etc as required. | 4.00 | Cum | 100.00 | 9000.00 | 36000.00 | 6000.00 | 24000.00 | 11500.00 | 46000.00 | 4000.00 | 16000.00 | 4500.00 | 18000.00 | 16000.00 | surbhi association
| Total in Figures |  |  |  |  | 5148200.00 |  | 4922222.00 |  | 5197163.50 |  | 4498800.00 |  | 5111111.00
Lowest Amount Quoted BY: surbhi association(4498800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Street lights for Approach Road of New DVOR, New Fire Station and E and M Workshop at Vijayawada Airport Tender ID: 2023_AAI_155947_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | surbhi association | 4498800.00 | L1
| 2 | Industrial Traders | 4922222.00 | L2
| 3 | DEEPAKELECTRICALS | 5111111.00 | L3
| 4 | Manish Electricals | 5148200.00 | L4
| 5 | Messers Rajesh Gawde | 5197163.50 | L5