## BoQ1
Government eProcurement System Created By: MAYANK YADAV Created Date/Time: 06-Jul-2023 06:14 PM Tender Title: Provision of LED type lights in city side at Civil Airport Jodhpur Tender ID: 2023_AAI_156178_2
Tender Inviting Authority: Sr. Manager Engg.- E, Airports Authority of India, Civil Airport, Jodhpur
Name of Work:- “Provision of LED type lights in city side at Civil Airport Jodhpur.”
e-Tender ID.: 2023_AAI_156178_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MPC ELECTRICALS AND ENGINEERS(GSTN-08ABUPP6558K1ZM) |  | M/s Sogani Electrical(GSTN-08AGBPS1420R1Z3) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | surbhi association(GSTN-23AGKPD2522N1ZK) |  | R S ELECTRICALS(GSTN-09AALFR7080G1ZS) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd(GSTN-NA) |  | ANUKOM ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 06 metre hight hot galvanised octagonal pole, continously tapered (Bolt Fixing Type) in single section of size made out of 3mm thick sheet suitable for bracket having top dia 70-75mm and bottom dia 130-135mm, base plate size 200x200x12mm - 220x220x12mm with door and locking arrangement complete with one sided 1” dia cross arm of minimum 1mtr long GI street light bracket, bakelite sheet, neutral link, providing suitable size DP MCB or other electrical accessories etc. complete as required. | 5.00 | Each | 0.00 | 12500.00 | 62500.00 | 9000.00 | 45000.00 | 10260.00 | 51300.00 | 12000.00 | 60000.00 | 12000.00 | 60000.00 | 12150.00 | 60750.00 | 10900.00 | 54500.00 | 8700.00 | 43500.00 | 43500.00 | ANUKOM ENTERPRISES
2.00 | Erection, Testing and Commissioning of 06 metre hight hot galvanised octagonal pole complete with all accessories by providing and laying REINFORCED CEMENT CONCRETE of grade 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) and Steel reinforcement as per the design of Pole Manufacturer and providing required Sets of 550-600mm long suitable 'J' type foundation GI bolts of diameter 20mm with 03 Nos. Nuts, separate adequate size HDPE/UPVC pipes for incoming and outgoing power cables and earth wires to the cable termination box in the RCC including excavation and refilling etc. complete as required. | 5.00 | Each | 0.00 | 3500.00 | 17500.00 | 3500.00 | 17500.00 | 4500.00 | 22500.00 | 2500.00 | 12500.00 | 5500.00 | 27500.00 | 2500.00 | 12500.00 | 3000.00 | 15000.00 | 2500.00 | 12500.00 | 12500.00 | ANUKOM ENTERPRISES, surbhi association, Awasthi Electric Works
3.00 | Supply of 09 metre hight hot galvanised octagonal pole, continously tapered (Bolt Fixing Type) in single section of size made out of 3mm thick sheet suitable for bracket having top dia 70-75mm and bottom dia 155-175mm, base plate size 240x240x16mm - 260x260x16mm with door and locking arrangement complete with three sided 1” dia cross arm of minimum 1mtr long GI street light bracket, bakelite sheet, neutral link, providing suitable size DP MCB or other electrical accessories etc. complete as required. | 11.00 | Each | 0.00 | 14200.00 | 156200.00 | 13000.00 | 143000.00 | 18000.00 | 198000.00 | 16000.00 | 176000.00 | 17500.00 | 192500.00 | 17500.00 | 192500.00 | 16500.00 | 181500.00 | 14050.00 | 154550.00 | 143000.00 | M/s Sogani Electrical
4.00 | Erection, Testing and Commissioning of 09 metre hight hot galvanised octagonal pole complete with all accessories by providing and laying REINFORCED CEMENT CONCRETE of grade 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) and Steel reinforcement as per the design of Pole Manufacturer and providing required Sets of 700-750mm long suitable 'J' type foundation GI bolts of diameter 24mm with 03 Nos. Nuts, separate adequate size PVC pipes for incoming and outgoing power cables and earth wires to the cable termination box in the RCC including excavation and refilling etc. complete as required. | 11.00 | Each | 0.00 | 3500.00 | 38500.00 | 4000.00 | 44000.00 | 5500.00 | 60500.00 | 2800.00 | 30800.00 | 8000.00 | 88000.00 | 3000.00 | 33000.00 | 4000.00 | 44000.00 | 3000.00 | 33000.00 | 30800.00 | surbhi association
5.00 | Supply of 230 Volts, 50 Hz, 36-40Watt Static LED Light Column (04 Metre height) having 3600 illumination, die-cast aluminium pipe poweder coated finished housing with cylindrical opal polycarbonate diffuser designed for rugged outdoor usage & IP65 protection and meeting minimum technical specifications as laid down in the tender etc. complete as required. The pole shall be supplied with suitable size base plate (round / square) with other electrical accessories if any required. | 13.00 | Each | 0.00 | 4400.00 | 57200.00 | 27000.00 | 351000.00 | 1500.00 | 19500.00 | 29000.00 | 377000.00 | 22500.00 | 292500.00 | 16500.00 | 214500.00 | 16000.00 | 208000.00 | 29500.00 | 383500.00 | 19500.00 | Manish Electricals
6.00 | Erection, Testing and Commissioning of Static LED Light Column (03 Metre height) with all accessories by providing and laying REINFORCED CEMENT CONCRETE of grade 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) and Steel reinforcement as per the design of Pole Manufacturer and providing required Sets of 450-500mm long suitable 'J' type foundation GI bolts of diameter 16mm with 03 Nos. Nuts, separate adequate size PVC pipes for incoming and outgoing power cables and earth wires to the cable termination box in the RCC including excavation and refilling etc. complete as required. | 13.00 | Each | 0.00 | 440.00 | 5720.00 | 3500.00 | 45500.00 | 3000.00 | 39000.00 | 2500.00 | 32500.00 | 3500.00 | 45500.00 | 2800.00 | 36400.00 | 3000.00 | 39000.00 | 1500.00 | 19500.00 | 5720.00 | MPC ELECTRICALS AND ENGINEERS
7.00 | Supply of 230 Volts, 50 Hz, 45 Watt Street LED Light / Luminaires made of Pressure die-cast aluminium alloy for housing (heat sink) for effective thermal management and heat dissipation, sturdiness & excellent corrosion resistant with IP 66 protection meeting minimum technical specifications as laid down in the tender etc. complete as required. | 33.00 | Each | 0.00 | 2600.00 | 85800.00 | 1800.00 | 59400.00 | 2000.00 | 66000.00 | 2150.00 | 70950.00 | 1650.00 | 54450.00 | 2150.00 | 70950.00 | 1425.00 | 47025.00 | 1955.80 | 64541.40 | 47025.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
8.00 | Supply of 230 Volts, 50 Hz, 30 Watt Street LED light / Luminaires made of Pressure die-cast aluminium alloy for housing (heat sink) for effective thermal management and heat dissipation, sturdiness & excellent corrosion resistant with IP 66 protection meeting minimum technical specifications as laid down in the tender etc. complete as required. | 37.00 | Each | 0.00 | 2600.00 | 96200.00 | 1275.00 | 47175.00 | 1200.00 | 44400.00 | 1850.00 | 68450.00 | 1400.00 | 51800.00 | 1500.00 | 55500.00 | 1165.00 | 43105.00 | 1619.20 | 59910.40 | 43105.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
9.00 | Supply of 230 Volts, 50 Hz, 90 Watt Street LED light / Luminaires made of Pressure die-cast aluminium alloy for housing (heat sink) for effective thermal management and heat dissipation, sturdiness & excellent corrosion resistant with IP 66 protection meeting minimum technical specifications as laid down in the tender etc. complete as required. | 4.00 | Each | 0.00 | 3500.00 | 14000.00 | 3400.00 | 13600.00 | 12000.00 | 48000.00 | 3500.00 | 14000.00 | 3400.00 | 13600.00 | 3500.00 | 14000.00 | 3270.00 | 13080.00 | 3875.30 | 15501.20 | 13080.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
10.00 | Supply of 230 Volts, 50 Hz, 150 Watt Flood Light LED Light / Luminaires made of Pressure die-cast aluminium alloy for housing (heat sink) for effective thermal management and heat dissipation, sturdiness & excellent corrosion resistant with IP 66 protection meeting minimum technical specifications as laid down in the tender etc. complete as required. | 20.00 | Each | 0.00 | 3500.00 | 70000.00 | 5700.00 | 114000.00 | 6000.00 | 120000.00 | 6000.00 | 120000.00 | 5500.00 | 110000.00 | 6500.00 | 130000.00 | 5345.00 | 106900.00 | 7571.30 | 151426.00 | 70000.00 | MPC ELECTRICALS AND ENGINEERS
11.00 | Supply of 230 Volts, 50 Hz, 80 Watt LED Canopy Light / Luminaire made of Pressure die-cast aluminium alloy for housing (heat sink) for effective thermal management and heat dissipation, sturdiness & excellent corrosion resistant with IP 66 protection, equipped with four screws and cradle for ease of installtion etc. meeting minimum technical specifications as laid down in the tender etc. complete as required. | 32.00 | Each | 0.00 | 3500.00 | 112000.00 | 4000.00 | 128000.00 | 9000.00 | 288000.00 | 4000.00 | 128000.00 | 4500.00 | 144000.00 | 4990.00 | 159680.00 | 3550.00 | 113600.00 | 3465.00 | 110880.00 | 110880.00 | ANUKOM ENTERPRISES
12.00 | Supply of 24W square fullglow LED surface downlighter with polycarbonate reflector/ PMMA diffuser to deliver low glare illumination alongwith LED driver suitable to operate on 50Hz AC single phase supply etc. complete as required. (Make: Philips, Model No. 582174) | 126.00 | Each | 0.00 | 1600.00 | 201600.00 | 1600.00 | 201600.00 | 1500.00 | 189000.00 | 1800.00 | 226800.00 | 1200.00 | 151200.00 | 1150.00 | 144900.00 | 975.00 | 122850.00 | 1870.00 | 235620.00 | 122850.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
13.00 | Supply of 24W round fullglow LED surface downlighter with polycarbonate reflector/ PMMA diffuser to deliver low glare illumination alongwith LED driver suitable to operate on 50Hz AC single phase supply etc. complete as required. (Make: Philips, Model No. 582174) | 10.00 | Each | 0.00 | 1600.00 | 16000.00 | 1600.00 | 16000.00 | 1500.00 | 15000.00 | 1800.00 | 18000.00 | 1300.00 | 13000.00 | 1150.00 | 11500.00 | 975.00 | 9750.00 | 1036.00 | 10360.00 | 9750.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
14.00 | Installation, Testing & Commissioning of pre-wired 230 Volts, 50 Hz, LED Street / flood Light complete with all accessories on existing street light poles of height upto 12 metre including connection etc. complete as required. | 94.00 | Each | 0.00 | 440.00 | 41360.00 | 200.00 | 18800.00 | 500.00 | 47000.00 | 150.00 | 14100.00 | 200.00 | 18800.00 | 450.00 | 42300.00 | 150.00 | 14100.00 | 1200.00 | 112800.00 | 14100.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd, surbhi association
15.00 | Installation, Testing & Commissioning of 230 Volts, 50 Hz, Canopy LED Luminaires, making suitable arrangements of GI/MS stiprs or any other arrangement as directed by EIC for proper installation of fixture under the existing canopy including connection etc. complete as required. | 24.00 | Each | 0.00 | 650.00 | 15600.00 | 200.00 | 4800.00 | 450.00 | 10800.00 | 250.00 | 6000.00 | 100.00 | 2400.00 | 450.00 | 10800.00 | 150.00 | 3600.00 | 1200.00 | 28800.00 | 2400.00 | R S ELECTRICALS
16.00 | Installation, testing and commissioning of 03 Nos. pre-wired LED Luminaire complete with all accessories etc. on a 6mm thick prelaminated plywood (Agency have to provide 6mm thick prelaminated plywood of approved colour) including fixing the prelaminated plywood with prefixed LED light fixtures on the beam of the roof, connections etc. including dismantling of existing fittings etc. complete as required. | 35.00 | Each | 0.00 | 800.00 | 28000.00 | 1000.00 | 35000.00 | 300.00 | 10500.00 | 400.00 | 14000.00 | 500.00 | 17500.00 | 1200.00 | 42000.00 | 1500.00 | 52500.00 | 1200.00 | 42000.00 | 10500.00 | Manish Electricals
17.00 | Installation, testing and commissioning of 01 No. pre-wired LED Luminaire complete with all accessories etc. on a 6mm thick prelaminated plywood (Agency have to provide 6mm thick prelaminated plywood of approved colour) including fixing the prelaminated plywood with prefixed LED light fixtures on the beam of the roof, connections etc. including dismantling of existing fittings etc. complete as required. | 21.00 | Each | 0.00 | 800.00 | 16800.00 | 700.00 | 14700.00 | 450.00 | 9450.00 | 200.00 | 4200.00 | 500.00 | 10500.00 | 700.00 | 14700.00 | 500.00 | 10500.00 | 1200.00 | 25200.00 | 4200.00 | surbhi association
18.00 | Installation, testing and commissioning of pre-wired, LED Luminaire of all types, complete with all accessoriesetc. directly on ceiling/ wall / false ceiling / pole bracket / light pole including connections, dismantling of existing fittings etc. as required. | 10.00 | Each | 0.00 | 350.00 | 3500.00 | 120.00 | 1200.00 | 400.00 | 4000.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 400.00 | 4000.00 | 175.00 | 1750.00 | 1000.00 | 10000.00 | 1000.00 | R S ELECTRICALS
19.00 | Supplying and drawing 3 X 1.5 sqmm 1.1kV PVC insulated & PVC Round Sheathed Copper Conductor as per IS:694-1990 from the looping loopout cable termination box to Street light fittings inside the lighting pole etc. as required. | 500.00 | Metre | 0.00 | 170.00 | 85000.00 | 150.00 | 75000.00 | 140.00 | 70000.00 | 80.00 | 40000.00 | 75.00 | 37500.00 | 80.00 | 40000.00 | 55.00 | 27500.00 | 60.00 | 30000.00 | 27500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
20.00 | Supply of HDPE Pipe of pressure withstand capacity of 4 kg/sqmm having outer dia of 63 mm complete as required. (ISI marked). | 300.00 | Metre | 0.00 | 70.00 | 21000.00 | 150.00 | 45000.00 | 130.00 | 39000.00 | 100.00 | 30000.00 | 150.00 | 45000.00 | 230.00 | 69000.00 | 140.00 | 42000.00 | 95.00 | 28500.00 | 21000.00 | MPC ELECTRICALS AND ENGINEERS
21.00 | Laying of 63mm dia HDPE Pipe 0.40 mtr below ground including cutting Bituninous road/pucca area, refilling the same including etc. complete as per requirment. | 300.00 | Metre | 0.00 | 135.00 | 40500.00 | 150.00 | 45000.00 | 210.00 | 63000.00 | 60.00 | 18000.00 | 600.00 | 180000.00 | 450.00 | 135000.00 | 150.00 | 45000.00 | 150.00 | 45000.00 | 18000.00 | surbhi association
22.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : (a) 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 10.00 | Cum | 0.00 | 1250.00 | 12500.00 | 7500.00 | 75000.00 | 7500.00 | 75000.00 | 6000.00 | 60000.00 | 7500.00 | 75000.00 | 9000.00 | 90000.00 | 4000.00 | 40000.00 | 4500.00 | 45000.00 | 12500.00 | MPC ELECTRICALS AND ENGINEERS
23.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). (a) Light shade pigment using white cement | 15.00 | Sqm | 0.00 | 8300.00 | 124500.00 | 700.00 | 10500.00 | 8500.00 | 127500.00 | 1500.00 | 22500.00 | 1000.00 | 15000.00 | 500.00 | 7500.00 | 700.00 | 10500.00 | 700.00 | 10500.00 | 7500.00 | Awasthi Electric Works
24.00 | Supply of 4 core, 10 Sq. mm. size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098 : 1988 with upto date amendments. | 300.00 | Metre | 0.00 | 225.00 | 67500.00 | 130.00 | 39000.00 | 180.00 | 54000.00 | 115.00 | 34500.00 | 140.00 | 42000.00 | 175.00 | 52500.00 | 105.00 | 31500.00 | 175.00 | 52500.00 | 31500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
25.00 | Laying of one number PVC insulated & PVC sheathed power cable of 1.1 KV grade of size not exceeding 35 Sq.mm. in the existing RCC Hume/ Stoneware / GI pipe as required. | 300.00 | Metre | 0.00 | 17.00 | 5100.00 | 30.00 | 9000.00 | 30.00 | 9000.00 | 12.00 | 3600.00 | 30.00 | 9000.00 | 40.00 | 12000.00 | 10.00 | 3000.00 | 50.00 | 15000.00 | 3000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
26.00 | Supply and making end termination with brass compression gland and aluminium thimbles for PVC insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade of 4 core, 10 Sq. mm sizes as required. | 15.00 | Set | 0.00 | 225.00 | 3375.00 | 150.00 | 2250.00 | 500.00 | 7500.00 | 120.00 | 1800.00 | 150.00 | 2250.00 | 190.00 | 2850.00 | 175.00 | 2625.00 | 350.00 | 5250.00 | 1800.00 | surbhi association
27.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Set | 0.00 | 7100.00 | 14200.00 | 5500.00 | 11000.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 4500.00 | 9000.00 | 9000.00 | 18000.00 | 4500.00 | 9000.00 | 6000.00 | 12000.00 | 9000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd, R S ELECTRICALS
28.00 | Providing and laying earth connection from earth electrode with 6 SWG dia GI Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 10.00 | Metre | 0.00 | 214.00 | 2140.00 | 200.00 | 2000.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 280.00 | 2800.00 | 245.00 | 2450.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 2000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd, M/s Sogani Electrical, ANUKOM ENTERPRISES, surbhi association
29.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 10.00 | Metre | 0.00 | 29.00 | 290.00 | 30.00 | 300.00 | 30.00 | 300.00 | 20.00 | 200.00 | 35.00 | 350.00 | 28.00 | 280.00 | 20.00 | 200.00 | 30.00 | 300.00 | 200.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd, surbhi association
30.00 | Supply & laying of 6 SWG GI wire with PVC insulated/ PVC sheated Al. conductor cable in ground etc. as required. | 300.00 | Metre | 0.00 | 26.00 | 7800.00 | 30.00 | 9000.00 | 60.00 | 18000.00 | 20.00 | 6000.00 | 40.00 | 12000.00 | 35.00 | 10500.00 | 20.00 | 6000.00 | 30.00 | 9000.00 | 6000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd, surbhi association
| Total in Figures |  |  |  |  | 1422385.00 |  | 1623325.00 |  | 1723750.00 |  | 1605400.00 |  | 1724150.00 |  | 1690060.00 |  | 1300085.00 |  | 1768639.00
Lowest Amount Quoted BY: Krishsons International Engineers And Consultants (I) Pvt. Ltd(1300085.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of LED type lights in city side at Civil Airport Jodhpur Tender ID: 2023_AAI_156178_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Krishsons International Engineers And Consultants (I) Pvt. Ltd | 1300085.00 | L1
| 2 | MPC ELECTRICALS AND ENGINEERS | 1422385.00 | L2
| 3 | surbhi association | 1605400.00 | L3
| 4 | M/s Sogani Electrical | 1623325.00 | L4
| 5 | Awasthi Electric Works | 1690060.00 | L5
| 6 | Manish Electricals | 1723750.00 | L6
| 7 | R S ELECTRICALS | 1724150.00 | L7
| 8 | ANUKOM ENTERPRISES | 1768639.00 | L8