## BoQ1
Government eProcurement System Created By: PARAPPIL GOPAL GOPALAKRISHNAN Created Date/Time: 05-Jul-2023 04:47 PM Tender Title: Civil Works in Connections with RCAG installation at Fire Station Building at Coimbatore Airport Tender ID: 2023_AAI_156306_1
Tender Inviting Authority: Asst. Gen. Manager (E-C)
Name of Work: Civil Works in Connections with RCAG installation at Fire station Building Coimbatore Airport
Contract No: 29/2023-24/AGM(E-C)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUMAN FABRICATORS AND CONTRACTORS(GSTN-30ALDPP2860M1Z2) |  | M Murugesan and company(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying autoclaved aerated cement blocks masonry with 150mm/230mm/300 mm thick AAC blocks in super structure above plinth level up to floor V level with RCC band at sill level and lintel level with approved block laying polymer modified adhesive mortar all complete as per direction of Engineer-in-Charge. (The payment of RCC band and reinforcement shall be made for separately). | 15.00 | cum | 100.00 | 8500.00 | 127500.00 | 10134.00 | 152010.00 | 127500.00 | SUMAN FABRICATORS AND CONTRACTORS
2.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 55.00 | Sqm | 100.00 | 350.00 | 19250.00 | 478.00 | 26290.00 | 19250.00 | SUMAN FABRICATORS AND CONTRACTORS
3.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 55.00 | Sqm | 100.00 | 375.00 | 20625.00 | 478.00 | 26290.00 | 20625.00 | SUMAN FABRICATORS AND CONTRACTORS
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 10.00 | Sqm | 100.00 | 350.00 | 3500.00 | 1500.00 | 15000.00 | 3500.00 | SUMAN FABRICATORS AND CONTRACTORS
5.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 1.00 | cum | 100.00 | 6000.00 | 6000.00 | 13467.00 | 13467.00 | 6000.00 | SUMAN FABRICATORS AND CONTRACTORS
6.00 | Steel reinforcement for R.C.C. work ready to use "cut and bend" rebars of approved make from factory/workshop to construction site including placing in position and binding all complete above plinth level:Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1115.00 | kg | 100.00 | 85.00 | 94775.00 | 120.00 | 133800.00 | 94775.00 | SUMAN FABRICATORS AND CONTRACTORS
7.00 | Providing and fixing factory made uPVC white colour fixed glazed windows/ventilators comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately). Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made : Fixed window / ventilator made of (small series) frame 47 x 50 mm & mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. (Area upto 0.75 sqm.) | 5.00 | sqm | 100.00 | 7500.00 | 37500.00 | 7532.00 | 37660.00 | 37500.00 | SUMAN FABRICATORS AND CONTRACTORS
8.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 90.00 | kg | 100.00 | 450.00 | 40500.00 | 800.00 | 72000.00 | 40500.00 | SUMAN FABRICATORS AND CONTRACTORS
9.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion: Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 80.00 | kg | 100.00 | 450.00 | 36000.00 | 800.00 | 64000.00 | 36000.00 | SUMAN FABRICATORS AND CONTRACTORS
10.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge : Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side. | 20.00 | sqm | 100.00 | 750.00 | 15000.00 | 1162.00 | 23240.00 | 15000.00 | SUMAN FABRICATORS AND CONTRACTORS
11.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 2.00 | each | 100.00 | 150.00 | 300.00 | 1200.00 | 2400.00 | 300.00 | SUMAN FABRICATORS AND CONTRACTORS
12.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer’s specification : Two or more coats on new work | 75.00 | sqm | 100.00 | 70.00 | 5250.00 | 100.00 | 7500.00 | 5250.00 | SUMAN FABRICATORS AND CONTRACTORS
13.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : -New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 50.00 | sqm | 100.00 | 70.00 | 3500.00 | 226.00 | 11300.00 | 3500.00 | SUMAN FABRICATORS AND CONTRACTORS
14.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete : Size of Tile 600x600 mm | 35.00 | sqm | 100.00 | 1000.00 | 35000.00 | 1733.00 | 60655.00 | 35000.00 | SUMAN FABRICATORS AND CONTRACTORS
15.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) : 2011 (Board with BIS certification marks) | 35.00 | sqm | 100.00 | 1000.00 | 35000.00 | 1258.00 | 44030.00 | 35000.00 | SUMAN FABRICATORS AND CONTRACTORS
16.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete : Hot finished welded type tubes | 1485.00 | kg | 100.00 | 105.00 | 155925.00 | 130.00 | 193050.00 | 155925.00 | SUMAN FABRICATORS AND CONTRACTORS
17.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 45.00 | sqm | 100.00 | 625.00 | 28125.00 | 808.00 | 36360.00 | 28125.00 | SUMAN FABRICATORS AND CONTRACTORS
18.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 30.00 | sqm | 100.00 | 55.00 | 1650.00 | 266.00 | 7980.00 | 1650.00 | SUMAN FABRICATORS AND CONTRACTORS
19.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 100x63x4 mm | 8.00 | each | 100.00 | 100.00 | 800.00 | 150.00 | 1200.00 | 800.00 | SUMAN FABRICATORS AND CONTRACTORS
20.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | 2.00 | each | 100.00 | 100.00 | 200.00 | 130.00 | 260.00 | 200.00 | SUMAN FABRICATORS AND CONTRACTORS
21.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 4.00 | each | 100.00 | 100.00 | 400.00 | 130.00 | 520.00 | 400.00 | SUMAN FABRICATORS AND CONTRACTORS
22.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.- Single rubber stopper | 2.00 | each | 100.00 | 50.00 | 100.00 | 130.00 | 260.00 | 100.00 | SUMAN FABRICATORS AND CONTRACTORS
23.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 2.00 | each | 100.00 | 1000.00 | 2000.00 | 1800.00 | 3600.00 | 2000.00 | SUMAN FABRICATORS AND CONTRACTORS
24.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. - In cement mortar | 1.00 | Cum | 100.00 | 300.00 | 300.00 | 4500.00 | 4500.00 | 300.00 | SUMAN FABRICATORS AND CONTRACTORS
25.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 11.00 | cum | 100.00 | 8300.00 | 91300.00 | 12500.00 | 137500.00 | 91300.00 | SUMAN FABRICATORS AND CONTRACTORS
26.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 45.00 | sqm | 100.00 | 150.00 | 6750.00 | 1400.00 | 63000.00 | 6750.00 | SUMAN FABRICATORS AND CONTRACTORS
27.00 | Structural steel work in single section, fixed with or without connecting plate,including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 105.00 | kg | 100.00 | 90.00 | 9450.00 | 160.00 | 16800.00 | 9450.00 | SUMAN FABRICATORS AND CONTRACTORS
28.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 160.00 | kg | 100.00 | 90.00 | 14400.00 | 160.00 | 25600.00 | 14400.00 | SUMAN FABRICATORS AND CONTRACTORS
| Total in Figures |  |  |  |  | 791100.00 |  | 1180272.00
Lowest Amount Quoted BY: SUMAN FABRICATORS AND CONTRACTORS(791100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Civil Works in Connections with RCAG installation at Fire Station Building at Coimbatore Airport Tender ID: 2023_AAI_156306_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SUMAN FABRICATORS AND CONTRACTORS | 791100.00 | L1
| 2 | M Murugesan and company | 1180272.00 | L2