## BoQ1
Government eProcurement System Created By: Ganesh Sharma Created Date/Time: 21-Jul-2023 12:14 PM Tender Title: Miscellaneous civil work i.e provision of glass partitions, frosted film, storage units and facia DGUs etc at NATS/DATS Complex, IGI Airport, New Delhi Tender ID: 2023_AAI_156717_1
Tender Inviting Authority: Asstt. General Manager (Engg-Civil), AAI, NATS Complex, IGI Airport, New Delhi.
Name of Work: Miscellaneous civil work i.e provision of glass partitions, frosted film, storage units and facia DGUs etc at NATS/DATS Complex, IGI Airport, New Delhi.
Contract No: 2023_AAI_156717_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AUTOMATIC SYSTEMS DELHI(GSTN-07AMHPS3519D1Z3) |  | SAMTA INTERIORS(GSTN-07AALPB7815K1ZJ) |  | JAMAN LAL(GSTN-07AABPL4559L1ZI) |  | kailash chawla(GSTN-07ADYPC8838P1ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing full height Glass Partition over False Floor using 12mm thick toughened glass of SAINT GOBAIN/ MODIGUARD/ ASAHI or of approved make with DORMA/ OZONE/Geze/ Linox or of approved make patch fittings of Corner Connector, side connector with fixing plate/Geze with side connector and connection of two panel with PT 84/ Linox or approved equivalent fittings with stainless steel cover of DORMA/OZONE/Geze/ Linox/Kaba (Switzerland) make fixed with S.S. screws or with fixing clip i/c fabricating and fixing top and bottom Steam beach wooden members section 100mm x 50mm as per site requirement to give stability against its free movement, complete as per satisfaction of Engineer-in-charge. (Note : The top and bottom members of Steam beach wood are to be properly fixed with end slab through extended wood members of section 50mm x 50 mm to get stability) . The elevational area of the glass to be measured for payment purpose. All Glass Joints are to be filled with Silicon . (Glass door shutter will be measured in respective item no-2) | 133.00 | sqm | 100.00 | 2650.00 | 352450.00 | 5450.00 | 724850.00 | 4950.00 | 658350.00 | 6000.00 | 798000.00 | 352450.00 | ANAND AUTOMATIC SYSTEMS DELHI
2.00 | Providing and fixing Glass Door Shutter over false flooring with 12mm thick tougnened glass of SAINT GOBAIN/ MODIGUARD/ ASAHI or equivalent on DORMA/ Geze/ Linox/Kaba (Switzerland) or equivalent make die cast patch fitting with stainless steel cover which includes one no each of top pivot, Bottom Patch, Top Patch, standard lock with Strike Plate, Floor Spring, pair of SS Pull Handle (25 x 300 mm), with pivot and other accessories for self closing feature of DORMA/OZONE/ Geze/ Linox/Kaba (Switzerland) or equivalent make complete in all respects i/c fabricating and fixing MS structure made out of 50x50x5mm angle and chequerred plate for door floor spring to be fixed on base slab as per detail with the help of fasteners and high power adhesive and top Steam beach wooden members section 100mm x 50mm as per site requirement to give stability against its free movement, complete as per satisfaction of Engineer-in-charge. The top member of Steam beach wood is to be properly fixed with end slab through extended wood members of section 50mm x 50 mm to get stability. (for measurement only openable area of door shall be measured). Note: In case of over panel, payment for extra fiitings shall be made in item no - 3. | 15.00 | sqm | 100.00 | 11925.00 | 178875.00 | 10750.00 | 161250.00 | 12100.00 | 181500.00 | 11000.00 | 165000.00 | 161250.00 | SAMTA INTERIORS
3.00 | Providing and fixing of Big L - patch of make Ozone (model no OPF-1) or equivalent and Small L - patch of make Ozone (model no OPF-610) or equivalent to connect upper glass with side glasses as per site requirements. | 5.00 | each | 100.00 | 2200.00 | 11000.00 | 2900.00 | 14500.00 | 5200.00 | 26000.00 | 2000.00 | 10000.00 | 10000.00 | kailash chawla
4.00 | Providing & fixing Storage unit at all floors of Depth 450 mm (area of each opening not less than 0.5 sqm) in open office having single or double shutters with 19 mm thick commercial plywood sides/Front/shelves /Bottom & top finished with 1.0 mm thick laminate on all outer surface with balancing laminate all inside , 12 mm thick commercial plywood back with 100mm x 12mm thick teak wood skirting, Teak Wood lipping, locks, handles (100 mm long with S.S hairline Finish) auto closing hinge, towerbolt,SS shelf pin all complete as per the direction and satisfaction of Engineer-in- charge. The areas not having Laminate shall be finished with polish. (For payment purpose Front area to be measured.) | 7.00 | sqm | 100.00 | 12250.00 | 85750.00 | 6400.00 | 44800.00 | 5990.00 | 41930.00 | 5500.00 | 38500.00 | 38500.00 | kailash chawla
5.00 | Providing & fixing Storage unit at all floors of Depth 600 mm in open office having single or double shutters with 19 mm thick commercial plywood sides/Front/shelves /Bottom & top finished with 1.0 mm thick laminate on all outer surface with balancing laminate all inside , 12 mm thick commercial plywood back with 100mm x 12mm thick teak wood skirting, Teak Wood lipping, locks, handles (100 mm long with S.S hairline Finish) auto closing hinge, towerbolt,SS shelf pin all complete as per the direction and satisfaction of Engineer-in- charge. The areas not having Laminate shall be finished with polish. (For payment purpose Front area to be measured.) | 7.00 | sqm | 100.00 | 12250.00 | 85750.00 | 6800.00 | 47600.00 | 10500.00 | 73500.00 | 6000.00 | 42000.00 | 42000.00 | kailash chawla
6.00 | Providing & fixing Storage unit at all floors of Depth 600 mm in open office having multiple pigeon hole type shutters with each having a handle, lock, hinges, with 19 mm thick commercial plywood sides/Front/shelves /Bottom & top finished with 1.0 mm thick laminate on all outer surface with balancing laminate all inside , 12 mm thick commercial plywood back with 100mm x 12mm thick teak wood skirting, Teak Wood lipping, locks, handles (100 mm long with S.S hairline Finish) auto closing hinge, towerbolt,SS shelf pin all complete as per the direction and satisfaction of Engineer-in- charge. The areas not having Laminate shall be finished with polish. (For payment purpose Front area to be measured). | 12.00 | sqm | 100.00 | 12750.00 | 153000.00 | 7100.00 | 85200.00 | 10500.00 | 126000.00 | 6500.00 | 78000.00 | 78000.00 | kailash chawla
7.00 | Providing and fixing 4mm thick double sided ACP sheet of required color in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item) | 175.00 | sqm | 100.00 | 4550.00 | 796250.00 | 780.00 | 136500.00 | 1650.00 | 288750.00 | 1500.00 | 262500.00 | 136500.00 | SAMTA INTERIORS
8.00 | Providing and fixing 3MTM Scotchal Electro Cut Dusted crystal (Acid etched look-7725SE-314) / Frosted crystal (Sand Blasted look-7725SE-324)/ Avery frosted sparkle film or approved equivalent Graphic Film over the designated locations with wet applications at all floors in any design and pattern complete as per the direction and satisfaction of Engineer-in- charge. (No deductions shall be made for the blank areas in the pattern). | 130.00 | sqm | 100.00 | 1600.00 | 208000.00 | 925.00 | 120250.00 | 650.00 | 84500.00 | 600.00 | 78000.00 | 78000.00 | kailash chawla
9.00 | Providing, assembling and supplying vision glass panels or Integrated glass units (IGUs) comprising of hermetically-sealed 6mm-12mm- 8 mm insulated glass (double glazed) vision panel units of size and shape as required and specified, comprising of an outer toughened glass 6mm thick of approved colour and shade with reflective soft coating on inner surface of approved colour and shade, an inner toughened clear glass 8 mm thick, spacer tube 12mm wide, dessicants, including primary seal and secondary seal (structural silicone sealant) etc. all complete for the required performances, as per the different sizes of existing framings in New ATS building as directed by the Engineer-in-Charge. The IGUs shall be assembled in the factory/ workshop of the glass processor. For payment, only the actual area of glass on outer face of the glass panels (excluding the areas of the grooves and weather silicone sealant) provided and fixed in position, shall be measured in sqm. i) Toughened coloured float glass (AIS Green Vision) 6mm thick substrate with reflective soft coating on inner face + 12mm Airgap + 8 mm toughened clear Glass having properties as visible Light transmittance (VLT) of 33 %, Light reflection internal 11%, light reflection external 19 %, shading coefficient 0.25, SF value of 22% and U value of 1.7 W/m2 degree K etc. Note: The above mentioned parameters are of AIS Green Vision 6mm-12mm-8mm IGU panel presently installed in the existing framing. In general, the approximate size of the IGU panel is 1.5m x 2.1m which may slightly vary location wise. These parameters are for reference purpose and the agencies are advised to quote for the same IGU panels after visiting site, if necessary. | 55.00 | sqm | 100.00 | 3795.00 | 208725.00 | 4500.00 | 247500.00 | 4570.00 | 251350.00 | 4500.00 | 247500.00 | 208725.00 | ANAND AUTOMATIC SYSTEMS DELHI
10.00 | Dismantling broken Integrated Glass Units (IGUs/DGUs) and fixing new IGUs/DGUs (provided in item no 9) in existing framing at various floors of New ATS building, including double sided spacer tape, setting blocks and backer rod, all of approved grade, brand and manufacture, as per the approved sealant design, within and all around the perimeter for holding glass) and other accessories such as aluminium cleats, sleeves and splice plates etc. gaskets, screws, toggles, nuts, bolts, clamps etc., structural and weather silicone sealants, flashings, fire stop (barrier)-cum-smoke seals, microwave cured EPDM gaskets for water tightness, pressure equalisation & drainage and protection against fire hazard (if required as per site condition). The item also includes cost for sealent design, transportation, incidental charges including wastages etc. and machinery, cost of all mock ups at site, cost of all samples of the individual components for testing in an approved labortary and cleaning. Cost of scaffolding shall be payable as per item no. 23 The installed glazing should fulfill the performance characteristics such as (i) No air leakage, (ii) No water penetration and (iii) No significant deflection and deformation under the effect of static air pressure etc. The Contractor shall provide a water tight structural glazing having all the performance characteristics etc. all complete as required, as per the item description, as specified and as directed by the Engineer- in-Charge. The agency shall also provide performance warranty for 01 year from the date of completion of work. | 55.00 | sqm | 100.00 | 1100.00 | 60500.00 | 2450.00 | 134750.00 | 1250.00 | 68750.00 | 1400.00 | 77000.00 | 60500.00 | ANAND AUTOMATIC SYSTEMS DELHI
11.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed Portion Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 2140.00 | kg | 100.00 | 381.00 | 815340.00 | 450.00 | 963000.00 | 420.00 | 898800.00 | 380.00 | 813200.00 | 813200.00 | kailash chawla
12.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) : Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 220.00 | kg | 100.00 | 385.00 | 84700.00 | 450.00 | 99000.00 | 420.00 | 92400.00 | 420.00 | 92400.00 | 84700.00 | ANAND AUTOMATIC SYSTEMS DELHI
13.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete | 5.00 | each | 100.00 | 900.00 | 4500.00 | 700.00 | 3500.00 | 600.00 | 3000.00 | 650.00 | 3250.00 | 3000.00 | JAMAN LAL
14.00 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 5.00 | each | 100.00 | 300.00 | 1500.00 | 350.00 | 1750.00 | 300.00 | 1500.00 | 180.00 | 900.00 | 900.00 | kailash chawla
15.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 2.00 | each | 100.00 | 125.00 | 250.00 | 300.00 | 600.00 | 180.00 | 360.00 | 140.00 | 280.00 | 250.00 | ANAND AUTOMATIC SYSTEMS DELHI
16.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm | 6.00 | each | 100.00 | 120.00 | 720.00 | 70.00 | 420.00 | 80.00 | 480.00 | 50.00 | 300.00 | 300.00 | kailash chawla
17.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete. 150x10 mm | 16.00 | each | 100.00 | 75.00 | 1200.00 | 40.00 | 640.00 | 100.00 | 1600.00 | 40.00 | 640.00 | 640.00 | SAMTA INTERIORS, kailash chawla
18.00 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-incharge. Polyester powder coated minimum thickness 50 micron aluminium | 14.00 | each | 100.00 | 70.00 | 980.00 | 100.00 | 1400.00 | 90.00 | 1260.00 | 100.00 | 1400.00 | 980.00 | ANAND AUTOMATIC SYSTEMS DELHI
19.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete : Single rubber stopper | 6.00 | each | 100.00 | 70.00 | 420.00 | 60.00 | 360.00 | 50.00 | 300.00 | 30.00 | 180.00 | 180.00 | kailash chawla
20.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 120.00 | sqm | 100.00 | 750.00 | 90000.00 | 800.00 | 96000.00 | 1150.00 | 138000.00 | 715.00 | 85800.00 | 85800.00 | kailash chawla
21.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 100.00 | kg | 100.00 | 140.00 | 14000.00 | 120.00 | 12000.00 | 98.00 | 9800.00 | 100.00 | 10000.00 | 9800.00 | JAMAN LAL
22.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete. On steel work | 17.00 | sqm | 100.00 | 280.00 | 4760.00 | 180.00 | 3060.00 | 120.00 | 2040.00 | 140.00 | 2380.00 | 2040.00 | JAMAN LAL
23.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side of building/structure, upto 25 metre height, above ground level, including additional rows of scaffolding in stepped manner as per requirement of site, made with 40mm dia M.S. tube, placed 1.5 metre centre to centre, horizontal & vertical tubes joint with cup & lock system with M.S. Tubes, M.S. tube challis, M.S. clamps and staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for execution of work of cleaning and/ or pointing and/ or applying chemical and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connecting with the building etc, wherever required, if feasible, for inspection of work at required locations with essential safety features for the workmen etc., complete as per directions and approval of Engineer-in-charge. Note:- (1) The elevational area of the scaffolding shall be measured for payment purpose. (2) The payment will be made once only for execution of all items for such works. | 1100.00 | sqm | 100.00 | 140.00 | 154000.00 | 175.00 | 192500.00 | 75.00 | 82500.00 | 120.00 | 132000.00 | 82500.00 | JAMAN LAL
24.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 241.00 | sqm | 100.00 | 1070.00 | 257870.00 | 1100.00 | 265100.00 | 1050.00 | 253050.00 | 900.00 | 216900.00 | 216900.00 | kailash chawla
25.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texturein the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/mK. | 241.00 | sqm | 100.00 | 1312.00 | 316192.00 | 1250.00 | 301250.00 | 1800.00 | 433800.00 | 1350.00 | 325350.00 | 301250.00 | SAMTA INTERIORS
26.00 | Providing and fixing at all floors roller blinds of Decorex/Mac/Hunter Douglas/Aerolux/Vista. Roller tube shall be of extruded aluminum alloy of 32/38/50 mm O.D. of 1mm wall thickness duly anodised. Clutch, installation brackets, bottom members, fabrics including all necessary fittings etc. all complete as per manufracturer's specifications (weight 525-575 g/m2, thickness 0.65-0.75 mm, 75-85% PVC, 15-25% Polyster and openness factor 5%) and as per directions of Enggin-charge. For the payment purpose width of blind and over all height including head rail and bottom rail will be considered | 255.00 | sqm | 100.00 | 1025.00 | 261375.00 | 1200.00 | 306000.00 | 2500.00 | 637500.00 | 1265.00 | 322575.00 | 261375.00 | ANAND AUTOMATIC SYSTEMS DELHI
27.00 | P/F suncontrol film Garware polyster (or equivalent) film on glass panes after throughly cleaning of existing sunface, (The rate inclusive removal of existing suncontrol film where ever required.) as per satisfaction of Engineer-in-charge. | 120.00 | sqm | 100.00 | 780.00 | 93600.00 | 775.00 | 93000.00 | 850.00 | 102000.00 | 350.00 | 42000.00 | 42000.00 | kailash chawla
28.00 | Providing and fixing work bench/work station for CNS workshop at ACC building of overall size 1230 (W) x 2060 (H) having working top of size 0.77 x 1.23 mtr and with provision of 3 shelves above working top of depth 0.45 mtr for keeping equipments is to be made with 19mm thick commercial board on top, sides/shelves skinned with 1mm thick laminate all over the exposed area and all edges is to be covered with pvc edge lipping complete as per the given drawing/photograph and satisfaction of E.I.C. | 4.00 | each | 100.00 | 32750.00 | 131000.00 | 13000.00 | 52000.00 | 5350.00 | 21400.00 | 17000.00 | 68000.00 | 21400.00 | JAMAN LAL
29.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 362.00 | sqm | 100.00 | 5.00 | 1810.00 | 15.00 | 5430.00 | 5.00 | 1810.00 | 4.00 | 1448.00 | 1448.00 | kailash chawla
30.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 362.00 | sqm | 100.00 | 125.00 | 45250.00 | 80.00 | 28960.00 | 55.00 | 19910.00 | 90.00 | 32580.00 | 19910.00 | JAMAN LAL
31.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 362.00 | sqm | 100.00 | 120.00 | 43440.00 | 110.00 | 39820.00 | 60.00 | 21720.00 | 85.00 | 30770.00 | 21720.00 | JAMAN LAL
32.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 1.00 | cum | 100.00 | 800.00 | 800.00 | 1500.00 | 1500.00 | 1100.00 | 1100.00 | 1000.00 | 1000.00 | 800.00 | ANAND AUTOMATIC SYSTEMS DELHI
33.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge | 375.00 | sqm | 100.00 | 15.00 | 5625.00 | 30.00 | 11250.00 | 42.00 | 15750.00 | 15.00 | 5625.00 | 5625.00 | ANAND AUTOMATIC SYSTEMS DELHI, kailash chawla
34.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 6.00 | each | 100.00 | 1000.00 | 6000.00 | 120.00 | 720.00 | 200.00 | 1200.00 | 100.00 | 600.00 | 600.00 | kailash chawla
35.00 | Providing and placing fully laminated drawer unit with carcase made in 19 mm commercial board skinned with 1 mm laminate on all exposed inner/outer areas with edge protected PVC lipping, drawer base to be made in both sides laminate 6mm ply hunged on nylon guided channels with front facia having 100mm skirting in 19 mm commercial board and having 3 drawers of ht 170 mm skinned with laminate including locking system with over all size of drawer unit to be 540(W) x 460 (D) x 640 (H) mm as per direction & satisfaction of Engineer-in-charge. | 6.00 | each | 100.00 | 8200.00 | 49200.00 | 4800.00 | 28800.00 | 32500.00 | 195000.00 | 5500.00 | 33000.00 | 28800.00 | SAMTA INTERIORS
| Total in Figures |  |  |  |  | 4524832.00 |  | 4225260.00 |  | 4736910.00 |  | 4019078.00
Lowest Amount Quoted BY: kailash chawla(4019078.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous civil work i.e provision of glass partitions, frosted film, storage units and facia DGUs etc at NATS/DATS Complex, IGI Airport, New Delhi Tender ID: 2023_AAI_156717_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | kailash chawla | 4019078.00 | L1
| 2 | SAMTA INTERIORS | 4225260.00 | L2
| 3 | ANAND AUTOMATIC SYSTEMS DELHI | 4524832.00 | L3
| 4 | JAMAN LAL | 4736910.00 | L4