## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 10-Jul-2023 05:00 PM Tender Title: Replacement of Faulty LT Cable of Operational Area at Birsi, Airport, Gondia Tender ID: 2023_AAI_156771_1
Tender Inviting Authority: Assistant General Manager(Engg.-E), AAI, Gondia
Name of Work: Replacement of Faulty LT Cable of Operational Area at Birsi, Airport, Gondia
Contract No: 2023_AAI_156771_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | SARASWAT ENGINEERING SERVICES(GSTN-27AAZFS6239C1ZO) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | BOSE ENGINEERING AND MARKETING COMPANY(GSTN-19AHMPB0264G1ZJ) |  | surbhi association(GSTN-23AGKPD2522N1ZK) |  | that M/S. SYED BROTHERS ENTERPRISES, GONDIA(GSTN-NA) |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd(GSTN-NA) |  | Ekveera Electrical Works & Services(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following sizes of 1.1 KV grade multicore aluminium conductor PVC insulated / XLPE insulated and PVC sheathed armoured cable as per IS-7098 (Part-I) 1988 respectively with upto date ammendments. 3.5C X 300 Sq mm | 2500.00 | Mtr. |  | 1273.00 | 3182500.00 | 1090.00 | 2725000.00 | 1366.00 | 3415000.00 | 1102.00 | 2755000.00 | 1150.00 | 2875000.00 | 1500.00 | 3750000.00 | 1400.00 | 3500000.00 | 1200.00 | 3000000.00 | 1375.00 | 3437500.00 | 1050.00 | 2625000.00 | 1169.00 | 2922500.00 | 1410.00 | 3525000.00 | 1203.00 | 3007500.00 | 2625000.00 | that M/S. SYED BROTHERS ENTERPRISES, GONDIA
2.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in existing RCC/HUME/METAL/DWC HDPE pipe etc as required. Above 185 Sq.mm and upto 400 Sq mm | 2317.00 | Mtr. |  | 41.00 | 94997.00 | 60.00 | 139020.00 | 343.00 | 794731.00 | 83.00 | 192311.00 | 10.00 | 23170.00 | 50.00 | 115850.00 | 5.00 | 11585.00 | 40.00 | 92680.00 | 60.00 | 139020.00 | 310.00 | 718270.00 | 40.00 | 92680.00 | 160.00 | 370720.00 | 18.00 | 41706.00 | 11585.00 | Ascent Electrification Engineers
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in masonnary open duct etc as required. Above 185 Sq.mm and upto 400 Sq mm | 173.00 | Mtr. |  | 66.00 | 11418.00 | 70.00 | 12110.00 | 330.00 | 57090.00 | 81.00 | 14013.00 | 10.00 | 1730.00 | 50.00 | 8650.00 | 10.00 | 1730.00 | 40.00 | 6920.00 | 60.00 | 10380.00 | 200.00 | 34600.00 | 35.00 | 6055.00 | 117.00 | 20241.00 | 20.00 | 3460.00 | 1730.00 | M/s BHARAT ELECTRIC, NAGPUR, Ascent Electrification Engineers
4.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 185 Sq.mm and upto 400 Sq mm | 10.00 | Mtr. |  | 66.00 | 660.00 | 200.00 | 2000.00 | 368.00 | 3680.00 | 113.00 | 1130.00 | 75.00 | 750.00 | 50.00 | 500.00 | 10.00 | 100.00 | 40.00 | 400.00 | 70.00 | 700.00 | 400.00 | 4000.00 | 77.00 | 770.00 | 180.00 | 1800.00 | 20.00 | 200.00 | 100.00 | Ascent Electrification Engineers
5.00 | Supply of 120 mm dia (OD-120 mm & ID-103 mm nominal) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. complete as required. | 1500.00 | Mtr. |  | 130.00 | 195000.00 | 125.00 | 187500.00 | 188.00 | 282000.00 | 129.00 | 193500.00 | 120.00 | 180000.00 | 140.00 | 210000.00 | 215.00 | 322500.00 | 180.00 | 270000.00 | 140.00 | 210000.00 | 510.00 | 765000.00 | 120.00 | 180000.00 | 216.00 | 324000.00 | 142.00 | 213000.00 | 180000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd, M/s BHARAT ELECTRIC, NAGPUR
6.00 | Laying of 120 mm dia (OD-120 mm & ID-103 mm nominal) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) i/c excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as required. | 1500.00 | Mtr. |  | 118.00 | 177000.00 | 130.00 | 195000.00 | 190.00 | 285000.00 | 88.00 | 132000.00 | 70.00 | 105000.00 | 180.00 | 270000.00 | 10.00 | 15000.00 | 200.00 | 300000.00 | 60.00 | 90000.00 | 200.00 | 300000.00 | 70.00 | 105000.00 | 180.00 | 270000.00 | 70.00 | 105000.00 | 15000.00 | Ascent Electrification Engineers
7.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 300Sq. Mm | 2.00 | Set |  | 1656.00 | 3312.00 | 1200.00 | 2400.00 | 3215.00 | 6430.00 | 2451.00 | 4902.00 | 475.00 | 950.00 | 1200.00 | 2400.00 | 3500.00 | 7000.00 | 1800.00 | 3600.00 | 1200.00 | 2400.00 | 1900.00 | 3800.00 | 1000.00 | 2000.00 | 4500.00 | 9000.00 | 1045.00 | 2090.00 | 950.00 | M/s BHARAT ELECTRIC, NAGPUR
8.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminum conductor cable of 1.1 KV grade as required. 3.5 C X 300 Sq.mm | 2.00 | Set |  | 5382.00 | 10764.00 | 4000.00 | 8000.00 | 9950.00 | 19900.00 | 7279.00 | 14558.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 8000.00 | 16000.00 | 4500.00 | 9000.00 | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 5300.00 | 10600.00 | 3630.00 | 7260.00 | 6000.00 | that M/S. SYED BROTHERS ENTERPRISES, GONDIA
9.00 | Supply & Laying and fixing of 125 mm dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling and making the same surface etc. as required. | 18.00 | Mtr. |  | 2222.00 | 39996.00 | 1650.00 | 29700.00 | 2250.00 | 40500.00 | 2276.00 | 40968.00 | 1700.00 | 30600.00 | 1800.00 | 32400.00 | 1600.00 | 28800.00 | 2000.00 | 36000.00 | 1400.00 | 25200.00 | 650.00 | 11700.00 | 2000.00 | 36000.00 | 630.00 | 11340.00 | 1705.00 | 30690.00 | 11340.00 | Ekveera Electrical Works & Services
10.00 | Repairing of exisitng AMF Panel of 500KVA DG Sets i/c new wiring & hardwares etc. The job includes following: (A) AMF Controller Relay (Woodward make Easygen 1000 series or equivalent) (i) Supply Failure Timer. (ii) Restoration Timer. (iii) 3 Impulse automatic engine Start / Stop logic. (iv) Mains / Generator Voltage & Frequency Sensing. (b) Metering (i) Multifunction meter 415 Volts, 3-Phase, 4 Wire AC (ii) Electronic KWH Meter (iii) DG Ammeter & Voltmeter (iv) Control MCB (c) Indication (LED Type) (i) DG ON (ii) Load on DG (iii) Load on Mains (iv) Mains ON (v) Battery charger ON (vi) Auto/Manual/Test/Off selector switch. (vii) Emergency STOP switch (d) Push Buttons (i) Engine STRAT / STOP (ii) Fault ACCEPT / RESET (iii) Generator breaker CLOSE / TRIP (iv) Mains breaker CLOSE / TRIP | 1.00 | Job |  | 182400.00 | 182400.00 | 295000.00 | 295000.00 | 82000.00 | 82000.00 | 399162.00 | 399162.00 | 294800.00 | 294800.00 | 450000.00 | 450000.00 | 100000.00 | 100000.00 | 200000.00 | 200000.00 | 220000.00 | 220000.00 | 175000.00 | 175000.00 | 250000.00 | 250000.00 | 90000.00 | 90000.00 | 357500.00 | 357500.00 | 82000.00 | BR Power Control and Automation Services
| Total in Figures |  |  |  |  | 3898047.00 |  | 3595730.00 |  | 4986331.00 |  | 3747544.00 |  | 3520000.00 |  | 4847800.00 |  | 3998715.00 |  | 3925600.00 |  | 4144200.00 |  | 4643370.00 |  | 3603005.00 |  | 4632701.00 |  | 3768406.00
Lowest Amount Quoted BY: M/s BHARAT ELECTRIC, NAGPUR(3520000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Faulty LT Cable of Operational Area at Birsi, Airport, Gondia Tender ID: 2023_AAI_156771_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s BHARAT ELECTRIC, NAGPUR | 3520000.00 | L1
| 2 | DOSHI ELECTRIC ENGG. CO. | 3595730.00 | L2
| 3 | Krishsons International Engineers And Consultants (I) Pvt. Ltd | 3603005.00 | L3
| 4 | SARASWAT ENGINEERING SERVICES | 3747544.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED | 3768406.00 | L5
| 6 | Metropolitan Infrabuild Development And Services Pvt Ltd | 3898047.00 | L6
| 7 | BOSE ENGINEERING AND MARKETING COMPANY | 3925600.00 | L7
| 8 | Ascent Electrification Engineers | 3998715.00 | L8
| 9 | surbhi association | 4144200.00 | L9
| 10 | Ekveera Electrical Works & Services | 4632701.00 | L10
| 11 | that M/S. SYED BROTHERS ENTERPRISES, GONDIA | 4643370.00 | L11
| 12 | Manish Electricals | 4847800.00 | L12
| 13 | BR Power Control and Automation Services | 4986331.00 | L13