## BoQ1
Government eProcurement System Created By: Pramod Soni Created Date/Time: 11-Jul-2023 12:13 PM Tender Title: Replacement of Air Conditioners and Water Coolers at Various locations at S V Airport, Raipur Tender ID: 2023_AAI_156967_1
Tender Inviting Authority: Asst. Gen. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Replacement of Air Conditioners and Water Coolers at Various locations at S.V. Airport, Raipur.
Contract No: 2023_AAI_156967
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:A SITC of AC & Water Cooler
2.00 | Supply of Five Star rating inverter type 1.5 TR Split type Air-conditioner having copper condenser coil suitable for operation on 3-phase 415 Volts +/- 10% 50 Hz, AC supply including Suitable MS supporting framework or suitable Stand for outdoor and indoor unit, refrigerant, Voltage stabilizer etc as required matching the technical parameter of tender . Make :- As per AAI preferred Make. | 20.00 | Each | 35353.03 | 32000.00 | 640000.00 | 34300.00 | 686000.00 | 640000.00 | M/S DURGA SUPPLY AGENCIES
3.00 | Supply and Installation of Suitable Rating of Electronic Voltage Stabilizer for above item no-1. Make :- As per AAI preferred Make. | 20.00 | Job | 1779.62 | 1500.00 | 30000.00 | 2500.00 | 50000.00 | 30000.00 | M/S DURGA SUPPLY AGENCIES
4.00 | Installation, testing and commissioning of Split Airconditioners of BOQ item no -01 (Indoor & Outdoor unit) i/c Copper piping work, providing suitable stand for outdoor unit, complete with wall cutting, hole cutting, plastering etc.Gas Recharging , Leakage Testing etc complete as required. | 20.00 | Job | 983.74 | 1000.00 | 20000.00 | 1500.00 | 30000.00 | 20000.00 | M/S DURGA SUPPLY AGENCIES
5.00 | Supply and Fixing of copper piping (suction & discharge line) including suitable insulation with nitrile rubber and required rating flexible copper cable suitable for Air Conditioners of BOQ items No-1 including brazing, clamping, chipping and minor civil work complete with all accessories as required.( Beyond standard supply of OEM). | 100.00 | Mtr | 1075.65 | 750.00 | 75000.00 | 600.00 | 60000.00 | 60000.00 | M K ENTERPRISES
6.00 | Supply and fixing of rigid UPVC / flexible drain pipe including suitable insulation complete with all fittings, U straps, clamps etc..(Beyond standard supply of OEM). | 100.00 | Mtr | 54.54 | 35.00 | 3500.00 | 120.00 | 12000.00 | 3500.00 | M/S DURGA SUPPLY AGENCIES
7.00 | Dismantaling of Existing Airconditioners at site and Taking over by agency under Buy Back. | 18.00 | Job | 505.00 | 100.00 | 1800.00 | 700.00 | 12600.00 | 1800.00 | M/S DURGA SUPPLY AGENCIES
8.00 | Supply of Water Cooler with storage capacity of minimum 80 Ltrs as per Technical specifications of tender . Make :- As per AAI preferred Make. | 16.00 | Each | 38719.36 | 30000.00 | 480000.00 | 32800.00 | 524800.00 | 480000.00 | M/S DURGA SUPPLY AGENCIES
9.00 | Installation , Testing and Commissioning of Water Cooler including all interconnection of Water Pipe lines from nearest available water Source , Electrical cabling & Connection from nearest available Power Point | 20.00 | Each | 967.58 | 200.00 | 4000.00 | 1500.00 | 30000.00 | 4000.00 | M/S DURGA SUPPLY AGENCIES
10.00 | Supply and Installation of Commercial R.O + UV System ( 100 LPH ) with BOQ Item no -7 with suitable stand containing mimum 20 inch Filters and Casing as per details below .1) UV Filter (2)Sediment Filter - 10 micron 20 Inch Filter with casing (3) Activated Carbon Block Filter- 20 inch with casing (4) RO membrane - 20 inch with casing ( 5) Suitable RO Pump ( 6 ) Suitable Auto Cut off compatible with water cooler of item No - 7 Make :- As per AAI preferred Make. | 16.00 | JOB | 25563.10 | 51000.00 | 816000.00 | 18000.00 | 288000.00 | 288000.00 | M K ENTERPRISES
11.00 | Supply of hot & cold RO+UV storage cooler cum water purifier with storage capacity of normal -11 Ltr, cold (04 Ltr), Hot (1.5 Ltr), RO/Sediment filter and pre,post carbon filter etc. Suitable for operation on 230 V, 50 Hz AC power supply. Make- As per AAI preferred Make. | 4.00 | Each | 47969.95 | 40000.00 | 160000.00 | 15000.00 | 60000.00 | 60000.00 | M K ENTERPRISES
12.00 | SH: B BUY BACK ITEM
13.00 | Buy back of existing air-conditioning units (indoor & outdoor) etc from different location at S. V. Airport, Raipur and i/c transportation charges etc. complete as required. (Quoted rate & amount will be subtracted from Final Amount) | 18.00 | Each | 5302.50 | 7000.00 | 126000.00 | 2000.00 | 36000.00 | 36000.00 | M K ENTERPRISES
14.00 | Buy Back of Old Water Cooler without RO system (Quoted rate & amount will be subtracted from Final Amount) | 13.00 | Each | 3872.34 | 4000.00 | 52000.00 | 800.00 | 10400.00 | 10400.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 2408300.00 |  | 1799800.00
Lowest Amount Quoted BY: M K ENTERPRISES(1799800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Air Conditioners and Water Coolers at Various locations at S V Airport, Raipur Tender ID: 2023_AAI_156967_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 1799800.00 | L1
| 2 | M/S DURGA SUPPLY AGENCIES | 2408300.00 | L2