## BoQ1
Government eProcurement System Created By: AVDHESH AGGARWAL Created Date/Time: 24-Jul-2023 05:18 PM Tender Title: Construction of 2 nos. watch towers at Bareilly Airport Tender ID: 2023_AAI_157285_1
Tender Inviting Authority: Asstt. General Manager (Engg-Civil), AAI, Civil Enclave, Bareilly
Name of Work: Construction of 2 nos. watch towers at Bareilly Airport
Contract No: 2023_AAI_157285
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SAMTA INTERIORS(GSTN-07AALPB7815K1ZJ) |  | MUKESH KUMAR VERMA(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: All kinds of soil. | 60.00 | Sqm |  | 230.00 | 13800.00 | 250.00 | 15000.00 | 13800.00 | SAMTA INTERIORS
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 14.00 | Cum |  | 260.00 | 3640.00 | 300.00 | 4200.00 | 3640.00 | SAMTA INTERIORS
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 14.00 | Cum |  | 270.00 | 3780.00 | 300.00 | 4200.00 | 3780.00 | SAMTA INTERIORS
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size) | 62.00 | Cum |  | 6500.00 | 403000.00 | 6490.00 | 402380.00 | 402380.00 | MUKESH KUMAR VERMA
5.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 6.00 | Cum |  | 8000.00 | 48000.00 | 7900.00 | 47400.00 | 47400.00 | MUKESH KUMAR VERMA
6.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 3.00 | Cum |  | 8000.00 | 24000.00 | 7900.00 | 23700.00 | 23700.00 | MUKESH KUMAR VERMA
7.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 10.00 | Cum |  | 8000.00 | 80000.00 | 7900.00 | 79000.00 | 79000.00 | MUKESH KUMAR VERMA
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 16.00 | Sqm |  | 650.00 | 10400.00 | 700.00 | 11200.00 | 10400.00 | SAMTA INTERIORS
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 46.00 | Sqm |  | 650.00 | 29900.00 | 700.00 | 32200.00 | 29900.00 | SAMTA INTERIORS
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 35.00 | Sqm |  | 780.00 | 27300.00 | 850.00 | 29750.00 | 27300.00 | SAMTA INTERIORS
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 43.00 | Sqm |  | 780.00 | 33540.00 | 850.00 | 36550.00 | 33540.00 | SAMTA INTERIORS
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 655.00 | Kg |  | 92.00 | 60260.00 | 92.00 | 60260.00 | 60260.00 | MUKESH KUMAR VERMA, SAMTA INTERIORS
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 1518.00 | Kg |  | 92.00 | 139656.00 | 92.00 | 139656.00 | 139656.00 | MUKESH KUMAR VERMA, SAMTA INTERIORS
14.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 6.00 | Cum |  | 7800.00 | 46800.00 | 8000.00 | 48000.00 | 46800.00 | SAMTA INTERIORS
15.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc. | 282.00 | Kg |  | 160.00 | 45120.00 | 128.00 | 36096.00 | 36096.00 | MUKESH KUMAR VERMA
16.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 3.00 | Each |  | 230.00 | 690.00 | 180.00 | 540.00 | 540.00 | MUKESH KUMAR VERMA
17.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 3.00 | Each |  | 120.00 | 360.00 | 90.00 | 270.00 | 270.00 | MUKESH KUMAR VERMA
18.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 6.00 | Each |  | 120.00 | 720.00 | 90.00 | 540.00 | 540.00 | MUKESH KUMAR VERMA
19.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 3.00 | Each |  | 130.00 | 390.00 | 110.00 | 330.00 | 330.00 | MUKESH KUMAR VERMA
20.00 | Providing and fixing factory made shutters of Pre-laminated particle board flat pressed three layer or graded wood particle board with one side decorative finish and other side balancing lamination conforming to IS: 12823 Grade l Type ll, of approved design, and edges sealed with water resistant paint and lipped with aluminium 'U' type edge beading allround the shutter, including fixing with angle cleat, grip strip, cadmium plated steel screws, including fixing of aluminium hinges 100x63x4 mm etc. complete as per architectural drawing and direction of Engineer-in- Charge (Cost of 'U' beading and hinges will be paid for separately). 25 mm thick | 6.00 | Sqm |  | 1300.00 | 7800.00 | 1300.00 | 7800.00 | 7800.00 | MUKESH KUMAR VERMA, SAMTA INTERIORS
21.00 | Providing and fixing aluminum U beading of required size to Pre-laminated/ flush door shutter, including fixing etc. complete as per direction of Engineer-in-charge. | 10.00 | Kg |  | 560.00 | 5600.00 | 500.00 | 5000.00 | 5000.00 | MUKESH KUMAR VERMA
22.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 490.00 | Kg |  | 140.00 | 68600.00 | 128.00 | 62720.00 | 62720.00 | MUKESH KUMAR VERMA
23.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 222.00 | Kg |  | 140.00 | 31080.00 | 128.00 | 28416.00 | 28416.00 | MUKESH KUMAR VERMA
24.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 975.00 | Kg |  | 140.00 | 136500.00 | 128.00 | 124800.00 | 124800.00 | MUKESH KUMAR VERMA
25.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. G.I. pipes | 176.00 | kg |  | 140.00 | 24640.00 | 128.00 | 22528.00 | 22528.00 | MUKESH KUMAR VERMA
26.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | 25.00 | Sqm |  | 550.00 | 13750.00 | 440.00 | 11000.00 | 11000.00 | MUKESH KUMAR VERMA
27.00 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. 18 mm thick | 5.00 | Sqm |  | 500.00 | 2500.00 | 390.00 | 1950.00 | 1950.00 | MUKESH KUMAR VERMA
28.00 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. 40 mm wide and 4 mm thick. | 20.00 | Mtr |  | 125.00 | 2500.00 | 95.00 | 1900.00 | 1900.00 | MUKESH KUMAR VERMA
29.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 75 mm diameter | 5.00 | Mtr |  | 460.00 | 2300.00 | 448.00 | 2240.00 | 2240.00 | MUKESH KUMAR VERMA
30.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain)75 mm Shoe | 2.00 | Each |  | 200.00 | 400.00 | 200.00 | 400.00 | 400.00 | MUKESH KUMAR VERMA, SAMTA INTERIORS
31.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 2.00 | Each |  | 250.00 | 500.00 | 200.00 | 400.00 | 400.00 | MUKESH KUMAR VERMA
32.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 36.00 | Sqm |  | 800.00 | 28800.00 | 700.00 | 25200.00 | 25200.00 | MUKESH KUMAR VERMA
33.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 7.00 | Mtr |  | 250.00 | 1750.00 | 200.00 | 1400.00 | 1400.00 | MUKESH KUMAR VERMA
34.00 | Providing & fixing false ceiling at all height including providing & fixing of framework made of special section, power pressed from M.S. sheets and galvanised with zinc coating of 120 gms/ sqm (both side inclusive) as per IS : 277 and consisting of angle cleat of size 25mm wide x 1.6mm thick with flanges of 27mm and 37mm, at 1200mm c/c, one flange fixed to the ceiling with dash fastener 12.5mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25 x10 x0.50mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I chanels 45 x15 x 0.90mm running at the spacing of 1200 mm c/c, to which the ceiling section 0.5mm thick bottom wedge of 80mm with tapered flanges of 26 mm each having lips of 10.5mm, at 450mm c/c, shall be fixed in a direction perpendicular to G.I intermediate channel with connecting clip made out of 2.64mm dia x 230mm long G.I wire at every junction, including fixing perimeter channels 0.50mm thick 27mm high having flanges of 20mm and 30mm long, the perimeter of ceiling fixed to wall/ partitions with the help of Rawl plugs at 450mm centre, with 25mm long dry wall screws @ 230mm interval, including fixing of Calcium Silicate Board to ceiling section and perimeter channels with the help of dry wall screws of size 3.5 x25mm at 230mm c/c, including jointing & finishing to a flush finish of tapered and square edges of the board with recommended jointing compounds, jointing tapes,finishing with jointing compounds in three layers covering up to 150mm on both sides of joints and two coats of primer suitable for boards, all as per manufacture's specification and also including the cost of making opening for light fittings, grills, diffusers, cut outs made with frame of perimeter channels suitably fixed, all complete as per drawings, specificaton and direction of the Engineer in charge but excluding the cost of painting with: 8 mm thick Calcium Silicate Board made with Calcareous & Siliceous materials reinforced with cellulose fiber manufactured through autoclaving process. | 7.00 | Sqm |  | 1600.00 | 11200.00 | 1700.00 | 11900.00 | 11200.00 | SAMTA INTERIORS
35.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 31.00 | Sqm |  | 350.00 | 10850.00 | 290.00 | 8990.00 | 8990.00 | MUKESH KUMAR VERMA
36.00 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). | 43.00 | Sqm |  | 320.00 | 13760.00 | 300.00 | 12900.00 | 12900.00 | MUKESH KUMAR VERMA
37.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 113.00 | Sqm |  | 250.00 | 28250.00 | 238.00 | 26894.00 | 26894.00 | MUKESH KUMAR VERMA
38.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water thinnable priming coat with cement primer. | 31.00 | Sqm |  | 130.00 | 4030.00 | 118.00 | 3658.00 | 3658.00 | MUKESH KUMAR VERMA
39.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 156.00 | Sqm |  | 200.00 | 31200.00 | 175.00 | 27300.00 | 27300.00 | MUKESH KUMAR VERMA
40.00 | Applying priming coat: With ready mixed pink or Grey primer of approved brand and manufacture on wood work (hard and soft wood) | 12.00 | Sqm |  | 60.00 | 720.00 | 48.00 | 576.00 | 576.00 | MUKESH KUMAR VERMA
41.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 63.00 | Sqm |  | 120.00 | 7560.00 | 110.00 | 6930.00 | 6930.00 | MUKESH KUMAR VERMA
42.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 60.00 | Sqm |  | 1000.00 | 60000.00 | 1050.00 | 63000.00 | 60000.00 | SAMTA INTERIORS
43.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 339.00 | Kg |  | 475.00 | 161025.00 | 448.00 | 151872.00 | 151872.00 | MUKESH KUMAR VERMA
44.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 254.00 | Kg |  | 475.00 | 120650.00 | 448.00 | 113792.00 | 113792.00 | MUKESH KUMAR VERMA
45.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 20.00 | Sqm |  | 1000.00 | 20000.00 | 1300.00 | 26000.00 | 20000.00 | SAMTA INTERIORS
46.00 | Supply of 2CX10Sqmm size of 1.1 KV grade, ARMOURED,XLPE insulated PVC sheated Aluminium conductor cable confirming to IS: 7098 part -I amended upto date. | 400.00 | Mtr. |  | 200.00 | 80000.00 | 270.00 | 108000.00 | 80000.00 | SAMTA INTERIORS
47.00 | Supply of 10 W LED 6500 K Wall mounted batten extruded aluminium heat sink provided for efficient heat dissipation & integrated electronic driver complete with all necessary accessories & lamp as required. (Havells, Code no. LheXACP7in1W010 or equivalent) | 8.00 | Each |  | 250.00 | 2000.00 | 550.00 | 4400.00 | 2000.00 | SAMTA INTERIORS
48.00 | Supply of 10 W LED, IP 65 bulk head luminiare with couple diffuser complete with all necessary accessories & lamp as required. (Havells, Code no. HEXAFT10WLED857SSYMBOPC or equivalent) | 8.00 | Each |  | 2200.00 | 17600.00 | 2200.00 | 17600.00 | 17600.00 | MUKESH KUMAR VERMA, SAMTA INTERIORS
49.00 | Supplying of 400mm sweep wall mounted fan having not less than 2000 RPM, with speed regulator suitable for operation at 230Volts 50Hz AC supply etc complete as required. (Make Havells Platina HS or equivalent). | 4.00 | Each |  | 4500.00 | 18000.00 | 4800.00 | 19200.00 | 18000.00 | SAMTA INTERIORS
50.00 | Supply of 32 mm (OD), PN-6, PE 80 size ISI marked, HDPE pipe confirming to IS-4984-1995 with up to date amendments, etc. complete as required. | 400.00 | Mtr. |  | 50.00 | 20000.00 | 52.00 | 20800.00 | 20000.00 | SAMTA INTERIORS
51.00 | laying of following size 32 mm (OD) HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required | 400.00 | Mtr. |  | 160.00 | 64000.00 | 150.00 | 60000.00 | 60000.00 | MUKESH KUMAR VERMA
52.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of size upto 35 Sq. mm, in the existing RCC/ HUME/ HDPE/METAL pipe as required. | 400.00 | Mtr. |  | 50.00 | 20000.00 | 45.00 | 18000.00 | 18000.00 | MUKESH KUMAR VERMA
53.00 | Supplying and fixing 6 way (2 + 4 way), double door, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/ Isolator). | 4.00 | Each |  | 2500.00 | 10000.00 | 2500.00 | 10000.00 | 10000.00 | MUKESH KUMAR VERMA, SAMTA INTERIORS
54.00 | Supplying and fixing 25 amps rating, double pole, (single phase and neutral), 240 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissionng etc. as required. | 4.00 | Each |  | 2200.00 | 8800.00 | 2400.00 | 9600.00 | 8800.00 | SAMTA INTERIORS
55.00 | Supplying and fixing 5 amps to 32 amps rating, 240 /415 volts, "C" curve, miniature circuit breaker suitable for inductive load of single poles in the existing MCB DB complete with connections, testing and comissioning etc. as required. | 12.00 | Each |  | 300.00 | 3600.00 | 260.00 | 3120.00 | 3120.00 | MUKESH KUMAR VERMA
56.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. (Group -A). | 16.00 | Point |  | 1300.00 | 20800.00 | 1300.00 | 20800.00 | 20800.00 | MUKESH KUMAR VERMA, SAMTA INTERIORS
57.00 | Supplying and fixing 5/6 amps piano type switch on the existing switch box/ cover including connections etc. as required. | 4.00 | Each |  | 120.00 | 480.00 | 150.00 | 600.00 | 480.00 | SAMTA INTERIORS
58.00 | Supplying and fixing 3 pin 5/6 amps piano type socket outlet on the existing switch box/ cover including connections etc. as required. | 4.00 | Each |  | 140.00 | 560.00 | 150.00 | 600.00 | 560.00 | SAMTA INTERIORS
59.00 | Supplying and fixing metal box of 180mm x 100mm x 60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet coer in front including providing and fixing 6 pin 5/6 & 15/16 amps socket outlet and 15/16 amps piano type swtich connection, painting etc. as required. | 4.00 | Each |  | 600.00 | 2400.00 | 700.00 | 2800.00 | 2400.00 | SAMTA INTERIORS
60.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. | 32.00 | Mtr. |  | 400.00 | 12800.00 | 450.00 | 14400.00 | 12800.00 | SAMTA INTERIORS
| Total in Figures |  |  |  |  | 2048361.00 |  | 2030758.00
Lowest Amount Quoted BY: MUKESH KUMAR VERMA(2030758.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of 2 nos. watch towers at Bareilly Airport Tender ID: 2023_AAI_157285_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MUKESH KUMAR VERMA | 2030758.00 | L1
| 2 | SAMTA INTERIORS | 2048361.00 | L2