## BoQ1
Government eProcurement System Created By: BIJU K G Created Date/Time: 21-Jul-2023 06:30 PM Tender Title: ARMO Works of EandM Installations at Madurai Airport during 2023-24. SH Operation and AICMC of 4 X 300 TR AC plant at NITB, Madurai Airport Tender ID: 2023_AAI_157590_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: ARMO Works of E&M Installations at Madurai Airport during 2023-24. SH: Operation and AICMC of 4 X 300 TR AC plant at NITB, Madurai Airport
Contract No: 2023_AAI_157590_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | AIRTECH ENGINEERS(GSTN-27AJHPB7042D1ZM) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | Bluestar Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation of 4 X 300 TR capacity Water Cooled Centralised AC Plant along with all its related equipments and accessories as per the list attached in the Annexure - I including Building Management System (BMS) along with all its associated accessories, installed at NITB, in Three Shifts/as per the need basis on all days including Sunday and public holidays, complete as required as per the terms and conditions of the contract. | 24.00 | Month |  | 355900.00 | 8541600.00 | 346000.00 | 8304000.00 | 425000.00 | 10200000.00 | 365000.00 | 8760000.00 | 8304000.00 | AIRTECH ENGINEERS
2.00 | All inclusive Comprehensive Maintenance contract of 4X300TR capacity Water Cooled Centralised AC Plant along with all its related equipments and accessories as per the list attached in the Annexure - I i/c carrying out routine/preventive maintenance, breakdown maintenance, replacement of all defective componenets/equipments etc. as per the terms and conditions of the contract enclosed (Excluding items mentioned in special conditions). | 24.00 | Month |  | 75500.00 | 1812000.00 | 79000.00 | 1896000.00 | 45000.00 | 1080000.00 | 145000.00 | 3480000.00 | 1080000.00 | SNOWMEX ENGINEERS LIMITED
3.00 | Job contract for carrying out water regeneration in softener plants installed at service block in general shift/as per the need basis on all days including Sunday and public holidays including supply of salt of required quantity to carry out water regeneration whenever the hardness of water reaches not more than 80ppm as per the terms & conditions of contract etc. complete as required. | 24.00 | Month |  | 70158.00 | 1683792.00 | 65000.00 | 1560000.00 | 6000.00 | 144000.00 | 53000.00 | 1272000.00 | 144000.00 | SNOWMEX ENGINEERS LIMITED
4.00 | Chemical cleaning of existing resin in the softener plants including removing of existing resin, identification of worn out resins, cleaning & revamping, operating the softener plant along with back wash, replacing/alteration of faulty air vent, submission of reports as per the terms & conditions of contract etc. complete as required. | 2.00 | Job |  | 24000.00 | 48000.00 | 15000.00 | 30000.00 | 21000.00 | 42000.00 | 25625.00 | 51250.00 | 30000.00 | AIRTECH ENGINEERS
5.00 | Replacing the existing resin (make Thermax model Tulsion T40Na) and refilling the softener plant with new resin, commissioning the plant for normal operation including disposal of wornout resin, submission of test reports etc. complete as required Note: The resin should be supplied in the first month of the contract and first RAR bill will be released subject to compliance of the same. | 5000.00 | Ltr |  | 122.80 | 614000.00 | 120.00 | 600000.00 | 136.00 | 680000.00 | 85.00 | 425000.00 | 425000.00 | Bluestar Limited
6.00 | Supply and providing suitable chemical dosing for 4 X 300TR cooling tower to keep water quality with in permissible limit, including submission of water quality test reports as per technical condition of the contract enclosed. etc as required. (a) Suitable scale and corrision inhibitor for daily chemical dosing minimum 60Kg per month of make KEM Watertreat 103CMD or similar / superior make | 24.00 | Job |  | 10557.00 | 253368.00 | 20000.00 | 480000.00 | 5000.00 | 120000.00 | 19680.00 | 472320.00 | 120000.00 | SNOWMEX ENGINEERS LIMITED
7.00 | Supply and providing suitable chemical dosing for 4 X 300TR cooling tower to keep water quality with in permissible limit, including submission of water quality test reports as per technical condition of the contract enclosed. etc as required. (b) Suitable sludge dispersant chemical for daily chemical dosing minimum 30Kg per month of make KEM Watertreat 1003D or similar / superior make | 24.00 | Job |  | 5865.00 | 140760.00 | 10000.00 | 240000.00 | 4500.00 | 108000.00 | 6765.00 | 162360.00 | 108000.00 | SNOWMEX ENGINEERS LIMITED
8.00 | Supply and providing suitable chemical dosing for 4 X 300TR cooling tower to keep water quality with in permissible limit, including submission of water quality test reports as per technical condition of the contract enclosed. etc as required. (c) Non-oxidising biocide to prevent growth of algae and bacteria for weekly chemical dosing minimum 25Kg per month of make KEM Watertreat AB2 or similar / superior make | 24.00 | Job |  | 5865.00 | 140760.00 | 10000.00 | 240000.00 | 4000.00 | 96000.00 | 7687.00 | 184488.00 | 96000.00 | SNOWMEX ENGINEERS LIMITED
9.00 | Supply and providing suitable chemical dosing for 4 X 300TR cooling tower to keep water quality with in permissible limit, including submission of water quality test reports as per technical condition of the contract enclosed. etc as required. (d) Oxidising biocide to prevent growth of algae and bacteria for weekly chemical dosing minimum 25Kg per month of make KEM Watertreat 305 or similar / superior make | 24.00 | Job |  | 2611.00 | 62664.00 | 10000.00 | 240000.00 | 4000.00 | 96000.00 | 7150.00 | 171600.00 | 62664.00 | Supertech Engineers
| Total in Figures |  |  |  |  | 13296944.00 |  | 13590000.00 |  | 12566000.00 |  | 14979018.00
Lowest Amount Quoted BY: SNOWMEX ENGINEERS LIMITED(12566000.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO Works of EandM Installations at Madurai Airport during 2023-24. SH Operation and AICMC of 4 X 300 TR AC plant at NITB, Madurai Airport Tender ID: 2023_AAI_157590_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SNOWMEX ENGINEERS LIMITED | 12566000.00 | L1
| 2 | Supertech Engineers | 13296944.00 | L2
| 3 | AIRTECH ENGINEERS | 13590000.00 | L3
| 4 | Bluestar Limited | 14979018.00 | L4