## BoQ1
Government eProcurement System Created By: TANSUKH TANSUKH Created Date/Time: 26-Jul-2023 01:36 PM Tender Title: Replacement of faulty fire fighting system of Technical Block at Kishangarh Airport. Tender ID: 2023_AAI_157595_2
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Kishangarh Airport, Ajmer-305801
Name of Work:Replacement of faulty fire fighting system of Technical Block at Kishangarh Airport.
Contract No: 2022_AAI_157595_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PARAMOUNT BUILDING SOLUTION(GSTN-07AAMFP7734N1ZH) |  | BA-PAN ENGINEERING co.(GSTN-07AYDPS2409Q1ZX)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing, laying, testing & commissioning of 'C' class heavy duty 80 mm Dia MS Pipe conforming to IS:1239 including welding, fittings like elbows, tee, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. | 54.00 | Mtr | 100.00 | 1451.00 | 78354.00 | 1400.00 | 75600.00 | 75600.00 | BA-PAN ENGINEERING co.
2.00 | Providing, laying, testing & commissioning of 'C' class heavy duty 80 mm Dia MS Pipe conforming to IS:1239/3589 including fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. in ground including welding, excavation & providing cement concrete blocks as supports, anticorrosive treatment with coaltar/ asphalt tape as per IS 10221, refilling the trench etc. of following sizes complete as required. | 17.00 | Mtr | 100.00 | 1900.00 | 32300.00 | 1300.00 | 22100.00 | 22100.00 | BA-PAN ENGINEERING co.
3.00 | Providing, laying, testing & commissioning of 'C' class heavy duty 150 mm Dia MS Pipe conforming to IS:1239/3589 including fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. in ground including welding, excavation & providing cement concrete blocks as supports, anticorrosive treatment with coaltar/ asphalt tape as per IS 10221, refilling the trench etc. of following sizes complete as required. | 714.00 | Mtr | 100.00 | 2330.00 | 1663620.00 | 2300.00 | 1642200.00 | 1642200.00 | BA-PAN ENGINEERING co.
4.00 | Providing, laying, testing & commissioning of 'C' class heavy duty 150 mm internal Dia MS Pipe conforming to IS:1239 including welding, fittings like elbows, tee, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. | 15.00 | Mtr | 100.00 | 2250.00 | 33750.00 | 2200.00 | 33000.00 | 33000.00 | BA-PAN ENGINEERING co.
5.00 | Design, supply, installation, Testing & Commissioning of Automatic/ Manual Control panel for fire diesel engine comprising the Automatic/ Manual selector switch & 3 attempts starting device, timers and relays as required, push buttons, strart / stop in manual mode indicating lamp for High / Low Lube oil pressure, High Water Temp and Engine on indiaction. Alongwith battery charger suitable for 12 V/ 24 V DC with boost and trickle selector switch, 0-30 V DC voltmeter and 0-20 V Dc Ammeter all standrd relays and accessories for automatic operation of diesel engine. | 1.00 | Job | 100.00 | 52200.00 | 52200.00 | 32000.00 | 32000.00 | 32000.00 | BA-PAN ENGINEERING co.
6.00 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronze / gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of size 150 mm dia as required. | 3.00 | Job | 100.00 | 5500.00 | 16500.00 | 8000.00 | 24000.00 | 16500.00 | PARAMOUNT BUILDING SOLUTION
7.00 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronze / gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of size 100 mm dia as required. | 1.00 | Job | 100.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 5000.00 | PARAMOUNT BUILDING SOLUTION
8.00 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronze / gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of size 80 mm dia as required. | 1.00 | Job | 100.00 | 4900.00 | 4900.00 | 6000.00 | 6000.00 | 4900.00 | PARAMOUNT BUILDING SOLUTION
9.00 | Supplying, installation, testing & commissioning fire alarm sounder with facility to make announcement, mounted in M.S. box (16 SWG) with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc. complete as required faulty hooter suitable for existing fire alarm panel. | 1.00 | Each | 100.00 | 2941.00 | 2941.00 | 4000.00 | 4000.00 | 2941.00 | PARAMOUNT BUILDING SOLUTION
10.00 | Supply & fixing of microprocessor based auto dialer with display unit compatible with existing conventional fire control panel, detector having facility of minimum 10 telephone lines dialing with recorded message announcement system. | 2.00 | Each | 100.00 | 21500.00 | 43000.00 | 22000.00 | 44000.00 | 43000.00 | PARAMOUNT BUILDING SOLUTION
11.00 | Arrangement for test point in the existing sprinkler pipe line with 'C' class heavy duty 25 mm Dia MS Pipe conforming to IS:1239 including welding, fittings like elbows, tee, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/ support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. | 55.00 | Mtr | 100.00 | 651.00 | 35805.00 | 1000.00 | 55000.00 | 35805.00 | PARAMOUNT BUILDING SOLUTION
12.00 | Supply and fixing of ball valve, suitable for 25 mm Dia MS pipe for test points. | 7.00 | Job | 100.00 | 1900.00 | 13300.00 | 1300.00 | 9100.00 | 9100.00 | BA-PAN ENGINEERING co.
13.00 | Painting of 63 mm to 150 mm dia MS pipe with one coat of redoxide and 2 coats of red enamel paint of approved brand and manufacturer, colour of post office red to give an even shade. | 214.00 | Mtr | 100.00 | 80.00 | 17120.00 | 200.00 | 42800.00 | 17120.00 | PARAMOUNT BUILDING SOLUTION
14.00 | Supplying and fixing, 30 Mtr long, first- aid Hose Reel with MS construction spray painted in post offfice red, conforming to IS 884 complete with the following as required. 20 mm nomnal internal dia water hose thermoplastic (Textile reinforced) type-2 as per IS: 12585, 20 mm nominal internal dia gun metal globe valve & nozzle. Drum and bracket for fixing the equipments on wall. Connections from riser with 25 mm dia stop gun metal valve & M.S. pipe and socket. | 5.00 | Job | 100.00 | 10500.00 | 52500.00 | 8000.00 | 40000.00 | 40000.00 | BA-PAN ENGINEERING co.
15.00 | Supplying and fixing Single headed Gunmetal external yard hydrant valve with 1 No. 63 mm dia instantaneous FM Gunmetal/Stainless Steel coupling and cast iron wheel, ISI marked, conforming to IS 5290 (type A) with blank Gunmetal/Stainless Steel cap and chain as required : | 2.00 | Job | 100.00 | 7100.00 | 14200.00 | 6000.00 | 12000.00 | 12000.00 | BA-PAN ENGINEERING co.
16.00 | Supply of blank Gunmetal/Stainless Steel cap with chain suitable for 63 mm dia external yard hydrant, compelete as required. | 30.00 | Each | 100.00 | 1150.00 | 34500.00 | 2000.00 | 60000.00 | 34500.00 | PARAMOUNT BUILDING SOLUTION
17.00 | Supply of 15 mm dia quartzoid bulb type, Pendent sprinklers of rating 68 degree centigrade with required accessories complete as required. | 12.00 | Each | 100.00 | 625.00 | 7500.00 | 800.00 | 9600.00 | 7500.00 | PARAMOUNT BUILDING SOLUTION
18.00 | Installation, testing & commissioning of 15 mm dia quartzoid bulb type, Pendent sprinklers of rating 68 degree centigrade with required accessories complete as required. | 7.00 | Job | 100.00 | 205.00 | 1435.00 | 2000.00 | 14000.00 | 1435.00 | PARAMOUNT BUILDING SOLUTION
19.00 | Supplying of 63 mm dia, 15 m long RRL hose pipe with 63 mm dia male and female gun metal couplings duly bound with GI wire, rivets etc. conforming to IS 636 (type-A) as required. | 10.00 | Each | 100.00 | 5900.00 | 59000.00 | 4500.00 | 45000.00 | 45000.00 | BA-PAN ENGINEERING co.
20.00 | Supply of 63 mm dia gun metal short branch pipe with 20 mm nominal internal diameter size nozzle conforming to IS 903 suitable for instantaneous connection to interconnect hose pipe coupling as required. | 2.00 | Each | 100.00 | 2100.00 | 4200.00 | 3200.00 | 6400.00 | 4200.00 | PARAMOUNT BUILDING SOLUTION
21.00 | Making permanent blocking of existing 150 mm dia MS Pipe line by cutting the line closing with suitable dummy plate i/c necessary welding work and i/c excavation of existing soil, complete the work, refilling the excavated soil making it good complete as required | 3.00 | Job | 100.00 | 1800.00 | 5400.00 | 1400.00 | 4200.00 | 4200.00 | BA-PAN ENGINEERING co.
22.00 | Supply & replacement of pressure gauge of range 0-14kg/cm2 or more in following sizes M.S. pipe including connection etc as required. 150 mm dia. | 6.00 | Each | 100.00 | 1100.00 | 6600.00 | 2500.00 | 15000.00 | 6600.00 | PARAMOUNT BUILDING SOLUTION
23.00 | Cutting/excavation of PCC surface/road with cutting machine up to depth of 1.5 mtr including making good the same by filling and repairing etc complete as required. | 60.00 | Mtr | 100.00 | 2100.00 | 126000.00 | 10000.00 | 600000.00 | 126000.00 | PARAMOUNT BUILDING SOLUTION
24.00 | Supply of 10 HP, 3 phase, 415 V,50 Hz AC supply, open well submersible pump set with nominal capacity of Minimum 1850 LPM at 12 Mtr head, suitable for operation on three phase, copper rotor complete with all acessories etc as required. Make & Model or equivalent:- (i) Crompton /OWS 10.2. (ii) Kriloskar/ KOS-1030+ | 2.00 | Each | 100.00 | 61100.00 | 122200.00 | 40000.00 | 80000.00 | 80000.00 | BA-PAN ENGINEERING co.
25.00 | Installation Testing and Commissioning of 10 HP open well submersible pump set in existing sump including connections with submercible flat cable alongwith supply and fixing of flexible PVC pipe of 80mm dia or suitable size as per OEM standard & 10 meter length for delivery complete with all acessories etc as required. | 2.00 | Job | 100.00 | 2500.00 | 5000.00 | 10000.00 | 20000.00 | 5000.00 | PARAMOUNT BUILDING SOLUTION
26.00 | Supply, installation, testing & commissoning of outdoor type LT feeder pillar box of size 600 mm x 500 mm x 350 mm deep, made of 2.0 mm thick CRCA sheet, aluminium bus-bar of 100 Amps rating, consisting with Ammeter, Voltmeter, indicating lamp, fixing of DOL starter of 10 HP submersible pump set, alongwith suitable M.S angle stand including fixing on cement concrete foundation complete as required. | 2.00 | Job | 100.00 | 53000.00 | 106000.00 | 15000.00 | 30000.00 | 30000.00 | BA-PAN ENGINEERING co.
27.00 | Supply & fixing of 3C x 6 Sqmm PVC insulated & PVC sheathed flat submersible copper conductor cable of 1.1 KV grade confirming to IS : 694/1990 as required. | 55.00 | Mtr | 100.00 | 405.00 | 22275.00 | 320.00 | 17600.00 | 17600.00 | BA-PAN ENGINEERING co.
28.00 | Supply of DOL starter with motor protection, single phase preventer, metering, control wiring, other accessories, with steel enclosure, suitable for 10 HP open well submersible pump etc. complete as required. | 1.00 | Each | 100.00 | 16000.00 | 16000.00 | 15000.00 | 15000.00 | 15000.00 | BA-PAN ENGINEERING co.
29.00 | Constructing masonry Chamber 900mm x 900mm x1500mm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for hydrant pipe line and butterfly valve, providing 06 mm thick MS top cover with provision of handel i/c necessary excavation, foundation base concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate) 40 mm nominal size and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design :With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 1.00 | Job | 100.00 | 17000.00 | 17000.00 | 14000.00 | 14000.00 | 14000.00 | BA-PAN ENGINEERING co.
30.00 | Supply and fixing of 80/100 mm dia GI pipe (medium class) including all accessories like bends, saddles, supporting clamps etc complete as required. | 15.00 | Mtr | 100.00 | 1700.00 | 25500.00 | 1400.00 | 21000.00 | 21000.00 | BA-PAN ENGINEERING co.
| Total in Figures |  |  |  |  | 2624100.00 |  | 3000600.00
Lowest Amount Quoted BY: PARAMOUNT BUILDING SOLUTION(2624100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of faulty fire fighting system of Technical Block at Kishangarh Airport. Tender ID: 2023_AAI_157595_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PARAMOUNT BUILDING SOLUTION | 2624100.00 | L1
| 2 | BA-PAN ENGINEERING co. | 3000600.00 | L2