## BoQ1
Government eProcurement System Created By: Amit Avachar Created Date/Time: 01-Aug-2023 12:40 PM Tender Title: Miscellaneous repair work for New Airport Colony Mumbai 2023-24 SH Repairs to doors windows profile sheets MS grills and misc carpentry fabrication works Tender ID: 2023_AAI_157599_1
Tender Inviting Authority: Sr. Manager (Engg-Civil), NAC, Mumbai-99
Name of Work: Misc. repair work for New Airport Colony, Mumbai 2023-24 SH: Repairs to doors, windows, profile sheets, MS grills and misc. carpentry/ fabrication works.
Contract No: AAI/MUM/NAC/E-C/Misc-Repair-22/23-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Om Sai Associates(GSTN-27AABFO9751D1Z7) |  | Shrikrishna Construction(GSTN-27ACJPS2472B1ZM) |  | Raviraj Enterprises(GSTN-NA) |  | CONVERGE CONSTRUCTION(GSTN-NA) |  | Silhouette Infraprojects(GSTN-NA) |  | KRUPA MANAGEMENT(GSTN-NA) |  | DURGA ENTERPRISES(GSTN-NA) |  | M K CONSTRUCTION(GSTN-NA) |  | M/s SRV Construction Co.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer- in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 250.00 | sqm |  | 580.00 | 145000.00 | 600.00 | 150000.00 | 600.00 | 150000.00 | 400.00 | 100000.00 | 825.00 | 206250.00 | 579.00 | 144750.00 | 480.00 | 120000.00 | 580.00 | 145000.00 | 590.00 | 147500.00 | 100000.00 | CONVERGE CONSTRUCTION
2.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately).Kiln seasoned and chemically treated hollock wood | 2.00 | cum |  | 70000.00 | 140000.00 | 70000.00 | 140000.00 | 65000.00 | 130000.00 | 25000.00 | 50000.00 | 90000.00 | 180000.00 | 73200.00 | 146400.00 | 54000.00 | 108000.00 | 80000.00 | 160000.00 | 50000.00 | 100000.00 | 50000.00 | CONVERGE CONSTRUCTION
3.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: a) 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 150.00 | sqm |  | 1350.00 | 202500.00 | 1700.00 | 255000.00 | 4700.00 | 705000.00 | 1700.00 | 255000.00 | 4200.00 | 630000.00 | 2400.00 | 360000.00 | 3500.00 | 525000.00 | 2200.00 | 330000.00 | 3000.00 | 450000.00 | 202500.00 | Om Sai Associates
4.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 22500.00 | kg |  | 85.00 | 1912500.00 | 75.00 | 1687500.00 | 75.00 | 1687500.00 | 85.00 | 1912500.00 | 85.00 | 1912500.00 | 84.99 | 1912275.00 | 88.00 | 1980000.00 | 75.00 | 1687500.00 | 110.00 | 2475000.00 | 1687500.00 | M K CONSTRUCTION, Raviraj Enterprises, Shrikrishna Construction
5.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2.00 | cum |  | 7500.00 | 15000.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 8000.00 | 16000.00 | 10719.30 | 21438.60 | 7500.00 | 15000.00 | 6400.00 | 12800.00 | 5000.00 | 10000.00 | 10000.00 | CONVERGE CONSTRUCTION, Raviraj Enterprises, M/s SRV Construction Co.
6.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. A) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 150.00 | kg |  | 80.00 | 12000.00 | 88.00 | 13200.00 | 70.00 | 10500.00 | 65.00 | 9750.00 | 100.00 | 15000.00 | 89.65 | 13447.50 | 135.00 | 20250.00 | 82.00 | 12300.00 | 80.00 | 12000.00 | 9750.00 | CONVERGE CONSTRUCTION
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Edges of slabs and breaks in floors and walls Above 20 cm wide | 10.00 | sqm |  | 600.00 | 6000.00 | 700.00 | 7000.00 | 400.00 | 4000.00 | 700.00 | 7000.00 | 700.00 | 7000.00 | 772.10 | 7721.00 | 800.00 | 8000.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 2000.00 | M/s SRV Construction Co.
8.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 1250.00 | kg |  | 400.00 | 500000.00 | 380.00 | 475000.00 | 450.00 | 562500.00 | 390.00 | 487500.00 | 450.00 | 562500.00 | 450.00 | 562500.00 | 310.00 | 387500.00 | 390.00 | 487500.00 | 500.00 | 625000.00 | 387500.00 | DURGA ENTERPRISES
9.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 6000.00 | kg |  | 400.00 | 2400000.00 | 470.00 | 2820000.00 | 450.00 | 2700000.00 | 390.00 | 2340000.00 | 450.00 | 2700000.00 | 470.00 | 2820000.00 | 310.00 | 1860000.00 | 412.00 | 2472000.00 | 500.00 | 3000000.00 | 1860000.00 | DURGA ENTERPRISES
10.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 760.00 | sqm |  | 800.00 | 608000.00 | 1100.00 | 836000.00 | 600.00 | 456000.00 | 600.00 | 456000.00 | 600.00 | 456000.00 | 1325.55 | 1007418.00 | 900.00 | 684000.00 | 850.00 | 646000.00 | 850.00 | 646000.00 | 456000.00 | CONVERGE CONSTRUCTION, Raviraj Enterprises, Silhouette Infraprojects
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 2.50 | cum |  | 7000.00 | 17500.00 | 6000.00 | 15000.00 | 4000.00 | 10000.00 | 4200.00 | 10500.00 | 5500.00 | 13750.00 | 7365.15 | 18412.88 | 9000.00 | 22500.00 | 5400.00 | 13500.00 | 3500.00 | 8750.00 | 8750.00 | M/s SRV Construction Co.
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 2.50 | cum |  | 6500.00 | 16250.00 | 6000.00 | 15000.00 | 3500.00 | 8750.00 | 4000.00 | 10000.00 | 5500.00 | 13750.00 | 6326.05 | 15815.13 | 8000.00 | 20000.00 | 4400.00 | 11000.00 | 3000.00 | 7500.00 | 7500.00 | M/s SRV Construction Co.
13.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. a) Hot finished seamless type tubes | 500.00 | kg |  | 110.00 | 55000.00 | 150.00 | 75000.00 | 86.00 | 43000.00 | 120.00 | 60000.00 | 88.00 | 44000.00 | 124.00 | 62000.00 | 140.00 | 70000.00 | 108.00 | 54000.00 | 90.00 | 45000.00 | 43000.00 | Raviraj Enterprises
14.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides | 500.00 | sqm |  | 800.00 | 400000.00 | 870.00 | 435000.00 | 800.00 | 400000.00 | 500.00 | 250000.00 | 750.00 | 375000.00 | 971.55 | 485775.00 | 410.00 | 205000.00 | 380.00 | 190000.00 | 400.00 | 200000.00 | 190000.00 | M K CONSTRUCTION
15.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 50.00 | metre |  | 80.00 | 4000.00 | 80.00 | 4000.00 | 75.00 | 3750.00 | 70.00 | 3500.00 | 150.00 | 7500.00 | 85.25 | 4262.50 | 150.00 | 7500.00 | 80.00 | 4000.00 | 50.00 | 2500.00 | 2500.00 | M/s SRV Construction Co.
16.00 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-inchargePowder coated minimum thickness 50 micron aluminium | 100.00 | each |  | 75.00 | 7500.00 | 80.00 | 8000.00 | 70.00 | 7000.00 | 70.00 | 7000.00 | 100.00 | 10000.00 | 89.60 | 8960.00 | 250.00 | 25000.00 | 75.00 | 7500.00 | 200.00 | 20000.00 | 7000.00 | CONVERGE CONSTRUCTION, Raviraj Enterprises
17.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 15.00 | sqm |  | 500.00 | 7500.00 | 380.00 | 5700.00 | 210.00 | 3150.00 | 300.00 | 4500.00 | 250.00 | 3750.00 | 401.40 | 6021.00 | 450.00 | 6750.00 | 275.00 | 4125.00 | 400.00 | 6000.00 | 3150.00 | Raviraj Enterprises
18.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 10.00 | cum |  | 800.00 | 8000.00 | 1800.00 | 18000.00 | 1100.00 | 11000.00 | 2200.00 | 22000.00 | 2000.00 | 20000.00 | 2007.10 | 20071.00 | 2500.00 | 25000.00 | 800.00 | 8000.00 | 50.00 | 500.00 | 500.00 | M/s SRV Construction Co.
19.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.Granite stone slab of colour black, Cherry/Ruby red. Area of slab upto 0.50 sqm | 15.00 | sqm |  | 2500.00 | 37500.00 | 4500.00 | 67500.00 | 3500.00 | 52500.00 | 2400.00 | 36000.00 | 1800.00 | 27000.00 | 4679.35 | 70190.25 | 3000.00 | 45000.00 | 2900.00 | 43500.00 | 3500.00 | 52500.00 | 27000.00 | Silhouette Infraprojects
20.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.Granite stone slab of colour black, Cherry/Ruby red. Area of slab over 0.50 sqm | 5.00 | sqm |  | 2500.00 | 12500.00 | 4200.00 | 21000.00 | 3500.00 | 17500.00 | 2350.00 | 11750.00 | 1800.00 | 9000.00 | 4425.35 | 22126.75 | 3000.00 | 15000.00 | 2800.00 | 14000.00 | 3600.00 | 18000.00 | 9000.00 | Silhouette Infraprojects
21.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. Made of G.I. wire of dia 4 mm | 250.00 | sqm |  | 475.00 | 118750.00 | 750.00 | 187500.00 | 600.00 | 150000.00 | 475.00 | 118750.00 | 2000.00 | 500000.00 | 580.00 | 145000.00 | 620.00 | 155000.00 | 540.00 | 135000.00 | 650.00 | 162500.00 | 118750.00 | CONVERGE CONSTRUCTION, Om Sai Associates
22.00 | Providing and fixing Pre-laminated flat pressed 3 layer (medium density) particle board or graded wood particle board IS : 3087 marked, with one side decorative and other side balancing lamination Grade I, Type II exterior grade IS : 12823 marked, in shelves with screws and fittings wherever required, edges to be painted with polyurethane primer (fittings to be paid separately). 18 mm thick | 15.00 | sqm |  | 1000.00 | 15000.00 | 900.00 | 13500.00 | 1822.00 | 27330.00 | 650.00 | 9750.00 | 1200.00 | 18000.00 | 1498.00 | 22470.00 | 1050.00 | 15750.00 | 690.00 | 10350.00 | 1500.00 | 22500.00 | 9750.00 | CONVERGE CONSTRUCTION
23.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100 mm | 50.00 | each |  | 50.00 | 2500.00 | 50.00 | 2500.00 | 45.00 | 2250.00 | 50.00 | 2500.00 | 75.00 | 3750.00 | 76.00 | 3800.00 | 200.00 | 10000.00 | 65.00 | 3250.00 | 100.00 | 5000.00 | 2250.00 | Raviraj Enterprises
24.00 | Providing and fixing bright finished brass butt hinges with necessary screws etc. complete : 125x85x5.5 mm (heavy type) | 25.00 | each |  | 300.00 | 7500.00 | 200.00 | 5000.00 | 561.00 | 14025.00 | 180.00 | 4500.00 | 375.00 | 9375.00 | 190.00 | 4750.00 | 250.00 | 6250.00 | 195.00 | 4875.00 | 100.00 | 2500.00 | 2500.00 | M/s SRV Construction Co.
25.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100x10 mm | 50.00 | each |  | 50.00 | 2500.00 | 50.00 | 2500.00 | 60.00 | 3000.00 | 50.00 | 2500.00 | 70.00 | 3500.00 | 78.00 | 3900.00 | 300.00 | 15000.00 | 45.00 | 2250.00 | 100.00 | 5000.00 | 2250.00 | M K CONSTRUCTION
26.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead: Of area 3 sq. metres and below | 50.00 | each |  | 800.00 | 40000.00 | 250.00 | 12500.00 | 279.00 | 13950.00 | 450.00 | 22500.00 | 500.00 | 25000.00 | 225.00 | 11250.00 | 350.00 | 17500.00 | 250.00 | 12500.00 | 100.00 | 5000.00 | 5000.00 | M/s SRV Construction Co.
27.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 5.00 | cum |  | 800.00 | 4000.00 | 2800.00 | 14000.00 | 1000.00 | 5000.00 | 2600.00 | 13000.00 | 3000.00 | 15000.00 | 500.00 | 2500.00 | 2500.00 | 12500.00 | 1200.00 | 6000.00 | 200.00 | 1000.00 | 1000.00 | M/s SRV Construction Co.
28.00 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineerin- charge. | 1.00 | sqm |  | 100.00 | 100.00 | 800.00 | 800.00 | 375.00 | 375.00 | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 120.00 | 120.00 | 2500.00 | 2500.00 | 1300.00 | 1300.00 | 10.00 | 10.00 | 10.00 | M/s SRV Construction Co.
29.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 500.00 | cum |  | 600.00 | 300000.00 | 180.00 | 90000.00 | 450.00 | 225000.00 | 350.00 | 175000.00 | 350.00 | 175000.00 | 219.35 | 109675.00 | 800.00 | 400000.00 | 120.00 | 60000.00 | 400.00 | 200000.00 | 60000.00 | M K CONSTRUCTION
30.00 | Providing and fixing Aluminium Partical Panel Sheet of thickness 4 mm for door, wall panel and partition works with various aluminium works etc. with rubber gasket weather seal to be provided through out the frame. All complete as per the direction and satisfaction of EIC. (cost of aluminium and door fittings will be paid separately.) | 200.00 | sqm |  | 900.00 | 180000.00 | 1800.00 | 360000.00 | 2000.00 | 400000.00 | 700.00 | 140000.00 | 1400.00 | 280000.00 | 550.00 | 110000.00 | 3039.00 | 607800.00 | 670.00 | 134000.00 | 400.00 | 80000.00 | 80000.00 | M/s SRV Construction Co.
31.00 | Providing and fixing fibre mosquito proof mesh of Netlon or equivalent make in existing frames of doors & windows fixed with velcro tape complete including cutting fibre mosquito proof mesh in appropriate size, stitching wellcro strip, stapling the velcro on member,etc as per instruction and directions of Engineering In Charge. | 200.00 | sqm |  | 400.00 | 80000.00 | 600.00 | 120000.00 | 600.00 | 120000.00 | 64.00 | 12800.00 | 300.00 | 60000.00 | 350.00 | 70000.00 | 450.00 | 90000.00 | 175.00 | 35000.00 | 400.00 | 80000.00 | 12800.00 | CONVERGE CONSTRUCTION
| Total in Figures |  |  |  |  | 7257100.00 |  | 7872200.00 |  | 7933080.00 |  | 6545500.00 |  | 8299625.00 |  | 8193049.61 |  | 7481800.00 |  | 6709750.00 |  | 8391760.00
Lowest Amount Quoted BY: CONVERGE CONSTRUCTION(6545500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous repair work for New Airport Colony Mumbai 2023-24 SH Repairs to doors windows profile sheets MS grills and misc carpentry fabrication works Tender ID: 2023_AAI_157599_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CONVERGE CONSTRUCTION | 6545500.00 | L1
| 2 | M K CONSTRUCTION | 6709750.00 | L2
| 3 | Om Sai Associates | 7257100.00 | L3
| 4 | DURGA ENTERPRISES | 7481800.00 | L4
| 5 | Shrikrishna Construction | 7872200.00 | L5
| 6 | Raviraj Enterprises | 7933080.00 | L6
| 7 | KRUPA MANAGEMENT | 8193049.61 | L7
| 8 | Silhouette Infraprojects | 8299625.00 | L8
| 9 | M/s SRV Construction Co. | 8391760.00 | L9