## BoQ1
Government eProcurement System Created By: KHEMRAJ MEENA Created Date/Time: 17-Jul-2023 04:29 PM Tender Title: Provision of Sign Board at main entry gate at Kishangarh Airport Tender ID: 2023_AAI_157737_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-C), Kishangarh Airport, Ajmer
Name of work : Provision of Sign Board at main entry gate at Kishangarh Airport
Contract No: 9001297032
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Lok Shail Enterprises(GSTN-08ACXPK9891L1ZA) |  | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | PRADHAN ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 35.00 | Cum | 100.00 | 185.00 | 6475.00 | 150.00 | 5250.00 | 50.00 | 1750.00 | 1750.00 | PRADHAN ENTERPRISES
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m | 19.00 | Cum | 101.00 | 200.00 | 3800.00 | 50.00 | 950.00 | 50.00 | 950.00 | 950.00 | PRADHAN ENTERPRISES, Anil Kumar Sharma
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 6.00 | Cum | 101.00 | 3000.00 | 18000.00 | 4500.00 | 27000.00 | 4000.00 | 24000.00 | 18000.00 | Lok Shail Enterprises
4.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 13.00 | Cum | 101.00 | 5000.00 | 65000.00 | 5500.00 | 71500.00 | 5000.00 | 65000.00 | 65000.00 | PRADHAN ENTERPRISES, Lok Shail Enterprises
5.00 | Centering and shuttering including strutting, propping etc. and removal of form forFoundations, footings, bases of columns, etc. for mass concrete | 20.00 | Sqm | 101.00 | 250.00 | 5000.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 4000.00 | PRADHAN ENTERPRISES, Anil Kumar Sharma
6.00 | Centering and shuttering including strutting, propping etc. and removal of form forColumns, Pillars, Piers, Abutments, Posts and Struts | 14.00 | Sqm | 100.00 | 400.00 | 5600.00 | 200.00 | 2800.00 | 250.00 | 3500.00 | 2800.00 | Anil Kumar Sharma
7.00 | Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and bindling all complete upto plinth level Thermo-Mechincal Treated bars (Fe-500 grade) | 1170.00 | Kg | 101.00 | 80.00 | 93600.00 | 90.00 | 105300.00 | 70.00 | 81900.00 | 81900.00 | PRADHAN ENTERPRISES
8.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1673.00 | Kg | 101.00 | 85.00 | 142205.00 | 120.00 | 200760.00 | 75.00 | 125475.00 | 125475.00 | PRADHAN ENTERPRISES
9.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 8640.00 | Kg | 101.00 | 125.00 | 1080000.00 | 120.00 | 1036800.00 | 100.00 | 864000.00 | 864000.00 | PRADHAN ENTERPRISES
10.00 | Providing and fixing bolts including nuts and washers complete. | 240.00 | Kg | 101.00 | 110.00 | 26400.00 | 120.00 | 28800.00 | 100.00 | 24000.00 | 24000.00 | PRADHAN ENTERPRISES
11.00 | 12 mm cement plaster of mix : 1:6 (1 cement : 6 fine sand) | 7.00 | Sqm | 100.00 | 250.00 | 1750.00 | 300.00 | 2100.00 | 200.00 | 1400.00 | 1400.00 | PRADHAN ENTERPRISES
12.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 651.00 | Sqm | 101.00 | 90.00 | 58590.00 | 150.00 | 97650.00 | 50.00 | 32550.00 | 32550.00 | PRADHAN ENTERPRISES
13.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, awns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table ibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of d,compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer hrough vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge.60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 12.00 | Sqm | 101.00 | 650.00 | 7800.00 | 1200.00 | 14400.00 | 400.00 | 4800.00 | 4800.00 | PRADHAN ENTERPRISES
14.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 2.00 | Cum | 101.00 | 6000.00 | 12000.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 3000.00 | Anil Kumar Sharma
15.00 | Providing and fixing 3 mm thick ACP (Aluminium Composite Panel ) of approved quality and shade with 0.25mm thick front and back coil, 2.5mm LDPE (Core thickness) with PVDF Coating Exterior grade with necessary fittings & sealant as per direction of Engineer- In -Charge. | 238.00 | Sqm | 101.00 | 1550.00 | 368900.00 | 1500.00 | 357000.00 | 1500.00 | 357000.00 | 357000.00 | PRADHAN ENTERPRISES, Anil Kumar Sharma
16.00 | Providing Engineering Consultancy for Preparation and submission of detailed working and structural drawing of main entry gate as per standard engineering practices and shall be vetted by IIT/NIT/Govt. Engineering college. The consultant shall be solely responsible for the adequacy and structural safety of the proposed structure. Agency has to submit detailed design calculation and the copies of detailed drawings for execution of work in three sets of hard copy. The complete work shall be executed as per the direction of engineer in charge. | 1.00 | Job | 100.00 | 45000.00 | 45000.00 | 50000.00 | 50000.00 | 80000.00 | 80000.00 | 45000.00 | Lok Shail Enterprises
17.00 | Design, Manufacturing, Supplying and fixing of retro reflective sign boards made of 4 mm thick ACP Sheet (ACP sheet of make Aludecor / Alstrong / Euro Panel / Alucobond), one side face to be fully covered with All Micro Prismatic grade retro reflective sheets conforming to ASTM D 4956-09 Type XI of 3M / Avery Denison make in blue/green and silver white or other colour combination as approved by Engineering-In-Charge including subject matter, message (bi-lingual), symbols and borders etc. as per IRC : 67-2012 (latest revision), pasted on substrate by an adhesive backing which shall be activated by applying pressure and fixing the same with suitable sized aluminum alloy rivets @ 30cm c/c to back support frame, complete job as reqd, as per approved drawing, specification and direction of Engineer incharge. [Note:-Excluding the cost of structural steel frame] An Authorization letter from the Retro Reflective Sheet Manufacturer and 3 years outdoor weather exposure certificate (as per IRC: 67-2012) for retro reflective sheeting from the original sheeting manufacturer is to be produced by the bidder. | 1299.00 | Sq ft | 101.00 | 680.00 | 883320.00 | 700.00 | 909300.00 | 520.00 | 675480.00 | 675480.00 | PRADHAN ENTERPRISES
18.00 | Supply of 150 Watt LED type out door lighting luminaire, with high pressure die cast aluminium housing, having uniform lighting distribution with luminare efficiency of more than 110 lumen per watt, CRI more than 70, THD less than 10%,beam angle 60 degree, IP 66 protection, more than 50,000 burning hours, as per technical specifications complete as required. Make/Model:- Bajaj/PRAZE F 180L WH NB-A5 TG SD or Make- Havells, JETALEGANZAFLS150WLED757P60DTOTG or equivalent. | 16.00 | Each | 101.00 | 12000.00 | 192000.00 | 5500.00 | 88000.00 | 7500.00 | 120000.00 | 88000.00 | Anil Kumar Sharma
19.00 | Installation, testing and commissioning of LED type out door flood light, complete with all accessories and tube etc., including making of cement foundation size of 450mm x 450mm x 600mm, supplying and fixing socket arrangement, sutable size steel conduit, painting and connection with 2.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required | 16.00 | Job | 101.00 | 1800.00 | 28800.00 | 1500.00 | 24000.00 | 1700.00 | 27200.00 | 24000.00 | Anil Kumar Sharma
20.00 | Supply and fixing of outdoor Cable Junction Boxes IP 66 with integrated membranes / metric knockouts, with terminals and size of (104mm x 104mm x 70mm) for cable entry and making the connection of LED light, complete as required. Make:- Hensel, Model:-DK 0404 G or equivalent. | 16.00 | Job | 101.00 | 600.00 | 9600.00 | 500.00 | 8000.00 | 600.00 | 9600.00 | 8000.00 | Anil Kumar Sharma
21.00 | Supply of 4 C X 10 sqmm cable of 1.1 kv grade aluminium conductor, XLPE insulated and PVC sheathed armoured cable as per IS: 7098:1988 (Part-I) with upto date amendments. | 140.00 | Mtr | 100.00 | 180.00 | 25200.00 | 250.00 | 35000.00 | 170.00 | 23800.00 | 23800.00 | PRADHAN ENTERPRISES
22.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade size up to 35 sq. mm on wall surface as required. (clamped with 1 mm thick saddle) | 140.00 | Mtr | 101.00 | 75.00 | 10500.00 | 50.00 | 7000.00 | 35.00 | 4900.00 | 4900.00 | PRADHAN ENTERPRISES
| Total in Figures |  |  |  |  | 3089540.00 |  | 3078610.00 |  | 2541305.00
Lowest Amount Quoted BY: PRADHAN ENTERPRISES(2541305.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Sign Board at main entry gate at Kishangarh Airport Tender ID: 2023_AAI_157737_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PRADHAN ENTERPRISES | 2541305.00 | L1
| 2 | Anil Kumar Sharma | 3078610.00 | L2
| 3 | Lok Shail Enterprises | 3089540.00 | L3