## BoQ1
Government eProcurement System Created By: Pravin Jadhav Created Date/Time: 20-Jul-2023 03:21 PM Tender Title: Misc. civil works for compliance of the DGCA observations for the year 2022 and 2023 at Hubballi Airport. SH Rectifying the undulations in the basic strips, improvement of kuccha drains in operational area etc Tender ID: 2023_AAI_157899_1
Tender Inviting Authority: DGM (E-C), Airports Authority of India, Hubballi Airport.
Name of Work: Misc. civil works for compliance of the DGCA observations for the year 2022 and 2023 at Hubballi Airport SH: Rectifying the undulations in the basic strips, improvement of kaccha drains in operational area etc.
Contract No: 2023_AAI_157899_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | N S NAYAK AND SONS(GSTN-29AABFN4925E1ZC) |  | Y SAHITYA(GSTN-37CLGPS5962N1Z5)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Excavation with hydraulic excavator of 0.9 cum bucket capacity including cutting and loading in tippers, trimming bottom and side slopes, in accordance with requirements of lines, grades and cross sections, and transporting by mechanical means lead up to 3 km to the embankment locations/ disposal areas wherever filling is needed within the airport premises with all lifts as per direction of Engineer in charge. a) All kinds of soil | 31500.00 | Cum | 1.00 | 100.00 | 3150000.00 | 75.00 | 2362500.00 | 2362500.00 | Y SAHITYA
2.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | 40000.00 | sqm | 1.00 | 50.00 | 2000000.00 | 15.00 | 600000.00 | 600000.00 | Y SAHITYA
3.00 | Consolidation of sub grade with power road roller of 8 to 12 tonne capacity including making good the undulations etc. and re-rolling the sub grade as per direction of Engineer-In-charge. | 40000.00 | Sqm | 1.00 | 10.00 | 400000.00 | 10.00 | 400000.00 | 400000.00 | N S NAYAK AND SONS, Y SAHITYA
4.00 | Construction of subgrade embankment with available good earth including spreading the earth, dressing levelling providing camber grading with motor grader and consolidation with vibratory roller 8-10 tonne capacity to required slope and compacted in layers to meet requirement of more than 98% of MDD "Maximum Modified Standard Protractor density" as per MORTH specification and each compacted layer shall not be more than 200 mm thick making good the undulation etc. as per technical specification for all leads and Lifts complete as per direction of Engineer-in charge. Agency has to test 03 (three) soil samples from approved borrow pits/ excavated earth for Gotechnical parametres of soil through AAI Approved Lab / Govt Lab. Note: 1-Payment shall be made only for compacted quantity by level measurements. 2- Quoted Rates shall be inclusive of all above operations including testing charges of Geotechnical parametres of soil, water charges, machineries etc but excluding cost of earth | 8000.00 | Cum | 1.00 | 100.00 | 800000.00 | 100.00 | 800000.00 | 800000.00 | N S NAYAK AND SONS, Y SAHITYA
5.00 | Excavation with hydraulic excavator with breaker arrangement and 0.9 cum bucket capacity including breaking, cutting and loading in tippers, trimming bottom and side slopes, in accordance with requirements of lines, grades and cross sections, and transporting to the embankment location/ disposal areas wherever filling is needed with all lifts and lead upto 3000m as per MORTH specification and as per direction of Engineer in charge a) Hard rock (blasting prohibited) | 6910.00 | Cum | 1.00 | 500.00 | 3455000.00 | 500.00 | 3455000.00 | 3455000.00 | N S NAYAK AND SONS, Y SAHITYA
6.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M30 grade with minimum cement content of 350 kg /cum | 60.00 | Cum | 1.00 | 6500.00 | 390000.00 | 5000.00 | 300000.00 | 300000.00 | Y SAHITYA
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 6000.00 | kg | 1.00 | 100.00 | 600000.00 | 90.00 | 540000.00 | 540000.00 | Y SAHITYA
8.00 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 1200 mm dia RCC pipes. | 165.00 | Meter | 1.00 | 8000.00 | 1320000.00 | 3500.00 | 577500.00 | 577500.00 | Y SAHITYA
9.00 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 900 mm dia RCC pipes. | 135.00 | Meter | 1.00 | 5000.00 | 675000.00 | 6000.00 | 810000.00 | 675000.00 | N S NAYAK AND SONS
10.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III): 6 graded stone aggregate 20 mm nominal size ) | 300.00 | Cum | 1.00 | 5500.00 | 1650000.00 | 5000.00 | 1500000.00 | 1500000.00 | Y SAHITYA
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 150.00 | Cum | 1.00 | 6000.00 | 900000.00 | 5500.00 | 825000.00 | 825000.00 | Y SAHITYA
12.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 90.00 | Cum | 1.00 | 6500.00 | 585000.00 | 4500.00 | 405000.00 | 405000.00 | Y SAHITYA
13.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 825.00 | Sqm | 1.00 | 250.00 | 206250.00 | 400.00 | 330000.00 | 206250.00 | N S NAYAK AND SONS
14.00 | Hiring of JCB / hydraulic excavator for removal of Bushes/levelling of Heaps etc., as and when required as per the direction of EIC. The rate includes the cost of hire and Running charges of JCB, including driver, fuel, transportation of the JCB / hydraulic excavator to and from the site of operation and any other incidental charges all complete as directed by EIC | 150.00 | Hrs | 1.00 | 1250.00 | 187500.00 | 1200.00 | 180000.00 | 180000.00 | Y SAHITYA
| Total in Figures |  |  |  |  | 16318750.00 |  | 13085000.00
Lowest Amount Quoted BY: Y SAHITYA(13085000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. civil works for compliance of the DGCA observations for the year 2022 and 2023 at Hubballi Airport. SH Rectifying the undulations in the basic strips, improvement of kuccha drains in operational area etc Tender ID: 2023_AAI_157899_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Y SAHITYA | 13085000.00 | L1
| 2 | N S NAYAK AND SONS | 16318750.00 | L2