## BoQ1
Government eProcurement System Created By: Rohit Chaudhary Created Date/Time: 29-Aug-2023 12:27 PM Tender Title: Establishment of IT Infrastructure at New Domestic Terminal Building, New Technical Block and allied Building at Patna Airport Tender ID: 2023_AAI_158253_1
Tender Inviting Authority: General Manager (CNS) ER
Name of Work:Establishment of IT Infrastructure at New Domestic Terminal Building, New Technical Block and allied Building at Patna Airport
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Embee Software Private Limited(GSTN-19AAACE6958L1Z1) |  | DG Micropronix Pvt. Ltd.(GSTN-19AACCD3940M1ZE)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Networking Infrastructure
1.01 | Supply, Installation, Configuration, Testing & Commissioning of Layer 3 switch minimum 6 nos 40G QSFP Ports with 5-years warranty | 4.00 | Nos | 1490377.33 | 1221378.00 | 4885512.00 | 874200.00 | 3496800.00 | 3496800.00 | DG Micropronix Pvt. Ltd.
1.02 | Supply, Installation, Configuration, Testing & Commissioning of Layer 3 Core switch minimum 4 nos 10G SFP Ports with 5-years warranty | 2.00 | Nos | 649222.00 | 390574.20 | 781148.40 | 552600.00 | 1105200.00 | 781148.40 | Embee Software Private Limited
1.03 | Supply, Installation, Configuration, Testing & Commissioning of Layer 2 Switch Distribution Switch with Min. 24 No. 10G SFP Port with 5-year warranty | 2.00 | Nos | 555739.25 | 1221378.00 | 2442756.00 | 874200.00 | 1748400.00 | 1748400.00 | DG Micropronix Pvt. Ltd.
1.04 | Supply, Installation, Configuration, Testing & Commissioning of Layer 2 Distribution Switch with Min. 24 No. 10G SFP Port & 4 no 40G QSFP Port with 5-year warranty | 6.00 | Nos | 770133.33 | 1221378.00 | 7328268.00 | 874200.00 | 5245200.00 | 5245200.00 | DG Micropronix Pvt. Ltd.
1.05 | Supply, Installation, Configuration, Testing & Commissioning of 40G QSFP Module with 5-year warranty | 42.00 | Nos | 151984.00 | 94095.00 | 3951990.00 | 105000.00 | 4410000.00 | 3951990.00 | Embee Software Private Limited
1.06 | Supply, Installation, Configuration, Testing & Commissioning of Layer 2 POE + Switch Min. 12 Port with 5-year warranty | 19.00 | Nos | 112025.00 | 147600.00 | 2804400.00 | 226200.00 | 4297800.00 | 2804400.00 | Embee Software Private Limited
1.07 | Supply, Installation, Configuration, Testing & Commissioning of Layer 2 Switch Min. 24 Port with 5-year warranty | 16.00 | Nos | 120862.50 | 168436.20 | 2694979.20 | 181200.00 | 2899200.00 | 2694979.20 | Embee Software Private Limited
1.08 | Supply, Installation, Configuration, Testing & Commissioning of Layer 2 POE + Switch Min. 24 Port with 5-year warranty | 97.00 | Nos | 168711.00 | 147600.00 | 14317200.00 | 226200.00 | 21941400.00 | 14317200.00 | Embee Software Private Limited
1.09 | Supply, Installation, Configuration, Testing & Commissioning of 10G SFP for switches with 5-year warranty | 348.00 | Nos | 32754.50 | 36900.00 | 12841200.00 | 4300.00 | 1496400.00 | 1496400.00 | DG Micropronix Pvt. Ltd.
1.10 | Supply, Installation, Configuration, Testing & Commissioning of PTP Connectivity with 5-year warranty | 1.00 | Pair | 400225.00 | 369000.00 | 369000.00 | 179300.00 | 179300.00 | 179300.00 | DG Micropronix Pvt. Ltd.
1.11 | Supply, Installation, Configuration, Testing & Commissioning of 10G Copper Module with 5-year warranty | 4.00 | Nos | 32092.75 | 46740.00 | 186960.00 | 4300.00 | 17200.00 | 17200.00 | DG Micropronix Pvt. Ltd.
1.12 | Supply, Installation, Configuration, Testing & Commissioning of Wireless Controller with 5-year warranty | 3.00 | Nos | 866438.75 | 1923869.00 | 5771607.00 | 828100.00 | 2484300.00 | 2484300.00 | DG Micropronix Pvt. Ltd.
1.13 | Supply, Installation, Configuration, Testing & Commissioning of Wireless Access Point with 5-year warranty | 143.00 | Nos | 43857.50 | 87878.58 | 12566636.94 | 57600.00 | 8236800.00 | 8236800.00 | DG Micropronix Pvt. Ltd.
1.14 | Supply, Installation, Configuration, Testing & Commissioning of Server with 5-year Warranty | 4.00 | Nos | 589996.67 | 774900.00 | 3099600.00 | 849400.00 | 3397600.00 | 3099600.00 | Embee Software Private Limited
1.15 | Supply, Installation, Configuration, Testing & Commissioning of NMS with 5-year support | 2.00 | Nos | 846206.75 | 624225.00 | 1248450.00 | 4800000.00 | 9600000.00 | 1248450.00 | Embee Software Private Limited
1.16 | Supply, Installation, Configuration, Testing & Commissioning of Display Monitor with 5-year warranty | 5.00 | Nos | 140785.67 | 83344.80 | 416724.00 | 74000.00 | 370000.00 | 370000.00 | DG Micropronix Pvt. Ltd.
1.17 | Supply, Installation, Configuration, Testing & Commissioning of Biometric access control device for IT Server Room or Switch Room along with the access control software with 5-year warranty | 4.00 | Nos | 79358.75 | 47662.50 | 190650.00 | 47500.00 | 190000.00 | 190000.00 | DG Micropronix Pvt. Ltd.
1.18 | Supply, Installation, Configuration, Testing & Commissioning of Firewall Nex GeN with 5-year warranty | 2.00 | Nos | 5845415.50 | 8795998.00 | 17591996.00 | 5278000.00 | 10556000.00 | 10556000.00 | DG Micropronix Pvt. Ltd.
1.19 | Supply, Installation, Configuration, Testing & Commissioning of Server Farm Switch with 5-year warranty | 4.00 | Nos | 149600.00 | 390574.20 | 1562296.80 | 181200.00 | 724800.00 | 724800.00 | DG Micropronix Pvt. Ltd.
1.20 | Supply, Installation, Configuration, Testing & Commissioning of Hybrid IP Telephone IP PBX with 5-year warranty | 2.00 | Nos | 1395000.00 | 603930.00 | 1207860.00 | 567600.00 | 1135200.00 | 1135200.00 | DG Micropronix Pvt. Ltd.
1.21 | Supply, Installation, Configuration, Testing & Commissioning of IP Phones with 5-year warranty | 255.00 | Nos | 7819.50 | 7795.74 | 1987913.70 | 7600.00 | 1938000.00 | 1938000.00 | DG Micropronix Pvt. Ltd.
1.22 | Supply, Installation, Configuration, Testing & Commissioning of Analog exchange with port PRI. | 1.00 | Nos | 199351.75 | 1189939.00 | 1189939.00 | 1125500.00 | 1125500.00 | 1125500.00 | DG Micropronix Pvt. Ltd.
1.23 | Supply, Installation, Configuration, Testing & Commissioning of Analog Phones | 24.00 | Nos | 1975.00 | 2460.00 | 59040.00 | 1190.00 | 28560.00 | 28560.00 | DG Micropronix Pvt. Ltd.
1.24 | Supply of CAT6A UTP Cable (LSZH) | 134280.00 | Meter | 73.50 | 68.88 | 9249206.40 | 67.00 | 8996760.00 | 8996760.00 | DG Micropronix Pvt. Ltd.
1.25 | Supply of CAT6A Outdoor UTP Cable (LSZH) | 9740.00 | Meter | 98.67 | 125.46 | 1221980.40 | 166.00 | 1616840.00 | 1221980.40 | Embee Software Private Limited
1.26 | Supply, Installation, Testing & Commissioning of CAT6A Outdoor Patch Cord 1Mtr | 128.00 | Nos | 405.75 | 965.55 | 123590.40 | 910.00 | 116480.00 | 116480.00 | DG Micropronix Pvt. Ltd.
1.27 | Supply, Installation, Testing & Commissioning of CAT6A Patch Cord 1Mtr | 2714.00 | Nos | 249.50 | 462.48 | 1255170.72 | 440.00 | 1194160.00 | 1194160.00 | DG Micropronix Pvt. Ltd.
1.28 | Supply, Installation, Testing & Commissioning of CAT6A Patch Cord 2 Mtrs | 1545.00 | Nos | 451.50 | 683.88 | 1056594.60 | 650.00 | 1004250.00 | 1004250.00 | DG Micropronix Pvt. Ltd.
1.29 | Supply, Installation, Testing & Commissioning of CAT6A I/O complete with single face plate & Module | 1322.00 | Nos | 303.50 | 787.20 | 1040678.40 | 750.00 | 991500.00 | 991500.00 | DG Micropronix Pvt. Ltd.
1.30 | Supply, Installation, Testing & Commissioning of CAT6A I/O complete with dual face plate & Module | 371.00 | Nos | 454.75 | 1439.10 | 533906.10 | 750.00 | 278250.00 | 278250.00 | DG Micropronix Pvt. Ltd.
1.31 | Supply of CAT6A RJ45 Connector | 506.00 | Nos | 21.00 | 55.35 | 28007.10 | 50.00 | 25300.00 | 25300.00 | DG Micropronix Pvt. Ltd.
1.32 | Supply, Installation, Testing & Commissioning of CAT6A 24 port Jack Panel (Fully Loaded) | 132.00 | Nos | 16327.25 | 17066.25 | 2252745.00 | 21000.00 | 2772000.00 | 2252745.00 | Embee Software Private Limited
1.33 | Supply of 12 Core OFC Cable | 12400.00 | Meter | 150.00 | 178.35 | 2211540.00 | 190.00 | 2356000.00 | 2211540.00 | Embee Software Private Limited
1.34 | Supply, Installation, Testing & Commissioning of Fibre Patch Cord (SM) (duplex minimum 2 Mtr, LC-LC) | 484.00 | Nos | 1807.00 | 1660.50 | 803682.00 | 1650.00 | 798600.00 | 798600.00 | DG Micropronix Pvt. Ltd.
1.35 | Supply, Installation, Testing & Commissioning of Fully Loaded LIU for 12 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 41.00 | Nos | 25430.00 | 24874.91 | 1019871.31 | 24300.00 | 996300.00 | 996300.00 | DG Micropronix Pvt. Ltd.
1.36 | Supply, Installation, Testing & Commissioning of Fully Loaded LIU for 24 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 138.00 | Nos | 48315.00 | 33598.07 | 4636533.66 | 15400.00 | 2125200.00 | 2125200.00 | DG Micropronix Pvt. Ltd.
1.37 | Supply, Installation, Testing & Commissioning of Indoor Wall Mount 6U Rack with 5-year warranty | 1.00 | Nos | 4900.00 | 12713.28 | 12713.28 | 7700.00 | 7700.00 | 7700.00 | DG Micropronix Pvt. Ltd.
1.38 | Supply, Installation, Testing & Commissioning of Indoor Wall Mount 15U Rack with 5-year warranty | 16.00 | Nos | 19769.50 | 16122.84 | 257965.44 | 12300.00 | 196800.00 | 196800.00 | DG Micropronix Pvt. Ltd.
1.39 | Supply, Installation, Testing & Commissioning of Indoor Floor Mount 24U Rack with 5-year warranty | 47.00 | Nos | 45130.50 | 70071.87 | 3293377.89 | 53400.00 | 2509800.00 | 2509800.00 | DG Micropronix Pvt. Ltd.
1.40 | Supply, Installation, Testing & Commissioning of Smart Server Rack - Type 1 with 5-year warranty | 1.00 | Nos | 4197500.00 | 7051221.00 | 7051221.00 | 7116000.00 | 7116000.00 | 7051221.00 | Embee Software Private Limited
1.41 | Supply, Installation, Testing & Commissioning of Smart Server Rack - Type 2 with 5-year warranty | 1.00 | Nos | 4197500.00 | 7051221.00 | 7051221.00 | 7116000.00 | 7116000.00 | 7051221.00 | Embee Software Private Limited
1.42 | Supply, Installation, Testing & Commissioning of Outdoor Pole Mountable rack 12U Rack with 5-year warranty | 13.00 | Nos | 28270.00 | 31908.66 | 414812.58 | 31600.00 | 410800.00 | 410800.00 | DG Micropronix Pvt. Ltd.
1.43 | Supply, Installation, Testing & Commissioning of Pole Mountable Outdoor Enclosure for 2 KVA Integrated UPS with 5-year warranty | 1.00 | Nos | 10767.50 | 31908.66 | 31908.66 | 31600.00 | 31600.00 | 31600.00 | DG Micropronix Pvt. Ltd.
1.44 | Supply, Installation, Testing & Commissioning of Online 1 KVA UPS with 5-year warranty | 9.00 | Nos | 15230.25 | 41544.48 | 373900.32 | 60400.00 | 543600.00 | 373900.32 | Embee Software Private Limited
1.45 | Supply, Installation, Testing & Commissioning of Online 2 KVA Integrated UPS with 5-year warranty | 2.00 | Nos | 45219.50 | 60273.69 | 120547.38 | 98700.00 | 197400.00 | 120547.38 | Embee Software Private Limited
1.46 | Supply, Installation, Testing & Commissioning of Online 300 KVA UPS with 5-year warranty | 1.00 | Nos | 8016333.33 | 16546858.00 | 16546858.00 | 7735000.00 | 7735000.00 | 7735000.00 | DG Micropronix Pvt. Ltd.
1.47 | Supply, Installation, Testing & Commissioning of 4m Meter 100mm Pole | 15.00 | Nos | 15102.00 | 14760.00 | 221400.00 | 6900.00 | 103500.00 | 103500.00 | DG Micropronix Pvt. Ltd.
1.48 | Supply of 3 Core Power Cable | 450.00 | Meter | 55.50 | 60.27 | 27121.50 | 84.00 | 37800.00 | 27121.50 | Embee Software Private Limited
1.49 | Supply, Installation, Testing & Commissioning of Outdoor Power Socket | 19.00 | Nos | 4080.00 | 4920.00 | 93480.00 | 4950.00 | 94050.00 | 93480.00 | Embee Software Private Limited
1.50 | Supply of Ladder 2.5 meter | 2.00 | Nos | 9750.00 | 6150.00 | 12300.00 | 16800.00 | 33600.00 | 12300.00 | Embee Software Private Limited
1.51 | Supply of PVC Flexible | 1170.00 | Meter | 36.25 | 36.90 | 43173.00 | 12.00 | 14040.00 | 14040.00 | DG Micropronix Pvt. Ltd.
1.52 | Supply of Metal Flexible | 760.00 | Meter | 80.75 | 73.80 | 56088.00 | 68.00 | 51680.00 | 51680.00 | DG Micropronix Pvt. Ltd.
1.53 | Supply of HDPE Pipe | 9240.00 | Meter | 90.75 | 73.80 | 681912.00 | 60.00 | 554400.00 | 554400.00 | DG Micropronix Pvt. Ltd.
1.54 | Supply of GI Conduit | 680.00 | Meter | 400.50 | 492.00 | 334560.00 | 36.00 | 24480.00 | 24480.00 | DG Micropronix Pvt. Ltd.
1.55 | Supply of PVC Channel | 2020.00 | Meter | 70.75 | 73.80 | 149076.00 | 36.00 | 72720.00 | 72720.00 | DG Micropronix Pvt. Ltd.
1.56 | Supply of PVC Conduit | 28180.00 | Meter | 47.00 | 49.20 | 1386456.00 | 28.00 | 789040.00 | 789040.00 | DG Micropronix Pvt. Ltd.
1.57 | Supply of Box Channel | 672.00 | Meter | 508.00 | 615.00 | 413280.00 | 400.00 | 268800.00 | 268800.00 | DG Micropronix Pvt. Ltd.
1.58 | Supply of MS Trays | 460.00 | Meter | 811.00 | 615.00 | 282900.00 | 350.00 | 161000.00 | 161000.00 | DG Micropronix Pvt. Ltd.
1.59 | Supply, Installation, Testing & Commissioning of OFC Route Marker - Concrete | 65.00 | Nos | 300.50 | 246.00 | 15990.00 | 700.00 | 45500.00 | 15990.00 | Embee Software Private Limited
1.60 | Supply, Installation, Testing & Commissioning of Manhole Chamber | 30.00 | Nos | 18205.00 | 18450.00 | 553500.00 | 23200.00 | 696000.00 | 553500.00 | Embee Software Private Limited
1.61 | Laying of CAT6A UTP through Channel/ Conduit/ Raceway/ Cable Tray/ HDPE Pipe/ GI Conduit / Wall etc. | 144470.00 | Meter | 23.67 | 22.14 | 3198565.80 | 30.00 | 4334100.00 | 3198565.80 | Embee Software Private Limited
1.62 | Laying of OFC Cable 12 Core SM through Channel/ Conduit/ Raceway/ Cable Tray/ HDPE Pipe/ GI Conduit / Wall etc. | 12224.00 | Meter | 41.00 | 36.90 | 451065.60 | 54.00 | 660096.00 | 451065.60 | Embee Software Private Limited
1.63 | Crimping and Testing of RJ45 Connector with Marking | 506.00 | Nos | 25.00 | 24.60 | 12447.60 | 32.00 | 16192.00 | 12447.60 | Embee Software Private Limited
1.64 | Laying of PVC/ Metal Flexible | 1930.00 | Meter | 22.33 | 24.60 | 47478.00 | 30.00 | 57900.00 | 47478.00 | Embee Software Private Limited
1.65 | Laying/ Fixing of PVC Channel/ Conduit/ Box Channel through Wall/ Raceway/ Cable Tray/ Existing Trench/ False Ceiling etc. | 28172.00 | Meter | 22.33 | 22.14 | 623728.08 | 28.00 | 788816.00 | 623728.08 | Embee Software Private Limited
1.66 | Laying of HDPE Pipe/ GI Conduit through Wall/ Raceway/ Cable Tray/ Existing Trench etc. | 5100.00 | Meter | 38.33 | 36.90 | 188190.00 | 46.00 | 234600.00 | 188190.00 | Embee Software Private Limited
1.67 | Laying of HDPE Pipe/ GI Conduit through Soft Soil digging and back filling with sand & brick | 1590.00 | Meter | 330.00 | 350.55 | 557374.50 | 390.00 | 620100.00 | 557374.50 | Embee Software Private Limited
1.68 | Laying of HDPE Pipe/ GI Conduit through Hard Soil digging and back filling with sand & brick | 500.00 | Meter | 458.75 | 461.25 | 230625.00 | 560.00 | 280000.00 | 230625.00 | Embee Software Private Limited
1.69 | Laying of HDPE Pipe/ GI Conduit through Micro- Tunnelling (HDD) | 2000.00 | Meter | 465.00 | 1071.33 | 2142660.00 | 550.00 | 1100000.00 | 1100000.00 | DG Micropronix Pvt. Ltd.
1.70 | Laying of HDPE Pipe/ GI Conduit through Concrete cutting and back filling with sand & brick including restoration of Concrete | 400.00 | Meter | 644.75 | 701.10 | 280440.00 | 760.00 | 304000.00 | 280440.00 | Embee Software Private Limited
1.71 | Laying of HDPE Pipe/ GI Conduit through Road cutting and back filling with sand & brick including restoration of Road | 330.00 | Meter | 759.00 | 825.33 | 272358.90 | 910.00 | 300300.00 | 272358.90 | Embee Software Private Limited
1.72 | Laying & Fixing of Tray through Wall/ Raceway/ Trench/ Ceiling etc | 460.00 | Meter | 302.25 | 367.77 | 169174.20 | 364.00 | 167440.00 | 167440.00 | DG Micropronix Pvt. Ltd.
1.73 | OTDR & Penta Scan Report Submission for entire solution | 1.00 | Job | 125000.00 | 1107000.00 | 1107000.00 | 156250.00 | 156250.00 | 156250.00 | DG Micropronix Pvt. Ltd.
1.74 | Installation, Integration of Entire Network as per AAI Requirement | 1.00 | Job | 115000.00 | 92250.00 | 92250.00 | 143800.00 | 143800.00 | 92250.00 | Embee Software Private Limited
1.75 | Survey, Documentation, Testing & Commissioning of Entire Solution - Network | 1.00 | Job | 115000.00 | 61500.00 | 61500.00 | 143800.00 | 143800.00 | 61500.00 | Embee Software Private Limited
2.00 | PA System
2.01 | Supply, Installation, Configuration, Testing & Commissioning of PA System Controller with 5-year warranty | 2.00 | Nos | 430970.00 | 452449.40 | 904898.80 | 550000.00 | 1100000.00 | 904898.80 | Embee Software Private Limited
2.02 | Supply, Installation, Configuration, Testing & Commissioning of PA System Zone Changer with 5-year warranty | 2.00 | Nos | 373360.20 | 323530.60 | 647061.20 | 393000.00 | 786000.00 | 647061.20 | Embee Software Private Limited
2.03 | Supply, Installation, Configuration, Testing & Commissioning of Button Paging Microphone with 5-year warranty | 8.00 | Nos | 84229.00 | 76835.64 | 614685.12 | 94000.00 | 752000.00 | 614685.12 | Embee Software Private Limited
2.04 | Supply, Installation, Configuration, Testing & Commissioning of Touch Paging Microphone with 5-year warranty | 4.00 | Nos | 124438.67 | 170714.20 | 682856.80 | 207000.00 | 828000.00 | 682856.80 | Embee Software Private Limited
2.05 | Supply, Installation, Configuration, Testing & Commissioning of Speaker Type 1 with 5-year warranty | 25.00 | Nos | 3446.67 | 4094.67 | 102366.75 | 5200.00 | 130000.00 | 102366.75 | Embee Software Private Limited
2.06 | Supply, Installation, Configuration, Testing & Commissioning of Speaker Type 2 with 5-year warranty | 35.00 | Nos | 4945.00 | 6189.36 | 216627.60 | 8000.00 | 280000.00 | 216627.60 | Embee Software Private Limited
2.07 | Supply, Installation, Configuration, Testing & Commissioning of Speaker Type 3 with 5-year warranty | 20.00 | Nos | 852.50 | 1138.98 | 22779.60 | 1500.00 | 30000.00 | 22779.60 | Embee Software Private Limited
2.08 | Supply, Installation, Configuration, Testing & Commissioning of Speaker Type 4 with 5-year warranty | 6.00 | Nos | 4894.73 | 6570.66 | 39423.96 | 8400.00 | 50400.00 | 39423.96 | Embee Software Private Limited
2.09 | Supply, Installation, Configuration, Testing & Commissioning of Speaker Type 5 with 5-year warranty | 6.00 | Nos | 12268.67 | 15329.49 | 91976.94 | 20000.00 | 120000.00 | 91976.94 | Embee Software Private Limited
2.10 | Supply, Installation, Configuration, Testing & Commissioning of PA Amplifier Type 1 with 5-year warranty | 4.00 | Nos | 140666.67 | 173982.30 | 695929.20 | 223000.00 | 892000.00 | 695929.20 | Embee Software Private Limited
2.11 | Supply, Installation, Configuration, Testing & Commissioning of PA Amplifier Type 2 with 5-year warranty | 4.00 | Nos | 97307.90 | 115966.90 | 463867.60 | 150000.00 | 600000.00 | 463867.60 | Embee Software Private Limited
2.12 | Supply, Installation, Configuration, Testing & Commissioning of Volume Control | 4.00 | Nos | 2732.00 | 3653.10 | 14612.40 | 5500.00 | 22000.00 | 14612.40 | Embee Software Private Limited
2.13 | Supply of Audio Cable | 200.00 | Meter | 154.75 | 270.60 | 54120.00 | 118.00 | 23600.00 | 23600.00 | DG Micropronix Pvt. Ltd.
2.14 | Supply of Speaker Cable | 2200.00 | Meter | 102.00 | 221.40 | 487080.00 | 110.00 | 242000.00 | 242000.00 | DG Micropronix Pvt. Ltd.
2.15 | Supply of Shielded Twisted Pair Cables | 300.00 | Meter | 100.00 | 110.70 | 33210.00 | 170.00 | 51000.00 | 33210.00 | Embee Software Private Limited
2.16 | Supply of CAT6A UTP Cable (LSZH) | 500.00 | Meter | 76.50 | 68.88 | 34440.00 | 68.00 | 34000.00 | 34000.00 | DG Micropronix Pvt. Ltd.
2.17 | Supply of PVC Conduit | 2000.00 | Meter | 162.00 | 166.05 | 332100.00 | 27.00 | 54000.00 | 54000.00 | DG Micropronix Pvt. Ltd.
2.18 | SITC of 42U AV Rack with 5-year warranty | 2.00 | Nos | 86691.25 | 89622.72 | 179245.44 | 59200.00 | 118400.00 | 118400.00 | DG Micropronix Pvt. Ltd.
2.19 | Laying of Audio /speaker / STP / UTP cable through Channel/ Conduit/ Raceway/ Cable Tray/ HDPE Pipe/ GI Conduit / Wall etc. | 3200.00 | Meter | 84.67 | 67.65 | 216480.00 | 98.00 | 313600.00 | 216480.00 | Embee Software Private Limited
2.20 | Laying/ Fixing of PVC Channel/ Conduit/ Box Channel through Wall/ Raceway/ Cable Tray/ Existing Trench/ False Ceiling etc. | 2000.00 | Meter | 76.67 | 60.27 | 120540.00 | 90.00 | 180000.00 | 120540.00 | Embee Software Private Limited
2.21 | SITC of Connectors for Commissioning of PA System | 1.00 | Lot | 490000.00 | 393600.00 | 393600.00 | 115000.00 | 115000.00 | 115000.00 | DG Micropronix Pvt. Ltd.
2.22 | Survey, Documentation, Testing & Commissioning of Entire Solution - PA System | 1.00 | Job | 130000.00 | 984000.00 | 984000.00 | 1500.00 | 1500.00 | 1500.00 | DG Micropronix Pvt. Ltd.
3.00 | Manpower
3.01 | Onsite Deployment of Network Support Engineer. The Contractor has to engage minimum 1 no. High Skilled manpower including relievers etc. as defined in NIT under Section - IV (Special Terms and Conditions of the Contract) Point#2 (Scope of Work) | 60.00 | month | 28936.25 | 27675.00 | 1660500.00 | 36000.00 | 2160000.00 | 1660500.00 | Embee Software Private Limited
| Total in Figures |  |  |  |  | 182782654.27 |  | 156897504.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words (Iteration 0)
|  |  | Bidder Price | Amount in Words
1 | DG Micropronix Pvt. Ltd. | 156897504.00 | 142097504.00 | Fourteen Crore Twenty Lakh Ninty Seven Thousand Five Hundred and Four
2 | Embee Software Private Limited | 156897504.00 | 138697504.00 | Thirteen Crore Eighty Six Lakh Ninty Seven Thousand Five Hundred and Four
Lowest Amount Quoted BY: Embee Software Private Limited(138697504.00)

## BOQ Summary
BOQ Summary Details Tender Title: Establishment of IT Infrastructure at New Domestic Terminal Building, New Technical Block and allied Building at Patna Airport Tender ID: 2023_AAI_158253_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DG Micropronix Pvt. Ltd. | 156897504.00 | L1
| 2 | Embee Software Private Limited | 182782654.27 | L2