## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 31-Aug-2023 01:32 PM Tender Title: Works Contract for R and M Electrical Installation at NSCBI Airport, Kolkata. Tender ID: 2023_AAI_158560_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Works Contract for R & M Electrical Installation at NSCBI Airport, Kolkata. SH : Maintenance of street light and car park area lighting adjacent to old ITB & DTB, Operational building area, Cargo area, Residential complex, CISF barrack at Sarat Colony and Narayanpur and other areas as required.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | ANIRBAN ENTERPRISE(GSTN-19AHNPB5949D1Z6) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | M/s J.K. Electric Engineering Works(GSTN-19AAHFJ4404E1ZL) |  | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | VIP ENGINEERING WORKS(GSTN-19ARLPS0924M2Z5) |  | MANNA ELECTRONICS AND ELECTRICAL WORKS(GSTN-19AALFM9363P2Z6) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | To carry out routine / preventive / breakdown maintenance and operation of all street lights, Loop in loop out boxes & outdoor feeder pillars located at car park area, area adjacent to old ITB & DTB, Operational building area, Cargo area, Residential complex, CISF barrack at Sarat Colony and Narayanpur and other areas as required etc. by engaging skilled and unskilled manpower per day in a single shift at 0800 hrs. per day as per direction of Engineer-in-charge.
1.01 | 1st Year | 12.00 | Months |  | 152650.00 | 1831800.00 | 128500.00 | 1542000.00 | 128000.00 | 1536000.00 | 145000.00 | 1740000.00 | 130500.00 | 1566000.00 | 122111.00 | 1465332.00 | 96000.00 | 1152000.00 | 119866.00 | 1438392.00 | 140675.00 | 1688100.00 | 1152000.00 | VIP ENGINEERING WORKS
1.02 | 2nd Year | 12.00 | Months |  | 160175.00 | 1922100.00 | 128500.00 | 1542000.00 | 128000.00 | 1536000.00 | 145000.00 | 1740000.00 | 130600.00 | 1567200.00 | 122111.00 | 1465332.00 | 97000.00 | 1164000.00 | 119866.00 | 1438392.00 | 140675.00 | 1688100.00 | 1164000.00 | VIP ENGINEERING WORKS
1.03 | 3rd Year | 12.00 | Months |  | 166625.00 | 1999500.00 | 128500.00 | 1542000.00 | 128000.00 | 1536000.00 | 145000.00 | 1740000.00 | 130650.00 | 1567800.00 | 122111.00 | 1465332.00 | 100000.00 | 1200000.00 | 119866.00 | 1438392.00 | 140675.00 | 1688100.00 | 1200000.00 | VIP ENGINEERING WORKS
2.00 | Supplying & Laying of one number PVC insulated and PVC sheathed / XLPE aluminium armoured and aluminium conductor power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required.
2.01 | a) 3.5 X 35 sq. mm. | 400.00 | Meter |  | 170.00 | 68000.00 | 370.00 | 148000.00 | 375.00 | 150000.00 | 530.00 | 212000.00 | 425.00 | 170000.00 | 634.00 | 253600.00 | 350.00 | 140000.00 | 310.00 | 124000.00 | 677.00 | 270800.00 | 68000.00 | SHREE GOURI ELECTRIC ENTERPRISE
2.02 | b) 4 X16 sq. mm. | 400.00 | Meter |  | 120.00 | 48000.00 | 320.00 | 128000.00 | 325.00 | 130000.00 | 500.00 | 200000.00 | 365.00 | 146000.00 | 539.00 | 215600.00 | 200.00 | 80000.00 | 220.00 | 88000.00 | 616.00 | 246400.00 | 48000.00 | SHREE GOURI ELECTRIC ENTERPRISE
2.03 | c) 4 X 25 sq. mm. | 300.00 | Meter |  | 146.00 | 43800.00 | 340.00 | 102000.00 | 348.00 | 104400.00 | 500.00 | 150000.00 | 415.00 | 124500.00 | 636.00 | 190800.00 | 255.00 | 76500.00 | 270.80 | 81240.00 | 671.00 | 201300.00 | 43800.00 | SHREE GOURI ELECTRIC ENTERPRISE
3.00 | Supplying & Laying of one number PVC insulated and PVC sheathed / XLPE aluminium armoured and aluminium conductor power cable of 1.1 KV grade of following size the existing RCC/ HUME/ METAL pipe as required.
3.01 | a) 4 X 25 sq. mm. | 180.00 | Meter |  | 170.00 | 30600.00 | 187.00 | 33660.00 | 185.00 | 33300.00 | 180.00 | 32400.00 | 171.00 | 30780.00 | 286.00 | 51480.00 | 220.00 | 39600.00 | 222.80 | 40104.00 | 220.00 | 39600.00 | 30600.00 | SHREE GOURI ELECTRIC ENTERPRISE
4.00 | Supplying & Laying of one number PVC insulated and PVC sheathed / XLPE aluminium armoured and aluminium conductor power cable of 1.1 KV grade of following size on wall surface as required.
4.01 | a) 4 x 16 sq.mm. | 100.00 | Meter |  | 145.00 | 14500.00 | 165.00 | 16500.00 | 175.00 | 17500.00 | 180.00 | 18000.00 | 135.00 | 13500.00 | 207.00 | 20700.00 | 160.00 | 16000.00 | 229.60 | 22960.00 | 193.00 | 19300.00 | 13500.00 | M/s J.K. Electric Engineering Works
5.00 | Dismantling of defective loop-in-loop -out box from the bottom of street light pole and supply & installation of new loop-in-loop-out box made of 2mm (14SWG) thick MS sheet of size 12"X10"X4" with 4 pole 32A FRP terminal and 1 no 16A protection Kit-Kat with hinged door, locking arrangement painting with one coat of red oxide primer and two coats of synthetic enamel paint with necessary clamping arrangement to fix on pole/inside pillars including providing all necessary materials complete as required. | 40.00 | Jobs |  | 2000.00 | 80000.00 | 1700.00 | 68000.00 | 1800.00 | 72000.00 | 1500.00 | 60000.00 | 1500.00 | 60000.00 | 1500.00 | 60000.00 | 1550.00 | 62000.00 | 3000.00 | 120000.00 | 13750.00 | 550000.00 | 60000.00 | M/S DURGA SUPPLY AGENCIES, M/s J.K. Electric Engineering Works, EASTERN POWER ENGINEERING
6.00 | ITC of street light luminaire complete with all accessories like lamp, holder, ballast, ignitor etc. on the existing arm of street light pole up to height 12Mtr i/c providing circuit wiring with 2.5 sq. mm. Fire retardant PVC insulated copper wire from loop in loop out box up to the fixture as required (Street light fittings to be supplied by the department). | 40.00 | Job |  | 380.00 | 15200.00 | 480.00 | 19200.00 | 450.00 | 18000.00 | 500.00 | 20000.00 | 3000.00 | 120000.00 | 1500.00 | 60000.00 | 350.00 | 14000.00 | 450.00 | 18000.00 | 1650.00 | 66000.00 | 14000.00 | VIP ENGINEERING WORKS
7.00 | Supplying & fixing of power contactor of type: 3 pole, MNX 40A rating AC3 similar to L&T make, Cat No. CS94190 or equivalent in the existing feeder pillar i/c connections etc. as required. | 10.00 | Each |  | 3500.00 | 35000.00 | 3450.00 | 34500.00 | 3500.00 | 35000.00 | 3200.00 | 32000.00 | 3000.00 | 30000.00 | 4300.00 | 43000.00 | 1750.00 | 17500.00 | 3700.25 | 37002.50 | 4569.00 | 45690.00 | 17500.00 | VIP ENGINEERING WORKS
8.00 | Supplying & fixing of power contactor type: 3 pole, ML 3, 40A rating AC3 similar to L&T make, Cat No. SS90721 or equivalent in the existing feeder pillar i/c connections etc. as required. | 10.00 | Each |  | 7500.00 | 75000.00 | 7990.00 | 79900.00 | 8000.00 | 80000.00 | 4000.00 | 40000.00 | 3000.00 | 30000.00 | 12000.00 | 120000.00 | 2400.00 | 24000.00 | 8500.00 | 85000.00 | 9014.00 | 90140.00 | 24000.00 | VIP ENGINEERING WORKS
9.00 | Dismantling of 11Mtr. long street light tubular pole from the existing CC foundation i/c light fitting and brackets and stacking the same to the deptt. stores as required | 9.00 | Jobs |  | 500.00 | 4500.00 | 1190.00 | 10710.00 | 1200.00 | 10800.00 | 500.00 | 4500.00 | 1500.00 | 13500.00 | 1500.00 | 13500.00 | 3000.00 | 27000.00 | 450.00 | 4050.00 | 6050.00 | 54450.00 | 4050.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
10.00 | Supplying and fixing 6A to 32A rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB / Outdoor feeder pillar / Loop-in-loop out box complete with connections, testing and commissioning etc. as required.
10.01 | a) Single pole | 20.00 | Each |  | 125.00 | 2500.00 | 190.00 | 3800.00 | 195.00 | 3900.00 | 145.00 | 2900.00 | 170.00 | 3400.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 157.00 | 3140.00 | 110.00 | 2200.00 | 2000.00 | VIP ENGINEERING WORKS
11.00 | Supplying and Drawing of 2 X 2.5 sq. mm + 1 X 2.5 sq. mm FR PVC insulated copper conductor, single core cable from loop-in-loop-out box up to top of the pole fitting connection complete as required. | 360.00 | Meter |  | 90.00 | 32400.00 | 90.00 | 32400.00 | 95.00 | 34200.00 | 200.00 | 72000.00 | 50.00 | 18000.00 | 369.00 | 132840.00 | 220.00 | 79200.00 | 92.40 | 33264.00 | 108.00 | 38880.00 | 18000.00 | M/s J.K. Electric Engineering Works
12.00 | Inspection, Cleaning, Servicing and Maintenance of street light luminaire after dismantling from the pole and re-fixing it in its original position etc. as required i/c carrying out necessary maintenance of the same i/c providing required quantity of consumables like soap, duster, cotton waste etc. as complete as required. | 1500.00 | Jobs |  | 100.00 | 150000.00 | 290.00 | 435000.00 | 295.00 | 442500.00 | 50.00 | 75000.00 | 150.00 | 225000.00 | 500.00 | 750000.00 | 200.00 | 300000.00 | 150.00 | 225000.00 | 165.00 | 247500.00 | 75000.00 | M/S DURGA SUPPLY AGENCIES
13.00 | Providing and making suitable street light pole collar for street light pole of height above 10.0 meter and upto 12.0 meter with cement concrete (1 cement: 3 coarse sand : 6 stone aggregate 20mm) of specified size and shape including form work, plastering if required, curing etc. as required. | 50.00 | Jobs |  | 2000.00 | 100000.00 | 2550.00 | 127500.00 | 2500.00 | 125000.00 | 600.00 | 30000.00 | 1500.00 | 75000.00 | 2000.00 | 100000.00 | 3200.00 | 160000.00 | 3650.00 | 182500.00 | 6600.00 | 330000.00 | 30000.00 | M/S DURGA SUPPLY AGENCIES
14.00 | Supplying and making end termination with brass compression gland with proper socketing etc as reqd. for following size PVC insulated AL conductor armoured cable of 1.1 KV grade i/c. of proper socketing etc as reqd.
14.01 | a) 4 x 16 sq.mm. | 30.00 | set |  | 200.00 | 6000.00 | 180.00 | 5400.00 | 175.00 | 5250.00 | 150.00 | 4500.00 | 130.00 | 3900.00 | 309.00 | 9270.00 | 100.00 | 3000.00 | 233.92 | 7017.60 | 495.00 | 14850.00 | 3000.00 | VIP ENGINEERING WORKS
14.02 | b) 4 x 25 sq.mm. | 30.00 | set |  | 250.00 | 7500.00 | 217.00 | 6510.00 | 215.00 | 6450.00 | 200.00 | 6000.00 | 170.00 | 5100.00 | 315.00 | 9450.00 | 100.00 | 3000.00 | 239.20 | 7176.00 | 495.00 | 14850.00 | 3000.00 | VIP ENGINEERING WORKS
14.03 | c) 3.5 x 35 sq.mm. | 30.00 | set |  | 300.00 | 9000.00 | 270.00 | 8100.00 | 275.00 | 8250.00 | 250.00 | 7500.00 | 220.00 | 6600.00 | 351.00 | 10530.00 | 150.00 | 4500.00 | 286.72 | 8601.60 | 534.00 | 16020.00 | 4500.00 | VIP ENGINEERING WORKS
15.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for following size size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
15.01 | a) 2 X 16 sq. mm. | 6.00 | Nos |  | 2000.00 | 12000.00 | 2190.00 | 13140.00 | 2200.00 | 13200.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 2200.00 | 13200.00 | 1500.00 | 9000.00 | 2202.24 | 13213.44 | 495.00 | 2970.00 | 2970.00 | ABHISHEK INTEGRATIONS LIMITED
15.02 | b) 3.5 X 35 sq. mm. | 6.00 | Nos |  | 2500.00 | 15000.00 | 2550.00 | 15300.00 | 2500.00 | 15000.00 | 2000.00 | 12000.00 | 1500.00 | 9000.00 | 2478.00 | 14868.00 | 2000.00 | 12000.00 | 2525.20 | 15151.20 | 561.00 | 3366.00 | 3366.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 6502400.00 |  | 5913620.00 |  | 5912750.00 |  | 6207800.00 |  | 5794280.00 |  | 6468834.00 |  | 4585300.00 |  | 5430596.34 |  | 7318616.00
Lowest Amount Quoted BY: VIP ENGINEERING WORKS(4585300.00)

## BOQ Summary
BOQ Summary Details Tender Title: Works Contract for R and M Electrical Installation at NSCBI Airport, Kolkata. Tender ID: 2023_AAI_158560_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VIP ENGINEERING WORKS | 4585300.00 | L1
| 2 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 5430596.34 | L2
| 3 | M/s J.K. Electric Engineering Works | 5794280.00 | L3
| 4 | ANIRBAN ENTERPRISE | 5912750.00 | L4
| 5 | Youngmen Traders | 5913620.00 | L5
| 6 | M/S DURGA SUPPLY AGENCIES | 6207800.00 | L6
| 7 | EASTERN POWER ENGINEERING | 6468834.00 | L7
| 8 | SHREE GOURI ELECTRIC ENTERPRISE | 6502400.00 | L8
| 9 | ABHISHEK INTEGRATIONS LIMITED | 7318616.00 | L9