## BoQ1
Government eProcurement System Created By: SUBBIAN VELUSWAMY SENTHIL KUMAR Created Date/Time: 02-Aug-2023 01:00 PM Tender Title: ARMO of E and M Installations at Coimbatore International Airport for the year 2023-24 and 2024-25. SH. Comprehensive Maintenance of Split AC Units, Water Coolers and Water fountains at Coimbatore International Airport for 02 years. Tender ID: 2023_AAI_159666_1
Tender Inviting Authority: Asst.Gen.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: ARMO of E & M Installations at Coimbatore International Airport for the year 2023-24 & 2024-25. SH: Comprehensive Maintenance of Split AC Units, Water Coolers and Water fountain at Coimbatore International Airport for 02 years.
Tender ID: 2023_AAI_159666_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-23AAJFR9192B1Z5) |  | GENIUS AIRCON PRIVATE LIMITED(GSTN-33AAECG9150C1ZY)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I O&M
1.10 | Operation & Maintenance of Split Ac Units, Cassette Ac units, Tower AC units, Ductable AC units, Water fountain & Water Coolers installed in Terminal Building and ancillary buildings as per duty roster on all days including holidays (2 skilled, 2 Unskilled), as per the special conditions of contract attached and as per the instructions of the Engineer-in-Charge. (Note:- The labours deployed under this item can carry out AICMC and installation works under this contract. Rate shall be quoted accordingly) | 24.00 | Months |  | 132786.00 | 3186864.00 | 135294.00 | 3247056.00 | 3186864.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.00 | SH : II AICMC 1st Year (2023-24)
2.10 | All inclusive Annual Comprehensive Maintenance Contract of following Air- Conditioners (including stabilizers and timers) and Water coolers/water fountain of various makes including all necessary spares, consumables, filters, compressors etc. Carrying out preventive maintenance checks daily/Monthly/Quarterly/ Half yearly /yearly, break down maintenance and Emergency call service etc. to keep the equipment in perfect working condition by deploying man power etc. complete as required.
2.11 | 1.0 Ton Split AC Unit | 2.00 | Each |  | 1100.00 | 2200.00 | 1500.00 | 3000.00 | 2200.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.12 | 1.5/2.0 Ton Split / Cassette AC Unit | 107.00 | Each |  | 3000.00 | 321000.00 | 3100.00 | 331700.00 | 321000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.13 | 3.0 / 4.0 Ton Split / Cassette / Floor mounting AC Unit | 64.00 | Each |  | 3700.00 | 236800.00 | 4000.00 | 256000.00 | 236800.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.14 | 5.5 TR walk in cooler ( Cargo ) | 1.00 | Each |  | 7500.00 | 7500.00 | 10000.00 | 10000.00 | 7500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.15 | 11 TR Ductable AC units | 4.00 | Each |  | 17000.00 | 68000.00 | 18000.00 | 72000.00 | 68000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.16 | 16.5 TR Ductable AC units | 3.00 | Each |  | 18500.00 | 55500.00 | 22000.00 | 66000.00 | 55500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.17 | Drinking water coolers of tank capacity upto 150 Litres including all necessary spares, consumables, taps and compressor etc. to keep the equipment in perfect working condition etc., as required. | 8.00 | Each |  | 7500.00 | 60000.00 | 2800.00 | 22400.00 | 22400.00 | GENIUS AIRCON PRIVATE LIMITED
2.18 | Drinking Water fountain twin bubbler type with pressure tanks including all necessary spares, consumables, Taps etc. (excluding the Water cooler with builtin RO purifiers which will be maintained by others) | 1.00 | Each |  | 7500.00 | 7500.00 | 3000.00 | 3000.00 | 3000.00 | GENIUS AIRCON PRIVATE LIMITED
3.00 | SH : III AICMC 2nd YEAR (2024-25)
3.10 | All inclusive Annual Comprehensive Maintenance Contract of following Air- Conditioners (including stabilizers and timers) and Water coolers/water fountain of various makes including all necessary spares, consumables, filters, compressors etc. Carrying out preventive maintenance checks daily/ Monthly/Quarterly/ Half yearly /yearly, break down maintenance and Emergency call service etc. to keep the equipment in perfect working condition by deploying man power etc. complete as required.
3.11 | 1.0 Ton Split AC Unit | 2.00 | Each |  | 1100.00 | 2200.00 | 1500.00 | 3000.00 | 2200.00 | ROSHAN REFRIGERATION AND ELECTRICALS
3.12 | 1.0/1.5/2.0 Ton Split / Cassette AC Unit | 107.00 | Each |  | 3000.00 | 321000.00 | 3200.00 | 342400.00 | 321000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
3.13 | 3.0 / 4.0 Ton Split / Cassette / Floor mounting AC Unit | 64.00 | Each |  | 3700.00 | 236800.00 | 4500.00 | 288000.00 | 236800.00 | ROSHAN REFRIGERATION AND ELECTRICALS
3.14 | 5.5 TR walk in cooler ( Cargo ) | 1.00 | Each |  | 7500.00 | 7500.00 | 10000.00 | 10000.00 | 7500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
3.15 | 11 TR Ductable AC units | 4.00 | Each |  | 17000.00 | 68000.00 | 18000.00 | 72000.00 | 68000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
3.16 | 16.5 TR Ductable AC units | 3.00 | Each |  | 18500.00 | 55500.00 | 22000.00 | 66000.00 | 55500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
3.17 | Drinking water coolers of tank capacity upto 150 Litres including all necessary spares, consumables, taps and compressor etc. to keep the equipment in perfect working condition etc., as required. | 8.00 | Each |  | 7500.00 | 60000.00 | 2800.00 | 22400.00 | 22400.00 | GENIUS AIRCON PRIVATE LIMITED
3.18 | Drinking Water fountain twin bubbler type with pressure tanks including all necessary spares, consumables, Taps etc. (excluding the Water cooler with builtin RO purifiers which will be maintained by others) | 1.00 | Each |  | 7500.00 | 7500.00 | 3500.00 | 3500.00 | 3500.00 | GENIUS AIRCON PRIVATE LIMITED
4.00 | SH: IV WORKS
4.10 | Dismantling of following type Air- Conditioners including In door & Out door units and all accessories etc, and shifting the same to AAI store complete as required.
4.11 | Split AC upto 1.5/2 TR | 15.00 | Each |  | 500.00 | 7500.00 | 500.00 | 7500.00 | 7500.00 | ROSHAN REFRIGERATION AND ELECTRICALS, GENIUS AIRCON PRIVATE LIMITED
4.12 | Cassette AC 1.5/2/3/4 TR | 10.00 | Each |  | 690.00 | 6900.00 | 500.00 | 5000.00 | 5000.00 | GENIUS AIRCON PRIVATE LIMITED
4.13 | Tower AC upto 2/3/4 TR | 10.00 | Each |  | 690.00 | 6900.00 | 500.00 | 5000.00 | 5000.00 | GENIUS AIRCON PRIVATE LIMITED
5.00 | Installation, testing and commissioning of following type of AC units of any reputed make i/c fitting of indoor and outdoor unit at their respective locations (wall/floor/ceiling with suitable hardwares and supports), leak testing of entire system, charging refrigerant gas in the unit, making good the surface to original finish complete as required and as per the direction of the EIC.
5.10 | Split AC upto 1.5/2 TR | 15.00 | Each |  | 1000.00 | 15000.00 | 2000.00 | 30000.00 | 15000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
5.20 | Cassette AC 1.5/2/3/4 TR | 10.00 | Each |  | 1000.00 | 10000.00 | 2000.00 | 20000.00 | 10000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
5.30 | Tower AC 3/4 TR | 10.00 | Each |  | 1000.00 | 10000.00 | 2000.00 | 20000.00 | 10000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
6.00 | Supply & installation of Refrigerant copper piping of following size b/w indoor and outdoor units, including protective external covering with 10mm thick closed cell Polyethylene foam insulation or nitrile rubber or PUF with all necessary supports,fittings,brazing, wrapping with tape for leak proof arrangements as required and recommended by the OEM.
6.10 | 1/4" and 1/2" Copper pipe line | 50.00 | Meter |  | 150.00 | 7500.00 | 700.00 | 35000.00 | 7500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
6.20 | 3/8" and 5/8" Copper pipe line | 30.00 | Meter |  | 200.00 | 6000.00 | 700.00 | 21000.00 | 6000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
6.30 | 3/4" and 1/2" Copper pipe line | 20.00 | Meter |  | 300.00 | 6000.00 | 800.00 | 16000.00 | 6000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
7.00 | Supply and installation of 25 mm dia uPVC drain pipe medium duty with Insulation complete as required and as per satisfaction of EIC | 100.00 | Meter |  | 25.00 | 2500.00 | 170.00 | 17000.00 | 2500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
8.00 | Supply of cordless remote different make 1.5/2.0 TR/3.0TR split type/window type/tower type/cassette A/C units as required. | 20.00 | Each |  | 1300.00 | 26000.00 | 700.00 | 14000.00 | 14000.00 | GENIUS AIRCON PRIVATE LIMITED
9.00 | Supply of standard outdoor wall bracket, vibration pad and fasteners of suitable size for installation of outdooor unit of Split AC's of capacity upto 2TR complete as required. | 5.00 | Set |  | 2527.00 | 12635.00 | 750.00 | 3750.00 | 3750.00 | GENIUS AIRCON PRIVATE LIMITED
10.00 | Wiring for light/power plug with 4X4 sq.mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos 4 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 125.00 | Mtr |  | 135.00 | 16875.00 | 230.00 | 28750.00 | 16875.00 | ROSHAN REFRIGERATION AND ELECTRICALS
11.00 | Supplying & fixing suitable size GI box with modular plate and cover in front on surface or in recess i/c providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve i/c connection, painting etc. as required. | 6.00 | Each |  | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 9000.00 | ROSHAN REFRIGERATION AND ELECTRICALS, GENIUS AIRCON PRIVATE LIMITED
| Total in Figures |  |  |  |  | 4846674.00 |  | 5050456.00
Lowest Amount Quoted BY: ROSHAN REFRIGERATION AND ELECTRICALS(4846674.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Coimbatore International Airport for the year 2023-24 and 2024-25. SH. Comprehensive Maintenance of Split AC Units, Water Coolers and Water fountains at Coimbatore International Airport for 02 years. Tender ID: 2023_AAI_159666_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ROSHAN REFRIGERATION AND ELECTRICALS | 4846674.00 | L1
| 2 | GENIUS AIRCON PRIVATE LIMITED | 5050456.00 | L2