## BoQ1
Government eProcurement System Created By: Anil kumar J Created Date/Time: 04-Aug-2023 01:36 PM Tender Title: Provision of Standby Feeders Cables for GLF Installations at Tirupati Airport Tender ID: 2023_AAI_159928_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Tirupati Airport.
Name of Work: Provision of Standby Feeders Cables for GLF Installations at Tirupati Airport.
Contract No: AAI/TPT/ENGG [E]/C-02/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MPC ELECTRICALS AND ENGINEERS(GSTN-08ABUPP6558K1ZM) |  | Balaji Engineering(GSTN-33ADGPV2628A1ZV)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1KV grade confirming to relevant IS 7098 with upto date amendments.
1.10 | 2 core X 16 mm2 | 400.00 | Mtr | 0.00 | 125.00 | 50000.00 | 150.00 | 60000.00 | 50000.00 | MPC ELECTRICALS AND ENGINEERS
1.20 | 3½ core x 95 mm2 | 3200.00 | Mtr | 0.00 | 530.00 | 1696000.00 | 600.00 | 1920000.00 | 1696000.00 | MPC ELECTRICALS AND ENGINEERS
2.00 | Supply of 5 KV grade SINGLE CORE 16 Sq.mm size Airfield Lighting Cable with Strandard Copper Conductor PVC insulated, PVC Sheathed Single Core, Unshielded, Anti-Termite & rodent treated UG Cable for use on unearthed system generally conforming to IS 1554, Part-II, 1981 with upto date amendment as required. | 1800.00 | Mtr | 0.00 | 240.00 | 432000.00 | 220.00 | 396000.00 | 396000.00 | Balaji Engineering
3.00 | Supply of 5 KV grade, TWO CORE 25 Sq.mm Armoured Airfield Lighting Cable With Stranded Aluminium Conductor, XLPE/PVC Insulated & PVC Sheathed confirming toIS:7098/PT-II or IS:1554/PT-II with up to date amendment as required. | 12445.00 | Mtr | 0.00 | 260.00 | 3235700.00 | 300.00 | 3733500.00 | 3235700.00 | MPC ELECTRICALS AND ENGINEERS
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/HDPE/ METAL pipe as required.
4.10 | Upto 35 mm2 | 360.00 | Mtr | 0.00 | 21.00 | 7560.00 | 25.00 | 9000.00 | 7560.00 | MPC ELECTRICALS AND ENGINEERS
4.20 | Above 35 mm2 and upto 95 mm2 | 2880.00 | Mtr | 0.00 | 26.00 | 74880.00 | 25.00 | 72000.00 | 72000.00 | Balaji Engineering
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushening, protecting covering and refilling the trench etc., as required.
5.10 | Upto 35 mm2 | 40.00 | Mtr | 0.00 | 26.00 | 1040.00 | 400.00 | 16000.00 | 1040.00 | MPC ELECTRICALS AND ENGINEERS
5.20 | Above 35 mm2 and upto 95 mm2 | 320.00 | Mtr | 0.00 | 26.00 | 8320.00 | 450.00 | 144000.00 | 8320.00 | MPC ELECTRICALS AND ENGINEERS
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of exceeding 1.1 KV but not exceeding 11 KV of size upto 35 Sq.mm in the existing masonary open duct as required. | 225.00 | Mtr | 0.00 | 26.00 | 5850.00 | 25.00 | 5625.00 | 5625.00 | Balaji Engineering
7.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of grade exceeding 1.1 KV but not exceeding 11 KV of size upto 35 Sq.mm in the existing RCC/HUME/METAL/HDPE pipe as required. | 14020.00 | Mtr | 0.00 | 21.00 | 294420.00 | 20.00 | 280400.00 | 280400.00 | Balaji Engineering
8.00 | Providing, laying and fixing following dia G.I. pipe (medium class) Nallah crossing complete with G.I. fittings etc. as required
8.10 | 100 mm dia | 84.00 | Mtr | 0.00 | 1700.00 | 142800.00 | 1200.00 | 100800.00 | 100800.00 | Balaji Engineering
9.00 | Providing, laying and fixing following dia HDPE pipe, in ground complete with necessary pipe couplings including trenching (75 cm deep) and re-filling etc. as required.
9.10 | 50 mm Dia, PE-63, 4 Kgf. | 360.00 | Mtr | 0.00 | 155.00 | 55800.00 | 150.00 | 54000.00 | 54000.00 | Balaji Engineering
9.20 | 110 mm Dia, PE-63, 4 Kgf. | 2880.00 | Mtr | 0.00 | 350.00 | 1008000.00 | 350.00 | 1008000.00 | 1008000.00 | MPC ELECTRICALS AND ENGINEERS, Balaji Engineering
10.00 | Providing, laying and fixing of 40 mm Dia, PE-63, 4 Kgf. HDPE pipe in ground complete with necessary pipe couplings including trenching (80 cm deep) and re-filling etc. as required. | 1800.00 | Mtr | 0.00 | 170.00 | 306000.00 | 150.00 | 270000.00 | 270000.00 | Balaji Engineering
11.00 | Providing, laying and fixing of 50 mm Dia, PE-63, 4 Kgf. HDPE pipe in ground complete with necessary pipe couplings including trenching (80 cm deep) and re-filling etc. as required. | 12220.00 | Mtr | 0.00 | 134.00 | 1637480.00 | 140.00 | 1710800.00 | 1637480.00 | MPC ELECTRICALS AND ENGINEERS
12.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
12.10 | 3½ Core X 70 mm2 | 2.00 | Each | 0.00 | 1700.00 | 3400.00 | 4000.00 | 8000.00 | 3400.00 | MPC ELECTRICALS AND ENGINEERS
12.20 | 3½ Core X 95 mm2 | 3.00 | Each | 1.00 | 2600.00 | 7800.00 | 4700.00 | 14100.00 | 7800.00 | MPC ELECTRICALS AND ENGINEERS
13.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
13.10 | 2 Core x 16 mm2 | 6.00 | Set | 0.00 | 350.00 | 2100.00 | 350.00 | 2100.00 | 2100.00 | MPC ELECTRICALS AND ENGINEERS, Balaji Engineering
13.20 | 3½ Core X 95 mm2 | 6.00 | Set | 1.00 | 620.00 | 3720.00 | 600.00 | 3600.00 | 3600.00 | Balaji Engineering
14.00 | Supply of 5KV grade plug and receptacle of type I class "B" connector suitable for field attachment with 5KV grade PVC insulated sheathed single core 16 Sq.mm copper conductor cable as per ICAO/CAR compliance and complete as required. | 30.00 | Set | 2.00 | 620.00 | 18600.00 | 500.00 | 15000.00 | 15000.00 | Balaji Engineering
15.00 | Supply of 5KV grade plug and receptacle of type I class "B" connector suitable for field attachment 25Sq.mm with 5KV grade PVC insulated sheathed single core 6 Sq.mm copper conductor cable as per ICAO/CAR compliance and complete as required. | 16.00 | Set | 3.00 | 620.00 | 9920.00 | 550.00 | 8800.00 | 8800.00 | Balaji Engineering
16.00 | Supply of 5KV grade plug and receptacle of type I class "B" connector suitable for field attachment 25Sq.mm with 5KV grade PVC insulated sheathed single core 16 Sq.mm copper conductor cable as per ICAO/CAR compliance and complete as required. | 4.00 | Set | 4.00 | 1700.00 | 6800.00 | 550.00 | 2200.00 | 2200.00 | Balaji Engineering
17.00 | Supply of 5KV grade plug and receptacle of type I class "B" connector suitable for field attachment 25Sq.mm with 5KV grade PVC insulated sheathed single core 25 Sq.mm aluminum conductor cable as per ICAO/CAR compliance and complete as required. | 16.00 | Set | 5.00 | 1700.00 | 27200.00 | 550.00 | 8800.00 | 8800.00 | Balaji Engineering
18.00 | Supply of CI Transformer Housing Box, Round Shape of outside dia 330mm Height 450 mm made of 10mm thick all round except on Top Surface which is 15mm thick having a clear opening of 220mm at the Top Surface and 6Nos. M10 Tapped Holes at the hole centre of 220mm to receive light fittings base plate and bolts. The box shall have two clear hole onside surface. Centre at 75mm above bottom suitable to receive 50mm dia B class GI/HDFE pipe and check nuts and also have a clear hole side. Centre at 175mm above bottom suitable to receive 15mm dia B Class GI Pipes and check nuts. The box shall have two earth bolts of M 10 X 30 mm inside near the hole (100mm above bottom surface) and a drain hole at the bottom suitably tapped to receive 1/2" dia., B Class GI Pipe as required - Double entry. | 16.00 | Nos. | 6.00 | 5300.00 | 84800.00 | 6200.00 | 99200.00 | 84800.00 | MPC ELECTRICALS AND ENGINEERS
19.00 | Installation of transformer housing box with a base concrete of 1:3:6 of size 630 x 630 x 100mm thick all round concrete of 1:2:4 150mm thick. The top sloped with 1:2:4 cement concrete including providing and fixing 10" long 1/2" dia "B" class GI pipe with checknuts for drainage of water including excavation of side shoulder and re-filling (wherever the transformer are in a line the same has to be aligned in such a way that the centers fall in a straight line) etc. complete as required. | 10.00 | Job | 7.00 | 2600.00 | 26000.00 | 3000.00 | 30000.00 | 26000.00 | MPC ELECTRICALS AND ENGINEERS
20.00 | Providing and Fixing of top cover plate made with 5mm thick MS Sheet suitable for existing 330mm dia CI transformer housing box with 6 Nos. Stainless steel M-10 bolts, spring and plain washers including providing and fixing of rubber gasket, painting etc. complete as required. | 10.00 | Job | 8.00 | 1700.00 | 17000.00 | 750.00 | 7500.00 | 7500.00 | Balaji Engineering
21.00 | Making field connections by crimping 16 Sq.mm plug and receptacle with the existing 16 Sq.mm Single core copper conductor, PVC insulated, PVC sheathed cable including filling with gap with water sealant material, applying PVC insulation tape over HT tape insulation etc. as required. | 30.00 | Set | 9.00 | 170.00 | 5100.00 | 200.00 | 6000.00 | 5100.00 | MPC ELECTRICALS AND ENGINEERS
22.00 | Making field connections by crimping 25 Sq.mm plug and receptacle with the existing 6 Sq.mm Single core copper conductor, PVC insulated, PVC sheathed cable including filling with gap with water sealant material, applying PVC insulation tape over HT tape insulation etc. as required. | 16.00 | Set | 10.00 | 170.00 | 2720.00 | 200.00 | 3200.00 | 2720.00 | MPC ELECTRICALS AND ENGINEERS
23.00 | Making field connections by crimping 25 Sq.mm plug and receptacle with the existing 16 Sq.mm Single core copper conductor, PVC insulated, PVC sheathed cable including filling with gap with water sealant material, applying PVC insulation tape over HT tape insulation etc. as required. | 4.00 | Set | 11.00 | 170.00 | 680.00 | 200.00 | 800.00 | 680.00 | MPC ELECTRICALS AND ENGINEERS
24.00 | Making field connections by crimping 25 Sq.mm plug and receptacle with the existing 25 Sq.mm single core aluminium conductor, PVC insulated, PVC sheathed cable including filling with gap with water sealant material, applying PVC insulation tape over HT tape insulation etc. as required. | 16.00 | Set | 12.00 | 170.00 | 2720.00 | 200.00 | 3200.00 | 2720.00 | MPC ELECTRICALS AND ENGINEERS
25.00 | Providing and fixing 6 SWG dia GI wire on surface or in recess for loop earthing along with the existing surface / recessed conduit / submain wiring / cable as required. | 12445.00 | Mtr | 13.00 | 21.00 | 261345.00 | 20.00 | 248900.00 | 248900.00 | Balaji Engineering
26.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 10.00 | Cub. Mtr. | 14.00 | 1250.00 | 12500.00 | 700.00 | 7000.00 | 7000.00 | Balaji Engineering
27.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge.
27.10 | All kinds of soil | 10.00 | Cub. Mtr. | 0.00 | 1250.00 | 12500.00 | 700.00 | 7000.00 | 7000.00 | Balaji Engineering
| Total in Figures |  |  |  |  | 9460755.00 |  | 10255525.00
Lowest Amount Quoted BY: MPC ELECTRICALS AND ENGINEERS(9460755.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Standby Feeders Cables for GLF Installations at Tirupati Airport Tender ID: 2023_AAI_159928_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MPC ELECTRICALS AND ENGINEERS | 9460755.00 | L1
| 2 | Balaji Engineering | 10255525.00 | L2