## BoQ1
Government eProcurement System Created By: JOSEPHINE JULIANA Created Date/Time: 09-Aug-2023 06:19 PM Tender Title: Replacement of VFD panels at AC plant at CIA Tender ID: 2023_AAI_160133_1
Tender Inviting Authority: AGM Engg(Elect)-I,AMED-VIII,Operational Offices,Chennai Airport.
Name of Work: Replacement of VFD panels at AC plant at CIA.
Tender Id: 2023_AAI_160133_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SYMTEC ENGINEERS PRIVATE LIMITED(GSTN-33AABCS0473R1Z2) |  | SHANTI ENTERPRISES ELECTRICALS PRIVATE LIMITED(GSTN-33AABCS2732HIZP) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | paoweretch engineers(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head- 1 - Dismantling
1.01 | Dismantling of entire section of existing panel board comprising of compartments i/c dismantling of existing incoming bus bar trunk, outgoing cable connections & BMS cable connections from all the compartments & handing over to AAI Stores, compartments in the existing panel board are as follows;
1.02 | MCC Panel - 1 Incomer - 3200 Amps ACB - 1 No. Outgoings - 2000 Amps ACB for LT Chiller - 1 No. 250 Amps MCCB for Secondary pumps - 2 Nos 160 Amps MCCB for Cooling Towers - 2 Nos. 160 Amps MCCB for Primary pump - 1 No. 400 Amps MCCB for Condenser Pump - 1 No. 250 Amps MCCB for Secondary pump (T3) - 1 No. | 1.00 | Job |  | 50000.00 | 50000.00 | 54420.00 | 54420.00 | 15000.00 | 15000.00 | 50000.00 | 50000.00 | 15000.00 | vk sam engineering
1.03 | MCC Panel - 1A Incomer - 3200 Amps ACB - 1 No. Outgoings - 2000 Amps ACB for LT Chiller - 1 No. 250 Amps MCCB for Secondary pumps - 2 Nos 160 Amps MCCB for Cooling Towers - 2 Nos. 160 Amps MCCB for Primary pump - 1 No. 400 Amps MCCB for Condenser Pump - 1 No. 250 Amps MCCB for Secondary pump (T3) - 1 No. | 1.00 | Job |  | 50000.00 | 50000.00 | 54420.00 | 54420.00 | 15000.00 | 15000.00 | 50000.00 | 50000.00 | 15000.00 | vk sam engineering
1.04 | MCC Panel - 2 Incomer - 3200 Amps ACB - 1 No. Outgoings - 800 Amps MCCB for Condenser Pumps - 2 Nos. 250 Amps MCCB for Secondary pumps - 2 Nos 160 Amps MCCB for Cooling Towers - 4 Nos. 250 Amps MCCB for Primary pumps - 2 Nos. | 1.00 | Job |  | 60000.00 | 60000.00 | 54420.00 | 54420.00 | 15000.00 | 15000.00 | 40000.00 | 40000.00 | 15000.00 | vk sam engineering
1.05 | MCC Panel - 2A Incomer - 3200 Amps ACB - 1 No. Outgoings - 800 Amps MCCB for Condenser Pumps - 2 Nos. 250 Amps MCCB for Secondary pump - 1 No. 250 Amps MCCB for Cooling Tower - 1 No. 160 Amps MCCB for Cooling Towers - 4 Nos. 250 Amps MCCB for Primary pumps - 2 Nos. | 1.00 | Job |  | 60000.00 | 60000.00 | 54420.00 | 54420.00 | 15000.00 | 15000.00 | 40000.00 | 40000.00 | 15000.00 | vk sam engineering
2.00 | Sub Head- 2 - Fabrication/SITC
2.01 | Design, Fabrication, SITC of TTA MV the following cubical type, dead front 2mm thick sheet steel enclosed, free standing indoor type extendable MCC Panel made with vermin proof hinged locakable doors for each compartment, suitable aluminum bus bar system suitable for interconnection with existing busbar/cable incoming and outgoing system i/c earthing and painting with powder coat finish of approved colour as per enclosed particular/technical specification complete with all accessories for each compartment of following rating MCCBs & VFDs, such as ON /OFF Emergency push buttons, current transformers, digital multifunction meter with selector switches , auto / manual selector switch, led indication lamps, sufficient capacity of panel ventilation fans with filter arrangement, run hour meter i/c power /control interconnection wiring with suitable size FRLS PVC insulated and PVC sheathed copper wires, connector block/ termination block, Aux / protective relay, ferruling of wiring system secured with suitable cable tie, screws, bolt nuts, minor modications required to match with existing incomer section, dismantling and re-termination of existing incoming & out going cables and interconnection bus bar systems, alignment with the existing bus ducts i/c interconnection of existing bus trunking with the new panel etc. as reqd. The incomer compartment shall have multi function meter with energy meter.
2.02 | MCC Panel - 1 Compartment for Incomer without switchgear- 3200 Amps ACB - 1 No. (ACB included in SH III) Compartments for following Outgoings with switchgear : 250 Amps MCCB with 75kW VFDs for Secondary pumps - 2 Nos 160 Amps MCCB with 45kW VFDs for Cooling Towers - 2 Nos. Compartments to house the following ACB/MCCBs without switchgear i/c control wiring (Switchgears included in SH III): 2000 Amps ACB for LT Chiller - 1 No. 160 Amps MCCB for Primary pump - 1 No. 400 Amps MCCB for Condenser Pump - 1 No. 250 Amps MCCB for Secondary pump (T3) - 1 No. | 1.00 | Job |  | 1800000.00 | 1800000.00 | 1776562.00 | 1776562.00 | 1767540.00 | 1767540.00 | 1855000.00 | 1855000.00 | 1767540.00 | vk sam engineering
2.03 | MCC Panel - 1A Compartment for Incomer without switchgear- 3200 Amps ACB - 1 No. (ACB included in SH III) Outgoings - 250 Amps MCCB - 75kW VFDs for Secondary pumps - 2 Nos 160 Amps MCCB - 45kW VFDs for Cooling Towers - 2 Nos. Compartments to house the following ACB/MCCBs without switchgear i/c control wiring (Switchgears included in SH III): 2000 Amps ACB for LT Chiller - 1 No. 160 Amps MCCB for Primary pump - 1 No. 400 Amps MCCB for Condenser Pump - 1 No. 250 Amps MCCB for Secondary pump (T3) - 1 No. | 1.00 | Job |  | 1800000.00 | 1800000.00 | 1784887.00 | 1784887.00 | 1767540.00 | 1767540.00 | 1855000.00 | 1855000.00 | 1767540.00 | vk sam engineering
2.04 | MCC Panel - 2 Compartment for Incomer without switchgear- 3200 Amps ACB - 1 No. (ACB included in SH III) Outgoings - 250 Amps MCCB - 75 kW VFDs for Secondary pumps - 2 Nos 160 Amps MCCB - 45 kW VFDs for Cooling Towers - 4 Nos. Compartments to house the following ACB/MCCBs without switchgear i/c control wiring (Switchgears included in SH III): 800 Amps MCCB for Condenser Pumps - 2 Nos. 250 Amps MCCB for Primary pumps - 2 Nos. | 1.00 | Job |  | 2450000.00 | 2450000.00 | 2378157.00 | 2378157.00 | 2354895.00 | 2354895.00 | 2288000.00 | 2288000.00 | 2288000.00 | paoweretch engineers
2.05 | MCC Panel - 2A Compartment for Incomer without switchgear- 3200 Amps ACB - 1 No. (ACB included in SH III) Outgoings - 250 Amps MCCB - 75 kW VFD for Secondary pump - 1 No. 160 Amps MCCB - 45 kW VFD for Cooling Tower - 2 Nos. Compartments to house the following ACB/MCCBs without switchgear i/c control wiring (Switchgears included in SH III): 800 Amps MCCB for Condenser Pumps - 2 Nos. 160 Amps MCCB for Cooling Towers - 3 Nos. 250 Amps MCCB for Primary pumps - 2 Nos. | 1.00 | Job |  | 1880000.00 | 1880000.00 | 1828961.00 | 1828961.00 | 1823686.00 | 1823686.00 | 1481517.00 | 1481517.00 | 1481517.00 | paoweretch engineers
3.00 | Sub Head - 3 Dismantling & Shifting
3.01 | Dismantling and shifting of the following ACBs / VFDs from the dismantled old panel board of Item No. 1 to 4 of SH-1 and fix it in the new cubicle panel of SH II, including necessary termination, etc. complete as required.
3.02 | MCC Panel - 1 Incomer - 3200 Amps ACB - 1 No. Outgoings - 2000 Amps ACB for LT Chiller - 1 No. 22 kW VFD for Primary pump - 1 No. 90 kW VFD for Condenser Pump - 1 No. 75 kW VFD for Secondary pump (T3) - 1 No. | 1.00 | Job |  | 30000.00 | 30000.00 | 115475.00 | 115475.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 30000.00 | SYMTEC ENGINEERS PRIVATE LIMITED
3.03 | MCC Panel - 1A Incomer - 3200 Amps ACB - 1 No. Outgoings - 2000 Amps ACB for LT Chiller - 1 No. 22 kW VFD for Primary pump - 1 No. 90 kW VFD for Condenser Pump - 1 No. 75 kW VFD for Secondary pump (T3) - 1 No. | 1.00 | Job |  | 30000.00 | 30000.00 | 115475.00 | 115475.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | 30000.00 | SYMTEC ENGINEERS PRIVATE LIMITED
3.04 | MCC Panel - 2 Incomer - 3200 Amps ACB - 1 No. Outgoings - 200 kW VFD for Condenser Pumps - 2 Nos. 55 kW VFD for Secondary pumps - 2 Nos | 1.00 | Job |  | 40000.00 | 40000.00 | 125271.00 | 125271.00 | 55000.00 | 55000.00 | 40000.00 | 40000.00 | 40000.00 | SYMTEC ENGINEERS PRIVATE LIMITED, paoweretch engineers
3.05 | MCC Panel - 2A Incomer - 3200 Amps ACB - 1 No. Outgoings - 200 kW VFD for Condenser Pumps - 2 Nos. 22 kW VFD - 2 Nos each compartment for Cooling Towers - 3 Sets. 55 kW VFD for Primary pumps - 2 Nos. | 1.00 | Job |  | 40000.00 | 40000.00 | 158576.00 | 158576.00 | 55000.00 | 55000.00 | 55000.00 | 55000.00 | 40000.00 | SYMTEC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 8290000.00 |  | 8501044.00 |  | 7953661.00 |  | 7854517.00
Lowest Amount Quoted BY: paoweretch engineers(7854517.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of VFD panels at AC plant at CIA Tender ID: 2023_AAI_160133_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | paoweretch engineers | 7854517.00 | L1
| 2 | vk sam engineering | 7953661.00 | L2
| 3 | SYMTEC ENGINEERS PRIVATE LIMITED | 8290000.00 | L3
| 4 | SHANTI ENTERPRISES ELECTRICALS PRIVATE LIMITED | 8501044.00 | L4