## BoQ1
Government eProcurement System Created By: Prem Chand Khandelwal Created Date/Time: 12-Sep-2023 06:02 PM Tender Title: Renovation of buildings in Air India Complex at Safdarjung Airport, New Delhi to be used for AAI offices for the year 2023-24 (Recall) Tender ID: 2023_AAI_160371_2
Tender Inviting Authority: AGM (E-C)-IMU
Name of Work: Renovation of buildings in Air India Complex at Safdarjung Airport, New Delhi to be used for AAI offices for the year 2023-24 (Recall).
Contract No: 2023_AAI_160371_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S SATPAL MALIK AND SONS(GSTN-07ADOFS6735R1ZZ) |  | CREATORS ENGINEERS AND INTERIORS(GSTN-07AAGFC0762R2Z1) |  | ANAND AUTOMATIC SYSTEMS DELHI(GSTN-07AMHPS3519D1Z3) |  | NCI GLOBAL INFRATECH(GSTN-07AAHFN3556B1ZH) |  | SIROHI CONSTRUCTION CO(GSTN-07AXOPS3749P1ZD) |  | SAMTA INTERIORS(GSTN-07AALPB7815K1ZJ) |  | ESS KAY CONSTRUCTIONS(GSTN-07AABFE6199D1ZF) |  | R S ELECTRICALS(GSTN-09AALFR7080G1ZS)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. a) For thickness of tiles 10 mm to 25 mm | 500.00 | sqm |  | 32.00 | 16000.00 | 10.00 | 5000.00 | 25.00 | 12500.00 | 40.00 | 20000.00 | 15.00 | 7500.00 | 40.00 | 20000.00 | 50.00 | 25000.00 | 30.00 | 15000.00 | 5000.00 | CREATORS ENGINEERS AND INTERIORS
2.00 | Dismantling tile work in walls laid in cement mortar including stacking material within 50 metres lead. a) For thickness of tiles 10 mm to 25 mm | 200.00 | sqm |  | 40.00 | 8000.00 | 10.00 | 2000.00 | 30.00 | 6000.00 | 90.00 | 18000.00 | 15.00 | 3000.00 | 45.00 | 9000.00 | 50.00 | 10000.00 | 30.00 | 6000.00 | 2000.00 | CREATORS ENGINEERS AND INTERIORS
3.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : a) Of area 3 sqm and below | 50.00 | each |  | 300.00 | 15000.00 | 10.00 | 500.00 | 400.00 | 20000.00 | 150.00 | 7500.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 150.00 | 7500.00 | 500.00 | CREATORS ENGINEERS AND INTERIORS
4.00 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : (a) 15 mm to 40 mm nominal bore | 500.00 | mtr. |  | 60.00 | 30000.00 | 10.00 | 5000.00 | 30.00 | 15000.00 | 50.00 | 25000.00 | 90.00 | 45000.00 | 4.00 | 2000.00 | 50.00 | 25000.00 | 75.00 | 37500.00 | 2000.00 | SAMTA INTERIORS
5.00 | Dismantling C.I. pipes including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means breakinglead caulked joints, melting of lead and making into blocks including stacking of pipes & lead at site within 50 metre lead as per direction of Engineer-in-charge: a) Up to 150 mm diameter | 200.00 | mtr |  | 200.00 | 40000.00 | 10.00 | 2000.00 | 60.00 | 12000.00 | 100.00 | 20000.00 | 100.00 | 20000.00 | 5.00 | 1000.00 | 100.00 | 20000.00 | 150.00 | 30000.00 | 1000.00 | SAMTA INTERIORS
6.00 | Dismantling of Sanitary Fixtures Europeon water closet /Urinal/Wash Basin including stacking of useful materials near the site and disposal of unserviceable materials within 50 metre lead as per direction of Engineer-in-charge. | 50.00 | each |  | 500.00 | 25000.00 | 10.00 | 500.00 | 20.00 | 1000.00 | 50.00 | 2500.00 | 50.00 | 2500.00 | 80.00 | 4000.00 | 50.00 | 2500.00 | 50.00 | 2500.00 | 500.00 | CREATORS ENGINEERS AND INTERIORS
7.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 1500.00 | sqm |  | 30.00 | 45000.00 | 10.00 | 15000.00 | 14.00 | 21000.00 | 50.00 | 75000.00 | 30.00 | 45000.00 | 30.00 | 45000.00 | 25.00 | 37500.00 | 25.00 | 37500.00 | 15000.00 | CREATORS ENGINEERS AND INTERIORS
8.00 | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 10 km for all lifts, complete as per directions of Engineer-in-charge. Note - item to be applicable in urban areas having directions for restricted hours for movement/ plying of load carrying motor vehicle of 3.5 cum or more. | 100.00 | cum |  | 500.00 | 50000.00 | 500.00 | 50000.00 | 290.00 | 29000.00 | 700.00 | 70000.00 | 450.00 | 45000.00 | 600.00 | 60000.00 | 400.00 | 40000.00 | 400.00 | 40000.00 | 29000.00 | ANAND AUTOMATIC SYSTEMS DELHI
9.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. (a) Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 10.00 | cum |  | 800.00 | 8000.00 | 10.00 | 100.00 | 50.00 | 500.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 800.00 | 8000.00 | 1000.00 | 10000.00 | 800.00 | 8000.00 | 100.00 | CREATORS ENGINEERS AND INTERIORS
10.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 5.00 | cum |  | 1200.00 | 6000.00 | 10.00 | 50.00 | 50.00 | 250.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 1200.00 | 6000.00 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 50.00 | CREATORS ENGINEERS AND INTERIORS
11.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. (a) In cement mortar | 10.00 | cum |  | 300.00 | 3000.00 | 10.00 | 100.00 | 100.00 | 1000.00 | 1000.00 | 10000.00 | 500.00 | 5000.00 | 700.00 | 7000.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 100.00 | CREATORS ENGINEERS AND INTERIORS
12.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : a) Cement mortar 1:4 (1 cement : 4 coarse sand) | 100.00 | sqm |  | 600.00 | 60000.00 | 1450.00 | 145000.00 | 910.00 | 91000.00 | 1000.00 | 100000.00 | 650.00 | 65000.00 | 800.00 | 80000.00 | 825.00 | 82500.00 | 780.00 | 78000.00 | 60000.00 | M/S SATPAL MALIK AND SONS
13.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : (a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 50.00 | cum |  | 6500.00 | 325000.00 | 1450.00 | 72500.00 | 5800.00 | 290000.00 | 5000.00 | 250000.00 | 5800.00 | 290000.00 | 5000.00 | 250000.00 | 5600.00 | 280000.00 | 6000.00 | 300000.00 | 72500.00 | CREATORS ENGINEERS AND INTERIORS
14.00 | 12 mm cement plaster of mix : a) 1:6 (1 cement: 6 coarse sand) | 500.00 | sqm |  | 250.00 | 125000.00 | 90.00 | 45000.00 | 255.00 | 127500.00 | 200.00 | 100000.00 | 170.00 | 85000.00 | 240.00 | 120000.00 | 300.00 | 150000.00 | 200.00 | 100000.00 | 45000.00 | CREATORS ENGINEERS AND INTERIORS
15.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: (a) 1:6 (1 cement: 6 coarse sand) | 300.00 | sqm |  | 280.00 | 84000.00 | 90.00 | 27000.00 | 280.00 | 84000.00 | 250.00 | 75000.00 | 180.00 | 54000.00 | 240.00 | 72000.00 | 330.00 | 99000.00 | 220.00 | 66000.00 | 27000.00 | CREATORS ENGINEERS AND INTERIORS
16.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. i) With cement mortar 1:4 (1cement: 4 coarse sand) | 200.00 | sqm |  | 350.00 | 70000.00 | 90.00 | 18000.00 | 295.00 | 59000.00 | 400.00 | 80000.00 | 280.00 | 56000.00 | 350.00 | 70000.00 | 400.00 | 80000.00 | 250.00 | 50000.00 | 18000.00 | CREATORS ENGINEERS AND INTERIORS
17.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 500.00 | Sqm |  | 200.00 | 100000.00 | 80.00 | 40000.00 | 115.00 | 57500.00 | 150.00 | 75000.00 | 105.00 | 52500.00 | 70.00 | 35000.00 | 70.00 | 35000.00 | 90.00 | 45000.00 | 35000.00 | SAMTA INTERIORS, ESS KAY CONSTRUCTIONS
18.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1000.00 | sqm |  | 70.00 | 70000.00 | 30.00 | 30000.00 | 75.00 | 75000.00 | 90.00 | 90000.00 | 75.00 | 75000.00 | 60.00 | 60000.00 | 60.00 | 60000.00 | 70.00 | 70000.00 | 30000.00 | CREATORS ENGINEERS AND INTERIORS
19.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 1000.00 | sqm |  | 80.00 | 80000.00 | 50.00 | 50000.00 | 90.00 | 90000.00 | 150.00 | 150000.00 | 80.00 | 80000.00 | 100.00 | 100000.00 | 95.00 | 95000.00 | 60.00 | 60000.00 | 50000.00 | CREATORS ENGINEERS AND INTERIORS
20.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. a) Two coats | 5000.00 | Sqm |  | 70.00 | 350000.00 | 140.00 | 700000.00 | 110.00 | 550000.00 | 150.00 | 750000.00 | 75.00 | 375000.00 | 70.00 | 350000.00 | 80.00 | 400000.00 | 60.00 | 300000.00 | 300000.00 | R S ELECTRICALS
21.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : i) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 2000.00 | Sqm |  | 80.00 | 160000.00 | 140.00 | 280000.00 | 120.00 | 240000.00 | 150.00 | 300000.00 | 70.00 | 140000.00 | 90.00 | 180000.00 | 90.00 | 180000.00 | 80.00 | 160000.00 | 140000.00 | SIROHI CONSTRUCTION CO
22.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : i) 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 20.00 | cum |  | 5200.00 | 104000.00 | 2600.00 | 52000.00 | 5500.00 | 110000.00 | 6000.00 | 120000.00 | 4800.00 | 96000.00 | 3000.00 | 60000.00 | 5200.00 | 104000.00 | 5500.00 | 110000.00 | 52000.00 | CREATORS ENGINEERS AND INTERIORS
23.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 50.00 | cum |  | 4000.00 | 200000.00 | 2500.00 | 125000.00 | 4000.00 | 200000.00 | 5000.00 | 250000.00 | 3700.00 | 185000.00 | 2500.00 | 125000.00 | 4500.00 | 225000.00 | 4000.00 | 200000.00 | 125000.00 | CREATORS ENGINEERS AND INTERIORS, SAMTA INTERIORS
24.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement: (a) 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 10.00 | cum |  | 6000.00 | 60000.00 | 9900.00 | 99000.00 | 5400.00 | 54000.00 | 7500.00 | 75000.00 | 5000.00 | 50000.00 | 5000.00 | 50000.00 | 5800.00 | 58000.00 | 6500.00 | 65000.00 | 50000.00 | SIROHI CONSTRUCTION CO, SAMTA INTERIORS
25.00 | Centering and shuttering including strutting, propping etc. and removal of form for: i) Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 100.00 | sqm |  | 450.00 | 45000.00 | 390.00 | 39000.00 | 100.00 | 10000.00 | 500.00 | 50000.00 | 550.00 | 55000.00 | 150.00 | 15000.00 | 400.00 | 40000.00 | 150.00 | 15000.00 | 10000.00 | ANAND AUTOMATIC SYSTEMS DELHI
26.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. (a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1000.00 | kg |  | 75.00 | 75000.00 | 70.00 | 70000.00 | 90.00 | 90000.00 | 85.00 | 85000.00 | 80.00 | 80000.00 | 76.00 | 76000.00 | 75.00 | 75000.00 | 70.00 | 70000.00 | 70000.00 | CREATORS ENGINEERS AND INTERIORS, R S ELECTRICALS
27.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. i) Granite stone slab colour black, Cherry/Ruby red a) Area of slab over 0.50 sqm | 20.00 | sqm |  | 3800.00 | 76000.00 | 4900.00 | 98000.00 | 3850.00 | 77000.00 | 3200.00 | 64000.00 | 3200.00 | 64000.00 | 2100.00 | 42000.00 | 2300.00 | 46000.00 | 3100.00 | 62000.00 | 42000.00 | SAMTA INTERIORS
28.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. (a) Granite work | 100.00 | metre |  | 200.00 | 20000.00 | 50.00 | 5000.00 | 89.00 | 8900.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 190.00 | 19000.00 | 150.00 | 15000.00 | 293.00 | 29300.00 | 5000.00 | CREATORS ENGINEERS AND INTERIORS
29.00 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | 50.00 | metre |  | 500.00 | 25000.00 | 50.00 | 2500.00 | 89.00 | 4450.00 | 400.00 | 20000.00 | 400.00 | 20000.00 | 400.00 | 20000.00 | 300.00 | 15000.00 | 150.00 | 7500.00 | 2500.00 | CREATORS ENGINEERS AND INTERIORS
30.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 25.00 | Each |  | 300.00 | 7500.00 | 50.00 | 1250.00 | 200.00 | 5000.00 | 200.00 | 5000.00 | 700.00 | 17500.00 | 200.00 | 5000.00 | 200.00 | 5000.00 | 400.00 | 10000.00 | 1250.00 | CREATORS ENGINEERS AND INTERIORS
31.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : (a) 25 mm thick | 100.00 | sqm |  | 800.00 | 80000.00 | 500.00 | 50000.00 | 1000.00 | 100000.00 | 1600.00 | 160000.00 | 1020.00 | 102000.00 | 1000.00 | 100000.00 | 1100.00 | 110000.00 | 1200.00 | 120000.00 | 50000.00 | CREATORS ENGINEERS AND INTERIORS
32.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 50.00 | sqm |  | 900.00 | 45000.00 | 500.00 | 25000.00 | 1000.00 | 50000.00 | 1500.00 | 75000.00 | 1050.00 | 52500.00 | 1000.00 | 50000.00 | 1200.00 | 60000.00 | 1400.00 | 70000.00 | 25000.00 | CREATORS ENGINEERS AND INTERIORS
33.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed vitrified floor tiles polished finish of size: Size of Tile 600 x 1200 mm | 300.00 | Sqm |  | 1600.00 | 480000.00 | 1490.00 | 447000.00 | 1250.00 | 375000.00 | 1100.00 | 330000.00 | 1300.00 | 390000.00 | 1020.00 | 306000.00 | 1250.00 | 375000.00 | 1000.00 | 300000.00 | 300000.00 | R S ELECTRICALS
34.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size 600 x 600 | 200.00 | Sqm |  | 1100.00 | 220000.00 | 850.00 | 170000.00 | 1100.00 | 220000.00 | 1150.00 | 230000.00 | 1100.00 | 220000.00 | 970.00 | 194000.00 | 800.00 | 160000.00 | 900.00 | 180000.00 | 160000.00 | ESS KAY CONSTRUCTIONS
35.00 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 500.00 | Sqm |  | 100.00 | -50000.00 | 200.00 | -100000.00 | 10.00 | -5000.00 | 50.00 | -25000.00 | 500.00 | -250000.00 | 200.00 | -100000.00 | 100.00 | -50000.00 | 400.00 | -200000.00 | -250000.00 | SIROHI CONSTRUCTION CO
36.00 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. | 500.00 | Sqm |  | 200.00 | 100000.00 | 200.00 | 100000.00 | 525.00 | 262500.00 | 1000.00 | 500000.00 | 450.00 | 225000.00 | 200.00 | 100000.00 | 150.00 | 75000.00 | 444.00 | 222000.00 | 75000.00 | ESS KAY CONSTRUCTIONS
37.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). i) Size of Tile 600 x 600 mm | 500.00 | Sqm |  | 1100.00 | 550000.00 | 50.00 | 25000.00 | 1050.00 | 525000.00 | 1000.00 | 500000.00 | 1050.00 | 525000.00 | 1030.00 | 515000.00 | 800.00 | 400000.00 | 900.00 | 450000.00 | 25000.00 | CREATORS ENGINEERS AND INTERIORS
38.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : i) For fixed portion a) Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 1000.00 | Kg |  | 390.00 | 390000.00 | 225.00 | 225000.00 | 372.00 | 372000.00 | 550.00 | 550000.00 | 350.00 | 350000.00 | 375.00 | 375000.00 | 375.00 | 375000.00 | 380.00 | 380000.00 | 225000.00 | CREATORS ENGINEERS AND INTERIORS
39.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make onforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately): i) Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 500.00 | Kg |  | 450.00 | 225000.00 | 475.00 | 237500.00 | 380.00 | 190000.00 | 550.00 | 275000.00 | 450.00 | 225000.00 | 375.00 | 187500.00 | 410.00 | 205000.00 | 420.00 | 210000.00 | 187500.00 | SAMTA INTERIORS
40.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): (a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 100.00 | Sqm |  | 600.00 | 60000.00 | 1000.00 | 100000.00 | 750.00 | 75000.00 | 1000.00 | 100000.00 | 1250.00 | 125000.00 | 800.00 | 80000.00 | 900.00 | 90000.00 | 700.00 | 70000.00 | 60000.00 | M/S SATPAL MALIK AND SONS
41.00 | Providing & Fixing suncontrol film Gurware polyster (or equivalent) film on glass panes after throughly cleaning of existing sunface, (The rate inclusive removal of existing suncontrol film where ever required.) as per satisfaction of Engineer-in-charge. | 500.00 | Sqm |  | 1200.00 | 600000.00 | 200.00 | 100000.00 | 780.00 | 390000.00 | 600.00 | 300000.00 | 900.00 | 450000.00 | 450.00 | 225000.00 | 650.00 | 325000.00 | 350.00 | 175000.00 | 100000.00 | CREATORS ENGINEERS AND INTERIORS
42.00 | Providing & fixing GI stud/Floor framing for full height/low ht/ medium ht partitioning with: - 50x55 mm channel 20 gauge horizontal, top middle and bottom metal channel securely fixed to the floor and ceiling @ 900 mm centre to centre, - 48 mm x 55 mm vertical G.I studs 20 gauge @ 600mm center to center fixed with the top and bottom channel i/c providing Hollock wood framework as sub-frame of size 40x50mm for doors/any cutouts i/c floor channel in the bottom complete as per the satisfaction and direction of Engineer in charge. (Only framing to be paid in this item). | 300.00 | Sqm |  | 500.00 | 150000.00 | 900.00 | 270000.00 | 1775.00 | 532500.00 | 1000.00 | 300000.00 | 825.00 | 247500.00 | 480.00 | 144000.00 | 450.00 | 135000.00 | 300.00 | 90000.00 | 90000.00 | R S ELECTRICALS
43.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt / suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. a) 1.0 mm thick | 600.00 | Sqm |  | 900.00 | 540000.00 | 490.00 | 294000.00 | 700.00 | 420000.00 | 900.00 | 540000.00 | 550.00 | 330000.00 | 525.00 | 315000.00 | 600.00 | 360000.00 | 400.00 | 240000.00 | 240000.00 | R S ELECTRICALS
44.00 | Providing & fixing 12mm thick and 100mm High, 2nd class teakwood skirting on partition & panelling etc. with melamine polish with angular edges complete as per the direction and satisfaction of Engineer-in- charge. | 200.00 | rmt |  | 500.00 | 100000.00 | 900.00 | 180000.00 | 265.00 | 53000.00 | 200.00 | 40000.00 | 290.00 | 58000.00 | 260.00 | 52000.00 | 600.00 | 120000.00 | 200.00 | 40000.00 | 40000.00 | NCI GLOBAL INFRATECH, R S ELECTRICALS
45.00 | Providing and fixing 22 mm thick and 90 mm wide top/side rail fixed to partition top/sides in teak wood complete as per the direction and satisfaction of Engineer-in- charge. | 200.00 | rmt |  | 500.00 | 100000.00 | 900.00 | 180000.00 | 328.00 | 65600.00 | 500.00 | 100000.00 | 250.00 | 50000.00 | 265.00 | 53000.00 | 900.00 | 180000.00 | 200.00 | 40000.00 | 40000.00 | R S ELECTRICALS
46.00 | Providing & fixing 8 mm plywood to existing partitions/paneling of approved make with MS screws etc. all complete. The cost includes for providing openings for electrical wiring & switches etc. complete as per the direction and satisfaction of Engineer-in- charge. | 600.00 | Sqm |  | 700.00 | 420000.00 | 850.00 | 510000.00 | 720.00 | 432000.00 | 900.00 | 540000.00 | 950.00 | 570000.00 | 560.00 | 336000.00 | 800.00 | 480000.00 | 400.00 | 240000.00 | 240000.00 | R S ELECTRICALS
47.00 | Providing and fixing wooden moulded beading to paneling/ door and window frames with iron screws, plugs and priming coat on unexposed surface etc. complete : a)2nd class teak wood i) 25x12 mm | 100.00 | Mtr |  | 150.00 | 15000.00 | 10.00 | 1000.00 | 175.00 | 17500.00 | 125.00 | 12500.00 | 190.00 | 19000.00 | 85.00 | 8500.00 | 300.00 | 30000.00 | 65.00 | 6500.00 | 1000.00 | CREATORS ENGINEERS AND INTERIORS
48.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. a) 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | 500.00 | Sqm |  | 1100.00 | 550000.00 | 1500.00 | 750000.00 | 1725.00 | 862500.00 | 1400.00 | 700000.00 | 1450.00 | 725000.00 | 975.00 | 487500.00 | 950.00 | 475000.00 | 1300.00 | 650000.00 | 475000.00 | ESS KAY CONSTRUCTIONS
49.00 | Providing and Fixing 12 MM frameless self standing toughened glass partition (SAINT GOBAIN/MODIGUARD/ASAHI) of required height and length with mirror polished edges ,fixed as per lay out approved by Engineer-in-charge with patch fittings fixed as and where required ,specially ordered Stainless steel patch fittings (DORMA or OZONE of equivalent make) as legs, tees, junctions, angles, glass to glass connectors, wall to glass connectors ,L angle connectors ,2 way glass connectors with SS patti with double sided bolt including all Stainless steel bolts with nuts etc used as and where required as per approved layout plan by Engineer-incharge glass to be of required length with proper support with all gaps filled with silicon sealent ,Glass to have holes/cut outs to accommodate patch fittings, all complete as per entire satisfaction of Engineer in charge (NET AREA OF GLASS TO BE MEASURED FOR PAYMENT PURPOSE). All the handling, transportation and insurance charges if required will be borne by the agency. | 50.00 | Sqm |  | 6000.00 | 300000.00 | 3400.00 | 170000.00 | 3200.00 | 160000.00 | 3000.00 | 150000.00 | 4800.00 | 240000.00 | 3150.00 | 157500.00 | 3000.00 | 150000.00 | 5000.00 | 250000.00 | 150000.00 | NCI GLOBAL INFRATECH, ESS KAY CONSTRUCTIONS
50.00 | Providing and fixing of Frameless Single Leaf Swing Glass Door with over panel using 12 mm thick toughened glass of Saint Gobain or approved equivalent on OZONE/DORMA or equivalent make die cast patch fitting with stainless steel cover including fixing of patch fittings, floor springs, locks, handles etc. using the hardware items which includes one no each of Patch , Bottom Patch OPF-3/PT 10, Top Patch OPF-2/PT 20, Corner Lock OPL- 1/US 10 with Euro profile cylinder, Strike Plate, Floor Spring FS- 8400/BTS 75 , pair of OZONE/DORMA or equivalent make SS Pull Handle 25. mm dia OGH-55 SSS/TGD 135025 S (25 X 350 mm),Over panel connector OPF-610/PT 40 and side over panel connector OPF-4/PT 30 with pivot OPF-ACC-GDP/PT 24 and other accessories for self closing feature complete in all respects as per detailed drawings, manufacturers specifications and direction of Engineer in charge. (for measurement only openable area of door shall be measured. All the handling, transportation and insurance charges if required will be borne by the agency.) | 25.00 | Sqm |  | 11000.00 | 275000.00 | 6800.00 | 170000.00 | 11600.00 | 290000.00 | 8000.00 | 200000.00 | 5500.00 | 137500.00 | 10300.00 | 257500.00 | 12000.00 | 300000.00 | 10000.00 | 250000.00 | 137500.00 | SIROHI CONSTRUCTION CO
51.00 | Providing and fixing Acid etched look/ Frosted crystal Graphic Film over the designated locations with wet applications at all floors in any design and pattern complete as per the direction and satisfaction of Engineer-in- charge. (No deductions shall be made for the blank areas in the pattern). | 100.00 | Sqm |  | 1000.00 | 100000.00 | 450.00 | 45000.00 | 785.00 | 78500.00 | 600.00 | 60000.00 | 350.00 | 35000.00 | 550.00 | 55000.00 | 700.00 | 70000.00 | 800.00 | 80000.00 | 35000.00 | SIROHI CONSTRUCTION CO
52.00 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-incharge a) Powder coated minimum thickness 50 micron aluminium | 50.00 | Each |  | 200.00 | 10000.00 | 350.00 | 17500.00 | 100.00 | 5000.00 | 500.00 | 25000.00 | 80.00 | 4000.00 | 100.00 | 5000.00 | 180.00 | 9000.00 | 50.00 | 2500.00 | 2500.00 | R S ELECTRICALS
53.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). i) Sal wood | 5.00 | Cum |  | 60000.00 | 300000.00 | 65000.00 | 325000.00 | 105000.00 | 525000.00 | 80000.00 | 400000.00 | 103500.00 | 517500.00 | 67000.00 | 335000.00 | 75000.00 | 375000.00 | 85000.00 | 425000.00 | 300000.00 | M/S SATPAL MALIK AND SONS
54.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: i) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 50.00 | Sqm |  | 3000.00 | 150000.00 | 4800.00 | 240000.00 | 3600.00 | 180000.00 | 3000.00 | 150000.00 | 2200.00 | 110000.00 | 1600.00 | 80000.00 | 1600.00 | 80000.00 | 1400.00 | 70000.00 | 70000.00 | R S ELECTRICALS
55.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 50.00 | Each |  | 300.00 | 15000.00 | 500.00 | 25000.00 | 1050.00 | 52500.00 | 1000.00 | 50000.00 | 450.00 | 22500.00 | 1200.00 | 60000.00 | 1500.00 | 75000.00 | 300.00 | 15000.00 | 15000.00 | M/S SATPAL MALIK AND SONS, R S ELECTRICALS
56.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. A) Upto 5mm depth and 5 mm width | 1000.00 | Mtr |  | 400.00 | 400000.00 | 10.00 | 10000.00 | 20.00 | 20000.00 | 25.00 | 25000.00 | 105.00 | 105000.00 | 65.00 | 65000.00 | 45.00 | 45000.00 | 15.00 | 15000.00 | 10000.00 | CREATORS ENGINEERS AND INTERIORS
57.00 | Providing & fixing white vitreous china water less urinal of size 600 x 330 x 315 mm having antibacterial /germs free ceramic surface, fixed with cartridge having debris catcher and hygiene seal. | 30.00 | each |  | 13000.00 | 390000.00 | 4000.00 | 120000.00 | 14800.00 | 444000.00 | 18000.00 | 540000.00 | 15000.00 | 450000.00 | 14500.00 | 435000.00 | 4000.00 | 120000.00 | 10000.00 | 300000.00 | 120000.00 | CREATORS ENGINEERS AND INTERIORS, ESS KAY CONSTRUCTIONS
58.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: a) White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 15.00 | Each |  | 2800.00 | 42000.00 | 2500.00 | 37500.00 | 4125.00 | 61875.00 | 5000.00 | 75000.00 | 6000.00 | 90000.00 | 3000.00 | 45000.00 | 3500.00 | 52500.00 | 4000.00 | 60000.00 | 37500.00 | CREATORS ENGINEERS AND INTERIORS
59.00 | Providing and fixing table top white vitreous china rectangular wash basin of approved make with 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern including making holes in counter complete as per direction of Engineer-in-Charge. (Preferred make list is attached in tender document) | 15.00 | each |  | 5000.00 | 75000.00 | 7500.00 | 112500.00 | 4100.00 | 61500.00 | 10500.00 | 157500.00 | 2500.00 | 37500.00 | 5800.00 | 87000.00 | 4200.00 | 63000.00 | 2500.00 | 37500.00 | 37500.00 | SIROHI CONSTRUCTION CO, R S ELECTRICALS
60.00 | Providing and fixing table top white vitreous china oval bowl design wash basin of approved make with 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern including making holes in counter complete as per direction of Engineer-in-Charge. (Preferred make list is attached in tender document) | 15.00 | Each |  | 5000.00 | 75000.00 | 2000.00 | 30000.00 | 3925.00 | 58875.00 | 12500.00 | 187500.00 | 2800.00 | 42000.00 | 4500.00 | 67500.00 | 5500.00 | 82500.00 | 2500.00 | 37500.00 | 30000.00 | CREATORS ENGINEERS AND INTERIORS
61.00 | Providing and fixing white vitreous china extended wall mounting water closet of size 780x370x690 mm of approved shape including providing & fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 25.00 | Each |  | 12000.00 | 300000.00 | 9000.00 | 225000.00 | 11400.00 | 285000.00 | 13500.00 | 337500.00 | 12000.00 | 300000.00 | 9400.00 | 235000.00 | 6500.00 | 162500.00 | 10000.00 | 250000.00 | 162500.00 | ESS KAY CONSTRUCTIONS
62.00 | Providing and fixing plastic. body liquid soap dispenser of make jaquar model no. SDR-WHT-DJ0010F or approved equivalent make including cutting and making good the walls, wherever required complete as directed by Engineer-in-charge. | 50.00 | each |  | 1000.00 | 50000.00 | 250.00 | 12500.00 | 1425.00 | 71250.00 | 3000.00 | 150000.00 | 450.00 | 22500.00 | 1000.00 | 50000.00 | 350.00 | 17500.00 | 300.00 | 15000.00 | 12500.00 | CREATORS ENGINEERS AND INTERIORS
63.00 | Providing and fixing brass bib cock of approved quality : i) 15 mm nominal bore | 50.00 | Each |  | 600.00 | 30000.00 | 750.00 | 37500.00 | 850.00 | 42500.00 | 1500.00 | 75000.00 | 450.00 | 22500.00 | 550.00 | 27500.00 | 500.00 | 25000.00 | 300.00 | 15000.00 | 15000.00 | R S ELECTRICALS
64.00 | Providing and fixing health faucet (Hindware Make (Code:F160068)/ Jaquar Make (Code:ALD-CHR-585) or equivalent as approved by EIC at all the European type W.C. of approved quality complete in all respect as per direction and satisfaction of Engineer-in-charge. | 25.00 | Each |  | 1200.00 | 30000.00 | 700.00 | 17500.00 | 1200.00 | 30000.00 | 1500.00 | 37500.00 | 1200.00 | 30000.00 | 1100.00 | 27500.00 | 1100.00 | 27500.00 | 600.00 | 15000.00 | 15000.00 | R S ELECTRICALS
65.00 | Providing and fixing 12mm thick toughened glass urinal partition of size 920 x 500 / 350 mm (500mm top width and 350mm bottom width) with necessary SS patch fittings complete as per direction of Engineer-in-Charge. | 30.00 | each |  | 3000.00 | 90000.00 | 1500.00 | 45000.00 | 1700.00 | 51000.00 | 3000.00 | 90000.00 | 2100.00 | 63000.00 | 4000.00 | 120000.00 | 1800.00 | 54000.00 | 2300.00 | 69000.00 | 45000.00 | CREATORS ENGINEERS AND INTERIORS
66.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. (a) External work (i) 50 mm nominal dia Pipes | 150.00 | mtr |  | 600.00 | 90000.00 | 250.00 | 37500.00 | 590.00 | 88500.00 | 500.00 | 75000.00 | 650.00 | 97500.00 | 750.00 | 112500.00 | 250.00 | 37500.00 | 550.00 | 82500.00 | 37500.00 | CREATORS ENGINEERS AND INTERIORS, ESS KAY CONSTRUCTIONS
67.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. (a) External work (i) 32 mm nominal dia Pipes | 100.00 | mtr |  | 600.00 | 60000.00 | 200.00 | 20000.00 | 490.00 | 49000.00 | 400.00 | 40000.00 | 350.00 | 35000.00 | 375.00 | 37500.00 | 200.00 | 20000.00 | 300.00 | 30000.00 | 20000.00 | CREATORS ENGINEERS AND INTERIORS, ESS KAY CONSTRUCTIONS
68.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. a) Concealed work, including cutting chases and making good the walls etc. (i) 20 mm nominal dia Pipes | 50.00 | mtr |  | 350.00 | 17500.00 | 250.00 | 12500.00 | 325.00 | 16250.00 | 300.00 | 15000.00 | 310.00 | 15500.00 | 200.00 | 10000.00 | 350.00 | 17500.00 | 350.00 | 17500.00 | 10000.00 | SAMTA INTERIORS
69.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. (i) 15 mm nominal dia Pipes | 500.00 | mtr |  | 350.00 | 175000.00 | 200.00 | 100000.00 | 300.00 | 150000.00 | 275.00 | 137500.00 | 275.00 | 137500.00 | 170.00 | 85000.00 | 260.00 | 130000.00 | 300.00 | 150000.00 | 85000.00 | SAMTA INTERIORS
70.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : (a) 30 cm length (i) 15 mm nominal bore | 50.00 | Each |  | 300.00 | 15000.00 | 150.00 | 7500.00 | 110.00 | 5500.00 | 300.00 | 15000.00 | 65.00 | 3250.00 | 50.00 | 2500.00 | 60.00 | 3000.00 | 30.00 | 1500.00 | 1500.00 | R S ELECTRICALS
71.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 20000.00 | Ltr |  | 9.00 | 180000.00 | 7.50 | 150000.00 | 11.00 | 220000.00 | 10.00 | 200000.00 | 8.25 | 165000.00 | 6.00 | 120000.00 | 6.50 | 130000.00 | 7.00 | 140000.00 | 120000.00 | SAMTA INTERIORS
72.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. (a) 15 mm nominal bore | 25.00 | Each |  | 600.00 | 15000.00 | 750.00 | 18750.00 | 1200.00 | 30000.00 | 1500.00 | 37500.00 | 550.00 | 13750.00 | 600.00 | 15000.00 | 560.00 | 14000.00 | 500.00 | 12500.00 | 12500.00 | R S ELECTRICALS
73.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. (a) 15 mm nominal bore | 30.00 | Each |  | 600.00 | 18000.00 | 1000.00 | 30000.00 | 1500.00 | 45000.00 | 1500.00 | 45000.00 | 450.00 | 13500.00 | 550.00 | 16500.00 | 560.00 | 16800.00 | 300.00 | 9000.00 | 9000.00 | R S ELECTRICALS
74.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 (a)15mm nominal bore | 50.00 | Each |  | 600.00 | 30000.00 | 1000.00 | 50000.00 | 850.00 | 42500.00 | 1500.00 | 75000.00 | 450.00 | 22500.00 | 400.00 | 20000.00 | 420.00 | 21000.00 | 400.00 | 20000.00 | 20000.00 | SAMTA INTERIORS, R S ELECTRICALS
75.00 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 50.00 | Each |  | 200.00 | 10000.00 | 50.00 | 2500.00 | 110.00 | 5500.00 | 150.00 | 7500.00 | 50.00 | 2500.00 | 70.00 | 3500.00 | 70.00 | 3500.00 | 30.00 | 1500.00 | 1500.00 | R S ELECTRICALS
76.00 | Providing and fixing solid plastic seat with lid for pedestal type W.C. pan complete : (a) White solid plastic seat with lid | 25.00 | Each |  | 700.00 | 17500.00 | 500.00 | 12500.00 | 1750.00 | 43750.00 | 500.00 | 12500.00 | 450.00 | 11250.00 | 400.00 | 10000.00 | 450.00 | 11250.00 | 300.00 | 7500.00 | 7500.00 | R S ELECTRICALS
77.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 30.00 | Each |  | 500.00 | 15000.00 | 500.00 | 15000.00 | 780.00 | 23400.00 | 1200.00 | 36000.00 | 750.00 | 22500.00 | 500.00 | 15000.00 | 650.00 | 19500.00 | 450.00 | 13500.00 | 13500.00 | R S ELECTRICALS
78.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board (a) 510x1040 mm bowl depth 250 mm | 10.00 | Each |  | 5000.00 | 50000.00 | 2500.00 | 25000.00 | 9100.00 | 91000.00 | 8000.00 | 80000.00 | 4800.00 | 48000.00 | 2700.00 | 27000.00 | 3500.00 | 35000.00 | 4000.00 | 40000.00 | 25000.00 | CREATORS ENGINEERS AND INTERIORS
79.00 | Providing and fixing looking mirror of superior glass (of approved quality) of required shape and size with 12 mm thick commercial ply backing and 100 mm width laminated border made with 8 mm ply and 1 mm thick laminate including providing 20 mm wide PVC tape all around the mirror complete direction as per Engineer-in-Charge. | 50.00 | Sqm |  | 5000.00 | 250000.00 | 1000.00 | 50000.00 | 200.00 | 10000.00 | 2000.00 | 100000.00 | 950.00 | 47500.00 | 2700.00 | 135000.00 | 3500.00 | 175000.00 | 2000.00 | 100000.00 | 10000.00 | ANAND AUTOMATIC SYSTEMS DELHI
80.00 | Providing and fixing 600x120x5 mm glass shelf with edges round off, supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete. | 15.00 | Each |  | 2000.00 | 30000.00 | 200.00 | 3000.00 | 425.00 | 6375.00 | 500.00 | 7500.00 | 600.00 | 9000.00 | 450.00 | 6750.00 | 700.00 | 10500.00 | 600.00 | 9000.00 | 3000.00 | CREATORS ENGINEERS AND INTERIORS
81.00 | Providing and fixing toilet paper holder : (a) C.P. brass | 25.00 | Each |  | 1000.00 | 25000.00 | 700.00 | 17500.00 | 545.00 | 13625.00 | 1000.00 | 25000.00 | 520.00 | 13000.00 | 400.00 | 10000.00 | 250.00 | 6250.00 | 250.00 | 6250.00 | 6250.00 | ESS KAY CONSTRUCTIONS, R S ELECTRICALS
82.00 | Providing and fixing soil, waste and vent pipes : (a) 100 mm dia (i) Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 200.00 | Mtr. |  | 550.00 | 110000.00 | 120.00 | 24000.00 | 1300.00 | 260000.00 | 500.00 | 100000.00 | 900.00 | 180000.00 | 900.00 | 180000.00 | 850.00 | 170000.00 | 700.00 | 140000.00 | 24000.00 | CREATORS ENGINEERS AND INTERIORS
83.00 | Providing and fixing soil, waste and vent pipes : (a) 75 mm diameter i) Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 100.00 | Mtr. |  | 440.00 | 44000.00 | 110.00 | 11000.00 | 1175.00 | 117500.00 | 500.00 | 50000.00 | 850.00 | 85000.00 | 750.00 | 75000.00 | 800.00 | 80000.00 | 600.00 | 60000.00 | 11000.00 | CREATORS ENGINEERS AND INTERIORS
84.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. (a) 100 mm dia : i) Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 15.00 | each |  | 500.00 | 7500.00 | 200.00 | 3000.00 | 600.00 | 9000.00 | 500.00 | 7500.00 | 450.00 | 6750.00 | 420.00 | 6300.00 | 480.00 | 7200.00 | 330.00 | 4950.00 | 3000.00 | CREATORS ENGINEERS AND INTERIORS
85.00 | Providing and fixing single equal plain junction of required degree : i) 100 x 100 x 100mm a) Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 20.00 | Each |  | 500.00 | 10000.00 | 200.00 | 4000.00 | 680.00 | 13600.00 | 500.00 | 10000.00 | 550.00 | 11000.00 | 430.00 | 8600.00 | 500.00 | 10000.00 | 350.00 | 7000.00 | 4000.00 | CREATORS ENGINEERS AND INTERIORS
86.00 | Providing and fixing terminal guard. i) 100mm a) Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 10.00 | Each |  | 500.00 | 5000.00 | 100.00 | 1000.00 | 420.00 | 4200.00 | 500.00 | 5000.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 340.00 | 3400.00 | 225.00 | 2250.00 | 1000.00 | CREATORS ENGINEERS AND INTERIORS
87.00 | Providing and fixing shielded coupling for Hubless centrifugally cast iron pipe. i) 100mm dia a) SS 304 grade coupling with EPDM rubber gasket | 30.00 | Each |  | 500.00 | 15000.00 | 300.00 | 9000.00 | 410.00 | 12300.00 | 500.00 | 15000.00 | 350.00 | 10500.00 | 325.00 | 9750.00 | 350.00 | 10500.00 | 200.00 | 6000.00 | 6000.00 | R S ELECTRICALS
88.00 | Providing and fixing M.S stays and clamps for sand cast iron/centrifugally cast (spun) iron pipes of diameter. a) 100mm | 50.00 | Each |  | 500.00 | 25000.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 110.00 | 5500.00 | 125.00 | 6250.00 | 110.00 | 5500.00 | 70.00 | 3500.00 | 2500.00 | NCI GLOBAL INFRATECH
89.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : i) 100mm inlet and 100mm outlet a) Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 30.00 | Each |  | 500.00 | 15000.00 | 100.00 | 3000.00 | 1000.00 | 30000.00 | 500.00 | 15000.00 | 1350.00 | 40500.00 | 800.00 | 24000.00 | 650.00 | 19500.00 | 400.00 | 12000.00 | 3000.00 | CREATORS ENGINEERS AND INTERIORS
90.00 | Providing and fixing Chromium plated anti cockroach jali of approved make (Jaguar / Kohler / ESS) of 100 mm dia fixing over water outlet complete as per direction and satisfaction of Engineer-in-charge | 30.00 | Each |  | 500.00 | 15000.00 | 600.00 | 18000.00 | 250.00 | 7500.00 | 500.00 | 15000.00 | 150.00 | 4500.00 | 250.00 | 7500.00 | 1500.00 | 45000.00 | 450.00 | 13500.00 | 4500.00 | SIROHI CONSTRUCTION CO
91.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991, in true horizontal level suspended on interlocking metal powder coated T-Grid of hot dipped galvanised iron section of 0.40 mm thick on Silhouette profile,rotary stiched double webbed white with 6mm reveal profile (white/black),comprising of main-T runners of size 15x42mm of length 3000 mm, cross - T of size 15x42 mm of length 1200 mm and secondary intermediate crossT of size 15x42 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 22x19x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. a) With 15 mm thick integral densified micro edge light weight calcium silicate false ceiling tiles. | 1500.00 | Sqm |  | 1550.00 | 2325000.00 | 1290.00 | 1935000.00 | 1220.00 | 1830000.00 | 1500.00 | 2250000.00 | 1450.00 | 2175000.00 | 1495.00 | 2242500.00 | 1200.00 | 1800000.00 | 1250.00 | 1875000.00 | 1800000.00 | ESS KAY CONSTRUCTIONS
92.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. a) In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 3000.00 | Kg |  | 86.00 | 258000.00 | 60.00 | 180000.00 | 105.00 | 315000.00 | 100.00 | 300000.00 | 90.00 | 270000.00 | 87.00 | 261000.00 | 85.00 | 255000.00 | 90.00 | 270000.00 | 180000.00 | CREATORS ENGINEERS AND INTERIORS
93.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. b) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 5000.00 | Kg |  | 90.00 | 450000.00 | 60.00 | 300000.00 | 125.00 | 625000.00 | 100.00 | 500000.00 | 120.00 | 600000.00 | 87.00 | 435000.00 | 100.00 | 500000.00 | 100.00 | 500000.00 | 300000.00 | CREATORS ENGINEERS AND INTERIORS
94.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. a) Hot finished welded type tubes | 2000.00 | Kg |  | 90.00 | 180000.00 | 60.00 | 120000.00 | 120.00 | 240000.00 | 100.00 | 200000.00 | 115.00 | 230000.00 | 95.00 | 190000.00 | 105.00 | 210000.00 | 105.00 | 210000.00 | 120000.00 | CREATORS ENGINEERS AND INTERIORS
95.00 | P/F solid transparant compact polycarbonate sheet in all colour (Bronze/blue/green etc.) to be approved by EIC for building work partitions/roofing etc. and the similar works fixed with a steel frame work (frame work shall be paid for separately) with screws rawl plugs or nails etc as per requirements and manufacture specifications. The polycarbonate sheet shall be EASY CLEAN coating to be fixed over a MS pipe structure with aluminium channels (top plate and bottom plate to be fixed with a self tapping screw) and EPDM gaskets. The edges to be sealed with silicon sealants of G.E bayer silicones (weathersil) The work shall be completed as per satisfaction of EIC: a) 10mm thick polycorobate sheet | 100.00 | Sqm |  | 1500.00 | 150000.00 | 525.00 | 52500.00 | 1545.00 | 154500.00 | 1700.00 | 170000.00 | 850.00 | 85000.00 | 2700.00 | 270000.00 | 1400.00 | 140000.00 | 700.00 | 70000.00 | 52500.00 | CREATORS ENGINEERS AND INTERIORS
96.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 300.00 | Sqm |  | 671.00 | 201300.00 | 475.00 | 142500.00 | 710.00 | 213000.00 | 750.00 | 225000.00 | 550.00 | 165000.00 | 540.00 | 162000.00 | 550.00 | 165000.00 | 470.00 | 141000.00 | 141000.00 | R S ELECTRICALS
97.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 50.00 | metre |  | 400.00 | 20000.00 | 340.00 | 17000.00 | 420.00 | 21000.00 | 300.00 | 15000.00 | 400.00 | 20000.00 | 500.00 | 25000.00 | 550.00 | 27500.00 | 300.00 | 15000.00 | 15000.00 | NCI GLOBAL INFRATECH, R S ELECTRICALS
98.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Gutter (600 mm over all girth) | 50.00 | metre |  | 900.00 | 45000.00 | 490.00 | 24500.00 | 425.00 | 21250.00 | 300.00 | 15000.00 | 900.00 | 45000.00 | 530.00 | 26500.00 | 550.00 | 27500.00 | 325.00 | 16250.00 | 15000.00 | NCI GLOBAL INFRATECH
99.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for therequired duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineerin-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. (Note: This item will be paid once for all activities such as strucutural steel work,roofing,wall,painitng etc. for corridor area.) | 1000.00 | sqm |  | 200.00 | 200000.00 | 140.00 | 140000.00 | 82.00 | 82000.00 | 200.00 | 200000.00 | 175.00 | 175000.00 | 75.00 | 75000.00 | 180.00 | 180000.00 | 120.00 | 120000.00 | 75000.00 | SAMTA INTERIORS
100.00 | Providing and laying water proofing treatment on roofs of slabs by applying cement slurry mixed with water proofing cement compound consisting of applying: (a) after surface preparation, first layer of slurry of cement @0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. (b) laying second layer of Fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. (c) third layer of 1.5 mm thickness consisting of slurry of cement @ 1.289 kg/sqm mixed with water proofing cement compound @ 0.670 kg/sqm and coarse sand @ 1.289 kg/sqm. This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. (d) fourth and final layer of brick tiling with cement mortar (which will be paid for separately. For the purpose of measurement the entire treated surface will be measured. | 3000.00 | Sqm |  | 600.00 | 1800000.00 | 440.00 | 1320000.00 | 375.00 | 1125000.00 | 400.00 | 1200000.00 | 425.00 | 1275000.00 | 80.00 | 240000.00 | 460.00 | 1380000.00 | 460.00 | 1380000.00 | 240000.00 | SAMTA INTERIORS
101.00 | Providing and fixing factory made 18 mm thick single extruded WPC (Wood Polymer Composite) solid plain white colour board Jali, CNC (Computer numeric control) routed of approved design by Engineer-in -charge which are machine cut for duct/shaft covering, partitions and facades comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium corbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives(maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with properties of being ermite/borer proof, water/moisture proof and fire retardant and fixing on M.S (mild steel) frame made of 25 x 25 x 1.5 mm square hollow box section including applying a priming coat of approved steel primer, placed at grid made at 1.0 x 1.0 m or as per requirement at site with necessary stainless steel fasteners and SS screws etc., all complete as per direction of Engineer-In- Charge. (Note: M.S (mild steel) framework with priming coat and necessary SS fasteners and SS screws shall be paid separately. | 50.00 | Sqm |  | 2000.00 | 100000.00 | 800.00 | 40000.00 | 3000.00 | 150000.00 | 1800.00 | 90000.00 | 2800.00 | 140000.00 | 2350.00 | 117500.00 | 1700.00 | 85000.00 | 2474.00 | 123700.00 | 40000.00 | CREATORS ENGINEERS AND INTERIORS
102.00 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge. (a) 50mm average thickness | 200.00 | sqm |  | 200.00 | 40000.00 | 200.00 | 40000.00 | 70.00 | 14000.00 | 200.00 | 40000.00 | 150.00 | 30000.00 | 40.00 | 8000.00 | 150.00 | 30000.00 | 150.00 | 30000.00 | 8000.00 | SAMTA INTERIORS
103.00 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge. (a) 25mm average thickness | 200.00 | sqm |  | 90.00 | 18000.00 | 200.00 | 40000.00 | 50.00 | 10000.00 | 200.00 | 40000.00 | 140.00 | 28000.00 | 40.00 | 8000.00 | 125.00 | 25000.00 | 150.00 | 30000.00 | 8000.00 | SAMTA INTERIORS
104.00 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. (a) SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | 400.00 | sqm |  | 110.00 | 44000.00 | 200.00 | 80000.00 | 100.00 | 40000.00 | 150.00 | 60000.00 | 95.00 | 38000.00 | 40.00 | 16000.00 | 100.00 | 40000.00 | 90.00 | 36000.00 | 16000.00 | SAMTA INTERIORS
105.00 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). (a) 25 mm average thickness. | 400.00 | sqm |  | 450.00 | 180000.00 | 200.00 | 80000.00 | 323.00 | 129200.00 | 700.00 | 280000.00 | 480.00 | 192000.00 | 80.00 | 32000.00 | 370.00 | 148000.00 | 420.00 | 168000.00 | 32000.00 | SAMTA INTERIORS
106.00 | Providing and injecting approved grout in proportion recommended by the manufacturer into cracks/honey-comb area of concrete/ masonry by suitable gun/pump at required pressure including cutting of nipples after curing etc. complete as per directions of Engineer-in-Charge. (The payment shall be made on the basis of actual weight of approved grout injected.) (a) Epoxy injection grout in concrete/RCC work of approved make | 500.00 | kg |  | 1000.00 | 500000.00 | 230.00 | 115000.00 | 585.00 | 292500.00 | 200.00 | 100000.00 | 690.00 | 345000.00 | 50.00 | 25000.00 | 600.00 | 300000.00 | 600.00 | 300000.00 | 25000.00 | SAMTA INTERIORS
107.00 | Providing and inserting 12mm dia galvanised steel injection nipple in honey comb area and along crack line including drilling of holes of required diametre (20mm to 30mm) up to depth from 30mm to 80mm at required spacing and making the hole & crack dust free by blowing compressed air, sealing the distance between injection nipple with adhesive chemical of approved make and allow it to cure complete as per direction of Engineer-In-Charge. | 100.00 | each |  | 200.00 | 20000.00 | 50.00 | 5000.00 | 120.00 | 12000.00 | 100.00 | 10000.00 | 190.00 | 19000.00 | 85.00 | 8500.00 | 180.00 | 18000.00 | 150.00 | 15000.00 | 5000.00 | CREATORS ENGINEERS AND INTERIORS
| Total in Figures |  |  |  |  | 17265300.00 |  | 12445250.00 |  | 16270150.00 |  | 17685500.00 |  | 15531500.00 |  | 12524650.00 |  | 14176900.00 |  | 13371700.00
Lowest Amount Quoted BY: CREATORS ENGINEERS AND INTERIORS(12445250.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of buildings in Air India Complex at Safdarjung Airport, New Delhi to be used for AAI offices for the year 2023-24 (Recall) Tender ID: 2023_AAI_160371_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CREATORS ENGINEERS AND INTERIORS | 12445250.00 | L1
| 2 | SAMTA INTERIORS | 12524650.00 | L2
| 3 | R S ELECTRICALS | 13371700.00 | L3
| 4 | ESS KAY CONSTRUCTIONS | 14176900.00 | L4
| 5 | SIROHI CONSTRUCTION CO | 15531500.00 | L5
| 6 | ANAND AUTOMATIC SYSTEMS DELHI | 16270150.00 | L6
| 7 | M/S SATPAL MALIK AND SONS | 17265300.00 | L7
| 8 | NCI GLOBAL INFRATECH | 17685500.00 | L8