## BoQ1
Government eProcurement System Created By: Jagannath singh Deshmukh Created Date/Time: 19-Jul-2023 11:43 AM Tender Title: Extension of CISF barrack and associated work at Rajkot Airport (SH Electrical Works) Tender ID: 2023_AAI_160631_1
Tender Inviting Authority: SM (E E), AAI, CA Rajkot.
Name of Work: Extension of CISF barrack and associated work at Rajkot Airport (SH : Electrical Works)
Contract No: AAI/RAJ/SM(E-E)/NIT-03/23-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Rudraksha Enterprise(GSTN-24AANFR7954B1Z1) |  | DC ELECTRICS(GSTN-24AWYPC0029K1ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 Sq. mm. FRLS, PVC insulated, copper conductor single core cable in surface/ recessed PVC conduit with modular switch, modular plate, suitable G.I. box and earthnig the point with 1.5 sq.mm FRLS PVC insulated, copper conductor single core cable etc. as required: (Group -C) | 60.00 | Point |  | 2000.00 | 120000.00 | 1300.00 | 78000.00 | 650.00 | 39000.00 | 39000.00 | DC ELECTRICS
2.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps moudular socket outlet and 15/16 amps modular switch, connection etc.as reqd. | 18.00 | Each |  | 500.00 | 9000.00 | 500.00 | 9000.00 | 500.00 | 9000.00 | 9000.00 | CENTRE TAP ENGINEERING, Rudraksha Enterprise, DC ELECTRICS
3.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps moudular socket outlet and 5/6 amps modular switch, connection etc.as reqd. | 32.00 | Each |  | 450.00 | 14400.00 | 450.00 | 14400.00 | 500.00 | 16000.00 | 14400.00 | CENTRE TAP ENGINEERING, Rudraksha Enterprise
4.00 | Supplying and fixing 4 way (4+12 way), Double Door, prewired TP & N MCB, distribution board of steel sheet for 415 volts, on surface/ recess, complete with loose wire box, terminal connectors for all incoming and outgoing circuits, duly prewired with suitable size FRLS PVC insulated copper conductor up to terminal blocks, tinne copper bus bar, neutral link, earth bar, din bar, detachable gland plate, interconnections, power painted including earthing etc. as required. (But without MCB /RCCB/ Isolator). | 1.00 | Each |  | 6000.00 | 6000.00 | 7400.00 | 7400.00 | 4500.00 | 4500.00 | 4500.00 | DC ELECTRICS
5.00 | Supplying and fixing 6 way , Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 3.00 | Each |  | 1000.00 | 3000.00 | 2200.00 | 6600.00 | 850.00 | 2550.00 | 2550.00 | DC ELECTRICS
6.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated, Copper conductor, single core cable in surface/recessed PVC conduit as required. A) 2 x 2.5 sqmm + 1 x 2.5 sqmm earth wire. | 60.00 | Mtr |  | 300.00 | 18000.00 | 250.00 | 15000.00 | 250.00 | 15000.00 | 15000.00 | Rudraksha Enterprise, DC ELECTRICS
7.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated, Copper conductor, single core cable in surface/recessed PVC conduit as required. B) 2 x 4 sqmm + 1 x 4 sqmm earth wire. | 80.00 | Mtr |  | 400.00 | 32000.00 | 320.00 | 25600.00 | 350.00 | 28000.00 | 25600.00 | Rudraksha Enterprise
8.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated, Copper conductor, single core cable in surface/recessed PVC conduit as required. C) 2 x 4 sqmm + 1 x 4 sqmm earth wire. | 40.00 | Mtr |  | 300.00 | 12000.00 | 500.00 | 20000.00 | 350.00 | 14000.00 | 12000.00 | CENTRE TAP ENGINEERING
9.00 | Supplying and fixing following modular type switch/ socket on the existing switch box/ cover including all necessary connections etc. as required. A) 5/6 amps switch | 7.00 | Each |  | 50.00 | 350.00 | 90.00 | 630.00 | 250.00 | 1750.00 | 350.00 | CENTRE TAP ENGINEERING
10.00 | Supplying and fixing following modular type switch/ socket on the existing switch box/ cover including all necessary connections etc. as required. B) 3 pin 5/6 A socket outlet | 7.00 | Each |  | 200.00 | 1400.00 | 110.00 | 770.00 | 250.00 | 1750.00 | 770.00 | Rudraksha Enterprise
11.00 | Supplying and fixing following modular type switch/ socket on the existing switch box/ cover including all necessary connections etc. as required. C) Two module stepped type Fan Regulator | 14.00 | Each |  | 400.00 | 5600.00 | 350.00 | 4900.00 | 450.00 | 6300.00 | 4900.00 | Rudraksha Enterprise
12.00 | Supply of 20-22 Watt LED Glaze Tube Light Luminaire (white), operating for 240 Volts, 50 Hz supply etc., as required. | 32.00 | Each |  | 500.00 | 16000.00 | 170.00 | 5440.00 | 650.00 | 20800.00 | 5440.00 | Rudraksha Enterprise
13.00 | Installation, testing and commissioning of pre-wired, LED fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 32.00 | Each |  | 150.00 | 4800.00 | 190.00 | 6080.00 | 150.00 | 4800.00 | 4800.00 | CENTRE TAP ENGINEERING, DC ELECTRICS
14.00 | Supply of high efficiency energy saving 5 star ceiling fan including accessories like down rod, brass hook clamp etc; complete with all necessary connections as required. | 14.00 | Each |  | 3500.00 | 49000.00 | 2300.00 | 32200.00 | 2500.00 | 35000.00 | 32200.00 | Rudraksha Enterprise
15.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 14.00 | Each |  | 300.00 | 4200.00 | 200.00 | 2800.00 | 250.00 | 3500.00 | 2800.00 | Rudraksha Enterprise
16.00 | Supply of 300 mm sweep, double ball bearing, heavy duty, 1400 rpm, exhaust fan suitable to operate on 230 volt 50 Hz ac supply along with fixing arrangement accessories with louver/sutters complete as required. | 14.00 | Each |  | 1500.00 | 21000.00 | 2000.00 | 28000.00 | 3500.00 | 49000.00 | 21000.00 | CENTRE TAP ENGINEERING
17.00 | Supply of following sizes of XLPE insulated PVC sheathed, Aluminium conductor armoured electric cable of 1.1 KV grade confirming to IS 7098 PART-I with upto date amended. A) 4C x 16 Sq.mm | 150.00 | Mtr |  | 140.00 | 21000.00 | 220.00 | 33000.00 | 150.00 | 22500.00 | 21000.00 | CENTRE TAP ENGINEERING
18.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. A) Upto 35 sq. mm (clamped with 1mm thick saddle) | 30.00 | Mtr |  | 100.00 | 3000.00 | 50.00 | 1500.00 | 50.00 | 1500.00 | 1500.00 | Rudraksha Enterprise, DC ELECTRICS
19.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 150.00 | Mtr |  | 50.00 | 7500.00 | 50.00 | 7500.00 | 50.00 | 7500.00 | 7500.00 | CENTRE TAP ENGINEERING, Rudraksha Enterprise, DC ELECTRICS
| Total in Figures |  |  |  |  | 348250.00 |  | 298820.00 |  | 282450.00
Lowest Amount Quoted BY: DC ELECTRICS(282450.00)

## BOQ Summary
BOQ Summary Details Tender Title: Extension of CISF barrack and associated work at Rajkot Airport (SH Electrical Works) Tender ID: 2023_AAI_160631_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DC ELECTRICS | 282450.00 | L1
| 2 | Rudraksha Enterprise | 298820.00 | L2
| 3 | CENTRE TAP ENGINEERING | 348250.00 | L3