## BoQ1
Government eProcurement System Created By: SUBBIAN VELUSWAMY SENTHIL KUMAR Created Date/Time: 21-Aug-2023 05:31 PM Tender Title: ARMO of E and M Installations at Coimbatore International Airport for the year 2023-24 and 2024-25. SH. Operation and Maintenance of Fire Fighting and CMC of Fire Alarm System (For 2 years) Tender ID: 2023_AAI_161341_1
Tender Inviting Authority: Asst.Gen.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: ARMO of E&M Installations at Coimbatore International Airport for the year 2023-24 & 2024-25. SH: Operation and Maintenace of Fire Fighting and CMC of Fire Alarm sytem (For 2 Years).
Tender ID: 2023_AAI_161341_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Subhead - I Operation and Maintenance
1.10 | Operation, Monitoring and Maintenance of Fire hydrant, Sprinkler Systems & Operation and Monitoring of Fire Alarm system on round the clock basis including maintaining records/ reports/ Supervision of the total system at Coimbatore Airport as per specifications & directions of Engineer-In-Charge. The scope of work includes carrying out monthly preventive maintenance as per OEM standards as per inventory, attending breakdown maintenance within 24 hours of intimation through telephone/mail. (Refer Annexure-A1 for inventory of equipments, Annexure-B1 for monitoring & maintenance activities, Annexure-C Man power details) | 24.00 | Months |  | 410000.00 | 9840000.00 | 426999.00 | 10247976.00 | 9840000.00 | CENTRE TAP ENGINEERING
2.00 | Comprehensive maintenance of fire alarm & smoke detection system ( comprises Conventional & addressable system) installed at Coimbatore International Airport comprising of installations in terminal building, NAV-AID building (DVOR, LLZ, NDB, GP, MT section, cargo etc..) as detailed in annexure of equipments. This item is for supply/repair of the fauly/failure componenets, correcting/ up-dating the software with original software according to the requirement, relevant accessories, tools and any specialized man power resources required to complete the works. (Manpower provided in Item No. 1 shal be used for maintenance)
2.11 | First Year | 12.00 | Months |  | 5000.00 | 60000.00 | 15000.00 | 180000.00 | 60000.00 | CENTRE TAP ENGINEERING
2.12 | Second Year | 12.00 | Months |  | 5500.00 | 66000.00 | 15000.00 | 180000.00 | 66000.00 | CENTRE TAP ENGINEERING
3.00 | Inspection service contract for Kirloskar make Diesel Engines located at fire fighting pump room as per Manufacturer's standard Instructions/ catalogues/ Practices as required. Model-6R1080T.
3.13 | First Year | 12.00 | Months |  | 2000.00 | 24000.00 | 3000.00 | 36000.00 | 24000.00 | CENTRE TAP ENGINEERING
3.14 | Second Year | 12.00 | Months |  | 2200.00 | 26400.00 | 3000.00 | 36000.00 | 26400.00 | CENTRE TAP ENGINEERING
4.00 | Subhead- II Works (Separate manpower other than manpower mentioned in SH:I should be deputed to carry our the works as when and required)
4.10 | Dismantling of existing split case/ radially split case type Centrifugal pump sets of following make/ models for necessary overhauling/ repairing i/c supply and replacement of both side bearings, mechanical seal, petty materials like stud bolts, gland packing, gasket, rubber bush for coupling, greasing of bearings, reassembling, realignment of the pump with motor, testing, commissioning and painting etc. complete as required. (Once in a year)
4.11 | Main Electrical Pump, 75 HP/171 cum/hr. Mather Platt make | 2.00 | Nos |  | 20000.00 | 40000.00 | 50000.00 | 100000.00 | 40000.00 | CENTRE TAP ENGINEERING
4.12 | Diesel Pump 72 HP/171 cum/hr. Mather Platt make | 2.00 | Nos |  | 20000.00 | 40000.00 | 50000.00 | 100000.00 | 40000.00 | CENTRE TAP ENGINEERING
4.13 | Jockey pump 10 HP, Monoblock Suguna make | 2.00 | Nos |  | 10000.00 | 20000.00 | 17000.00 | 34000.00 | 20000.00 | CENTRE TAP ENGINEERING
5.00 | Dismantling of following valves from the existing fire fighting water pipe line, Complete removal of scale deposits by acid dipping, scrapping and overhauling, replacement of packings, nut & bolts and gaskets etc. as required & reinstalling the same in its original postion i/c. testing and commissioing complete as required. For 0.5 inch to 1 inch Gate/Non Return/Globe/Foot valves | 15.00 | Nos |  | 500.00 | 7500.00 | 200.00 | 3000.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
6.00 | Providing laying, testing & commissioning of 'C' class heavy duty MS Pipe conforming to IS 1239/3589 i/c fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. The scope of work includes dismantling of old pipe lines if required.
6.10 | 80mm | 20.00 | Mtr |  | 700.00 | 14000.00 | 999.00 | 19980.00 | 14000.00 | CENTRE TAP ENGINEERING
6.20 | 100mm | 80.00 | Mtr |  | 1200.00 | 96000.00 | 1999.00 | 159920.00 | 96000.00 | CENTRE TAP ENGINEERING
6.30 | 150mm | 125.00 | Mtr |  | 1400.00 | 175000.00 | 3000.00 | 375000.00 | 175000.00 | CENTRE TAP ENGINEERING
6.40 | 200mm | 70.00 | Mtr |  | 2000.00 | 140000.00 | 4299.00 | 300930.00 | 140000.00 | CENTRE TAP ENGINEERING
7.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe which are under the ground, under all types of flooring/ bituminous surface/ concrete surface, supplying and installing new MS Heavy class pipes with suitable 4mm thick insulation wrapping tar sheet etc., complete with flanges, bends, tees, supports etc., by welding with approved make & specifications as required. The scope of work includes dismantling of old pipe lines if required.
7.10 | 80mm | 75.00 | Mtr |  | 800.00 | 60000.00 | 999.00 | 74925.00 | 60000.00 | CENTRE TAP ENGINEERING
7.20 | 100mm | 100.00 | Mtr |  | 1400.00 | 140000.00 | 2100.00 | 210000.00 | 140000.00 | CENTRE TAP ENGINEERING
7.30 | 150mm | 175.00 | Mtr |  | 1600.00 | 280000.00 | 3300.00 | 577500.00 | 280000.00 | CENTRE TAP ENGINEERING
7.40 | 200mm | 40.00 | Mtr |  | 2200.00 | 88000.00 | 4999.00 | 199960.00 | 88000.00 | CENTRE TAP ENGINEERING
8.00 | Dismantling of old/unserviceable Butterfly valves. Supplying, fixing, testing and commissioning of wafer type butterfly valve of PN 1.6 rating with SS disc nitrile liner with flow control lever duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required :
8.10 | 50mm dia (PN 16 Rated) | 4.00 | Nos |  | 5000.00 | 20000.00 | 4000.00 | 16000.00 | 16000.00 | DElite System Engineering (India) Pvt. Ltd.
8.20 | 80mm dia (PN 16 Rated) | 2.00 | Nos |  | 8000.00 | 16000.00 | 4000.00 | 8000.00 | 8000.00 | DElite System Engineering (India) Pvt. Ltd.
8.30 | 100mm dia (PN 16 Rated) | 7.00 | Nos |  | 10000.00 | 70000.00 | 7000.00 | 49000.00 | 49000.00 | DElite System Engineering (India) Pvt. Ltd.
8.40 | 150mm dia (PN 16 Rated) | 20.00 | Nos |  | 15000.00 | 300000.00 | 7000.00 | 140000.00 | 140000.00 | DElite System Engineering (India) Pvt. Ltd.
8.50 | 200mm dia (PN 16 Rated) | 2.00 | Nos |  | 20000.00 | 40000.00 | 15000.00 | 30000.00 | 30000.00 | DElite System Engineering (India) Pvt. Ltd.
9.00 | Supplying and fixing the following size of Non return valves/ check Valve ( ball/ round type) approved make after dismantling the existing damaged one i/c replacement of the gasket, nut, bolts etc. as required.
9.10 | 50 mm Non Return | 3.00 | Nos |  | 3000.00 | 9000.00 | 3500.00 | 10500.00 | 9000.00 | CENTRE TAP ENGINEERING
9.20 | 80 mm Non Return | 2.00 | Nos |  | 4000.00 | 8000.00 | 4500.00 | 9000.00 | 8000.00 | CENTRE TAP ENGINEERING
9.30 | 150 mm Non Return | 4.00 | Nos |  | 10000.00 | 40000.00 | 7999.00 | 31996.00 | 31996.00 | DElite System Engineering (India) Pvt. Ltd.
10.00 | Supplying and fixing the following size of foot valves of approved make after lifting the pipe, dismantling the existing damaged one i/c replacement of the gasket, nut, bolts etc. complete as required.
10.10 | 100 mm dia | 2.00 | Nos |  | 8000.00 | 16000.00 | 2500.00 | 5000.00 | 5000.00 | DElite System Engineering (India) Pvt. Ltd.
10.20 | 200mm dia | 1.00 | Nos |  | 15000.00 | 15000.00 | 3000.00 | 3000.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
11.00 | Providing, fixing, testing & commissioning of installation control valve of cast iron body, brass/bronze working parts comprising of water motor alarm, bronze seat clapper, clapper arm and hydraulically driven mechanical gong bell to sound continuous alarm when the wet riser/sprinkler system activates, pressure gauges, emergency releases, strainer, pressure switch, cock valve complete with drain valve and bypass, test control box, ball valves, MS pipe of required size, flanges, orifice plate, gasket etc of follwing sizes as required : | 1.00 | Nos |  | 50000.00 | 50000.00 | 42000.00 | 42000.00 | 42000.00 | DElite System Engineering (India) Pvt. Ltd.
12.00 | Supplying and fixing the following size of Gate valve of approved make after dismantling the existing damaged one i/c replacement of the gasket, nut, bolts etc. as required.
12.10 | 0.5 inch Gate valves | 7.00 | Nos |  | 500.00 | 3500.00 | 1499.00 | 10493.00 | 3500.00 | CENTRE TAP ENGINEERING
12.20 | 1 inch Gate valves | 5.00 | Nos |  | 600.00 | 3000.00 | 1599.00 | 7995.00 | 3000.00 | CENTRE TAP ENGINEERING
13.00 | Supply and replacement of 1/2 inch pipe dia Pressure gauges, 0-200PSI, as per the approved make, specifications & directions of E.I.C. | 3.00 | Nos |  | 2000.00 | 6000.00 | 1799.00 | 5397.00 | 5397.00 | DElite System Engineering (India) Pvt. Ltd.
14.00 | Supply & replacement of pressure switch suitable for the existing system with a pressure range of 1 to 10 Bar. | 3.00 | Nos |  | 4000.00 | 12000.00 | 2500.00 | 7500.00 | 7500.00 | DElite System Engineering (India) Pvt. Ltd.
15.00 | Wrapping of existing Mild steel pipe with suitable 4mm thick anticorrosive treatment with coaltar/asphalt tape as per IS 10221 as per the specifications & directions of E.I.C. | 40.00 | Sq Mtr |  | 300.00 | 12000.00 | 399.00 | 15960.00 | 12000.00 | CENTRE TAP ENGINEERING
16.00 | Supply and fixing of 25mm GM Air release valve (Screwed type) | 2.00 | Nos |  | 3500.00 | 7000.00 | 1999.00 | 3998.00 | 3998.00 | DElite System Engineering (India) Pvt. Ltd.
17.00 | Suppy & fixing of hose reel drum set with hose 20mm x 30 mtr, hose reel nozzle with nut, bolt, clamp etc. complete as required. | 3.00 | Nos |  | 8000.00 | 24000.00 | 7000.00 | 21000.00 | 21000.00 | DElite System Engineering (India) Pvt. Ltd.
18.00 | Supplying & fixing of hose reel nozzle with exisiting suitable nut and bolt etc. complete as required. | 4.00 | Nos |  | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 4000.00 | CENTRE TAP ENGINEERING
19.00 | Supplying & fixing of cotton linen hose with length of 15 meters with suitable couplings etc, complete as required. | 6.00 | Nos |  | 5000.00 | 30000.00 | 4000.00 | 24000.00 | 24000.00 | DElite System Engineering (India) Pvt. Ltd.
20.00 | Providing & fixing of suitable glass with screws and nuts with fire box etc. complete as required. | 15.00 | Each |  | 500.00 | 7500.00 | 4000.00 | 60000.00 | 7500.00 | CENTRE TAP ENGINEERING
21.00 | Supplying/ Providing & fixing of single headed fire hydrant landing valve with suitable bolt nuts and gaskets, etc., complete as required. | 3.00 | Each |  | 8000.00 | 24000.00 | 5200.00 | 15600.00 | 15600.00 | DElite System Engineering (India) Pvt. Ltd.
22.00 | Providing & Fixing of Repeater Panel complete as required. | 2.00 | Each |  | 50000.00 | 100000.00 | 42000.00 | 84000.00 | 84000.00 | DElite System Engineering (India) Pvt. Ltd.
23.00 | Fabrication, Supply and Fixing of M.S work by welding, providing lifting hook, painting etc., as required. | 300.00 | Kg |  | 150.00 | 45000.00 | 130.00 | 39000.00 | 39000.00 | DElite System Engineering (India) Pvt. Ltd.
24.00 | Providing one welder and one Khalasi along with Electric welding/ gas cutting machine and welding rods/ Oxygen Acetlyne gas for carrrying out leak arresting/ welding of fire fighting lines or other welding works during any urgent Preventive Maintenance/Breakdown Maintenance/ Emergency work as and when required. | 10.00 | Days |  | 3000.00 | 30000.00 | 1250.00 | 12500.00 | 12500.00 | DElite System Engineering (India) Pvt. Ltd.
25.00 | Disconnecting and dismantling of burnt out Induction motor from the system. Complete dismantling of burntout stator winding and thorough cleaning of stator slots. Rewinding the stator with equivalent Class copper wire and insulating materials i/c. baking, varnishing, finishing and refixing the stator in the motor frame & re-installation in Fire pump room including transportation to and fro from Pump room etc as required.
25.10 | 55KW | 1.00 | Job |  | 20000.00 | 20000.00 | 9000.00 | 9000.00 | 9000.00 | DElite System Engineering (India) Pvt. Ltd.
25.20 | 7.5 KW/10 HP Monoblock | 1.00 | Job |  | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 9000.00 | DElite System Engineering (India) Pvt. Ltd.
26.00 | Painting of metals surfaces/pipes/strucutres with Synthetic enamel paint of approved shade and colour in two or more coats to give an even shade including cleaning/ scrapping and remarking the existing indications/numbers/details with white paint/sticker etc., as required. | 1200.00 | Sq Mtr |  | 200.00 | 240000.00 | 199.00 | 238800.00 | 238800.00 | DElite System Engineering (India) Pvt. Ltd.
27.00 | Providing Minor Civil Repair Works as required as detailed below:
27.01 | Earth work (all types of soil) in excavation by mechanical means (Hydraulic excavator) /manual means including disposal of excavated earth, disposed earth to be levelled and neatly dressed. | 100.00 | Cum |  | 500.00 | 50000.00 | 399.00 | 39900.00 | 39900.00 | DElite System Engineering (India) Pvt. Ltd.
27.02 | Demolishing cement concrete manually/mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - Charge. | 6.00 | Cum |  | 600.00 | 3600.00 | 1500.00 | 9000.00 | 3600.00 | CENTRE TAP ENGINEERING
27.03 | Dismantling manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge - bituminous road | 50.00 | Sqm |  | 500.00 | 25000.00 | 300.00 | 15000.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd.
27.04 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 15.00 | Cum |  | 500.00 | 7500.00 | 399.00 | 5985.00 | 5985.00 | DElite System Engineering (India) Pvt. Ltd.
27.05 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 10.00 | Sqm |  | 500.00 | 5000.00 | 499.00 | 4990.00 | 4990.00 | DElite System Engineering (India) Pvt. Ltd.
27.06 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 15.00 | Cum |  | 250.00 | 3750.00 | 1200.00 | 18000.00 | 3750.00 | CENTRE TAP ENGINEERING
27.07 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 fine sand derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources). | 3.00 | Cum |  | 500.00 | 1500.00 | 8000.00 | 24000.00 | 1500.00 | CENTRE TAP ENGINEERING
27.08 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 10.00 | Cum |  | 5000.00 | 50000.00 | 10000.00 | 100000.00 | 50000.00 | CENTRE TAP ENGINEERING
27.09 | Cement plaster 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement. 12 mm cement plaster | 25.00 | Sqm |  | 1000.00 | 25000.00 | 499.00 | 12475.00 | 12475.00 | DElite System Engineering (India) Pvt. Ltd.
27.10 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 3.00 | Cum |  | 2500.00 | 7500.00 | 9000.00 | 27000.00 | 7500.00 | CENTRE TAP ENGINEERING
27.11 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Mild steel and Medium Tensile steel bars | 140.00 | Kg |  | 100.00 | 14000.00 | 120.00 | 16800.00 | 14000.00 | CENTRE TAP ENGINEERING
27.12 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Suspended floors, roofs, landings, balconies and access platform | 10.00 | Sqm |  | 1000.00 | 10000.00 | 700.00 | 7000.00 | 7000.00 | DElite System Engineering (India) Pvt. Ltd.
27.13 | Supply of concrete closing lid for the constructed chamber & it shall withstand the load needs according to the location usage | 10.00 | Each |  | 1000.00 | 10000.00 | 5000.00 | 50000.00 | 10000.00 | CENTRE TAP ENGINEERING
28.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) loop powered addressable Hooter-cum- strobe with inbuilt fault isolator with termination etc. as required and as per enclosed specification. | 5.00 | Each |  | 3000.00 | 15000.00 | 9000.00 | 45000.00 | 15000.00 | CENTRE TAP ENGINEERING
29.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) loop powered addressable isolator module with termination etc. as required and as per enclosed specification. | 15.00 | Each |  | 3000.00 | 45000.00 | 3500.00 | 52500.00 | 45000.00 | CENTRE TAP ENGINEERING
30.00 | Supply of 2 core 1.5 Sq.mm Copper conductor overall PVC sheathed GI wire Braided (flexible Armoured) FRLS grade cable complete as required. | 150.00 | Mtr |  | 80.00 | 12000.00 | 89.00 | 13350.00 | 12000.00 | CENTRE TAP ENGINEERING
31.00 | Laying of 2 x 1.5 sqmm FRLS armoured cable, 600 / 1000V rated with annealed copper conductor as per applicable IS standared complete as required. | 150.00 | Mtr |  | 40.00 | 6000.00 | 59.00 | 8850.00 | 6000.00 | CENTRE TAP ENGINEERING
32.00 | Supply of B-Check spares including transportation,loading,unloading etc complete as required.
32.10 | KOEL CARE Super Genuine oil | 40.00 | Ltr |  | 300.00 | 12000.00 | 225.00 | 9000.00 | 9000.00 | DElite System Engineering (India) Pvt. Ltd.
32.20 | SPINON LUBE OIL FILTER | 6.00 | Each |  | 4000.00 | 24000.00 | 999.00 | 5994.00 | 5994.00 | DElite System Engineering (India) Pvt. Ltd.
32.30 | FUEL FILTER KIT 1.1 LTR | 4.00 | Each |  | 3000.00 | 12000.00 | 999.00 | 3996.00 | 3996.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  |  | 12617750.00 |  | 14220770.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(12617750.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Coimbatore International Airport for the year 2023-24 and 2024-25. SH. Operation and Maintenance of Fire Fighting and CMC of Fire Alarm System (For 2 years) Tender ID: 2023_AAI_161341_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 12617750.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 14220770.00 | L2