## BoQ1
Government eProcurement System Created By: MAYANK YADAV Created Date/Time: 28-Aug-2023 05:11 PM Tender Title: Miscellaneous Electrical Works at Civil Airport, Bikaner SH Provision of Electrical works for Security Watch Tower Hut Apron Side and Boom Barrier Cabin City Side Tender ID: 2023_AAI_161796_1
Tender Inviting Authority: Asst. General Manager Engg.- E, Airports Authority of India, Civil Airport, Jodhpur
Name of Work:- “Miscellaneous Electrical Works at Civil Airport, Bikaner SH: - Provision of Electrical works for Security Watch Tower / Hut Apron Side & Boom Barrier Cabin City Side.”
CPP Portal-Tender ID.: 2023_AAI_161796_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s SUPERTECH ENGINEERS(GSTN-03AAPFS4823A1ZI) |  | Subham Electrical(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. (Group - C) | 28.00 | Point | 0.00 | 1600.00 | 44800.00 | 2100.00 | 58800.00 | 44800.00 | M/s SUPERTECH ENGINEERS
2.00 | Wiring for Circuit wiring alongwith earth wire with the 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required | 100.00 | Meter | 0.00 | 310.00 | 31000.00 | 445.00 | 44500.00 | 31000.00 | M/s SUPERTECH ENGINEERS
3.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Meter | 0.00 | 350.00 | 35000.00 | 520.00 | 52000.00 | 35000.00 | M/s SUPERTECH ENGINEERS
4.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 7.00 | Each | 0.00 | 450.00 | 3150.00 | 480.00 | 3360.00 | 3150.00 | M/s SUPERTECH ENGINEERS
5.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 7.00 | Each | 0.00 | 600.00 | 4200.00 | 622.00 | 4354.00 | 4200.00 | M/s SUPERTECH ENGINEERS
6.00 | Supply of 20 watt LED tube light surface mounted suitable for operation on 230 volt,50Hz AC supply, complete etc as required. | 14.00 | Each | 0.00 | 300.00 | 4200.00 | 240.00 | 3360.00 | 3360.00 | Subham Electrical
7.00 | Supply of 1200mm sweep ceiling fan (5 Star rating) complete with downrod, fan blades and step type electronic regulator complete with all accessories as required. | 11.00 | Each | 0.00 | 2400.00 | 26400.00 | 2900.00 | 31900.00 | 26400.00 | M/s SUPERTECH ENGINEERS
8.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 11.00 | Each | 0.00 | 350.00 | 3850.00 | 192.00 | 2112.00 | 2112.00 | Subham Electrical
9.00 | Supply of heavy duty exhaust fan of size 450mm (18 inch), 1400 RPM suitable for operation on 230V 50 Hz AC supply complete with louvers/shutters etc. as per site requirement. | 3.00 | Each | 0.00 | 4000.00 | 12000.00 | 4999.00 | 14997.00 | 12000.00 | M/s SUPERTECH ENGINEERS
10.00 | Installation of exhaust fan upto 450mm sweep in the existing opening, including making the hole to suit the size of the above fan, making good the damage, connections, testing, commissioning etc. as required. | 3.00 | Each | 0.00 | 500.00 | 1500.00 | 440.00 | 1320.00 | 1320.00 | Subham Electrical
11.00 | Supplying and fixing, 4 way, single pole and neutral, sheet steel, MCB distribution board, double door, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 8.00 | Each | 0.00 | 1000.00 | 8000.00 | 550.00 | 4400.00 | 4400.00 | Subham Electrical
12.00 | Supplying and fixing 6 amps to 32 amps, Single pole, rating, 240 volts, 10 kA, "C" curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 16.00 | Each | 0.00 | 180.00 | 2880.00 | 370.00 | 5920.00 | 2880.00 | M/s SUPERTECH ENGINEERS
13.00 | Supplying and fixing DP MCB 32 amps, Double pole, rating, 240 volts, 10 kA, "C" curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 8.00 | Each | 0.00 | 1000.00 | 8000.00 | 905.00 | 7240.00 | 7240.00 | Subham Electrical
14.00 | Providing and fixing 6 SWG dia. G.I. wire on surface or in recess for loop earthing as required. | 500.00 | Meter | 0.00 | 60.00 | 30000.00 | 60.00 | 30000.00 | 30000.00 | M/s SUPERTECH ENGINEERS, Subham Electrical
15.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting / LED fittings of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 14.00 | Each | 0.00 | 200.00 | 2800.00 | 195.00 | 2730.00 | 2730.00 | Subham Electrical
16.00 | Supply, Installation, testing and commissioning of Desert cooler made of minimum 0.91 mm (20 SWG) thick steel steet body and 1.22 mm (18 SWG) GI sump tank of minimum 60 ltr with 450 mm sweep fan having speed controls (high/medium/low) & motor of approx capacity 230W, 1400 RPM, 230V, 50 Hz, submersible pump of suitable capacity including all components/ accessories like cooling media (high quality wood wool/ honey comb), float valve, power plug, connecting copper conductor cable of 3core x 2.5 sq.mm length upto 3.0 meter, drain pipe, switches etc. suitable for installation at window, covering of excess opening of window by using plywoods (if required), painting etc. complete as required. | 5.00 | Each | 0.00 | 8700.00 | 43500.00 | 12500.00 | 62500.00 | 43500.00 | M/s SUPERTECH ENGINEERS
17.00 | Supply of 2 X 10 sq.mm size aluminium conductor armoured XLPE insulated PVC sheathed electric power cable for working voltage upto 1.1 KV. as per IS :7098 (Part-I) etc as required. | 500.00 | Mtr | 0.00 | 120.00 | 60000.00 | 240.00 | 120000.00 | 60000.00 | M/s SUPERTECH ENGINEERS
18.00 | Laying of one number PVC insulated & PVC sheathed / XLPE power cable1.1 KV grade of Upto 35 sq. mm size direct in ground i/c excavation and refilling the trench with 40 mm HDPE Pipe etc. as required. | 420.00 | Mtr. | 0.00 | 198.00 | 83160.00 | 92.00 | 38640.00 | 38640.00 | Subham Electrical
19.00 | Laying of one number PVC insulated & PVC sheathed /XLPE power cable 1.1 KV grade of Upto 35 sq. Mm size in the existing RCC/ HUME/ METAL/HDPE pipe as required. | 30.00 | Mtr. | 0.00 | 99.00 | 2970.00 | 65.00 | 1950.00 | 1950.00 | Subham Electrical
20.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of Upto 35 sq. mm on wall surface as required. | 50.00 | Mtr. | 0.00 | 99.00 | 4950.00 | 27.00 | 1350.00 | 1350.00 | Subham Electrical
21.00 | Supply and making end termination with brass compression gland and aluminium lugs for 2 x 10 sq mm size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. | 16.00 | set | 0.00 | 240.00 | 3840.00 | 359.00 | 5744.00 | 3840.00 | M/s SUPERTECH ENGINEERS
22.00 | Supplying of 40 mm outer dia DWC HDPE pipe as per specifications etc as required. | 500.00 | Mtr. | 0.00 | 38.00 | 19000.00 | 60.00 | 30000.00 | 19000.00 | M/s SUPERTECH ENGINEERS
23.00 | Supplying of 75 mm outer dia DWC HDPE pipe as per specifications etc as required. | 20.00 | Mtr. | 0.00 | 68.00 | 1360.00 | 145.00 | 2900.00 | 1360.00 | M/s SUPERTECH ENGINEERS
24.00 | Laying of 75 mm dia HDPE pipe for road crossing including coupling / jointing of pipe. Complete as required. | 20.00 | Mtr | 0.00 | 68.00 | 1360.00 | 620.00 | 12400.00 | 1360.00 | M/s SUPERTECH ENGINEERS
| Total in Figures |  |  |  |  | 437920.00 |  | 542477.00
Lowest Amount Quoted BY: M/s SUPERTECH ENGINEERS(437920.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Electrical Works at Civil Airport, Bikaner SH Provision of Electrical works for Security Watch Tower Hut Apron Side and Boom Barrier Cabin City Side Tender ID: 2023_AAI_161796_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s SUPERTECH ENGINEERS | 437920.00 | L1
| 2 | Subham Electrical | 542477.00 | L2