## BoQ1
Government eProcurement System Created By: JUHI SHARMA Created Date/Time: 06-Sep-2023 03:20 PM Tender Title: Construction of CISF DIG Office adjacent to existing Battalion office and extension of Kote room adjacent to existing Kote building at Chennai Airport Chennai SH Electrical Works Tender ID: 2023_AAI_161842_1
Tender Inviting Authority: AGM (E-E)
Name of Work: Construction of CISF DIG Office adjacent to existing Battalion office and extension of Kote room adjacent to existing Kote building at Chennai Airport, Chennai. SH: - Electrical Works.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | Balaji Engineering(GSTN-33ADGPV2628A1ZV) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply & Laying Of Cables
1.01 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following Sizes conforming to IS 7098 (Part-1) as amended upto date as required.
1.02 | 4 x 16 sq.mm | 100.00 | Mtr | 10.00 | 250.00 | 25000.00 | 189.00 | 18900.00 | 270.00 | 27000.00 | 200.00 | 20000.00 | 143.00 | 14300.00 | 399.00 | 39900.00 | 14300.00 | vk sam engineering
2.00 | Laying of one number PVC insulated / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required.
2.01 | up to 35 sq mm | 40.00 | Mtr | 10.00 | 29.00 | 1160.00 | 29.00 | 1160.00 | 40.00 | 1600.00 | 50.00 | 2000.00 | 55.00 | 2200.00 | 40.00 | 1600.00 | 1160.00 | M/s LEESHA ELECTRICALS, CHENNAI ENGINEERING SERVICES
3.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
3.01 | up to 35 sq mm(Clamped with 1mm thick clamp) | 60.00 | Mtr | 10.00 | 45.00 | 2700.00 | 49.00 | 2940.00 | 55.00 | 3300.00 | 75.00 | 4500.00 | 65.00 | 3900.00 | 40.00 | 2400.00 | 2400.00 | DElite System Engineering (India) Pvt. Ltd.
4.00 | Supply and Laying of 110 mm dia OD HDPE Pipe of PN6 PE 80 grade ISI Marked conforming to IS:4984 along with all accessoreis like sockets, bends, coupler etc, complete with fitting cutting,jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 20.00 | Mtr | 10.00 | 550.00 | 11000.00 | 699.00 | 13980.00 | 700.00 | 14000.00 | 500.00 | 10000.00 | 600.00 | 12000.00 | 299.00 | 5980.00 | 5980.00 | DElite System Engineering (India) Pvt. Ltd.
5.00 | Supplying and making end termination with brass compression gland and aluminium/copper lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 grade etc. complete as required.
5.01 | 4 x 16 sq.mm | 4.00 | Each | 10.00 | 350.00 | 1400.00 | 349.00 | 1396.00 | 300.00 | 1200.00 | 500.00 | 2000.00 | 200.00 | 800.00 | 500.00 | 2000.00 | 800.00 | vk sam engineering
6.00 | Internal Electrification Works
7.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | 90.00 | Point | 10.00 | 1250.00 | 112500.00 | 1199.00 | 107910.00 | 1100.00 | 99000.00 | 2000.00 | 180000.00 | 1400.00 | 126000.00 | 999.00 | 89910.00 | 89910.00 | DElite System Engineering (India) Pvt. Ltd.
8.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
8.01 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 170.00 | Mtr | 100.00 | 290.00 | 49300.00 | 239.00 | 40630.00 | 250.00 | 42500.00 | 250.00 | 42500.00 | 263.00 | 44710.00 | 300.00 | 51000.00 | 40630.00 | CHENNAI ENGINEERING SERVICES
8.02 | 4 X 2.5 sq. mm + 2 X 2.5 sq. mm earth wire | 80.00 | Mtr | 100.00 | 415.00 | 33200.00 | 349.00 | 27920.00 | 370.00 | 29600.00 | 300.00 | 24000.00 | 358.00 | 28640.00 | 410.00 | 32800.00 | 24000.00 | Balaji Engineering
8.03 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 120.00 | Mtr | 10.00 | 350.00 | 42000.00 | 269.00 | 32280.00 | 270.00 | 32400.00 | 350.00 | 42000.00 | 298.00 | 35760.00 | 459.00 | 55080.00 | 32280.00 | CHENNAI ENGINEERING SERVICES
8.04 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 60.00 | Mtr | 10.00 | 500.00 | 30000.00 | 399.00 | 23940.00 | 420.00 | 25200.00 | 450.00 | 27000.00 | 472.00 | 28320.00 | 499.00 | 29940.00 | 23940.00 | CHENNAI ENGINEERING SERVICES
9.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required as per EIC. (But without MCB/RCCB/Isolator) 4 way (4+12) , doubledoor. | 2.00 | Job | 10.00 | 5000.00 | 10000.00 | 6999.00 | 13998.00 | 6900.00 | 13800.00 | 7500.00 | 15000.00 | 3641.00 | 7282.00 | 9000.00 | 18000.00 | 7282.00 | vk sam engineering
10.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required as per EIC. (But without MCB/RCCB/Isolator) 6 way (8+18), TPN, horizontal type, MCB DB, double door | 1.00 | Job | 10.00 | 8500.00 | 8500.00 | 8999.00 | 8999.00 | 7700.00 | 7700.00 | 25000.00 | 25000.00 | 4305.00 | 4305.00 | 12000.00 | 12000.00 | 4305.00 | vk sam engineering
11.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 30.00 | Each | 10.00 | 20.00 | 600.00 | 9.00 | 270.00 | 5.00 | 150.00 | 25.00 | 750.00 | 25.00 | 750.00 | 90.00 | 2700.00 | 150.00 | LAKSHMI ELECTRICAL ENTERPRISES
12.00 | Supplying and fixing of 5 A to 32 A, rating "C" curve MCB suitable for inductive load of following poles in the existing MCB DB complete with connections testing and commissioning etc. as required
12.01 | Single pole | 56.00 | Each | 10.00 | 180.00 | 10080.00 | 349.00 | 19544.00 | 250.00 | 14000.00 | 250.00 | 14000.00 | 162.00 | 9072.00 | 599.00 | 33544.00 | 9072.00 | vk sam engineering
13.00 | Supplying and fixing following rating four pole,415 volts isolator in the existing MCB DB complete with connection, testing and commissioning etc. as required
13.01 | 63 Amps | 4.00 | Each | 10.00 | 1250.00 | 5000.00 | 1499.00 | 5996.00 | 2100.00 | 8400.00 | 1500.00 | 6000.00 | 700.00 | 2800.00 | 1500.00 | 6000.00 | 2800.00 | vk sam engineering
14.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 32.00 | Each | 100.00 | 150.00 | 4800.00 | 499.00 | 15968.00 | 475.00 | 15200.00 | 200.00 | 6400.00 | 392.00 | 12544.00 | 799.00 | 25568.00 | 4800.00 | M/s LEESHA ELECTRICALS
15.00 | Supplying and fixing suitable size GI box with modular plate and cover on surface or in recess, including providing and fixing 6 pin 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 20.00 | Each | 100.00 | 175.00 | 3500.00 | 619.00 | 12380.00 | 530.00 | 10600.00 | 700.00 | 14000.00 | 428.00 | 8560.00 | 999.00 | 19980.00 | 3500.00 | M/s LEESHA ELECTRICALS
16.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor,unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required.
16.01 | 2 Pair | 100.00 | Mtr | 10.00 | 35.00 | 3500.00 | 29.00 | 2900.00 | 40.00 | 4000.00 | 150.00 | 15000.00 | 167.00 | 16700.00 | 99.00 | 9900.00 | 2900.00 | CHENNAI ENGINEERING SERVICES
17.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
17.01 | 20 mm | 300.00 | Mtr | 10.00 | 190.00 | 57000.00 | 149.00 | 44700.00 | 160.00 | 48000.00 | 100.00 | 30000.00 | 222.00 | 66600.00 | 199.00 | 59700.00 | 30000.00 | Balaji Engineering
18.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
18.01 | Telephone socket outlet | 12.00 | Each | 10.00 | 165.00 | 1980.00 | 389.00 | 4668.00 | 130.00 | 1560.00 | 500.00 | 6000.00 | 117.00 | 1404.00 | 200.00 | 2400.00 | 1404.00 | vk sam engineering
18.02 | TV socket outlet | 2.00 | Each | 10.00 | 165.00 | 330.00 | 129.00 | 258.00 | 140.00 | 280.00 | 500.00 | 1000.00 | 117.00 | 234.00 | 200.00 | 400.00 | 234.00 | vk sam engineering
19.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed Steel/ PVC conduit as required.
19.01 | 1 run of cable | 100.00 | Mtr | 10.00 | 45.00 | 4500.00 | 59.00 | 5900.00 | 60.00 | 6000.00 | 100.00 | 10000.00 | 80.00 | 8000.00 | 199.00 | 19900.00 | 4500.00 | M/s LEESHA ELECTRICALS
20.00 | Supplying and drawing co-axial TV cable RG-6 grade, 0.7 mm solid copper conductor PE insulated, shielded with fine tinned copper braid and protected with PVC sheath in the existing surface/ recessed steel/ PVC conduit as required. | 100.00 | Mtr | 10.00 | 40.00 | 4000.00 | 39.00 | 3900.00 | 45.00 | 4500.00 | 100.00 | 10000.00 | 55.00 | 5500.00 | 299.00 | 29900.00 | 3900.00 | CHENNAI ENGINEERING SERVICES
21.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc.as required.
21.01 | 6 Module (200mmX75mm) | 23.00 | Each | 10.00 | 375.00 | 8625.00 | 399.00 | 9177.00 | 340.00 | 7820.00 | 150.00 | 3450.00 | 550.00 | 12650.00 | 250.00 | 5750.00 | 3450.00 | Balaji Engineering
22.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
22.01 | 5/6 A switch | 69.00 | Each | 10.00 | 65.00 | 4485.00 | 109.00 | 7521.00 | 90.00 | 6210.00 | 100.00 | 6900.00 | 75.00 | 5175.00 | 199.00 | 13731.00 | 4485.00 | M/s LEESHA ELECTRICALS
22.02 | 3 pin 5/6 A socket outlet | 69.00 | Each | 10.00 | 85.00 | 5865.00 | 129.00 | 8901.00 | 130.00 | 8970.00 | 250.00 | 17250.00 | 150.00 | 10350.00 | 299.00 | 20631.00 | 5865.00 | M/s LEESHA ELECTRICALS
23.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 6.00 | Each | 10.00 | 1250.00 | 7500.00 | 1999.00 | 11994.00 | 1200.00 | 7200.00 | 2500.00 | 15000.00 | 1300.00 | 7800.00 | 2500.00 | 15000.00 | 7200.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.00 | SITC Of Light Fixtures ,Ceiling Fans & AC
25.00 | Supply of 600mm x 600mm surface Mounted LED fixture with powder coated CRCA housing. It should have luminaire efficacy of not less than 100 lm/W. operating range 140 – 270V AC supply voltages, LED Colour Temp. from 5600K- 6500K with Minimum 50000 burning hours life, operating at a temperature of -10C to 50C, LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacturer complete as required.( Make&Model: Bajaj SKYLUX BZSSQL 36L LED WH GX or equivalent). | 55.00 | Each | 10.00 | 4500.00 | 247500.00 | 4999.00 | 274945.00 | 5400.00 | 297000.00 | 2000.00 | 110000.00 | 2350.00 | 129250.00 | 2299.00 | 126445.00 | 110000.00 | Balaji Engineering
26.00 | Installation, testing and commissioning of light fittings of all types, complete with all accessories etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 55.00 | Job | 10.00 | 190.00 | 10450.00 | 199.00 | 10945.00 | 275.00 | 15125.00 | 100.00 | 5500.00 | 200.00 | 11000.00 | 199.00 | 10945.00 | 5500.00 | Balaji Engineering
27.00 | Supply of 1200mm sweep, BEE 5-star rating BLDC ceiling fans suitable for 230 volt 50 HZ Supply, with 30 cm down rod and other accessories, canopies, with out regulator etc. as required. | 25.00 | Each | 10.00 | 3500.00 | 87500.00 | 3109.00 | 77725.00 | 3200.00 | 80000.00 | 3500.00 | 87500.00 | 3600.00 | 90000.00 | 2999.00 | 74975.00 | 74975.00 | DElite System Engineering (India) Pvt. Ltd.
28.00 | Supply of 300mm sweep, metallic exhaust fan, minimum 1325 rpm, air Delivery miniumum 1050 m3/hr suitable for 230 volt 50 HZ Supply including all acessories etc. as required. | 7.00 | Each | 10.00 | 2500.00 | 17500.00 | 1389.00 | 9723.00 | 1500.00 | 10500.00 | 3000.00 | 21000.00 | 3500.00 | 24500.00 | 3500.00 | 24500.00 | 9723.00 | CHENNAI ENGINEERING SERVICES
29.00 | Installation, testing and commissioning of ceiling fan including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | 25.00 | Job | 10.00 | 190.00 | 4750.00 | 249.00 | 6225.00 | 250.00 | 6250.00 | 100.00 | 2500.00 | 150.00 | 3750.00 | 300.00 | 7500.00 | 2500.00 | Balaji Engineering
30.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 7.00 | Job | 10.00 | 350.00 | 2450.00 | 999.00 | 6993.00 | 800.00 | 5600.00 | 100.00 | 700.00 | 550.00 | 3850.00 | 300.00 | 2100.00 | 700.00 | Balaji Engineering
31.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 25.00 | Job | 10.00 | 250.00 | 6250.00 | 349.00 | 8725.00 | 400.00 | 10000.00 | 500.00 | 12500.00 | 300.00 | 7500.00 | 399.00 | 9975.00 | 6250.00 | M/s LEESHA ELECTRICALS
32.00 | Supply of 1.5 TR wall mounted type Split AC unit (5 star rating invertor type) fitted with hermetically sealed compressor operating on 220 V +10% 50 Hz Single phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, copper piping for both suction and discharge of 4 metres length, power and control cabling of 4 meters length etc complete on as and when required basis as per specifications complete as required | 6.00 | Each | 10.00 | 40000.00 | 240000.00 | 45999.00 | 275994.00 | 47500.00 | 285000.00 | 50000.00 | 300000.00 | 43750.00 | 262500.00 | 41999.00 | 251994.00 | 240000.00 | M/s LEESHA ELECTRICALS
33.00 | ITC of 1.5 TR capacity wall mounted type Split AC unit including all accessories as per above item complete etc. on as and when required basis as per specifications complete as required | 6.00 | Each | 10.00 | 1500.00 | 9000.00 | 2499.00 | 14994.00 | 2400.00 | 14400.00 | 1500.00 | 9000.00 | 3000.00 | 18000.00 | 1999.00 | 11994.00 | 9000.00 | M/s LEESHA ELECTRICALS, Balaji Engineering
34.00 | SITC of 4 KVA capacity voltage stabilizers with copper wound coil having range of 200 to 250 voltage single phase, 50 Hz AC supply i/c necessary fixing arrangements, clamps, screws, metal clad top, connecting 3 core cable of 1 metre length, complete, etc on as and when required basis as per specifications complete as required. | 6.00 | Each | 10.00 | 2250.00 | 13500.00 | 2999.00 | 17994.00 | 2100.00 | 12600.00 | 3500.00 | 21000.00 | 7000.00 | 42000.00 | 2400.00 | 14400.00 | 12600.00 | LAKSHMI ELECTRICAL ENTERPRISES
35.00 | Supply and Installation of required Angle frame for mounting condensing units of upto 2.0 TR capacity with all accessories etc. on as and when required basis as per specifications complete as required. | 6.00 | Each | 10.00 | 1800.00 | 10800.00 | 4999.00 | 29994.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 450.00 | 2700.00 | 1200.00 | 7200.00 | 2700.00 | vk sam engineering
36.00 | Earthing
37.00 | Earthing with G.I. earth pipe 4.5 m long x 40 mm dia. including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal /coke and salt complete as required. | 2.00 | Job | 10.00 | 7500.00 | 15000.00 | 5999.00 | 11998.00 | 9000.00 | 18000.00 | 7500.00 | 15000.00 | 6250.00 | 12500.00 | 9000.00 | 18000.00 | 11998.00 | CHENNAI ENGINEERING SERVICES
38.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 50.00 | Mtr | 10.00 | 250.00 | 12500.00 | 239.00 | 11950.00 | 275.00 | 13750.00 | 150.00 | 7500.00 | 290.00 | 14500.00 | 300.00 | 15000.00 | 7500.00 | Balaji Engineering
39.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. Details of cost for 50 Metres | 200.00 | Mtr | 10.00 | 40.00 | 8000.00 | 39.00 | 7800.00 | 40.00 | 8000.00 | 35.00 | 7000.00 | 30.00 | 6000.00 | 200.00 | 40000.00 | 6000.00 | vk sam engineering
40.00 | SITC Of RO Water Dispenser
41.00 | Supply of floor mounted type water cooler having following capacities with RO + UV purification, Stainless steel 304 Grade body, Non-CFC refrigerant, fitted with hermetically sealed compressor operating on 220 V +10% 50 Hz Single phase AC supply with evaporator and condenser made of copper tubes, HOT/ COLD/ NORMAL water taps, suitable pre-filters (spun & carbon), necessary piping / hose connections with nearby water source,power cable connections complete etc. on as and when required basis as per technical specifications complete as required. Purification capacity : Not less than 80 ltr/hour Cool water tank : Not less than 40 ltr Normal water tank : Not less than 40 ltr Hot water tank : Not less than 5 ltr Cooling capacity : Not less than 40 ltr/hour | 2.00 | Job | 10.00 | 75000.00 | 150000.00 | 83999.00 | 167998.00 | 72500.00 | 145000.00 | 100000.00 | 200000.00 | 96000.00 | 192000.00 | 99000.00 | 198000.00 | 145000.00 | LAKSHMI ELECTRICAL ENTERPRISES
42.00 | ITC of 80 ltr purification capacity (Per hour) floor mounted type water cooler as per above item on as and when required basis as per specifications complete as required | 2.00 | Job | 10.00 | 1550.00 | 3100.00 | 4999.00 | 9998.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 3100.00 | M/s LEESHA ELECTRICALS
43.00 | LT Panel
44.00 | Fabrication, SITC of PTTA Bipartitioned MV Switch Board Essential Panel/Non-Essential made of 14 SWG CRCA Sheet Steel, dust tight, vermin proof, Totally enclosed, cubicle type, floor/wall mounting, free standing, extensible on both sides, suitable for indoor operation at 433 V, 3 Phase, 4 Wire, 50 Hz, AC System complete with all accessories, interconnection, connection, earthing, painting, etc., as required and comprising of the following: (CISF Commandant office ) a) Two Nos. of 100 A, 36 KA, 4P MCCBs with Microprocessor Based Releases for OC/SC/EF Protection as INCOMERS with Resin Cast CT operated Digital Meter [EM 6400 of Conzerve/Equivalent], ON/OFF/TRIP Indication Lamps and Phase Indication Lamps etc as required. b) Six Nos. of 63 A, 10 KA, 4P MCB as Outgoing as required. c) 20 Nos. of (10A-32A), 10 KA, SP MCB as Outgoings as required. d) 10 Nos. of (10A-32A), 10 KA, DP MCB as Outgoings as required. e) Two Set of 200 Amps Al. Bus Bars with at Par Neutral BUS BARS as required. f) All accessories such as fuses, auxillary contactors, auxillary switches, etc. as required. ALL AS ABOVE 1 (A) To 1 (F) | 1.00 | Job | 10.00 | 200000.00 | 200000.00 | 189999.00 | 189999.00 | 240000.00 | 240000.00 | 250000.00 | 250000.00 | 260000.00 | 260000.00 | 300000.00 | 300000.00 | 189999.00 | CHENNAI ENGINEERING SERVICES
| Total in Figures |  |  |  |  | 1486825.00 |  | 1582130.00 |  | 1614415.00 |  | 1617950.00 |  | 1560406.00 |  | 1724742.00
Lowest Amount Quoted BY: M/s LEESHA ELECTRICALS(1486825.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of CISF DIG Office adjacent to existing Battalion office and extension of Kote room adjacent to existing Kote building at Chennai Airport Chennai SH Electrical Works Tender ID: 2023_AAI_161842_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s LEESHA ELECTRICALS | 1486825.00 | L1
| 2 | vk sam engineering | 1560406.00 | L2
| 3 | CHENNAI ENGINEERING SERVICES | 1582130.00 | L3
| 4 | LAKSHMI ELECTRICAL ENTERPRISES | 1614415.00 | L4
| 5 | Balaji Engineering | 1617950.00 | L5
| 6 | DElite System Engineering (India) Pvt. Ltd. | 1724742.00 | L6