## BoQ1
Government eProcurement System Created By: Navneet Chaudhary Created Date/Time: 21-Sep-2023 11:34 AM Tender Title: Boundary wall work Tender ID: 2023_AAI_162246_2
Tender Inviting Authority: SM (E-C), Airports Authority of India, Rewa Airport, Rewa
Name of Work: Development of Rewa Airport. Construction of Balance Boundary Wall & Miscalleneous Works at Rewa Airport.
Contract No: 2023_AAI_162246_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | J K BUILDERS(GSTN-24AAOFM4186F1Z3) |  | S.K. CONSTRUCTION(GSTN-09ACHPY6641G1Z3) |  | S G CONSTRUCTIONS(GSTN-07ABMPS3920J1ZB) |  | janta associates and co. limited(GSTN-09AABCJ3585H1ZC) |  | Mehrotra Buildcon Private Ltd.(GSTN-23AAECM9105D1ZW) |  | R K MISHRA AND COMPANY(GSTN-20AAHFR5549J1Z3) |  | ATR INFRAPROJECTS PVT LTD(GSTN-NA) |  | METAL ENGINEERING(GSTN-NA) |  | SANWARIYA CONSTRUCTION(GSTN-NA) |  | Dinesh Sukhlal Munot(GSTN-NA) |  | M/s Awadhesh Construction(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 1570.00 | Cum |  | 200.00 | 314000.00 | 105.00 | 164850.00 | 99.00 | 155430.00 | 215.00 | 337550.00 | 117.00 | 183690.00 | 100.00 | 157000.00 | 170.00 | 266900.00 | 70.00 | 109900.00 | 130.00 | 204100.00 | 200.00 | 314000.00 | 105.00 | 164850.00 | 109900.00 | METAL ENGINEERING
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 850.00 | Cum |  | 100.00 | 85000.00 | 100.00 | 85000.00 | 63.00 | 53550.00 | 120.00 | 102000.00 | 93.60 | 79560.00 | 80.00 | 68000.00 | 60.00 | 51000.00 | 40.00 | 34000.00 | 90.00 | 76500.00 | 100.00 | 85000.00 | 71.00 | 60350.00 | 34000.00 | METAL ENGINEERING
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 411.00 | Cum |  | 5000.00 | 2055000.00 | 4500.00 | 1849500.00 | 3960.00 | 1627560.00 | 5500.00 | 2260500.00 | 4445.93 | 1827277.23 | 4200.00 | 1726200.00 | 4200.00 | 1726200.00 | 2200.00 | 904200.00 | 3750.00 | 1541250.00 | 4700.00 | 1931700.00 | 4100.00 | 1685100.00 | 904200.00 | METAL ENGINEERING
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 223.00 | Cum |  | 6000.00 | 1338000.00 | 4980.00 | 1110540.00 | 4590.00 | 1023570.00 | 5500.00 | 1226500.00 | 4562.93 | 1017533.39 | 5100.00 | 1137300.00 | 5567.00 | 1241441.00 | 2800.00 | 624400.00 | 4250.00 | 947750.00 | 5200.00 | 1159600.00 | 4650.00 | 1036950.00 | 624400.00 | METAL ENGINEERING
5.00 | Boring with tractor mounted auger drilling machine, providing and installing cast in situ double under reamed piles of specific diameter and length below pile cap in specified grade of cement concrete, to carry a safe working load not less than specified, excluding the cost of steel reinforcement and specified grade of concrete but including the cost of boring and the length of the pile to be embedded in pile cap etc. all complete. (Length of pile for payment shall be measured upto to the bottom of pile cap) : 300 mm dia & 4.5 m deep piles | 940.00 | Each |  | 2200.00 | 2068000.00 | 600.00 | 564000.00 | 2340.00 | 2199600.00 | 500.00 | 470000.00 | 1076.38 | 1011797.20 | 2400.00 | 2256000.00 | 1000.00 | 940000.00 | 400.00 | 376000.00 | 875.00 | 822500.00 | 900.00 | 846000.00 | 650.00 | 611000.00 | 376000.00 | METAL ENGINEERING
6.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland/Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately.In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.All works upto plinth level.Concrete of M25 grade with minimum cement content of 330 kg /cum | 810.00 | Cum |  | 6500.00 | 5265000.00 | 6250.00 | 5062500.00 | 5040.00 | 4082400.00 | 6500.00 | 5265000.00 | 5865.00 | 4750650.00 | 5600.00 | 4536000.00 | 6000.00 | 4860000.00 | 4200.00 | 3402000.00 | 6500.00 | 5265000.00 | 7000.00 | 5670000.00 | 5400.00 | 4374000.00 | 3402000.00 | METAL ENGINEERING
7.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland/Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately.In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.All works above plinth level upto floor V level.Concrete of M25 grade with minimum cement content of 330 kg /cum | 200.00 | Cum |  | 7000.00 | 1400000.00 | 6000.00 | 1200000.00 | 5400.00 | 1080000.00 | 6700.00 | 1340000.00 | 5980.00 | 1196000.00 | 7000.00 | 1400000.00 | 6000.00 | 1200000.00 | 4450.00 | 890000.00 | 6800.00 | 1360000.00 | 7000.00 | 1400000.00 | 5500.00 | 1100000.00 | 890000.00 | METAL ENGINEERING
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete. | 1350.00 | Sqm |  | 400.00 | 540000.00 | 125.00 | 168750.00 | 306.00 | 413100.00 | 320.00 | 432000.00 | 292.50 | 394875.00 | 200.00 | 270000.00 | 350.00 | 472500.00 | 110.00 | 148500.00 | 370.00 | 499500.00 | 250.00 | 337500.00 | 250.00 | 337500.00 | 148500.00 | METAL ENGINEERING
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 3900.00 | Sqm |  | 450.00 | 1755000.00 | 155.00 | 604500.00 | 360.00 | 1404000.00 | 320.00 | 1248000.00 | 409.49 | 1597011.00 | 400.00 | 1560000.00 | 375.00 | 1462500.00 | 120.00 | 468000.00 | 400.00 | 1560000.00 | 270.00 | 1053000.00 | 280.00 | 1092000.00 | 468000.00 | METAL ENGINEERING
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts. | 1850.00 | Sqm |  | 500.00 | 925000.00 | 180.00 | 333000.00 | 360.00 | 666000.00 | 320.00 | 592000.00 | 409.49 | 757556.50 | 450.00 | 832500.00 | 400.00 | 740000.00 | 110.00 | 203500.00 | 400.00 | 740000.00 | 300.00 | 555000.00 | 315.00 | 582750.00 | 203500.00 | METAL ENGINEERING
11.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 120000.00 | kg |  | 80.00 | 9600000.00 | 78.00 | 9360000.00 | 76.50 | 9180000.00 | 78.00 | 9360000.00 | 75.40 | 9048000.00 | 72.00 | 8640000.00 | 75.00 | 9000000.00 | 63.00 | 7560000.00 | 76.00 | 9120000.00 | 75.00 | 9000000.00 | 81.00 | 9720000.00 | 7560000.00 | METAL ENGINEERING
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 31000.00 | kg |  | 80.00 | 2480000.00 | 76.00 | 2356000.00 | 76.50 | 2371500.00 | 78.00 | 2418000.00 | 75.40 | 2337400.00 | 72.00 | 2232000.00 | 77.00 | 2387000.00 | 63.00 | 1953000.00 | 76.00 | 2356000.00 | 75.00 | 2325000.00 | 82.00 | 2542000.00 | 1953000.00 | METAL ENGINEERING
13.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 49033.00 | kg |  | 90.00 | 4412970.00 | 33.00 | 1618089.00 | 90.00 | 4412970.00 | 105.00 | 5148465.00 | 87.75 | 4302645.75 | 70.00 | 3432310.00 | 90.00 | 4412970.00 | 79.00 | 3873607.00 | 115.00 | 5638795.00 | 60.00 | 2941980.00 | 88.00 | 4314904.00 | 1618089.00 | S.K. CONSTRUCTION
14.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 2500.00 | kg |  | 100.00 | 250000.00 | 40.00 | 100000.00 | 99.00 | 247500.00 | 110.00 | 275000.00 | 99.45 | 248625.00 | 110.00 | 275000.00 | 145.00 | 362500.00 | 79.00 | 197500.00 | 125.00 | 312500.00 | 75.00 | 187500.00 | 91.00 | 227500.00 | 100000.00 | S.K. CONSTRUCTION
15.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 10735.00 | Sqm |  | 370.00 | 3971950.00 | 170.00 | 1824950.00 | 180.00 | 1932300.00 | 320.00 | 3435200.00 | 274.95 | 2951588.25 | 210.00 | 2254350.00 | 300.00 | 3220500.00 | 120.00 | 1288200.00 | 160.00 | 1717600.00 | 265.00 | 2844775.00 | 195.00 | 2093325.00 | 1288200.00 | METAL ENGINEERING
16.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 4751.00 | Sqm |  | 300.00 | 1425300.00 | 160.00 | 760160.00 | 180.00 | 855180.00 | 280.00 | 1330280.00 | 257.40 | 1222907.40 | 200.00 | 950200.00 | 300.00 | 1425300.00 | 120.00 | 570120.00 | 140.00 | 665140.00 | 250.00 | 1187750.00 | 200.00 | 950200.00 | 570120.00 | METAL ENGINEERING
17.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 12825.00 | Sqm |  | 135.00 | 1731375.00 | 71.00 | 910575.00 | 117.00 | 1500525.00 | 160.00 | 2052000.00 | 87.75 | 1125393.75 | 100.00 | 1282500.00 | 150.00 | 1923750.00 | 120.00 | 1539000.00 | 140.00 | 1795500.00 | 91.00 | 1167075.00 | 71.00 | 910575.00 | 910575.00 | M/s Awadhesh Construction, S.K. CONSTRUCTION
18.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 1050.00 | Sqm |  | 150.00 | 157500.00 | 81.00 | 85050.00 | 99.00 | 103950.00 | 160.00 | 168000.00 | 117.00 | 122850.00 | 110.00 | 115500.00 | 140.00 | 147000.00 | 110.00 | 115500.00 | 80.00 | 84000.00 | 84.00 | 88200.00 | 84.00 | 88200.00 | 84000.00 | SANWARIYA CONSTRUCTION
19.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately). | 6800.00 | metre |  | 350.00 | 2380000.00 | 220.00 | 1496000.00 | 333.00 | 2264400.00 | 310.00 | 2108000.00 | 310.05 | 2108340.00 | 280.00 | 1904000.00 | 190.00 | 1292000.00 | 220.00 | 1496000.00 | 375.00 | 2550000.00 | 210.00 | 1428000.00 | 405.00 | 2754000.00 | 1292000.00 | ATR INFRAPROJECTS PVT LTD
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: :Cement mortar 1:4 (1 cement : 4 coarse sand) | 310.00 | Cum |  | 6000.00 | 1860000.00 | 5080.00 | 1574800.00 | 5040.00 | 1562400.00 | 8000.00 | 2480000.00 | 5264.92 | 1632125.20 | 5400.00 | 1674000.00 | 4270.00 | 1323700.00 | 5300.00 | 1643000.00 | 5500.00 | 1705000.00 | 6000.00 | 1860000.00 | 5000.00 | 1550000.00 | 1323700.00 | ATR INFRAPROJECTS PVT LTD
21.00 | Providing and laying Autoclaved Aerated concrete (AAC) blocks masonry 150mm/230mm/300 mm thick with Grade- I AAC blocks in super structure above plinth level up to floor V level with RCC band at sill level and lintel level with approved block laying polymer modified adhesive mortar all complete as per direction of Engineer-in-Charge. (The payment of RCC band and reinforcement shall be made for seperately). | 950.00 | Cum |  | 7500.00 | 7125000.00 | 6450.00 | 6127500.00 | 5850.00 | 5557500.00 | 7000.00 | 6650000.00 | 5586.66 | 5307327.00 | 7000.00 | 6650000.00 | 7000.00 | 6650000.00 | 3800.00 | 3610000.00 | 5650.00 | 5367500.00 | 6000.00 | 5700000.00 | 5060.00 | 4807000.00 | 3610000.00 | METAL ENGINEERING
22.00 | Pointing/ Embossing AAI logo with cement mortar 1:3 (1cement: 3fine sand) Projecting out by 12mm raised on cement plastered wall as per drawing and directions of Engineer-in-Charge. | 50.00 | Nos. |  | 500.00 | 25000.00 | 650.00 | 32500.00 | 603.00 | 30150.00 | 500.00 | 25000.00 | 948.91 | 47445.50 | 750.00 | 37500.00 | 800.00 | 40000.00 | 320.00 | 16000.00 | 1000.00 | 50000.00 | 850.00 | 42500.00 | 705.00 | 35250.00 | 16000.00 | METAL ENGINEERING
23.00 | Lettering with synthetic enamel paint of approved brand and manufacture. | 17500.00 | Per letter per cm height |  | 2.00 | 35000.00 | 2.00 | 35000.00 | 4.50 | 78750.00 | 20.00 | 350000.00 | 3.73 | 65275.00 | 3.00 | 52500.00 | 22.00 | 385000.00 | 5.00 | 87500.00 | 5.00 | 87500.00 | 2.50 | 43750.00 | 1.00 | 17500.00 | 17500.00 | M/s Awadhesh Construction
24.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein | 260.00 | Quintal |  | 200.00 | 52000.00 | 540.00 | 140400.00 | 603.00 | 156780.00 | 700.00 | 182000.00 | 701.99 | 182517.40 | 600.00 | 156000.00 | 636.00 | 165360.00 | 4000.00 | 1040000.00 | 600.00 | 156000.00 | 600.00 | 156000.00 | 500.00 | 130000.00 | 52000.00 | J K BUILDERS
25.00 | Welding by gas or electric plant including transportation of plant at site etc. complete. | 120000.00 | Cm |  | 2.00 | 240000.00 | 1.50 | 180000.00 | 4.50 | 540000.00 | 4.00 | 480000.00 | 3.39 | 406800.00 | 3.50 | 420000.00 | 12.10 | 1452000.00 | 3.00 | 360000.00 | 8.00 | 960000.00 | 2.50 | 300000.00 | 1.00 | 120000.00 | 120000.00 | M/s Awadhesh Construction
26.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 10320.00 | Sqm |  | 550.00 | 5676000.00 | 140.00 | 1444800.00 | 603.00 | 6222960.00 | 650.00 | 6708000.00 | 378.00 | 3900960.00 | 540.00 | 5572800.00 | 397.00 | 4097040.00 | 478.00 | 4932960.00 | 620.00 | 6398400.00 | 280.00 | 2889600.00 | 505.00 | 5211600.00 | 1444800.00 | S.K. CONSTRUCTION
27.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 168.00 | Cum |  | 9000.00 | 1512000.00 | 6000.00 | 1008000.00 | 7560.00 | 1270080.00 | 6500.00 | 1092000.00 | 7487.88 | 1257963.84 | 7200.00 | 1209600.00 | 7350.00 | 1234800.00 | 4500.00 | 756000.00 | 6200.00 | 1041600.00 | 5000.00 | 840000.00 | 6900.00 | 1159200.00 | 756000.00 | METAL ENGINEERING
28.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 1440.00 | Sqm |  | 600.00 | 864000.00 | 540.00 | 777600.00 | 720.00 | 1036800.00 | 800.00 | 1152000.00 | 731.24 | 1052985.60 | 750.00 | 1080000.00 | 825.00 | 1188000.00 | 300.00 | 432000.00 | 800.00 | 1152000.00 | 500.00 | 720000.00 | 605.00 | 871200.00 | 432000.00 | METAL ENGINEERING
| Total in Figures |  |  |  |  | 59543095.00 |  | 40974064.00 |  | 52028955.00 |  | 58687495.00 |  | 50137100.01 |  | 51881260.00 |  | 53667461.00 |  | 38630887.00 |  | 54174135.00 |  | 47073930.00 |  | 48546954.00
Lowest Amount Quoted BY: METAL ENGINEERING(38630887.00)

## BOQ Summary
BOQ Summary Details Tender Title: Boundary wall work Tender ID: 2023_AAI_162246_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | METAL ENGINEERING | 38630887.00 | L1
| 2 | S.K. CONSTRUCTION | 40974064.00 | L2
| 3 | Dinesh Sukhlal Munot | 47073930.00 | L3
| 4 | M/s Awadhesh Construction | 48546954.00 | L4
| 5 | Mehrotra Buildcon Private Ltd. | 50137100.01 | L5
| 6 | R K MISHRA AND COMPANY | 51881260.00 | L6
| 7 | S G CONSTRUCTIONS | 52028955.00 | L7
| 8 | ATR INFRAPROJECTS PVT LTD | 53667461.00 | L8
| 9 | SANWARIYA CONSTRUCTION | 54174135.00 | L9
| 10 | janta associates and co. limited | 58687495.00 | L10
| 11 | J K BUILDERS | 59543095.00 | L11