## BoQ1
Government eProcurement System Created By: Pradip Kumar Gupta Created Date/Time: 18-Sep-2023 04:50 PM Tender Title: Construction of underground fire pump room at Jamnagar Airport Tender ID: 2023_AAI_162780_2
Tender Inviting Authority: AGM (E-C), JAMNAGAR AIRPORT
Name of Work: Construction of underground fire pump room at Jamnagar Airport (Civil and Electrical Works)
Tender ID: 2023_AAI_162780_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Arpan Engineering Co(GSTN-24AAZFA7613G1Z8) |  | Rishiraj Construction(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Work
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 381.00 | Cum | 100.00 | 180.00 | 68580.00 | 120.00 | 45720.00 | 45720.00 | Rishiraj Construction
1.02 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, for all leads and lifts. | 82.00 | Cum | 100.00 | 230.00 | 18860.00 | 90.00 | 7380.00 | 7380.00 | Rishiraj Construction
1.03 | CAST IN SITU Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 25.00 | Cum | 10.00 | 7200.00 | 180000.00 | 5247.00 | 131175.00 | 131175.00 | Rishiraj Construction
1.04 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 41.00 | Cum | 10.00 | 7800.00 | 319800.00 | 5447.00 | 223327.00 | 223327.00 | Rishiraj Construction
1.05 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 24.00 | Cum | 10.00 | 7800.00 | 187200.00 | 5597.00 | 134328.00 | 134328.00 | Rishiraj Construction
1.06 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls (any thickness) including attached pilasters, butteresses,plinth and string courses etc. | 334.00 | Sqm | 10.00 | 550.00 | 183700.00 | 400.00 | 133600.00 | 133600.00 | Rishiraj Construction
1.07 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform. | 94.00 | Sqm | 10.00 | 625.00 | 58750.00 | 450.00 | 42300.00 | 42300.00 | Rishiraj Construction
1.08 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 6.00 | Sqm | 10.00 | 625.00 | 3750.00 | 450.00 | 2700.00 | 2700.00 | Rishiraj Construction
1.09 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 7.00 | Sqm | 10.00 | 710.00 | 4970.00 | 500.00 | 3500.00 | 3500.00 | Rishiraj Construction
1.10 | Centering and shuttering including strutting, propping etc. and removal of form for : Stairs, (excluding landings) except spiral-staircases | 9.00 | Sqm | 10.00 | 567.75 | 5109.75 | 500.00 | 4500.00 | 4500.00 | Rishiraj Construction
1.11 | Centering and shuttering including strutting, propping etc. and removal of form for : Edges of slabs and breaks in floors and walls Under 20 cm wide | 15.00 | Mtr | 10.00 | 150.00 | 2250.00 | 200.00 | 3000.00 | 2250.00 | Arpan Engineering Co
1.12 | Centering and shuttering including strutting, propping etc. and removal of form for : Edges of slabs and breaks in floors and walls Above 20 cm wide | 19.00 | Sqm | 100.00 | 625.00 | 11875.00 | 350.00 | 6650.00 | 6650.00 | Rishiraj Construction
1.13 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. : a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 9045.00 | Kg | 100.00 | 90.00 | 814050.00 | 80.00 | 723600.00 | 723600.00 | Rishiraj Construction
1.14 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five levelin : Cement mortar 1:4 (1 cement : 4 coarse sand) | 4.00 | Cum | 10.00 | 6500.00 | 26000.00 | 5682.00 | 22728.00 | 22728.00 | Rishiraj Construction
1.15 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 13.00 | Sqm | 10.00 | 3500.00 | 45500.00 | 3521.00 | 45773.00 | 45500.00 | Arpan Engineering Co
1.16 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 84.00 | Kg | 10.00 | 150.00 | 12600.00 | 130.00 | 10920.00 | 10920.00 | Rishiraj Construction
1.17 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 131.00 | Kg | 10.00 | 650.00 | 85150.00 | 567.00 | 74277.00 | 74277.00 | Rishiraj Construction
1.18 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 800x800 mm | 75.00 | Sqm | 10.00 | 1525.00 | 114375.00 | 1563.00 | 117225.00 | 114375.00 | Arpan Engineering Co
1.19 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 200.00 | Sqm | 10.00 | 165.00 | 33000.00 | 350.00 | 70000.00 | 33000.00 | Arpan Engineering Co
1.20 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 200.00 | Sqm | 10.00 | 110.00 | 22000.00 | 120.00 | 24000.00 | 22000.00 | Arpan Engineering Co
1.21 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | 158.00 | Sqm | 10.00 | 160.00 | 25280.00 | 95.00 | 15010.00 | 15010.00 | Rishiraj Construction
1.22 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 24.00 | Cum | 10.00 | 5850.00 | 140400.00 | 4677.00 | 112248.00 | 112248.00 | Rishiraj Construction
1.23 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 17.00 | Kg | 100.00 | 530.00 | 9010.00 | 600.00 | 10200.00 | 9010.00 | Arpan Engineering Co
1.24 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) 21.1.2.1 Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 15.00 | Kg | 100.00 | 530.00 | 7950.00 | 600.00 | 9000.00 | 7950.00 | Arpan Engineering Co
1.25 | Providing and laying good quality of grass carpet i/c spreading, blending and mowing the earth and compost i/c raking out and moistening the soil. | 96.00 | Sqm | 10.00 | 1300.00 | 124800.00 | 80.00 | 7680.00 | 7680.00 | Rishiraj Construction
1.26 | Providing and laying at c/c 1000 mm spacing well developed in polybag Plant Conocarpus erectus bearing min height of 3 feet, in pattern as directed by Engineer-in-charge i/c spreading, blending and mowing the earth and compost with raking out and moistening the soil. | 48.00 | Mtr | 10.00 | 2500.00 | 120000.00 | 300.00 | 14400.00 | 14400.00 | Rishiraj Construction
1.27 | Providing and installing mechanically operated chain pulley hoist/gantry system of capacity 3ton and lift of 3metres on existing girder/beam to facilitate installation/maintenance of machinery in the Pump room, in specifications as directed by the engineer-in-charge all complete | 1.00 | Each | 10.00 | 35000.00 | 35000.00 | 65000.00 | 65000.00 | 35000.00 | Arpan Engineering Co
1.28 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 776.00 | Kg | 10.00 | 125.00 | 97000.00 | 143.00 | 110968.00 | 97000.00 | Arpan Engineering Co
1.29 | Providing structural consultancy for the work of construction of underground fire pump room in specification and dimension as depicted in the drawing as directed by the engineer-in-charge all complete. | 1.00 | Job | 10.00 | 50000.00 | 50000.00 | 45000.00 | 45000.00 | 45000.00 | Rishiraj Construction
2.00 | Electrical Work
2.01 | Supply, Installation, testing and commissioning of Recess mounted linear LED fitting , fixture should have minimum efficacy at System level (Not Chip Level) >=110lumens/watt, 4000lm, Life of fixture 50000hrs, CCT up to 4000, CRI minimum 80, PF >0.9, and an operating Voltage Range of 150 ‐ 270 Internal Surge Protection 2KV. The fixture should comply with the other parameters as per IS10322 and specifications. Minimum system Lumens 4000 and complying to the technical specifications | 15.00 | Each | 10.00 | 3000.00 | 45000.00 | 18000.00 | 270000.00 | 45000.00 | Arpan Engineering Co
2.02 | Supply and fixing of 300mm sweep MS blade Heavy Duty exhaust fan suitable for operation on 230 V, 50 Hz, Single phase, A.C supply in the existing opening/ including making the hole to suit the size of the above fan, making good the damage, connections, testing, commissioning etc. as required as per technical specification. | 4.00 | Each | 10.00 | 3500.00 | 14000.00 | 4000.00 | 16000.00 | 14000.00 | Arpan Engineering Co
2.03 | Supply installation, testing and commissioning of Electrical Wall mounted Fan (400mm)to be operated with 220 volts single phase, with fully hygienic condition, with all accessories including cutting and making good the walls wherever required as per technical specifications. | 8.00 | Each | 10.00 | 5000.00 | 40000.00 | 2600.00 | 20800.00 | 20800.00 | Rishiraj Construction
2.04 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable etc. as required. ‐ Group C | 27.00 | Point | 10.00 | 1845.00 | 49815.00 | 1000.00 | 27000.00 | 27000.00 | Rishiraj Construction
2.05 | Wiring for circuit / submain wiring alongwith earth wire with 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit. | 30.00 | Meter | 10.00 | 369.00 | 11070.00 | 90.00 | 2700.00 | 2700.00 | Rishiraj Construction
2.06 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way , Double door | 1.00 | Nos | 10.00 | 2315.00 | 2315.00 | 6000.00 | 6000.00 | 2315.00 | Arpan Engineering Co
2.07 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.- Single pole | 8.00 | Nos | 10.00 | 256.00 | 2048.00 | 300.00 | 2400.00 | 2048.00 | Arpan Engineering Co
2.08 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.- Double pole | 1.00 | Nos | 10.00 | 656.00 | 656.00 | 3000.00 | 3000.00 | 656.00 | Arpan Engineering Co
2.09 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 4.00 | Nos | 10.00 | 477.00 | 1908.00 | 1800.00 | 7200.00 | 1908.00 | Arpan Engineering Co
2.10 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required | 2.00 | Nos | 10.00 | 586.00 | 1172.00 | 3500.00 | 7000.00 | 1172.00 | Arpan Engineering Co
2.11 | Supply of following size of 1.1 kv grade FRLS aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS: 7098:1988 (Part‐I) with upto date amendments. 3C*16Sqmm | 20.00 | Meter | 10.00 | 50.00 | 1000.00 | 450.00 | 9000.00 | 1000.00 | Arpan Engineering Co
2.12 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 20.00 | Meter | 10.00 | 55.00 | 1100.00 | 900.00 | 18000.00 | 1100.00 | Arpan Engineering Co
2.13 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3C*16 Sqmm | 2.00 | Nos | 10.00 | 270.00 | 540.00 | 1000.00 | 2000.00 | 540.00 | Arpan Engineering Co
2.14 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/submain wiring/ cable as required. | 20.00 | Meter | 10.00 | 840.00 | 16800.00 | 200.00 | 4000.00 | 4000.00 | Rishiraj Construction
| Total in Figures |  |  |  |  | 2994383.75 |  | 2611309.00
Lowest Amount Quoted BY: Rishiraj Construction(2611309.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of underground fire pump room at Jamnagar Airport Tender ID: 2023_AAI_162780_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rishiraj Construction | 2611309.00 | L1
| 2 | Arpan Engineering Co | 2994383.75 | L2