## BoQ1
Government eProcurement System Created By: MUNSHAM SREEDHAR BABU Created Date/Time: 13-Sep-2023 01:17 PM Tender Title: Construction of New Terminal Building Work at Leh Airport Ladakh SH Office Accommodation to Engineering Section at Utility Building at NTB Electrical Works Tender ID: 2023_AAI_163204_1
Tender Inviting Authority: Assistant Manager (Engg-E), AAI, Project Office, Leh Airport
Name of Work: Construction of New Terminal Building Work at Leh Airport, Ladakh SH: Office Accomodation to Engineering Seciton at Utility Building at NTB Electrical Works
Contract No: 2023_AAI_163204_1 NIT Reference : AAI/ENGGE/LEH/NTB/2023-14/01
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bellpoint with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required
1.01 | Group C | 20.00 | Point |  | 800.00 | 16000.00 | 850.00 | 17000.00 | 16000.00 | Manish Electricals
2.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.
2.01 | Group B | 21.00 | Point |  | 800.00 | 16800.00 | 950.00 | 19950.00 | 16800.00 | Manish Electricals
3.00 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed Steel conduit as required.
3.01 | a) 2 x 2.5.sq. mm+1 x 2.5 sq.mm earth wire | 624.00 | Mtr |  | 90.00 | 56160.00 | 165.00 | 102960.00 | 56160.00 | Manish Electricals
3.02 | b) 2 x 4.0 sq. mm+1 x 4 sq.mm earth wire | 802.00 | Mtr |  | 160.00 | 128320.00 | 225.00 | 180450.00 | 128320.00 | Manish Electricals
4.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
4.01 | Telephone socket outlet | 16.00 | Each |  | 200.00 | 3200.00 | 150.00 | 2400.00 | 2400.00 | M/s LEESHA ELECTRICALS
5.00 | Supplying and fixing following size/modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required.
5.01 | 1 or 2 Module (75mmX75mm) | 16.00 | Each |  | 70.00 | 1120.00 | 150.00 | 2400.00 | 1120.00 | Manish Electricals
6.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 40.00 | Each |  | 100.00 | 4000.00 | 150.00 | 6000.00 | 4000.00 | Manish Electricals
7.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 15.00 | Each |  | 150.00 | 2250.00 | 180.00 | 2700.00 | 2250.00 | Manish Electricals
8.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required .
8.01 | a) 8 way (4 + 24), Double door | 2.00 | Each |  | 3300.00 | 6600.00 | 5000.00 | 10000.00 | 6600.00 | Manish Electricals
8.02 | b) 12 way (4+36), Double door | 1.00 | Each |  | 4293.00 | 4293.00 | 7500.00 | 7500.00 | 4293.00 | Manish Electricals
9.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
9.01 | Single pole | 75.00 | Each |  | 160.00 | 12000.00 | 200.00 | 15000.00 | 12000.00 | Manish Electricals
10.00 | Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
10.01 | a) 40A | 2.00 | Each |  | 850.00 | 1700.00 | 2000.00 | 4000.00 | 1700.00 | Manish Electricals
10.02 | b) 63A | 1.00 | Each |  | 900.00 | 900.00 | 2300.00 | 2300.00 | 900.00 | Manish Electricals
11.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
11.01 | a) 40A | 2.00 | Each |  | 2900.00 | 5800.00 | 2500.00 | 5000.00 | 5000.00 | M/s LEESHA ELECTRICALS
11.02 | b) 63A | 1.00 | Each |  | 3200.00 | 3200.00 | 3000.00 | 3000.00 | 3000.00 | M/s LEESHA ELECTRICALS
12.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 14.00 | Each |  | 600.00 | 8400.00 | 1050.00 | 14700.00 | 8400.00 | Manish Electricals
13.00 | Supply of wireless calling bell complete as required.(Make: anchor or equivalent) | 10.00 | Each |  | 700.00 | 7000.00 | 1800.00 | 18000.00 | 7000.00 | Manish Electricals
14.00 | Supplying and drawing of CAT 6 cable conforming to ANSI/TIA/EIA-568 C.2 latest or ISO/IEC:11801 latest in suitable PVC conduit as required. | 322.00 | Mtr |  | 80.00 | 25760.00 | 80.00 | 25760.00 | 25760.00 | Manish Electricals, M/s LEESHA ELECTRICALS
15.00 | SITC of RJ45 CAT 6 Information outlet/Data Access point including backbox with base plate suitable for 2 Module GI box. | 16.00 | Each |  | 2800.00 | 44800.00 | 500.00 | 8000.00 | 8000.00 | M/s LEESHA ELECTRICALS
16.00 | Supply and installation of 36 watt recess mounting low depth LED 2X2 ft recessed mounting lumaniries, efficacy 100 lm/W , with driver, suitable to operate on 230 volt 50Hz AC Supply complete as required as per EIC.(make: Bajaj model-BZRSQL 36 W LED GX WH or equivalent)(05 years guarantee shall be provided for complete fitting including controller by manufacturer in favor of AAI) | 41.00 | Each |  | 3800.00 | 155800.00 | 3500.00 | 143500.00 | 143500.00 | M/s LEESHA ELECTRICALS
17.00 | SITC of 2 Ton 3 Star Hot and Cold Inverter Split AC-Ez Clean Filter including providing of Suitable outdoor stand for outdoor. Cooling Power: 5200 Watts and as per the specifications enclosed. (Make: LG dual inverter model: H&C split Air conditioner or equivalent.) | 14.00 | Job |  | 101000.00 | 1414000.00 | 84800.00 | 1187200.00 | 1187200.00 | M/s LEESHA ELECTRICALS
18.00 | Supply installation testing and commissioning of 400mm sweep, Wall mounting fan suitable for 230 volt AC Supply with all accessories etc as required. (Make M/s Bajaj ,Model sameera or equivalent) | 14.00 | Job |  | 6675.00 | 93450.00 | 5500.00 | 77000.00 | 77000.00 | M/s LEESHA ELECTRICALS
19.00 | Supply of 21Ltr Capacity of Microwave Oven as per the specifications mentioned. | 1.00 | Job |  | 12000.00 | 12000.00 | 30000.00 | 30000.00 | 12000.00 | Manish Electricals
20.00 | Supply of 250Ltr Double door Refrigerator as per the specifications mentioned. | 1.00 | Job |  | 85000.00 | 85000.00 | 30000.00 | 30000.00 | 30000.00 | M/s LEESHA ELECTRICALS
| Total in Figures |  |  |  |  | 2108553.00 |  | 1914820.00
Lowest Amount Quoted BY: M/s LEESHA ELECTRICALS(1914820.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New Terminal Building Work at Leh Airport Ladakh SH Office Accommodation to Engineering Section at Utility Building at NTB Electrical Works Tender ID: 2023_AAI_163204_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s LEESHA ELECTRICALS | 1914820.00 | L1
| 2 | Manish Electricals | 2108553.00 | L2