## BoQ1
Government eProcurement System Created By: EMANI SHESHA RATNAM Created Date/Time: 15-Sep-2023 05:32 PM Tender Title: Construction of New ILS and associated Civil Works at HAL Airport, Bangalore. SH Civil and Internal Electrical Works Tender ID: 2023_AAI_163322_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work:-Construction of new ILS and associated Civil Works at HAL Airport, Bangalore. SH: Civil and Internal Electrical Works
Contract No: 2023_ AAI _163322 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUBRAMANYAM CONSTRUCTIONS(GSTN-29APIPA1684H2ZT) |  | BALAJI ENTERPRISES(GSTN-NA) |  | KVR Construction Heights Pvt Ltd(GSTN-NA) |  | NITYA NAND AND SONS CONTRACTORS PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: 1 CIVIL WORKS
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 230.00 | Cum |  | 205.00 | 47150.00 | 215.00 | 49450.00 | 286.00 | 65780.00 | 300.00 | 69000.00 | 47150.00 | SUBRAMANYAM CONSTRUCTIONS
1.02 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 12.00 | Cum |  | 270.00 | 3240.00 | 315.00 | 3780.00 | 280.00 | 3360.00 | 300.00 | 3600.00 | 3240.00 | SUBRAMANYAM CONSTRUCTIONS
1.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil :Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 400.00 | Metres |  | 400.00 | 160000.00 | 300.00 | 120000.00 | 350.00 | 140000.00 | 600.00 | 240000.00 | 120000.00 | BALAJI ENTERPRISES
1.04 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth within the operational area. | 118600.00 | Sqm |  | 170.00 | 20162000.00 | 210.00 | 24906000.00 | 144.00 | 17078400.00 | 120.00 | 14232000.00 | 14232000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.05 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 37.00 | Cum |  | 7000.00 | 259000.00 | 6642.00 | 245754.00 | 6326.00 | 234062.00 | 6000.00 | 222000.00 | 222000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.06 | Providing and laying in position ready mixed or site batched design mix cement concrete for plain cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana/Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering and finishing as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the minimum specified cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works up to Plinth Level- Concrete of M25 grade with minimum cement content of 300 kg /cum | 103.00 | Cum |  | 8670.00 | 893010.00 | 9028.00 | 929884.00 | 8299.00 | 854797.00 | 7200.00 | 741600.00 | 741600.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.07 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mixor bear the cost of extra cement. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 126.00 | Cum |  | 8800.00 | 1108800.00 | 9117.00 | 1148742.00 | 8700.00 | 1096200.00 | 7200.00 | 907200.00 | 907200.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.08 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 12564.00 | Kg |  | 119.00 | 1495116.00 | 95.00 | 1193580.00 | 89.00 | 1118196.00 | 90.00 | 1130760.00 | 1118196.00 | KVR Construction Heights Pvt Ltd
1.09 | Centering and shuttering including strutting, propping etc. and removalvof form for Foundations, footings, bases of columns, etc. for mass concrete | 657.00 | Sqm |  | 600.00 | 394200.00 | 322.00 | 211554.00 | 550.00 | 361350.00 | 600.00 | 394200.00 | 211554.00 | BALAJI ENTERPRISES
1.10 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 75.00 | Sqm |  | 500.00 | 37500.00 | 308.00 | 23100.00 | 450.00 | 33750.00 | 450.00 | 33750.00 | 23100.00 | BALAJI ENTERPRISES
1.11 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1943.00 | Kg |  | 160.00 | 310880.00 | 140.00 | 272020.00 | 135.00 | 262305.00 | 132.00 | 256476.00 | 256476.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.12 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. a)60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 7388.00 | Sqm |  | 1100.00 | 8126800.00 | 1300.00 | 9604400.00 | 1150.00 | 8496200.00 | 900.00 | 6649200.00 | 6649200.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.13 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge.With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 203.00 | Cum |  | 3100.00 | 629300.00 | 2900.00 | 588700.00 | 2007.00 | 407421.00 | 2400.00 | 487200.00 | 407421.00 | KVR Construction Heights Pvt Ltd
1.14 | Construction of dry lean cement concrete sub base over a prepared sub-grade with coarse and fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm, aggregate cementratio not to exceed 15:1, aggregate gradation after blending to be as per specifications, cement content not to be less than 150 Kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid with a mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc. complete as per direction of Engineer?in- charge. | 980.00 | Cum |  | 5300.00 | 5194000.00 | 5500.00 | 5390000.00 | 4455.00 | 4365900.00 | 6000.00 | 5880000.00 | 4365900.00 | KVR Construction Heights Pvt Ltd
1.15 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 329.00 | Cum |  | 8000.00 | 2632000.00 | 7000.00 | 2303000.00 | 7299.00 | 2401371.00 | 6600.00 | 2171400.00 | 2171400.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.16 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.a)Glazed Vitrified tiles Matt/Antiskid finish of size. i)Size of Tile 600 x 600 mm | 80.00 | Sqm |  | 1400.00 | 112000.00 | 1300.00 | 104000.00 | 1286.00 | 102880.00 | 1200.00 | 96000.00 | 96000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.17 | Providing and laying 04 mm continuous guide wire for laying/pulling cables inside GI & HDPE pipes. | 200.00 | Metres |  | 40.00 | 8000.00 | 30.00 | 6000.00 | 50.00 | 10000.00 | 51.00 | 10200.00 | 6000.00 | BALAJI ENTERPRISES
1.18 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 150 mm dia nominal bore | 500.00 | Metres |  | 1874.00 | 937000.00 | 1600.00 | 800000.00 | 1300.00 | 650000.00 | 1200.00 | 600000.00 | 600000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.19 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 9.00 | Cum |  | 9000.00 | 81000.00 | 7500.00 | 67500.00 | 11500.00 | 103500.00 | 9000.00 | 81000.00 | 67500.00 | BALAJI ENTERPRISES
1.20 | Supplying and Installation of Low smoke fire retardent frangible shelter of size 8 m x 5 m and height 3m/3.5 mts made of using GRP PUF based panels of 50 mm thick with 2 mm thick GRP laminates as cladding in single panel construction for walls, roof panels in 02 nos sloping on either side and secondary GRP roof with GRP purlins and sections , partition wall of 40 mm thick panel with 2 mm grp as both side wall cladding including necessary provisions of door of size 900 mmx2000 mm , external painting with PU paint in RED and White Chequered design of size 600 mm x 600 mm pattern including the cost of design of the structure , vetting from the Govt Engineering college and submission of the duly vetted drawing and design calculations, transportation, installation at site etc as per the directions of Engineer-In-Charge | 2.00 | Each |  | 1809000.00 | 3618000.00 | 1500000.00 | 3000000.00 | 150000.00 | 300000.00 | 2400000.00 | 4800000.00 | 300000.00 | KVR Construction Heights Pvt Ltd
1.21 | Supplying and Installation of Low smoke fire retardent frangible shelter of size 2 m x 2 m and height 3m/3.5 mts made of using GRP PUF based panels of 50 mm thick with 2 mm thick GRP laminates as cladding in single panel construction for walls, roof panels in 02 nos sloping on either side and secondary GRP roof with GRP purlins and sections , partition wall of 40 mm thick panel with 2 mm grp as both side wall cladding including necessary provisions of door of size 900 mmx2000 mm , external painting with PU paint in RED and White Chequered design of size 600 mm x 600 mm pattern including the cost of design of the structure , vetting from the Govt Engineering college and submission of the duly vetted drawing and design calculations, transportation, installation at site etc as per the directions of Engineer-In-Charge | 2.00 | Each |  | 528000.00 | 1056000.00 | 600000.00 | 1200000.00 | 150000.00 | 300000.00 | 600000.00 | 1200000.00 | 300000.00 | KVR Construction Heights Pvt Ltd
1.22 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | Each |  | 8000.00 | 16000.00 | 6500.00 | 13000.00 | 28000.00 | 56000.00 | 18000.00 | 36000.00 | 13000.00 | BALAJI ENTERPRISES
1.23 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : One urinal basin with 5 litre white P.V.C. automatic flushing cistern | 2.00 | Each |  | 5268.00 | 10536.00 | 5000.00 | 10000.00 | 25000.00 | 50000.00 | 12000.00 | 24000.00 | 10000.00 | BALAJI ENTERPRISES
1.24 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size550x400 mm with single 15 mm C.P. brass pillar tap | 2.00 | Each |  | 2731.00 | 5462.00 | 3000.00 | 6000.00 | 30000.00 | 60000.00 | 2100.00 | 4200.00 | 4200.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.25 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 4.00 | Each |  | 594.00 | 2376.00 | 500.00 | 2000.00 | 550.00 | 2200.00 | 3000.00 | 12000.00 | 2000.00 | BALAJI ENTERPRISES
1.26 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 2.00 | Each |  | 299.00 | 598.00 | 350.00 | 700.00 | 5000.00 | 10000.00 | 1200.00 | 2400.00 | 598.00 | SUBRAMANYAM CONSTRUCTIONS
1.27 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : 19.27.1 With common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 2.00 | Each |  | 6000.00 | 12000.00 | 8000.00 | 16000.00 | 22000.00 | 44000.00 | 12000.00 | 24000.00 | 12000.00 | SUBRAMANYAM CONSTRUCTIONS
1.28 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone?III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : nside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 2.00 | Each |  | 350000.00 | 700000.00 | 20000.00 | 40000.00 | 25000.00 | 50000.00 | 21000.00 | 42000.00 | 40000.00 | BALAJI ENTERPRISES
1.29 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 15 mm nominal dia Pipes | 20.00 | Metre |  | 400.00 | 8000.00 | 280.00 | 5600.00 | 56.00 | 1120.00 | 300.00 | 6000.00 | 1120.00 | KVR Construction Heights Pvt Ltd
1.30 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 20 mm nominal dia Pipes | 20.00 | Metre |  | 400.00 | 8000.00 | 300.00 | 6000.00 | 95.00 | 1900.00 | 600.00 | 12000.00 | 1900.00 | KVR Construction Heights Pvt Ltd
1.31 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 25 mm nominal dia Pipes | 30.00 | Metre |  | 500.00 | 15000.00 | 400.00 | 12000.00 | 135.00 | 4050.00 | 900.00 | 27000.00 | 4050.00 | KVR Construction Heights Pvt Ltd
1.32 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia | 2.00 | Each |  | 90.00 | 180.00 | 150.00 | 300.00 | 600.00 | 1200.00 | 300.00 | 600.00 | 180.00 | SUBRAMANYAM CONSTRUCTIONS
1.33 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. 19.32.1 With common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 2.00 | Each |  | 350000.00 | 700000.00 | 30000.00 | 60000.00 | 30000.00 | 60000.00 | 90000.00 | 180000.00 | 60000.00 | KVR Construction Heights Pvt Ltd, BALAJI ENTERPRISES
1.34 | Providing and fixing toilet paper holder : C.P. brass | 2.00 | Each |  | 680.00 | 1360.00 | 900.00 | 1800.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 1360.00 | SUBRAMANYAM CONSTRUCTIONS
1.35 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 2.00 | Each |  | 146.00 | 292.00 | 180.00 | 360.00 | 3000.00 | 6000.00 | 6000.00 | 12000.00 | 292.00 | SUBRAMANYAM CONSTRUCTIONS
1.36 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 4.00 | Each |  | 434.00 | 1736.00 | 455.00 | 1820.00 | 550.00 | 2200.00 | 3000.00 | 12000.00 | 1736.00 | SUBRAMANYAM CONSTRUCTIONS
1.37 | Providing and fixing soil, waste and vent pipes : Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 100 mm diameter | 20.00 | Metre |  | 1061.00 | 21220.00 | 1114.00 | 22280.00 | 2500.00 | 50000.00 | 600.00 | 12000.00 | 12000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.38 | Providing and fixing soil, waste and vent pipes : 75 mm diameter Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 20.00 | Metre |  | 867.00 | 17340.00 | 912.00 | 18240.00 | 2300.00 | 46000.00 | 600.00 | 12000.00 | 12000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.39 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 100 mm dia | 4.00 | Each |  | 550.00 | 2200.00 | 557.00 | 2228.00 | 2500.00 | 10000.00 | 600.00 | 2400.00 | 2200.00 | SUBRAMANYAM CONSTRUCTIONS
1.40 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 75 mm dia | 4.00 | Each |  | 440.00 | 1760.00 | 462.00 | 1848.00 | 2500.00 | 10000.00 | 600.00 | 2400.00 | 1760.00 | SUBRAMANYAM CONSTRUCTIONS
1.41 | Providing and fixing plain bend of required degree. 100 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 4.00 | Each |  | 346.00 | 1384.00 | 363.00 | 1452.00 | 2500.00 | 10000.00 | 600.00 | 2400.00 | 1384.00 | SUBRAMANYAM CONSTRUCTIONS
1.42 | Providing and fixing plain bend of required degree. 75 mm dia Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 4.00 | Each |  | 244.00 | 976.00 | 256.00 | 1024.00 | 2500.00 | 10000.00 | 600.00 | 2400.00 | 976.00 | SUBRAMANYAM CONSTRUCTIONS
1.43 | Providing and fixing single equal plain junction of required degree : 100x100x100 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 4.00 | Each |  | 573.00 | 2292.00 | 601.00 | 2404.00 | 2500.00 | 10000.00 | 600.00 | 2400.00 | 2292.00 | SUBRAMANYAM CONSTRUCTIONS
1.44 | Providing and fixing single equal plain junction of required degree : 75x75x75 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 4.00 | Each |  | 318.00 | 1272.00 | 334.00 | 1336.00 | 3000.00 | 12000.00 | 600.00 | 2400.00 | 1272.00 | SUBRAMANYAM CONSTRUCTIONS
1.45 | Providing and fixing single unequal plain invert branch of required degree : 100x100x75 mm Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905 | 4.00 | Each |  | 613.00 | 2452.00 | 643.00 | 2572.00 | 3500.00 | 14000.00 | 600.00 | 2400.00 | 2400.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.46 | Demolishing cement concrete manually/ by mechanical means including disposal of material within operational area as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 139.00 | Cum |  | 2007.00 | 278973.00 | 2107.00 | 292873.00 | 3200.00 | 444800.00 | 720.00 | 100080.00 | 100080.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.47 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 15.00 | Each |  | 118.00 | 1770.00 | 123.00 | 1845.00 | 10000.00 | 150000.00 | 100.00 | 1500.00 | 1500.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.48 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within operational area as per direction of Engineer-in-charge. | 73.00 | Cum |  | 1698.00 | 123954.00 | 1782.00 | 130086.00 | 3000.00 | 219000.00 | 600.00 | 43800.00 | 43800.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.49 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within operational area as per direction of Engineer - in- charge. | 33.00 | Cum |  | 2928.00 | 96624.00 | 3074.00 | 101442.00 | 3500.00 | 115500.00 | 900.00 | 29700.00 | 29700.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.50 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within operational area as per direction of Engineer - in- charge : In cement mortar | 35.00 | Cum |  | 2027.00 | 70945.00 | 2128.00 | 74480.00 | 5000.00 | 175000.00 | 900.00 | 31500.00 | 31500.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
1.51 | Dismantling steel work in single sections including dismembering and stacking within 50 metres lead in: Channels, angles, tees and flats | 428.00 | Kg |  | 15.00 | 6420.00 | 10.00 | 4280.00 | 15.00 | 6420.00 | 21.00 | 8988.00 | 4280.00 | BALAJI ENTERPRISES
1.52 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 3.00 | Sqm |  | 46.00 | 138.00 | 40.00 | 120.00 | 2850.00 | 8550.00 | 300.00 | 900.00 | 120.00 | BALAJI ENTERPRISES
1.53 | Credit Items for (taking away by the contactor the dismantled Materials and disposal beyond initial lead of 50 mts and outside AAI premises. a) Dismantled Bricks | 10819.00 | Nos |  | 1.00 | -10819.00 | 1.00 | -10819.00 | 7.00 | -75733.00 | 1.00 | -10819.00 | -75733.00 | KVR Construction Heights Pvt Ltd
1.54 | Credit Items for (taking away by the contactor the dismantled Materials and disposal beyond initial lead of 50 mts and outside AAI premises. b)dismantled Doors & windows | 15.00 | Each |  | 100.00 | -1500.00 | 100.00 | -1500.00 | 1000.00 | -15000.00 | 10.00 | -150.00 | -15000.00 | KVR Construction Heights Pvt Ltd
1.55 | Credit Items for (taking away by the contactor the dismantled Materials and disposal beyond initial lead of 50 mts and outside AAI premises. Dismantled Stones | 35.00 | Cum |  | 100.00 | -3500.00 | 100.00 | -3500.00 | 250.00 | -8750.00 | 10.00 | -350.00 | -8750.00 | KVR Construction Heights Pvt Ltd
1.56 | Credit Items for (taking away by the contactor the dismantled Materials and disposal beyond initial lead of 50 mts and outside AAI premises. Structural Steel work | 428.00 | Kg |  | 15.00 | -6420.00 | 10.00 | -4280.00 | 25.00 | -10700.00 | 10.00 | -4280.00 | -10700.00 | KVR Construction Heights Pvt Ltd
1.57 | Credit Items for (taking away by the contactor the dismantled Materials and disposal beyond initial lead of 50 mts and outside AAI premises. Aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling | 3.00 | Sqm |  | 180.00 | -540.00 | 50.00 | -150.00 | 300.00 | -900.00 | 10.00 | -30.00 | -900.00 | KVR Construction Heights Pvt Ltd
1.58 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer -in-charge, beyond 90 metre & upto 150 metre depth below ground level. All types of soil 300 mm dia | 150.00 | Metre |  | 690.00 | 103500.00 | 800.00 | 120000.00 | 1500.00 | 225000.00 | 1800.00 | 270000.00 | 103500.00 | SUBRAMANYAM CONSTRUCTIONS
1.59 | Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer -in-charge. 200 mm nominal size dia | 20.00 | Metre |  | 951.00 | 19020.00 | 1100.00 | 22000.00 | 1200.00 | 24000.00 | 2000.00 | 40000.00 | 19020.00 | SUBRAMANYAM CONSTRUCTIONS
1.60 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer-in-charge 200 mm nominal size dia | 6.00 | Metre |  | 1099.00 | 6594.00 | 1100.00 | 6600.00 | 1300.00 | 7800.00 | 2000.00 | 12000.00 | 6594.00 | SUBRAMANYAM CONSTRUCTIONS
1.61 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for borewell of: 200 mm dia | 1.00 | Each |  | 280.00 | 280.00 | 310.00 | 310.00 | 2000.00 | 2000.00 | 20000.00 | 20000.00 | 280.00 | SUBRAMANYAM CONSTRUCTIONS
1.62 | Providing and fixing M.S. clamp of required dia to the top of casing/ housing pipe of tubewell as per IS: 2800 (part I), including necessary bolts & nuts of required size complete. 200 mm clamp | 1.00 | Each |  | 1827.00 | 1827.00 | 1200.00 | 1200.00 | 2000.00 | 2000.00 | 20000.00 | 20000.00 | 1200.00 | BALAJI ENTERPRISES
2.00 | INTERNAL ELECTRIFICATION WORKS
2.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | 30.00 | Each |  | 1100.00 | 33000.00 | 1140.00 | 34200.00 | 1845.00 | 55350.00 | 1200.00 | 36000.00 | 33000.00 | SUBRAMANYAM CONSTRUCTIONS
2.02 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. | 15.00 | Each |  | 1100.00 | 16500.00 | 1140.00 | 17100.00 | 858.00 | 12870.00 | 1200.00 | 18000.00 | 12870.00 | KVR Construction Heights Pvt Ltd
2.03 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
2.03 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 165.00 | Meter |  | 350.00 | 57750.00 | 369.00 | 60885.00 | 369.00 | 60885.00 | 400.00 | 66000.00 | 57750.00 | SUBRAMANYAM CONSTRUCTIONS
2.03 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 330.00 | Meter |  | 350.00 | 115500.00 | 428.00 | 141240.00 | 428.00 | 141240.00 | 700.00 | 231000.00 | 115500.00 | SUBRAMANYAM CONSTRUCTIONS
2.03 | 2 X 16 sq. mm + 1 X 6 sq. mm earth wire | 50.00 | Meter |  | 1500.00 | 75000.00 | 924.00 | 46200.00 | 942.00 | 47100.00 | 1400.00 | 70000.00 | 46200.00 | BALAJI ENTERPRISES
2.04 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 2.00 | Each |  | 50.00 | 100.00 | 5000.00 | 10000.00 | 369.00 | 738.00 | 600.00 | 1200.00 | 100.00 | SUBRAMANYAM CONSTRUCTIONS
2.05 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 10.00 | Each |  | 50.00 | 500.00 | 500.00 | 5000.00 | 40.00 | 400.00 | 100.00 | 1000.00 | 400.00 | KVR Construction Heights Pvt Ltd
2.06 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 20.00 | Each |  | 500.00 | 10000.00 | 477.00 | 9540.00 | 586.00 | 11720.00 | 1000.00 | 20000.00 | 9540.00 | BALAJI ENTERPRISES
2.07 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providng and fixing 2 nos. 6 pin 5/6 & 15/16 amps modular socket outlet and 2 nos. of 15/16 amps modular switches, connection etc. as required. | 30.00 | Each |  | 500.00 | 15000.00 | 650.00 | 19500.00 | 1172.00 | 35160.00 | 600.00 | 18000.00 | 15000.00 | SUBRAMANYAM CONSTRUCTIONS
2.08 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
2.08 | 18 way (2+16), double door | 2.00 | Each |  | 20000.00 | 0.00 | 23000.00 | 0.00 | 15000.00 | 0.00 | 21000.00 | 0.00 | 0.00 | KVR Construction Heights Pvt Ltd, SUBRAMANYAM CONSTRUCTIONS, BALAJI ENTERPRISES, NITYA NAND AND SONS CONTRACTORS PVT LTD
2.09 | Supplying and fixing of following ways surface/ recess mounting, horizontal type, 415 V, TPN MCB PPI distribution board of sheet steel, dust protected, duly powder painted, inclusive of tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required .
2.09 | 6 way (8+6+18), double door | 2.00 | Each |  | 16000.00 | 0.00 | 24000.00 | 0.00 | 12000.00 | 0.00 | 30000.00 | 0.00 | 0.00 | KVR Construction Heights Pvt Ltd, SUBRAMANYAM CONSTRUCTIONS, BALAJI ENTERPRISES, NITYA NAND AND SONS CONTRACTORS PVT LTD
2.10 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
2.10 | Single Pole | 68.00 | Each |  | 300.00 | 20400.00 | 300.00 | 20400.00 | 600.00 | 40800.00 | 300.00 | 20400.00 | 20400.00 | SUBRAMANYAM CONSTRUCTIONS, BALAJI ENTERPRISES, NITYA NAND AND SONS CONTRACTORS PVT LTD
2.11 | Supplying and fixing following, 240/415 V, MCB/RCCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
2.11 | 32A DP RCBO, 6/10KA breaking capacity, 100mA sensitivity | 6.00 | Each |  | 980.00 | 5880.00 | 900.00 | 5400.00 | 1500.00 | 9000.00 | 2700.00 | 16200.00 | 5400.00 | BALAJI ENTERPRISES
2.11 | 63A DP MCB 10KA breaking capacity, C curve | 2.00 | Each |  | 1100.00 | 2200.00 | 1200.00 | 2400.00 | 2500.00 | 5000.00 | 1800.00 | 3600.00 | 2200.00 | SUBRAMANYAM CONSTRUCTIONS
2.11 | 63A TPN MCB 10KA breaking capacity, C curve | 2.00 | Each |  | 1100.00 | 2200.00 | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 2100.00 | 4200.00 | 2200.00 | SUBRAMANYAM CONSTRUCTIONS
2.12 | Supply of wall mounted LED batten type luminaries having minimum output of 2000 lumens with Five (5) year manufacturer warranty (for complete assembly) complete with electronic driver, made out of powder coated CRCA/ Aluminium housing with opal/ acryllic diffuser suitable to operate on 230V, 50Hz single phase AC supply etc, complete as per specifications | 35.00 | Each |  | 4500.00 | 157500.00 | 6000.00 | 210000.00 | 6500.00 | 227500.00 | 6000.00 | 210000.00 | 157500.00 | SUBRAMANYAM CONSTRUCTIONS
2.13 | Supply and fixing of Rechargeable type Emergency light fitting complete suitable for mounting on wall (Make : Bajaj ELX 16 or equivalent) | 6.00 | Each |  | 5500.00 | 33000.00 | 5000.00 | 30000.00 | 50000.00 | 300000.00 | 12000.00 | 72000.00 | 30000.00 | BALAJI ENTERPRISES
2.14 | Supply of outdoor type LED street light fixture having lumen output not less than 7700 lumens with Five (5) year manufacturer warranty (for complete assembly), pressure die cast extruded aluminium/aluminium alloy housing, heat sink with general spread optics , IP-65 or higher, including accessories such as LED of approved make, electronic gear/driver with surge voltage, etc suitable for operation on 230V, 50Hz single phase AC supply etc, complete as per specifications | 10.00 | Each |  | 10000.00 | 100000.00 | 7000.00 | 70000.00 | 40000.00 | 400000.00 | 21000.00 | 210000.00 | 70000.00 | BALAJI ENTERPRISES
2.15 | Installation, testing and commissioning of batten type LED luminaire directly on the wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required as per site requirement. | 35.00 | Each |  | 3000.00 | 105000.00 | 9000.00 | 315000.00 | 30000.00 | 1050000.00 | 3000.00 | 105000.00 | 105000.00 | SUBRAMANYAM CONSTRUCTIONS, NITYA NAND AND SONS CONTRACTORS PVT LTD
2.16 | Installation, testing and commissioning of LED street light fixture including supplying and fixing of 32mm dia X 1.20 metre long G.I. pipe (medium class) bracket for mounting of LED street light fitting on pole/wall including bending the pipe to the required shape, accessories such as clamps with nuts, bolts and washer, painting with primer and finish paint etc. as required. | 10.00 | Each |  | 10000.00 | 100000.00 | 13000.00 | 130000.00 | 25000.00 | 250000.00 | 10000.00 | 100000.00 | 100000.00 | SUBRAMANYAM CONSTRUCTIONS, NITYA NAND AND SONS CONTRACTORS PVT LTD
2.17 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor with 3 nos. blades, down rod, copper winding etc, Power Factor not less than 0.9, Air delivery minimum 215 CMM, THD less than 10%, and all remaining accessories including safety pin, nut bolts, washers etc suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 2.00 | Each |  | 5500.00 | 11000.00 | 8000.00 | 16000.00 | 2730.00 | 5460.00 | 9000.00 | 18000.00 | 5460.00 | KVR Construction Heights Pvt Ltd
2.18 | Supply of 300mm sweep, 900 rpm heavy duty exhaust fan suitable for 230 volts, 50hz, single phase A.C supply complete with all accessories including louvers etc as required. | 2.00 | Each |  | 5500.00 | 11000.00 | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 9000.00 | 18000.00 | 8000.00 | KVR Construction Heights Pvt Ltd
2.19 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450mm Sweep | 2.00 | Each |  | 5500.00 | 11000.00 | 8000.00 | 16000.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 4000.00 | KVR Construction Heights Pvt Ltd
| Total in Figures |  |  |  |  | 50367228.00 |  | 54307280.00 |  | 42851352.00 |  | 42454025.00
Lowest Amount Quoted BY: NITYA NAND AND SONS CONTRACTORS PVT LTD(42454025.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New ILS and associated Civil Works at HAL Airport, Bangalore. SH Civil and Internal Electrical Works Tender ID: 2023_AAI_163322_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NITYA NAND AND SONS CONTRACTORS PVT LTD | 42454025.00 | L1
| 2 | KVR Construction Heights Pvt Ltd | 42851352.00 | L2
| 3 | SUBRAMANYAM CONSTRUCTIONS | 50367228.00 | L3
| 4 | BALAJI ENTERPRISES | 54307280.00 | L4