## BoQ1
Government eProcurement System Created By: Amit Avachar Created Date/Time: 06-Oct-2023 03:52 PM Tender Title: Structural rehabilitation of existing 03 nos of RCC Sumps and 01 Tender ID: 2023_AAI_163357_1
Tender Inviting Authority: Sr. Manager (Engg-Civil), NAC, Mumbai-99
Name of Work: Structural rehabilitation of existing 03 nos. of R.C.C. Sumps and 01 Nos. of R.C.C. Overhead tank at New Airport Colony, Mumbai.
Contract No: AAI/MUM/NAC/E-C/RCC-SUMP/23-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shrikrishna Construction(GSTN-27ACJPS2472B1ZM) |  | M I CONSTRUCTIONS(GSTN-27AAQFM9668LIZ5) |  | Vikash Enterprises(GSTN-NA) |  | Silhouette Infraprojects(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 9.90 | Cum |  | 5000.00 | 49500.00 | 6200.00 | 61380.00 | 5695.00 | 56380.50 | 4500.00 | 44550.00 | 44550.00 | Silhouette Infraprojects
2.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 18.72 | Sqm |  | 280.00 | 5241.60 | 350.00 | 6552.00 | 307.95 | 5764.82 | 220.00 | 4118.40 | 4118.40 | Silhouette Infraprojects
3.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 747.34 | Sqm |  | 500.00 | 373670.00 | 500.00 | 373670.00 | 369.55 | 276179.50 | 350.00 | 261569.00 | 261569.00 | Silhouette Infraprojects
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform with water proof ply 12 mm thick | 1095.43 | Sqm |  | 600.00 | 657258.00 | 600.00 | 657258.00 | 466.55 | 511072.87 | 350.00 | 383400.50 | 383400.50 | Silhouette Infraprojects
5.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 76416.25 | kg |  | 80.00 | 6113300.00 | 85.00 | 6495381.25 | 62.00 | 4737807.50 | 67.00 | 5119888.75 | 4737807.50 | Vikash Enterprises
6.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. Concrete of M30 grade with minimum cement content of 350 kg /cum | 611.33 | cum |  | 7500.00 | 4584975.00 | 8150.00 | 4982339.50 | 6800.35 | 4157257.97 | 6400.00 | 3912512.00 | 3912512.00 | Silhouette Infraprojects
7.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 20.70 | Cum |  | 4000.00 | 82800.00 | 7200.00 | 149040.00 | 6182.00 | 127967.40 | 5500.00 | 113850.00 | 82800.00 | Shrikrishna Construction
8.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 150.00 | Kg |  | 50.00 | 7500.00 | 65.00 | 9750.00 | 101.84 | 15276.00 | 85.00 | 12750.00 | 7500.00 | Shrikrishna Construction
9.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 4200.00 | kg |  | 70.00 | 294000.00 | 75.00 | 315000.00 | 97.76 | 410592.00 | 80.00 | 336000.00 | 294000.00 | Shrikrishna Construction
10.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:4 (1 cement: 4 coarse sand) | 180.00 | Sqm |  | 300.00 | 54000.00 | 350.00 | 63000.00 | 318.95 | 57411.00 | 290.00 | 52200.00 | 52200.00 | Silhouette Infraprojects
11.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 180.00 | Sqm |  | 50.00 | 9000.00 | 65.00 | 11700.00 | 60.00 | 10800.00 | 50.00 | 9000.00 | 9000.00 | Shrikrishna Construction, Silhouette Infraprojects
12.00 | Finishing walls with water proofing cement paint of required shade : New work (Two or more coats applied @ 3.84 kg/10 sqm) | 180.00 | Sqm |  | 50.00 | 9000.00 | 80.00 | 14400.00 | 91.25 | 16425.00 | 60.00 | 10800.00 | 9000.00 | Shrikrishna Construction
13.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete. On steel work | 144.00 | Sqm |  | 150.00 | 21600.00 | 180.00 | 25920.00 | 189.75 | 27324.00 | 125.00 | 18000.00 | 18000.00 | Silhouette Infraprojects
14.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 73.70 | cum |  | 2000.00 | 147400.00 | 500.00 | 36850.00 | 2534.70 | 186807.39 | 1000.00 | 73700.00 | 36850.00 | M I CONSTRUCTIONS
15.00 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineerin- charge. | 1.80 | Sqm |  | 800.00 | 1440.00 | 925.00 | 1665.00 | 863.35 | 1554.03 | 500.00 | 900.00 | 900.00 | Silhouette Infraprojects
16.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 75.00 | Cum |  | 1100.00 | 82500.00 | 600.00 | 45000.00 | 607.50 | 45562.50 | 1000.00 | 75000.00 | 45000.00 | M I CONSTRUCTIONS
17.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801 UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings, including trenching, refilling & testing of joints complete as per direction of Engineer-in-Charge. PN - 10 Pipe, 110 mm OD (SDR-11) | 50.00 | metre |  | 1100.00 | 55000.00 | 1500.00 | 75000.00 | 1650.60 | 82530.00 | 1250.00 | 62500.00 | 55000.00 | Shrikrishna Construction
18.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 80 mm nominal bore | 24.00 | each |  | 900.00 | 21600.00 | 900.00 | 21600.00 | 1018.20 | 24436.80 | 700.00 | 16800.00 | 16800.00 | Silhouette Infraprojects
19.00 | Providing and laying integral cement based treatment for water proofing on horizontal surface at all depth below ground level for under ground structures as directed by Engineer-in-Charge and consisting of : (i) Ist layer of 22 mm to 25 mm thick approved and specified rough stone slab over a 25 mm thick base of cement mortar 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound conforming to IS:2645 in the recommended proportion over the leveling course (leveling course to be paid separately). Joints sealed and grouted with cement slurry mixed with water proofing compound. (ii) 2nd layer of 25 mm thick cement mortar 1:3 (1 cement: 3 coarse sand) mixed with water proofing compound in recommended proportions. (iii) Finishing top with stone aggregate of 10 mm to 12 mm nominal size spreading @ 8 cudm/sqm thoroughly embedded in the 2nd layer. Using rough kota stone. | 419.37 | Sqm |  | 1100.00 | 461307.00 | 1200.00 | 503244.00 | 1353.70 | 567701.17 | 900.00 | 377433.00 | 377433.00 | Silhouette Infraprojects
20.00 | proofing on the vertical surface by fixing specified stone slab 22 mm to 25 mm thick with cement slurry mixed with water proofing compound conforming to IS:2645 in recommended proportions with a gap of 20 mm (minimum) between stone slabs and the receiving surfaces and filling the gaps with neat cement slurry mixed with water proofing compound and finishing the exterior of stone slab with cement mortar 1:3 (1 cement : 3 coarse sand) 20 mm thick with neat cement punning mixed with water proofing compound in recommended proportion complete at all levels and as directed by Engineer-in-charge : Using rough Kota stone. | 535.88 | Sqm |  | 1450.00 | 777026.00 | 1200.00 | 643056.00 | 1738.00 | 931359.44 | 1000.00 | 535880.00 | 535880.00 | Silhouette Infraprojects
21.00 | Providing and Placing in position suitable PVC water stops conforming to IS:12200 for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete : Serrated with central bulb (225 mm wide, 8-11 mm thick) | 588.40 | Metre |  | 200.00 | 117680.00 | 275.00 | 161810.00 | 283.20 | 166634.88 | 200.00 | 117680.00 | 117680.00 | Shrikrishna Construction, Silhouette Infraprojects
22.00 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. For vertical surface two coats @ 0.70 kg per sqm | 70.65 | sqm |  | 350.00 | 24727.50 | 400.00 | 28260.00 | 617.00 | 43591.05 | 350.00 | 24727.50 | 24727.50 | Shrikrishna Construction, Silhouette Infraprojects
23.00 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. For horizontal surface one coat @1.10 kg per sqm. | 44.16 | sqm |  | 200.00 | 8832.00 | 315.00 | 13910.40 | 845.00 | 37315.20 | 250.00 | 11040.00 | 8832.00 | Shrikrishna Construction
24.00 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge: 50mm average thickness | 296.46 | Sqm |  | 150.00 | 44469.00 | 150.00 | 44469.00 | 194.60 | 57691.12 | 100.00 | 29646.00 | 29646.00 | Silhouette Infraprojects
25.00 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge.: Bars upto 12 mm diameter | 375.00 | Metre |  | 6.00 | 2250.00 | 9.00 | 3375.00 | 11.80 | 4425.00 | 3.50 | 1312.50 | 1312.50 | Silhouette Infraprojects
26.00 | Drilling suitable holes in reinforced or plain cement concrete with power driven drill machine to a minimum depth of 100mm upto 200mm in RCC beams, lintels, columns and slabs to introduce steel bars for sunshades/balconies including fixing the steel bars in position using epoxy resin anchor grout of approved make but excluding the cost of reinforcement, all complete as per direction of Engineer-In-Charge. Upto and including 12mm dia. | 296.00 | each |  | 80.00 | 23680.00 | 125.00 | 37000.00 | 113.05 | 33462.80 | 100.00 | 29600.00 | 23680.00 | Shrikrishna Construction
27.00 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 296.46 | Sqm |  | 250.00 | 74115.00 | 400.00 | 118584.00 | 220.00 | 65221.20 | 300.00 | 88938.00 | 65221.20 | Vikash Enterprises
28.00 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge.: 12 mm average thickness. | 793.28 | Sqm |  | 280.00 | 222118.40 | 300.00 | 237984.00 | 404.10 | 320564.45 | 150.00 | 118992.00 | 118992.00 | Silhouette Infraprojects
29.00 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). 25 mm average thickness in 2 layers. | 1000.00 | Sqm |  | 400.00 | 400000.00 | 500.00 | 500000.00 | 571.00 | 571000.00 | 230.00 | 230000.00 | 230000.00 | Silhouette Infraprojects
30.00 | Providing and laying SBR Polymer modified (of approved make @ minimum 2% by wt. of cement used) plain/reinforced concrete jacket for the structural members e.g. columns, pillars, piers, beams etc with concrete having the specified minimum characteristic compressive strength [with ordinary portland cement, coarse sand and graded stone aggregate of 10mm maximum size in proportion as per design criteria] with specified average thickness all-round existing core of RCC member. Note: Rates shall be for finished surface area of concrete and shall include the cost of making holes in existing RCC slab, if required, for pouring concrete in shuttering mould of jacket and appropriate approved Super-Plasticiser for rendering concrete as flowable self compacting and SBR polymer but shall exclude cost of reinforcement, bond coat, Shear Keys, centering and shuttering, strutting, propping etc (Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding/tapping with a blunt metal instrument) 50mm thick in Grade M 25 with cement content not less than 330 kg per cum | 296.46 | Sqm |  | 500.00 | 148230.00 | 600.00 | 177876.00 | 639.90 | 189704.75 | 325.00 | 96349.50 | 96349.50 | Silhouette Infraprojects
31.00 | Providing and injecting approved grout in proportion recommended by the manufacturer into cracks/honey-comb area of concrete/masonry by suitable gun/pump at required pressure including cutting of nipples after curing etc. complete as per directions of Engineer-inCharge. Epoxy injection grout in concrete/RCC work of approved make | 35.52 | Kg |  | 750.00 | 26640.00 | 800.00 | 28416.00 | 1196.00 | 42481.92 | 500.00 | 17760.00 | 17760.00 | Silhouette Infraprojects
32.00 | Shotcreting R.C.C. columns, beams and slabs etc. in layers with approved design mix concrete having the specified minimum characteristic compressive strength [with ordinary portland cement, coarse sand and graded stone aggregate of 10 mm maximum size in proportion as per design criteria] including the cost of centering and shuttering at edges and corners etc. as directed by Engineerin-Charge Note: Rates shall include the providing necessary ground wires etc. The levelling gauges, if used, shall be paid for separately. Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding/ tapping with a blunt metal instrument. 50mm thick in Grade M 25 with cement content not less than 330 kg per cum | 296.46 | Sqm |  | 800.00 | 237168.00 | 800.00 | 237168.00 | 950.00 | 281637.00 | 700.00 | 207522.00 | 207522.00 | Silhouette Infraprojects
| Total in Figures |  |  |  |  | 15138027.50 |  | 16080658.15 |  | 14063939.26 |  | 12394419.15
Lowest Amount Quoted BY: Silhouette Infraprojects(12394419.15)

## BOQ Summary
BOQ Summary Details Tender Title: Structural rehabilitation of existing 03 nos of RCC Sumps and 01 Tender ID: 2023_AAI_163357_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Silhouette Infraprojects | 12394419.15 | L1
| 2 | Vikash Enterprises | 14063939.26 | L2
| 3 | Shrikrishna Construction | 15138027.50 | L3
| 4 | M I CONSTRUCTIONS | 16080658.15 | L4