## BoQ1
Government eProcurement System Created By: KASTHURI KRISHNASAMY Created Date/Time: 08-Sep-2023 05:30 PM Tender Title: Construction of CISF DIG Office adjacent to existing Battalion office and extension of Kote room adjacent to existing Kote building at Chennai Airport, Chennai Tender ID: 2023_AAI_163659_1
Tender Inviting Authority: AGM (E-C) CMD-II
Name of Work: Construction of CISF DIG Office adjacent to existing Battalion office and extension of KOTE Room adjacent to existing Kote building at Chennai Airport, Chennai.
Contract No: 2023_AAI_163659_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RECHI CONSTRUCTION PVT LTD(GSTN-19AAGCR6941N1ZN) |  | S.Srinivasan(GSTN-33AASPS5064L1Z1) |  | Saraswathi Engineering Construction (P) Ltd.(GSTN-33AAHCS4653D1ZJ) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | J. K. Enterprises(GSTN-NA) |  | N.F.LEL CONSTRUCTION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. a) All kinds of soil | 250.00 | Cum | 100.00 | 220.00 | 55000.00 | 180.00 | 45000.00 | 300.00 | 75000.00 | 300.00 | 75000.00 | 222.00 | 55500.00 | 250.00 | 62500.00 | 45000.00 | S.Srinivasan
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 180.00 | Cum | 100.00 | 220.00 | 39600.00 | 140.00 | 25200.00 | 250.00 | 45000.00 | 300.00 | 54000.00 | 383.00 | 68940.00 | 200.00 | 36000.00 | 25200.00 | S.Srinivasan
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 20.00 | Cum | 10.00 | 6100.00 | 122000.00 | 6250.00 | 125000.00 | 6500.00 | 130000.00 | 5500.00 | 110000.00 | 5000.00 | 100000.00 | 6000.00 | 120000.00 | 100000.00 | J. K. Enterprises
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for: a) Foundations, footings, bases of columns, etc. for mass concrete | 185.00 | Sqm | 10.00 | 300.00 | 55500.00 | 350.00 | 64750.00 | 600.00 | 111000.00 | 500.00 | 92500.00 | 595.00 | 110075.00 | 300.00 | 55500.00 | 55500.00 | RECHI CONSTRUCTION PVT LTD, N.F.LEL CONSTRUCTION
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for: b) Suspended floors, roofs, landings, balconies and access platform | 440.00 | Sqm | 10.00 | 600.00 | 264000.00 | 750.00 | 330000.00 | 750.00 | 330000.00 | 500.00 | 220000.00 | 595.00 | 261800.00 | 650.00 | 286000.00 | 220000.00 | vk sam engineering
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for: c) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 520.00 | Sqm | 10.00 | 600.00 | 312000.00 | 620.00 | 322400.00 | 750.00 | 390000.00 | 500.00 | 260000.00 | 595.00 | 309400.00 | 700.00 | 364000.00 | 260000.00 | vk sam engineering
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for: d) Columns, Pillars, Piers, Abutments, Posts and Struts | 385.00 | Sqm | 10.00 | 700.00 | 269500.00 | 800.00 | 308000.00 | 800.00 | 308000.00 | 500.00 | 192500.00 | 598.00 | 230230.00 | 700.00 | 269500.00 | 192500.00 | vk sam engineering
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for: e) Stairs, (excluding landings) except spiral-staircases | 45.00 | Sqm | 10.00 | 600.00 | 27000.00 | 675.00 | 30375.00 | 750.00 | 33750.00 | 500.00 | 22500.00 | 595.00 | 26775.00 | 750.00 | 33750.00 | 22500.00 | vk sam engineering
9.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 8960.00 | Kg | 10.00 | 78.00 | 698880.00 | 87.00 | 779520.00 | 90.00 | 806400.00 | 90.00 | 806400.00 | 78.00 | 698880.00 | 85.00 | 761600.00 | 698880.00 | RECHI CONSTRUCTION PVT LTD, J. K. Enterprises
10.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. b) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 18460.00 | Kg | 10.00 | 80.00 | 1476800.00 | 87.00 | 1606020.00 | 90.00 | 1661400.00 | 95.00 | 1753700.00 | 78.00 | 1439880.00 | 86.00 | 1587560.00 | 1439880.00 | J. K. Enterprises
11.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. a) All works upto plinth level : Concrete of M25 grade with minimum cement content of 330 kg /cum | 75.00 | Cum | 10.00 | 7600.00 | 570000.00 | 8000.00 | 600000.00 | 9000.00 | 675000.00 | 6800.00 | 510000.00 | 7995.00 | 599625.00 | 8500.00 | 637500.00 | 510000.00 | vk sam engineering
12.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. b) All works above plinth level upto floor V level: Concrete of M25 grade with minimum cement content of 330 kg /cum | 150.00 | Cum | 10.00 | 8200.00 | 1230000.00 | 9700.00 | 1455000.00 | 10000.00 | 1500000.00 | 7000.00 | 1050000.00 | 8000.00 | 1200000.00 | 8500.00 | 1275000.00 | 1050000.00 | vk sam engineering
13.00 | Providing and fixing of expansion joint system of approved make and manufactures for various roof locations as per approved drawings and direction of Engineer-In-Charge. The joints shall be of extruded aluminum base members with, self aligning and self centering arragement support plates asper ASTM B221-02. The system shall be such that it provides watertight roof to roof/roof to corner joint cover expansion control system that is capable of accommodating multidirectional seismic movement without stress to its components. System shall consist of metal profile that incorporates a universal aluminum base member designed to accommodate various project conditions and roof treatments. The cover plate shall be designed of width and thickness required to satisfy movement and loading requirements and secured to base members by utilizing manufacturer’s pre-engineered self-centering arrangement that freely rotates / moves in all directions. The Self centering arrangement shall exhibit circular sphere ends that lock and slide inside the corresponding aluminum extrusion cavity to allow freedom of movement and flexure in all directions including vertical displacement. The Joint System shall resists damage or deterioration from the impact of falling ice, exposure to UV, airborne contaminants and occasional foot traffic from maintenance personnel. Provision of Moisture Barrier Membrane in the Joint System to have water tight joint is mandatory requirement. (Material shall confirm to ASTM 6063). a) Roof Joint of 150 mm gap | 125.00 | metre | 10.00 | 5200.00 | 650000.00 | 7100.00 | 887500.00 | 7500.00 | 937500.00 | 7000.00 | 875000.00 | 5000.00 | 625000.00 | 2500.00 | 312500.00 | 312500.00 | N.F.LEL CONSTRUCTION
14.00 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 160.00 | Cum | 10.00 | 7500.00 | 1200000.00 | 8000.00 | 1280000.00 | 8500.00 | 1360000.00 | 7000.00 | 1120000.00 | 6350.00 | 1016000.00 | 8500.00 | 1360000.00 | 1016000.00 | J. K. Enterprises
15.00 | Half brick masonry with non modular fly ash bricks of class designation 10, conformingio IS :12894, in super structure above plinth and upto floor V level. a) Cement mortar 1 : 4 (1 cement : 4 coarse sand) | 100.00 | Sqm | 10.00 | 950.00 | 95000.00 | 1050.00 | 105000.00 | 1000.00 | 100000.00 | 900.00 | 90000.00 | 6650.00 | 665000.00 | 1250.00 | 125000.00 | 90000.00 | vk sam engineering
16.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. i) Granite stone slab colour black, Cherry/Ruby red a) Area of slab over 0.50 sqm | 5.00 | Sqm | 10.00 | 3200.00 | 16000.00 | 4600.00 | 23000.00 | 4500.00 | 22500.00 | 2500.00 | 12500.00 | 4767.00 | 23835.00 | 6000.00 | 30000.00 | 12500.00 | vk sam engineering
17.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 65.00 | Sqm | 10.00 | 800.00 | 52000.00 | 1050.00 | 68250.00 | 1250.00 | 81250.00 | 1200.00 | 78000.00 | 1063.45 | 69124.25 | 1100.00 | 71500.00 | 52000.00 | RECHI CONSTRUCTION PVT LTD
18.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). a) Second class teak wood | .40 | Cum | 10.00 | 100000.00 | 40000.00 | 140000.00 | 56000.00 | 150000.00 | 60000.00 | 200000.00 | 80000.00 | 125000.00 | 50000.00 | 100000.00 | 40000.00 | 40000.00 | RECHI CONSTRUCTION PVT LTD, N.F.LEL CONSTRUCTION
19.00 | Float glass panes 4 mm thick glass pane (weight not less than 10kg/sqm). | 21.50 | Sqm | 10.00 | 1750.00 | 37625.00 | 1250.00 | 26875.00 | 2000.00 | 43000.00 | 1500.00 | 32250.00 | 309.00 | 6643.50 | 4750.00 | 102125.00 | 6643.50 | J. K. Enterprises
20.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. a) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 33.00 | Sqm | 10.00 | 2500.00 | 82500.00 | 3200.00 | 105600.00 | 4000.00 | 132000.00 | 2000.00 | 66000.00 | 3031.00 | 100023.00 | 4500.00 | 148500.00 | 66000.00 | vk sam engineering
21.00 | Providing and fixing chromium plated brass curtain rod having wall thickness of 1.25mm with two chromium plated brass brackets fixed with C.P. brass screws and PVC sleeves etc., wherever necessary complete : a) 25 mm dia | 28.00 | metre | 10.00 | 470.00 | 13160.00 | 520.00 | 14560.00 | 600.00 | 16800.00 | 300.00 | 8400.00 | 340.00 | 9520.00 | 375.00 | 10500.00 | 8400.00 | vk sam engineering
22.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 10.00 | No. | 10.00 | 100.00 | 1000.00 | 120.00 | 1200.00 | 150.00 | 1500.00 | 150.00 | 1500.00 | 109.50 | 1095.00 | 800.00 | 8000.00 | 1000.00 | RECHI CONSTRUCTION PVT LTD
23.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 12.00 | Nos. | 10.00 | 900.00 | 10800.00 | 1075.00 | 12900.00 | 1200.00 | 14400.00 | 1800.00 | 21600.00 | 856.36 | 10276.32 | 1200.00 | 14400.00 | 10276.32 | J. K. Enterprises
24.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 200x10 mm | 22.00 | Nos. | 10.00 | 80.00 | 1760.00 | 150.00 | 3300.00 | 150.00 | 3300.00 | 300.00 | 6600.00 | 38.30 | 842.60 | 300.00 | 6600.00 | 842.60 | J. K. Enterprises
25.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 125 mm | 26.00 | Nos. | 10.00 | 60.00 | 1560.00 | 175.00 | 4550.00 | 120.00 | 3120.00 | 500.00 | 13000.00 | 32.46 | 843.96 | 250.00 | 6500.00 | 843.96 | J. K. Enterprises
26.00 | Providing and fixing PVC Door Frame of size 50x47 mm with a wall thickness of 5 mm (± 0.2 mm), made out of single piece extruded PVC profile, with mitred cut joints and joint with 2 nos of PVC bracket of size 190 mm x 100 mm long arms of cross section size 35 x 15 mm & self driven self taping screws, the vertical door profiles to be reinforced with 40x20 mm M.S. rectangular tube of 0.8 mm , including providing EPDM rubber gasket weather seal throughout the frame, including jointing 5 mm PVC frame strip with PVC solvent cement on the back of the profile. The door frame to be fixed to the wall using 8 x100 mm long anchor fasteners complete, all as per manufacturer's specification and direction of Engineer -in- charge. | 50.00 | metre | 10.00 | 450.00 | 22500.00 | 400.00 | 20000.00 | 750.00 | 37500.00 | 300.00 | 15000.00 | 462.25 | 23112.50 | 1000.00 | 50000.00 | 15000.00 | vk sam engineering
27.00 | 35 mm thick factory made Solid panel PVC Door shutter, made out of single piece extruded soild PVC profiles, 5 mm (± 0.2 mm) thick, having styles & rails (except lock rail) of size 95 mmx 35 mm x 5 mm, out of which 75 mm shall be flat and 20 mm shall be tapered (on both side), having one side thickness of 15 mm integrally extruded on the hinge side of the profile for better screw holding power, including reinforcing with MS tube of size 40 mm X 20 mm x 1 mm, joints of styles & rails to be mitered cut & joint with the help of PVC solvent cement, self driven self tapping screws & M.S. rectangular pipes bracket of size 190 mm X 100 mm of cross section size 35 mm x 17 mm x 1 mm at each corner. Single piece extruded 5 mm thick solid PVC Lock rail of size 115 mm x 35 mm, out of which 75 mm to be flat and 20 mm to be tapered at both ends, having 15 mm solid core in middle of rail section integrally extruded, fixing the styles & rails with the help of solvent and self driven self tapping screws of 125 mm x 11 mm, including providing 5 mm Single piece solid PVC extruded sheet inserted in the door as panel, all complete as per manufacturer's specification and direction of Engineerin-charge. a) Non decorative finish (matt finish) | 15.00 | Sqm | 10.00 | 3500.00 | 52500.00 | 3400.00 | 51000.00 | 4000.00 | 60000.00 | 2500.00 | 37500.00 | 3300.00 | 49500.00 | 3500.00 | 52500.00 | 37500.00 | vk sam engineering
28.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 330.00 | Kg | 10.00 | 95.00 | 31350.00 | 140.00 | 46200.00 | 140.00 | 46200.00 | 120.00 | 39600.00 | 93.50 | 30855.00 | 125.00 | 41250.00 | 30855.00 | J. K. Enterprises
29.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. a) M.S. tube | 200.00 | kg | 10.00 | 140.00 | 28000.00 | 140.00 | 28000.00 | 160.00 | 32000.00 | 150.00 | 30000.00 | 157.15 | 31430.00 | 175.00 | 35000.00 | 28000.00 | RECHI CONSTRUCTION PVT LTD, S.Srinivasan
30.00 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | 15.00 | Sqm | 10.00 | 1000.00 | 15000.00 | 1300.00 | 19500.00 | 1250.00 | 18750.00 | 1200.00 | 18000.00 | 1100.00 | 16500.00 | 1150.00 | 17250.00 | 15000.00 | RECHI CONSTRUCTION PVT LTD
31.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. a) Size of Tile 600x600 mm | 430.00 | Sqm | 10.00 | 1150.00 | 494500.00 | 1400.00 | 602000.00 | 1500.00 | 645000.00 | 1300.00 | 559000.00 | 1100.00 | 473000.00 | 1300.00 | 559000.00 | 473000.00 | J. K. Enterprises
32.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. a) Size of Tile 600x600 mm | 20.00 | Sqm | 10.00 | 1500.00 | 30000.00 | 1550.00 | 31000.00 | 1500.00 | 30000.00 | 1500.00 | 30000.00 | 1250.00 | 25000.00 | 1300.00 | 26000.00 | 25000.00 | J. K. Enterprises
33.00 | Providing and laying pressed clay tiles (as per approved pattern 20 mm nominal thickness of approved size) on roofs jointed with cement mortar 1:4 (1 cement : 4 coarse sand) mixed with 2% integral water proofing compound, laid over a bed of 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) and finished neat complete. | 220.00 | Sqm | 10.00 | 600.00 | 132000.00 | 520.00 | 114400.00 | 1000.00 | 220000.00 | 1200.00 | 264000.00 | 615.00 | 135300.00 | 600.00 | 132000.00 | 114400.00 | S.Srinivasan
34.00 | 12 mm cement plaster of mix : a) 1:6 (1 cement: 6 fine sand) | 790.00 | Sqm | 10.00 | 300.00 | 237000.00 | 400.00 | 316000.00 | 300.00 | 237000.00 | 450.00 | 355500.00 | 275.00 | 217250.00 | 276.00 | 218040.00 | 217250.00 | J. K. Enterprises
35.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : a) 1:6 (1 cement: 6 fine sand) | 700.00 | Sqm | 10.00 | 300.00 | 210000.00 | 450.00 | 315000.00 | 325.00 | 227500.00 | 400.00 | 280000.00 | 300.00 | 210000.00 | 350.00 | 245000.00 | 210000.00 | RECHI CONSTRUCTION PVT LTD, J. K. Enterprises
36.00 | 6 mm cement plaster of mix : a) 1:3 (1 cement : 3 fine sand) | 580.00 | Sqm | 10.00 | 220.00 | 127600.00 | 350.00 | 203000.00 | 275.00 | 159500.00 | 450.00 | 261000.00 | 275.00 | 159500.00 | 300.00 | 174000.00 | 127600.00 | RECHI CONSTRUCTION PVT LTD
37.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : a) Water thinnable cement primer | 1370.00 | Sqm | 10.00 | 50.00 | 68500.00 | 75.00 | 102750.00 | 75.00 | 102750.00 | 45.00 | 61650.00 | 50.00 | 68500.00 | 75.00 | 102750.00 | 61650.00 | vk sam engineering
38.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 700.00 | Sqm | 10.00 | 140.00 | 98000.00 | 145.00 | 101500.00 | 250.00 | 175000.00 | 100.00 | 70000.00 | 163.00 | 114100.00 | 175.00 | 122500.00 | 70000.00 | vk sam engineering
39.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 1370.00 | Sqm | 10.00 | 130.00 | 178100.00 | 135.00 | 184950.00 | 200.00 | 274000.00 | 90.00 | 123300.00 | 137.85 | 188854.50 | 175.00 | 239750.00 | 123300.00 | vk sam engineering
40.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 57.00 | Sqm | 10.00 | 125.00 | 7125.00 | 120.00 | 6840.00 | 200.00 | 11400.00 | 150.00 | 8550.00 | 191.00 | 10887.00 | 180.00 | 10260.00 | 6840.00 | S.Srinivasan
41.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 790.00 | Sqm | 10.00 | 120.00 | 94800.00 | 150.00 | 118500.00 | 100.00 | 79000.00 | 80.00 | 63200.00 | 123.85 | 97841.50 | 125.00 | 98750.00 | 63200.00 | vk sam engineering
42.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. a) Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 190.00 | Cum | 10.00 | 2000.00 | 380000.00 | 800.00 | 152000.00 | 2500.00 | 475000.00 | 1000.00 | 190000.00 | 1110.00 | 210900.00 | 2000.00 | 380000.00 | 152000.00 | S.Srinivasan
43.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge | 230.00 | Cum | 10.00 | 2500.00 | 575000.00 | 900.00 | 207000.00 | 3500.00 | 805000.00 | 1500.00 | 345000.00 | 1850.00 | 425500.00 | 2000.00 | 460000.00 | 207000.00 | S.Srinivasan
44.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. a) In cement mortar | 260.00 | Cum | 10.00 | 1500.00 | 390000.00 | 500.00 | 130000.00 | 2250.00 | 585000.00 | 600.00 | 156000.00 | 1110.00 | 288600.00 | 1100.00 | 286000.00 | 130000.00 | S.Srinivasan
45.00 | Dismantling steel work in single sections including dismembering and stacking within 50 metres lead in: a) Channels, angles, tees and flats | 660.00 | Kg | 10.00 | 2.00 | 1320.00 | 12.00 | 7920.00 | 3.00 | 1980.00 | 35.00 | 23100.00 | 8.00 | 5280.00 | 24.00 | 15840.00 | 1320.00 | RECHI CONSTRUCTION PVT LTD
46.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 2230.00 | Kg | 10.00 | 5.00 | 11150.00 | 30.00 | 66900.00 | 6.00 | 13380.00 | 35.00 | 78050.00 | 9.00 | 20070.00 | 25.00 | 55750.00 | 11150.00 | RECHI CONSTRUCTION PVT LTD
47.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: (a) G.S. Sheet | 190.00 | sqm | 10.00 | 50.00 | 9500.00 | 200.00 | 38000.00 | 175.00 | 33250.00 | 65.00 | 12350.00 | 136.00 | 25840.00 | 110.00 | 20900.00 | 9500.00 | RECHI CONSTRUCTION PVT LTD
48.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. Made of G.I. wire of dia 4 mm | 56.00 | sqm | 10.00 | 900.00 | 50400.00 | 900.00 | 50400.00 | 1000.00 | 56000.00 | 700.00 | 39200.00 | 800.00 | 44800.00 | 550.00 | 30800.00 | 30800.00 | N.F.LEL CONSTRUCTION
49.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 520.00 | Sqm | 10.00 | 100.00 | 52000.00 | 110.00 | 57200.00 | 200.00 | 104000.00 | 100.00 | 52000.00 | 102.00 | 53040.00 | 175.00 | 91000.00 | 52000.00 | RECHI CONSTRUCTION PVT LTD, vk sam engineering
50.00 | Laying old cement cocrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineerin- charge. (Old CC paver blocks shall be supplied by the department free of cost). | 450.00 | sqm | 10.00 | 350.00 | 157500.00 | 225.00 | 101250.00 | 450.00 | 202500.00 | 50.00 | 22500.00 | 305.00 | 137250.00 | 275.00 | 123750.00 | 22500.00 | vk sam engineering
51.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : a) W.C. pan with ISI marked white solid plastic seat and lid | 6.00 | Nos. | 10.00 | 5500.00 | 33000.00 | 7500.00 | 45000.00 | 6000.00 | 36000.00 | 6000.00 | 36000.00 | 5540.55 | 33243.30 | 10000.00 | 60000.00 | 33000.00 | RECHI CONSTRUCTION PVT LTD
52.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : a) Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 5.00 | Nos. | 10.00 | 10000.00 | 50000.00 | 8000.00 | 40000.00 | 13000.00 | 65000.00 | 3000.00 | 15000.00 | 9350.00 | 46750.00 | 8500.00 | 42500.00 | 15000.00 | vk sam engineering
53.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: a) White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 7.00 | Nos. | 10.00 | 2500.00 | 17500.00 | 3700.00 | 25900.00 | 3000.00 | 21000.00 | 1200.00 | 8400.00 | 2275.00 | 15925.00 | 5500.00 | 38500.00 | 8400.00 | vk sam engineering
54.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : a) Kitchen sink with drain board: 510x1040 mm bowl depth 250 mm | 3.00 | Nos. | 10.00 | 5700.00 | 17100.00 | 9500.00 | 28500.00 | 9000.00 | 27000.00 | 7000.00 | 21000.00 | 5500.00 | 16500.00 | 20000.00 | 60000.00 | 16500.00 | J. K. Enterprises
55.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : a) Rectangular shape 1500x450 mm | 7.00 | Nos. | 10.00 | 1000.00 | 7000.00 | 2250.00 | 15750.00 | 2750.00 | 19250.00 | 2000.00 | 14000.00 | 1817.20 | 12720.40 | 2100.00 | 14700.00 | 7000.00 | RECHI CONSTRUCTION PVT LTD
56.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 6.00 | Nos. | 10.00 | 100.00 | 600.00 | 450.00 | 2700.00 | 250.00 | 1500.00 | 1500.00 | 9000.00 | 146.30 | 877.80 | 1200.00 | 7200.00 | 600.00 | RECHI CONSTRUCTION PVT LTD
57.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. a) 450 mm long towel rail with total length of 495 mm, 78 mm wide and effective height of 88 mm, weighing not less than 170 gms | 6.00 | Nos. | 10.00 | 500.00 | 3000.00 | 700.00 | 4200.00 | 750.00 | 4500.00 | 1500.00 | 9000.00 | 573.60 | 3441.60 | 1500.00 | 9000.00 | 3000.00 | RECHI CONSTRUCTION PVT LTD
58.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. i) Concealed work, including cutting chases and making good the walls etc. a) 20 mm nominal dia Pipes | 50.00 | metre | 10.00 | 500.00 | 25000.00 | 520.00 | 26000.00 | 600.00 | 30000.00 | 500.00 | 25000.00 | 572.25 | 28612.50 | 425.00 | 21250.00 | 21250.00 | N.F.LEL CONSTRUCTION
59.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. i) Concealed work, including cutting chases and making good the walls etc. b) 25 mm nominal dia Pipes | 50.00 | metre | 10.00 | 600.00 | 30000.00 | 650.00 | 32500.00 | 700.00 | 35000.00 | 300.00 | 15000.00 | 572.25 | 28612.50 | 525.00 | 26250.00 | 15000.00 | vk sam engineering
60.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. i) Concealed work, including cutting chases and making good the walls etc. c) 32 mm nominal dia Pipes | 50.00 | metre | 10.00 | 700.00 | 35000.00 | 750.00 | 37500.00 | 775.00 | 38750.00 | 400.00 | 20000.00 | 572.25 | 28612.50 | 625.00 | 31250.00 | 20000.00 | vk sam engineering
61.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. ii) External work a) 20 mm nominal dia Pipes | 60.00 | metre | 10.00 | 250.00 | 15000.00 | 325.00 | 19500.00 | 400.00 | 24000.00 | 320.00 | 19200.00 | 325.10 | 19506.00 | 325.00 | 19500.00 | 15000.00 | RECHI CONSTRUCTION PVT LTD
62.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. ii) External work b) 25 mm nominal dia Pipes | 60.00 | metre | 10.00 | 350.00 | 21000.00 | 400.00 | 24000.00 | 500.00 | 30000.00 | 320.00 | 19200.00 | 408.55 | 24513.00 | 425.00 | 25500.00 | 19200.00 | vk sam engineering
63.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. ii) External work c) 32 mm nominal dia Pipes | 60.00 | metre | 10.00 | 430.00 | 25800.00 | 475.00 | 28500.00 | 600.00 | 36000.00 | 400.00 | 24000.00 | 500.95 | 30057.00 | 525.00 | 31500.00 | 24000.00 | vk sam engineering
64.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. ii) External work d) 40 mm nominal dia Pipes | 60.00 | metre | 10.00 | 560.00 | 33600.00 | 575.00 | 34500.00 | 700.00 | 42000.00 | 500.00 | 30000.00 | 674.35 | 40461.00 | 700.00 | 42000.00 | 30000.00 | vk sam engineering
65.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : a) 15 mm nominal bore | 6.00 | No. | 10.00 | 350.00 | 2100.00 | 450.00 | 2700.00 | 800.00 | 4800.00 | 1500.00 | 9000.00 | 348.85 | 2093.10 | 325.00 | 1950.00 | 1950.00 | N.F.LEL CONSTRUCTION
66.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | Litre | 10.00 | 11.00 | 11000.00 | 12.00 | 12000.00 | 12.00 | 12000.00 | 13.00 | 13000.00 | 9.70 | 9700.00 | 9.00 | 9000.00 | 9000.00 | N.F.LEL CONSTRUCTION
67.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : a) 15 mm nominal bore | 10.00 | Nos. | 10.00 | 450.00 | 4500.00 | 550.00 | 5500.00 | 800.00 | 8000.00 | 1500.00 | 15000.00 | 434.00 | 4340.00 | 1200.00 | 12000.00 | 4340.00 | J. K. Enterprises
68.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. a) 15 mm nominal bore | 5.00 | Nos. | 10.00 | 700.00 | 3500.00 | 750.00 | 3750.00 | 950.00 | 4750.00 | 1600.00 | 8000.00 | 708.40 | 3542.00 | 1000.00 | 5000.00 | 3500.00 | RECHI CONSTRUCTION PVT LTD
69.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. a) 15 mm nominal bore | 11.00 | Nos. | 10.00 | 550.00 | 6050.00 | 600.00 | 6600.00 | 800.00 | 8800.00 | 500.00 | 5500.00 | 594.75 | 6542.25 | 600.00 | 6600.00 | 5500.00 | vk sam engineering
70.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15mm nominal bore | 12.00 | Nos. | 10.00 | 500.00 | 6000.00 | 650.00 | 7800.00 | 800.00 | 9600.00 | 900.00 | 10800.00 | 500.35 | 6004.20 | 525.00 | 6300.00 | 6000.00 | RECHI CONSTRUCTION PVT LTD
71.00 | Providing and fixing PTMT grating of approved quality and colour. i) Circular type a) 100 mm nominal dia | 14.00 | Nos. | 10.00 | 50.00 | 700.00 | 50.00 | 700.00 | 90.00 | 1260.00 | 30000.00 | 420000.00 | 33.20 | 464.80 | 150.00 | 2100.00 | 464.80 | J. K. Enterprises
72.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : i) Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 3.00 | Nos. | 10.00 | 11000.00 | 33000.00 | 12000.00 | 36000.00 | 18000.00 | 54000.00 | 500.00 | 1500.00 | 10500.00 | 31500.00 | 7600.00 | 22800.00 | 1500.00 | vk sam engineering
73.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : i) For fixed portion a) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 140.00 | kg | 10.00 | 500.00 | 70000.00 | 525.00 | 73500.00 | 600.00 | 84000.00 | 600.00 | 84000.00 | 426.09 | 59652.60 | 450.00 | 63000.00 | 59652.60 | J. K. Enterprises
74.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : ii) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) a) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 230.00 | kg | 10.00 | 500.00 | 115000.00 | 650.00 | 149500.00 | 650.00 | 149500.00 | 600.00 | 138000.00 | 520.22 | 119650.60 | 450.00 | 103500.00 | 103500.00 | N.F.LEL CONSTRUCTION
75.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 25.00 | Sqm | 10.00 | 485.00 | 12125.00 | 450.00 | 11250.00 | 1000.00 | 25000.00 | 2000.00 | 50000.00 | 516.60 | 12915.00 | 500.00 | 12500.00 | 11250.00 | S.Srinivasan
76.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : a) With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 225.00 | Sqm | 10.00 | 1425.00 | 320625.00 | 1200.00 | 270000.00 | 1500.00 | 337500.00 | 2000.00 | 450000.00 | 1350.07 | 303765.75 | 1500.00 | 337500.00 | 270000.00 | S.Srinivasan
77.00 | Fixing of structural steel work with available steel, riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (Materials shall be supplied by the department at free of cost) | 2230.00 | kg | 10.00 | 60.00 | 133800.00 | 60.00 | 133800.00 | 40.00 | 89200.00 | 50.00 | 111500.00 | 154.61 | 344780.30 | 35.00 | 78050.00 | 78050.00 | N.F.LEL CONSTRUCTION
78.00 | Fixing of available corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. 1.00 mm thick with zinc coating not less than 275 gm/m² (Materials shall be supplied by the department at free of cost) | 190.00 | sqm | 10.00 | 210.00 | 39900.00 | 250.00 | 47500.00 | 350.00 | 66500.00 | 300.00 | 57000.00 | 165.00 | 31350.00 | 400.00 | 76000.00 | 31350.00 | J. K. Enterprises
79.00 | Fixing of available chain link fabric fencing including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. (Materials shall be supplied by the department at free of cost) | 165.00 | Sqm | 10.00 | 115.00 | 18975.00 | 175.00 | 28875.00 | 600.00 | 99000.00 | 75.00 | 12375.00 | 165.00 | 27225.00 | 200.00 | 33000.00 | 12375.00 | vk sam engineering
80.00 | Providing and supplying 3 sets of detailed structural design and drawings, vetted by Governemnt Engineering College/IIT/NIT including periodic site inspection and ensuring conformation to structural drawing and designs etc complete as per the directions of Engineer in Charge. | 1.00 | Job | 10.00 | 100000.00 | 100000.00 | 99000.00 | 99000.00 | 300000.00 | 300000.00 | 150000.00 | 150000.00 | 40001.07 | 40001.07 | 300000.00 | 300000.00 | 40001.07 | J. K. Enterprises
| Total in Figures |  |  |  |  | 11966405.00 |  | 12604335.00 |  | 15136540.00 |  | 12486425.00 |  | 12075578.40 |  | 12811075.00
Lowest Amount Quoted BY: RECHI CONSTRUCTION PVT LTD(11966405.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of CISF DIG Office adjacent to existing Battalion office and extension of Kote room adjacent to existing Kote building at Chennai Airport, Chennai Tender ID: 2023_AAI_163659_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RECHI CONSTRUCTION PVT LTD | 11966405.00 | L1
| 2 | J. K. Enterprises | 12075578.40 | L2
| 3 | vk sam engineering | 12486425.00 | L3
| 4 | S.Srinivasan | 12604335.00 | L4
| 5 | N.F.LEL CONSTRUCTION | 12811075.00 | L5
| 6 | Saraswathi Engineering Construction (P) Ltd. | 15136540.00 | L6