## BoQ1
Government eProcurement System Created By: RAJITH V Created Date/Time: 11-Sep-2023 06:36 PM Tender Title: ARMO works of E and M installations at Madurai Airport during 2023-2025. SH Comprehensive Annual Maintenance Contract of Unitary Air Conditioners, Walk in type cold storage facility, Water coolers, RO Plant and Water Dispensers at Madurai Airport Tender ID: 2023_AAI_164918_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: ARMO works of E&M Installations at Madurai Airport during 2023-2025. SH: Comprehensive Annual Maintenance Contract of Unitary Air conditioners, Walkin type cold storage facility, Water coolers, RO Plant & Water Dispensers at Madurai Airport
Contract No: AAI/MDU/E-E/MDU-393/NIT-08/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VEERABABU COMFORT COOL SYSTEM(GSTN-37BKKPM2510E1ZF) |  | CAC ENGINEERS PVT LTD(GSTN-33AAECC2301D2ZK)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job Contract for Operation, preventive and breakdown maintenance of various AC’s, water Coolers,walk in type cold storage facilities ,water dispensers, RO units etc installed at Nav-aids, OTB, Engineering offices,residential colony etc as detailed in “ANNEXURE-B” at Madurai Airport on general duty / shift duty / need basis in line with the requirements indicated in the tender document as required. (Two Skilled Technicians & One Un-Skilled Helper) The bidder shall not quote below the Prevailing Minimum wages for this item as per SPC - Clause-11 of Page No.6 | 24.00 | Months |  | 86000.00 | 2064000.00 | 89000.00 | 2136000.00 | 2064000.00 | VEERABABU COMFORT COOL SYSTEM
2.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares , consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Ductable split type - 8.5 Ton For First Year | 2.00 | Each per Year |  | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 5000.00 | CAC ENGINEERS PVT LTD
3.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares , consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Ductable split type - 8.5 Ton For Second Year | 2.00 | Each per Year |  | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 5000.00 | CAC ENGINEERS PVT LTD
4.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Ductable Hide away split type - 7.5 Ton For First Year | 2.00 | Each per Year |  | 3900.00 | 7800.00 | 2500.00 | 5000.00 | 5000.00 | CAC ENGINEERS PVT LTD
5.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Ductable Hide away split type - 7.5 Ton For Second Year | 2.00 | Each per Year |  | 3900.00 | 7800.00 | 2500.00 | 5000.00 | 5000.00 | CAC ENGINEERS PVT LTD
6.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Non-ductable split type with hide away fan coil units - 5 Ton For First Year | 2.00 | Each per Year |  | 3400.00 | 6800.00 | 2500.00 | 5000.00 | 5000.00 | CAC ENGINEERS PVT LTD
7.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Non-ductable split type with hide away fan coil units - 5 Ton For Second Year | 2.00 | Each per Year |  | 3400.00 | 6800.00 | 2500.00 | 5000.00 | 5000.00 | CAC ENGINEERS PVT LTD
8.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Cassette type Split - 4 Ton For First Year | 5.00 | Each per Year |  | 2900.00 | 14500.00 | 2000.00 | 10000.00 | 10000.00 | CAC ENGINEERS PVT LTD
9.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Cassette type Split - 4 Ton For Second Year | 5.00 | Each per Year |  | 2900.00 | 14500.00 | 2000.00 | 10000.00 | 10000.00 | CAC ENGINEERS PVT LTD
10.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Vertical Split type - 3 Ton For First Year | 12.00 | Each per Year |  | 2400.00 | 28800.00 | 1500.00 | 18000.00 | 18000.00 | CAC ENGINEERS PVT LTD
11.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Vertical Split type - 3 Ton For Second Year | 12.00 | Each per Year |  | 2400.00 | 28800.00 | 1500.00 | 18000.00 | 18000.00 | CAC ENGINEERS PVT LTD
12.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, voltage stabilizer, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Split type - 2Ton For First Year | 26.00 | Each per Year |  | 1000.00 | 26000.00 | 600.00 | 15600.00 | 15600.00 | CAC ENGINEERS PVT LTD
13.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, voltage stabilizer, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Split type - 2Ton For Second Year | 26.00 | Each per Year |  | 1000.00 | 26000.00 | 600.00 | 15600.00 | 15600.00 | CAC ENGINEERS PVT LTD
14.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares ,consumables, voltage stabilizer, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Split type - 1.5Ton For First Year | 49.00 | Each per Year |  | 800.00 | 39200.00 | 500.00 | 24500.00 | 24500.00 | CAC ENGINEERS PVT LTD
15.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares ,consumables, voltage stabilizer, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Split type - 1.5Ton For Second Year | 49.00 | Each per Year |  | 800.00 | 39200.00 | 500.00 | 24500.00 | 24500.00 | CAC ENGINEERS PVT LTD
16.00 | All inclusive comprehensive maintenance of all types, makes and capacities of water coolers including routine and preventive maintenance, breakdown repairs, replacing of all defective parts with new spares ,consumables, painting etc utilizing the workman engaged vide job contract (Item No-I) complete as required. 40/80 liter water cooler For First Year | 4.00 | Each per Year |  | 800.00 | 3200.00 | 500.00 | 2000.00 | 2000.00 | CAC ENGINEERS PVT LTD
17.00 | All inclusive comprehensive maintenance of all types, makes and capacities of water coolers including routine and preventive maintenance, breakdown repairs, replacing of all defective parts with new spares ,consumables, painting etc utilizing the workman engaged vide job contract (Item No-I) complete as required. 40/80 liter water cooler For Second Year | 4.00 | Each per Year |  | 800.00 | 3200.00 | 500.00 | 2000.00 | 2000.00 | CAC ENGINEERS PVT LTD
18.00 | All inclusive Comprehensive Maintenance of 16 ltrs capacity hot & cold water dispensers with separate freezer compartment including water container for 20 ltrs capacity suitable for operation on 230V 50Hz AC supply including replacing spares, consumables etc utilizing the workman engaged vide job contract (Item No-I) complete as required. For First Year | 6.00 | Each per Year |  | 800.00 | 4800.00 | 600.00 | 3600.00 | 3600.00 | CAC ENGINEERS PVT LTD
19.00 | All inclusive Comprehensive Maintenance of 16 ltrs capacity hot & cold water dispensers with separate freezer compartment including water container for 20 ltrs capacity suitable for operation on 230V 50Hz AC supply including replacing spares, consumables etc utilizing the workman engaged vide job contract (Item No-I) complete as required. For Second Year | 6.00 | Each per Year |  | 800.00 | 4800.00 | 600.00 | 3600.00 | 3600.00 | CAC ENGINEERS PVT LTD
20.00 | Trans-installation of split airconditioners of following tonnages including dismantling, gas charging, modifying and joining of old pipelines etc utilizing the workman engaged vide job contract (Item No-I) complete as required. 1.5 TR Split A/C | 1.00 | Job |  | 5000.00 | 5000.00 | 500.00 | 500.00 | 500.00 | CAC ENGINEERS PVT LTD
21.00 | Trans-installation of split airconditioners of following tonnages including dismantling, gas charging, modifying and joining of old pipelines etc utilizing the workman engaged vide job contract (Item No-I) complete as required. 2.0 TR split A/C | 1.00 | Job |  | 5000.00 | 5000.00 | 500.00 | 500.00 | 500.00 | CAC ENGINEERS PVT LTD
22.00 | Supply of 1/4" & 1/2" insulated copper pipe as per site requirement | 10.00 | Mtr |  | 1500.00 | 15000.00 | 450.00 | 4500.00 | 4500.00 | CAC ENGINEERS PVT LTD
23.00 | All inclusive comprehensive maintenance of Clear Aqua make 6 stage wall mounted 50 LPH R.O Purifier including replacing all spares , consumables etc utilizing the workman engaged vide job contract (Item No-I) complete as required. For First Year | 2.00 | Each per Year |  | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 4000.00 | CAC ENGINEERS PVT LTD
24.00 | All inclusive comprehensive maintenance of Clear Aqua make 6 stage wall mounted 50 LPH R.O Purifier including replacing all spares , consumables etc utilizing the workman engaged vide job contract (Item No-I) complete as required. For Second Year | 2.00 | Each per Year |  | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 4000.00 | CAC ENGINEERS PVT LTD
25.00 | All inclusive comprehensive maintenance of 40/80 liter water cooler with 50 LPH inbuilt RO purifier including replacing spares, consumables, etc.attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. For First Year | 6.00 | Each per Year |  | 1200.00 | 7200.00 | 1000.00 | 6000.00 | 6000.00 | CAC ENGINEERS PVT LTD
26.00 | All inclusive comprehensive maintenance of 40/80 liter water cooler with 50 LPH inbuilt RO purifier including replacing spares, consumables, etc.attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. For Second Year | 6.00 | Each per Year |  | 1200.00 | 7200.00 | 1100.00 | 6600.00 | 6600.00 | CAC ENGINEERS PVT LTD
27.00 | Half yearly testing of water quality for both chemical & bacterlogical examination At approved lab and furnishing the test report to AAI (Viz Appearance, color, order, turbidity, E.C, TDS, PH, alkalinity, hardness, Ca, Mg, Na, K, Fe, Mn, NH3, No2, No3, CI, F, SO4, PO4, Tidy's, E.coli count & TC) etc. as required. For First Year | 16.00 | Job |  | 1000.00 | 16000.00 | 500.00 | 8000.00 | 8000.00 | CAC ENGINEERS PVT LTD
28.00 | Half yearly testing of water quality for both chemical & bacterlogical examination At approved lab and furnishing the test report to AAI (Viz Appearance, color, order, turbidity, E.C, TDS, PH, alkalinity, hardness, Ca, Mg, Na, K, Fe, Mn, NH3, No2, No3, CI, F, SO4, PO4, Tidy's, E.coli count & TC) etc. as required. For Second Year | 16.00 | Job |  | 1000.00 | 16000.00 | 500.00 | 8000.00 | 8000.00 | CAC ENGINEERS PVT LTD
29.00 | All inclusive Comprehensive Maintenance of 5MT walk in type cold storage facility at cargo complex including replacing defective parts like fan motors, blades, electric controls, wiring, thermostats, compressors, condensors, Cabin lights, siren, arresting water leakages of the cold storage room and refrigerant gas charging etc by utilizing the workman engaged vide job contract (Item No-I) complete as required. For First Year | 2.00 | Each per Year |  | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 8000.00 | CAC ENGINEERS PVT LTD
30.00 | All inclusive Comprehensive Maintenance of 5MT walk in type cold storage facility at cargo complex including replacing defective parts like fan motors, blades, electric controls, wiring, thermostats, compressors, condensors, Cabin lights, siren, arresting water leakages of the cold storage room and refrigerant gas charging etc by utilizing the workman engaged vide job contract (Item No-I) complete as required. For Second Year | 2.00 | Each per Year |  | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 4000.00 | CAC ENGINEERS PVT LTD
| Total in Figures |  |  |  |  | 2447600.00 |  | 2367500.00
Lowest Amount Quoted BY: CAC ENGINEERS PVT LTD(2367500.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO works of E and M installations at Madurai Airport during 2023-2025. SH Comprehensive Annual Maintenance Contract of Unitary Air Conditioners, Walk in type cold storage facility, Water coolers, RO Plant and Water Dispensers at Madurai Airport Tender ID: 2023_AAI_164918_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CAC ENGINEERS PVT LTD | 2367500.00 | L1
| 2 | VEERABABU COMFORT COOL SYSTEM | 2447600.00 | L2