## BoQ1
Government eProcurement System Created By: ANIL KUMAR Created Date/Time: 12-Oct-2023 06:01 PM Tender Title: Patna-Signages Tender ID: 2023_AAI_166909_1
Tender Inviting Authority: AGM(Engg.-E)-ER, O/o Executive Director (Engg.)-ER & NER, Airports Authority of India, Ground Floor, Old R.D. Building, Safdarjung Airport, New Delhi – 110003
Name of Work: Construction of New Domestic Terminal Building and Other Structures (Phase I & II) at Patna Airport. SH: Design SITC of Illuminated and Non-Illuminated Way Finding Signages.
Contract No: Tender ID: 2023_AAI_166909_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SATIN NEO DIMENSIONS PVT LTD(GSTN-06AACCN8675P1ZN) |  | POSHDECOR(GSTN-27ABDFP5348N1ZO)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Airport Entry Portal - 3 Legged Dwg. No. - Refer design drawing 1.1-1S, 1.1-1G | 1.00 | Job |  | 1048498.00 | 1048498.00 | 2700000.00 | 2700000.00 | 1048498.00 | SATIN NEO DIMENSIONS PVT LTD
2.00 | Vehicular Direction Sign - Single Pole Mounted Dwg. No. - Refer design drawing 1.3a-1S, 1.3a-1G | 6.00 | job |  | 67271.00 | 403626.00 | 150000.00 | 900000.00 | 403626.00 | SATIN NEO DIMENSIONS PVT LTD
3.00 | Traffic Statutory Sign Dwg. No. - Refer design drawing 1.4aS, 1.4aG | 50.00 | Job |  | 10698.00 | 534900.00 | 12000.00 | 600000.00 | 534900.00 | SATIN NEO DIMENSIONS PVT LTD
4.00 | Traffic Information Sign Dwg. No. - Refer design drawing 1.4bS, 1.4bG | 4.00 | Job |  | 5909.00 | 23636.00 | 10500.00 | 42000.00 | 23636.00 | SATIN NEO DIMENSIONS PVT LTD
5.00 | Airlines Listing Announcer Drg. No. - Refer design drawing 1.5bS, 1.5bG | 4.00 | Job |  | 236500.00 | 946000.00 | 180000.00 | 720000.00 | 720000.00 | POSHDECOR
6.00 | Arrival/Departure Zone Marker Refer design drawing 1.6aS, 1.6aG | 6.00 | Job |  | 166333.00 | 997998.00 | 150000.00 | 900000.00 | 900000.00 | POSHDECOR
7.00 | Entry/Exit Announcer - Type B Dwg. No. - Refer design drawing 1.6bS, 1.6bG | 8.00 | Job |  | 123376.00 | 987008.00 | 120000.00 | 960000.00 | 960000.00 | POSHDECOR
8.00 | Facility Announcer - Floor Mounted Dwg. No. - Refer design drawing 1.7aS, 1.7aG | 5.00 | Job |  | 47405.00 | 237025.00 | 42000.00 | 210000.00 | 210000.00 | POSHDECOR
9.00 | Facility Announcer - Passenger Amenities Refer design drawing 1.7dS, 1.7dG | 2.00 | Job |  | 36010.00 | 72020.00 | 24000.00 | 48000.00 | 48000.00 | POSHDECOR
10.01 | Terminal Building Announcer Dwg. No. - Refer design drawing 1.8S, 1.8G - Jayprakash Narayan International Airport (Hindi), (900 mm height) | 74.00 | Job |  | 11880.00 | 879120.00 | 24000.00 | 1776000.00 | 879120.00 | SATIN NEO DIMENSIONS PVT LTD
10.02 | Terminal Building Announcer Dwg. No. - Refer design drawing 1.8S, 1.8G - Jayprakash Narayan International Airport (English), (900 mm height) | 74.00 | Job |  | 11880.00 | 879120.00 | 24000.00 | 1776000.00 | 879120.00 | SATIN NEO DIMENSIONS PVT LTD
10.03 | Terminal Building Announcer Dwg. No. - Refer design drawing 1.8S, 1.8G - AAI Logo (1200 mm height) | 2.00 | Job |  | 405504.00 | 811008.00 | 120000.00 | 240000.00 | 240000.00 | POSHDECOR
11.00 | Airport Maps Refer design drawing 1.9S, 1.9G | 4.00 | Job |  | 78482.00 | 313928.00 | 90000.00 | 360000.00 | 313928.00 | SATIN NEO DIMENSIONS PVT LTD
12.01 | Ceiling Hung Directional Sign Refer design drawing 2.1aS, 2.1aG -1 Message | 20.00 | Job |  | 34997.00 | 699940.00 | 42000.00 | 840000.00 | 699940.00 | SATIN NEO DIMENSIONS PVT LTD
12.02 | Ceiling Hung Directional Sign Refer design drawing 2.1aS, 2.1aG - 2 Message | 20.00 | Job |  | 41143.00 | 822860.00 | 69000.00 | 1380000.00 | 822860.00 | SATIN NEO DIMENSIONS PVT LTD
12.03 | Ceiling Hung Directional Sign Refer design drawing 2.1aS, 2.1aG - 3 Message | 20.00 | Job |  | 48703.00 | 974060.00 | 81000.00 | 1620000.00 | 974060.00 | SATIN NEO DIMENSIONS PVT LTD
13.00 | Floor Mounted Directional Sign - Single Refer design drawing 2.1b-3S, 2.1b-3G | 35.00 | Job |  | 135047.00 | 4726645.00 | 120000.00 | 4200000.00 | 4200000.00 | POSHDECOR
14.00 | Wall Mounted Facility Announcer Refer design drawing 2.2a-S, 2.2a-G | 32.00 | Job |  | 12218.00 | 390976.00 | 24000.00 | 768000.00 | 390976.00 | SATIN NEO DIMENSIONS PVT LTD
15.00 | Wall Mounted Directional Sign With FIDS Refer design drawing 2.2e-S, 2.2e-G | 30.00 | Job |  | 75232.00 | 2256960.00 | 51000.00 | 1530000.00 | 1530000.00 | POSHDECOR
16.00 | Boarding Gate - Wall Mounted Drg. No. - Refer design drawing 2.2g-3-S, 2.2g-3-G | 8.00 | Job |  | 81463.00 | 651704.00 | 66000.00 | 528000.00 | 528000.00 | POSHDECOR
17.00 | Belt No Sign - Type - 2 Drg. No. - Refer design drawing 2.2h-S, 2.2h-G | 5.00 | Job |  | 61160.00 | 305800.00 | 48000.00 | 240000.00 | 240000.00 | POSHDECOR
18.00 | Airport Zonal Route Map - Interior Drg. No Refer design drawing 2.3a-S, 2.3a-G | 4.00 | Job |  | 113762.00 | 455048.00 | 81000.00 | 324000.00 | 324000.00 | POSHDECOR
19.00 | Washroom/Drinking Water/Child Care Drg. No. -Refer design drawing 2.4a-S, 2.4a-G | 60.00 | Job |  | 9295.00 | 557700.00 | 15000.00 | 900000.00 | 557700.00 | SATIN NEO DIMENSIONS PVT LTD
20.00 | Service Areas Drg. No. -Refer design drawing 2.4b-G | 40.00 | Job |  | 1012.00 | 40480.00 | 510.00 | 20400.00 | 20400.00 | POSHDECOR
21.00 | Lift No. Sign Drg. No. -Refer design drawing 2.4c-S, 2.4c-G | 39.00 | Job |  | 7942.00 | 309738.00 | 12000.00 | 468000.00 | 309738.00 | SATIN NEO DIMENSIONS PVT LTD
22.00 | Emergency Signs- Photoluminescent At Lift Refer design drawing 2.6b-G | 39.00 | Job |  | 517.00 | 20163.00 | 2400.00 | 93600.00 | 20163.00 | SATIN NEO DIMENSIONS PVT LTD
23.00 | Parking Announcer Sign - Portal Refer Design 2.9b | 12.00 | Job |  | 334845.00 | 4018140.00 | 360000.00 | 4320000.00 | 4018140.00 | SATIN NEO DIMENSIONS PVT LTD
24.01 | Statutory Signs Drg. No. -Refer design drawing 2.5G-01, 2.5G-02 Size - A0 | 6.00 | Job |  | 5665.00 | 33990.00 | 3150.00 | 18900.00 | 18900.00 | POSHDECOR
24.02 | Statutory Signs Drg. No. -Refer design drawing 2.5G-01, 2.5G-02 Size - A1 | 6.00 | Job |  | 3850.00 | 23100.00 | 2400.00 | 14400.00 | 14400.00 | POSHDECOR
24.03 | Statutory Signs Drg. No. -Refer design drawing 2.5G-01, 2.5G-02 Size - A2 | 6.00 | Job |  | 1689.00 | 10134.00 | 1500.00 | 9000.00 | 9000.00 | POSHDECOR
24.04 | Statutory Signs Drg. No. -Refer design drawing 2.5G-01, 2.5G-02 Size - A3 | 6.00 | Job |  | 1188.00 | 7128.00 | 1200.00 | 7200.00 | 7128.00 | SATIN NEO DIMENSIONS PVT LTD
24.05 | Statutory Signs Drg. No. -Refer design drawing 2.5G-01, 2.5G-02 Size - A4 | 6.00 | Job |  | 798.00 | 4788.00 | 900.00 | 5400.00 | 4788.00 | SATIN NEO DIMENSIONS PVT LTD
25.01 | Emergency Direction Signs Drg. No. - Refer design drawing 2.6a-G - Exit | 24.00 | Job |  | 12293.00 | 295032.00 | 7200.00 | 172800.00 | 172800.00 | POSHDECOR
25.02 | Emergency Direction Signs Drg. No. - Refer design drawing 2.6a-G - Emergency Exit | 60.00 | Job |  | 9614.00 | 576840.00 | 8400.00 | 504000.00 | 504000.00 | POSHDECOR
26.01 | Emergency Signs- Photoluminescent Refer design drawing 2.6b-G - Fire Equipment Signs, Size -A4 | 120.00 | Job |  | 517.00 | 62040.00 | 900.00 | 108000.00 | 62040.00 | SATIN NEO DIMENSIONS PVT LTD
26.02 | Emergency Signs- Photoluminescent Refer design drawing 2.6b-G - Fire Door Inside | 6.00 | Job |  | 517.00 | 3102.00 | 300.00 | 1800.00 | 1800.00 | POSHDECOR
26.03 | Emergency Signs- Photoluminescent Refer design drawing 2.6b-G - Fire Door Outside, Size -A4 | 12.00 | Job |  | 517.00 | 6204.00 | 900.00 | 10800.00 | 6204.00 | SATIN NEO DIMENSIONS PVT LTD
26.04 | Emergency Signs- Photoluminescent Refer design drawing 2.6b-G - Non- Illuminated Emergency Exit Direction Signage | 51.00 | Job |  | 517.00 | 26367.00 | 1500.00 | 76500.00 | 26367.00 | SATIN NEO DIMENSIONS PVT LTD
27.00 | Emergency Signs - Assembly Point Direction To Assembly Point Drg. No. - Refer design drawing 2.6c-1-S | 6.00 | Job |  | 10637.00 | 63822.00 | 15000.00 | 90000.00 | 63822.00 | SATIN NEO DIMENSIONS PVT LTD
28.00 | Emergency Signs-Assembly Point Drg. No. - Refer design drawing 2.6c-2-S, 2.6c-2-G | 6.00 | Job |  | 11765.00 | 70590.00 | 24000.00 | 144000.00 | 70590.00 | SATIN NEO DIMENSIONS PVT LTD
29.00 | Emergency Signs-Fire Life Safety Layout Drg. No. - Refer design drawing 2.6d-G | 60.00 | Job |  | 1177.00 | 70620.00 | 3600.00 | 216000.00 | 70620.00 | SATIN NEO DIMENSIONS PVT LTD
30.01 | Parking Direction Signage Refer Design 2.9a-S, 2.9a-G Size - Type 1- 1200 mm x 255 mm | 50.00 | Job |  | 18552.00 | 927600.00 | 7200.00 | 360000.00 | 360000.00 | POSHDECOR
30.02 | Parking Direction Signage Refer Design 2.9a-S, 2.9a-G Size -Type 2- 600 mm x 255 mm | 50.00 | Job |  | 15076.00 | 753800.00 | 6600.00 | 330000.00 | 330000.00 | POSHDECOR
31.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required (2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire) | 1100.00 | Mtr |  | 220.00 | 242000.00 | 120.00 | 132000.00 | 132000.00 | POSHDECOR
32.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required (2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire) | 500.00 | Mtr |  | 150.00 | 75000.00 | 90.00 | 45000.00 | 45000.00 | POSHDECOR
33.00 | Supply and fixing of 25 mm dia steel conduit along with aceessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 100.00 | Mtr |  | 270.00 | 27000.00 | 240.00 | 24000.00 | 24000.00 | POSHDECOR
34.00 | Supply and fixing of 25 mm dia medium duty FRLS PVC conduit along with aceessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 100.00 | Mtr |  | 1490.00 | 149000.00 | 150.00 | 15000.00 | 15000.00 | POSHDECOR
35.01 | Supply of following sizes of 1.1kV grade XLPE insulated, FRLS PVC sheathed, stranded Copper conductor, Armoured cables as per IS: 7098 Part-I amended upto date. Size - 4C x 10 sq.mm. | 1000.00 | Mtr |  | 1084.00 | 1084000.00 | 300.00 | 300000.00 | 300000.00 | POSHDECOR
35.02 | Supply of following sizes of 1.1kV grade XLPE insulated, FRLS PVC sheathed, stranded Copper conductor, Armoured cables as per IS: 7098 Part-I amended upto date. Size - 4C x 6 sq.mm. | 1000.00 | Mtr |  | 766.00 | 766000.00 | 270.00 | 270000.00 | 270000.00 | POSHDECOR
35.03 | Supply of following sizes of 1.1kV grade XLPE insulated, FRLS PVC sheathed, stranded Copper conductor, Armoured cables as per IS: 7098 Part-I amended upto date. Size - 3C x 6 sq.mm. | 250.00 | Mtr |  | 513.00 | 128250.00 | 240.00 | 60000.00 | 60000.00 | POSHDECOR
35.04 | Supply of following sizes of 1.1kV grade XLPE insulated, FRLS PVC sheathed, stranded Copper conductor, Armoured cables as per IS: 7098 Part-I amended upto date. Size - 3C x 4 sq.mm. | 250.00 | Mtr |  | 377.00 | 94250.00 | 210.00 | 52500.00 | 52500.00 | POSHDECOR
36.00 | Supply and laying of double wall corrugated high density polyethylene (DWC HDPE pipe) pipe confirming to IS:14930 (part-2) with latest amendment, complete with accessories like couplers, bends, tee etc. in the soil upto 750 mm deep, back filling & making good the same as per site requirement a) OD 50 mm/ ID 38 mm DWC | 2500.00 | Mtr |  | 400.00 | 1000000.00 | 270.00 | 675000.00 | 675000.00 | POSHDECOR
37.00 | Supplying and installing following size of perforated Hot dipped G.I. cable trays with perforation not more than 17.5%, in convienient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc. as required. a) 100 mm width X 50 mm depth X 1.6 mm thickness | 150.00 | Mtr |  | 1100.00 | 165000.00 | 1500.00 | 225000.00 | 165000.00 | SATIN NEO DIMENSIONS PVT LTD
38.00 | Laying and fixing of one no. PVC insulated and PVC Sheathed/XLPE Power / control Aluminium / Copper conductor cable of 1.1 KV grade of following sizes on the existing cable tray as required {Upto size 35 sqmm (clamped with 1mm thick saddle)} | 150.00 | Mtr |  | 1340.00 | 201000.00 | 30.00 | 4500.00 | 4500.00 | POSHDECOR
39.00 | Laying of one number PVC insulated & PVC sheathe/XLPE power/Control Aluminium / Copper conductor cable of grade upto 1.1 KV of size not exceeding 35 sq. mm. in the existing RCC/HUME/METAL/HDPE/DWC pipes etc. as required. | 2500.00 | Mtr |  | 1968.00 | 4920000.00 | 36.00 | 90000.00 | 90000.00 | POSHDECOR
40.01 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed/ XLPE Copper conductor cable of 1.1kV grade as required. Size - 4C x 10 sq.mm. | 20.00 | Set |  | 1100.00 | 22000.00 | 150.00 | 3000.00 | 3000.00 | POSHDECOR
40.02 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed/ XLPE Copper conductor cable of 1.1kV grade as required. Size - 4C x 6 sq.mm. | 16.00 | Set |  | 1000.00 | 16000.00 | 360.00 | 5760.00 | 5760.00 | POSHDECOR
40.03 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed/ XLPE Copper conductor cable of 1.1kV grade as required. Size - 3C x 6 sq.mm. | 4.00 | Set |  | 950.00 | 3800.00 | 330.00 | 1320.00 | 1320.00 | POSHDECOR
40.04 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed/ XLPE Copper conductor cable of 1.1kV grade as required. Size - 3C x 4 sq.mm. | 4.00 | Set |  | 900.00 | 3600.00 | 300.00 | 1200.00 | 1200.00 | POSHDECOR
41.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 50.00 | Mtr |  | 390.00 | 19500.00 | 90.00 | 4500.00 | 4500.00 | POSHDECOR
42.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way (8 + 18), Double door | 6.00 | Each |  | 42200.00 | 253200.00 | 4500.00 | 27000.00 | 27000.00 | POSHDECOR
43.00 | Supplying and fixing 63A rating, 415 V, 10 kA, "B" curve, Four pole miniature circuit breaker suitable in the existing MCB DB complete with connections, testing and commissioning etc. as required | 6.00 | Each |  | 9440.00 | 56640.00 | 360.00 | 2160.00 | 2160.00 | POSHDECOR
44.00 | Supplying and fixing 63 A rating, 415 V, Four pole RCCB, 300 mA suitable in the existing MCB DB complete with connections, testing and commissioning etc. as required | 6.00 | Each |  | 6620.00 | 39720.00 | 5100.00 | 30600.00 | 30600.00 | POSHDECOR
45.00 | Supplying and fixing 5 A to 32 A rating, 240, 10 kA, "B" curve, Single pole miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 108.00 | Each |  | 700.00 | 75600.00 | 150.00 | 16200.00 | 16200.00 | POSHDECOR
46.00 | Note : 1. Rate quoted shall be inclusive of all taxes, duties, cess, fee, royalty charges etc. levied under any statute but exclusive of GST. Goods & Services Tax (GST) shall be paid to the contractor for any taxable supply / services / works against a valid tax invoice as per actuals, as per terms and conditions of the contract. 2. The work is to be executed inside the area of airport, numbers of working hours may be restricted, accordingly contractor has to quote their rates considering these factors as per SCC. On this account, no claim for extra payment shall be entertained. 3. For further details of BOQ please refer tender document.
| Total in Figures |  |  |  |  | 36640818.00 |  | 32517540.00
Lowest Amount Quoted BY: POSHDECOR(32517540.00)

## BOQ Summary
BOQ Summary Details Tender Title: Patna-Signages Tender ID: 2023_AAI_166909_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | POSHDECOR | 32517540.00 | L1
| 2 | SATIN NEO DIMENSIONS PVT LTD | 36640818.00 | L2