## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 07-Nov-2023 05:36 PM Tender Title: ARMO of E and M installations for the year 2023-24, SH. Painting of LT or HT panels and double pole structure and repair to DP structure at Coimbatore International Airport Tender ID: 2023_AAI_167033_1
Tender Inviting Authority: Asst.Gen.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: ARMO of E & M installations for the year 2023-24, SH:- Painting of LT/HT panels & double pole structure and repair to DP structure at Coimbatore International Airport.
Tender ID: 2023_AAI_167033_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Spray Painting of HT & LT Panels at following Locations with two coats of synthetic enamel paint of approved shade, quality and brand after cleaning the surface including scrapping, cleaning and providing putty / Primer (only minor area) wherever required on the surface of panel, including providing masking by suitable means for all meter, relays & indication lamps before painting and cleaning of meters, relays & indication lamps after painting, if any as required and as per instructions of Engineer-In-Charge.
1.10 | Non Essential LT panel (Approx. area per Job = 910 sqft) | 1.00 | Job |  | 15000.00 | 15000.00 | 15000.00 | KALKI ELECTRICALS
1.20 | ALS panel (Approx. area per Job = 585 Sq.ft) | 1.00 | Job |  | 10000.00 | 10000.00 | 10000.00 | KALKI ELECTRICALS
1.30 | 11 KVA HT VCB panel (Approx. area per Job = 250 Sq.ft) | 1.00 | Job |  | 4600.00 | 4600.00 | 4600.00 | KALKI ELECTRICALS
1.40 | DG Relay Panel (Approx. area per Job = 45 Sq.ft) | 1.00 | Job |  | 1000.00 | 1000.00 | 1000.00 | KALKI ELECTRICALS
1.50 | HSD Pump Panel (Approx. area per Job = 30 Sq.ft) | 1.00 | Job |  | 770.00 | 770.00 | 770.00 | KALKI ELECTRICALS
1.60 | 24V Battery Charger Panel (Approx. area per Job = 60 Sq.ft) | 1.00 | Job |  | 1200.00 | 1200.00 | 1200.00 | KALKI ELECTRICALS
1.70 | Essential Panel (Approx. area per Job = 650 Sq.ft) | 1.00 | Job |  | 11000.00 | 11000.00 | 11000.00 | KALKI ELECTRICALS
1.80 | APFC Panels (2 nos) (Approx. area per Job = 460 Sq.ft) | 1.00 | Job |  | 8000.00 | 8000.00 | 8000.00 | KALKI ELECTRICALS
2.00 | Painting of following LT Side Bus Bar Trunking with two coats of synthetic enamel paint of approved shade, quality and brand after cleaning the surface including scrapping, cleaning and providing putty/ primer wherever required on the surface before painting as required and as per instructions of Engineer-In- Charge. (Approx. area per Job = 2220 Sq.ft) | 1.00 | Job |  | 40000.00 | 40000.00 | 40000.00 | KALKI ELECTRICALS
3.00 | Painting of DG exhaust pipe support structure with two coats of aluminium paint of good quality and brand after cleaning the surface including scrapping, cleaning and providing putty / Primer (only minor area) wherever required on the surface of structure, and cleaning of surroundings after painting as required and as per instructions of Engineer-In-Charge.
3.10 | DG1 & DG 2 exhaust pipe structure (Approx. area per Job = 1060 Sq.ft) | 1.00 | Job |  | 20000.00 | 20000.00 | 20000.00 | KALKI ELECTRICALS
3.20 | DG 3 exhaust pipe structure (Approx. area per Job = 825 Sq.ft) | 1.00 | Job |  | 15000.00 | 15000.00 | 15000.00 | KALKI ELECTRICALS
4.00 | Painting of 11kv outdoor HT DP structure with two coats of aluminium paint of good quality and brand after cleaning the surface including scrapping, green colour paint for earth strips, cleaning and providing putty / Primer (only minor area) wherever required on the surface of structure, and cleaning of surroundings after painting as required and as per instructions of Engineer-In-Charge. (Approx. area per Job = 325 Sq.ft) | 1.00 | Job |  | 26000.00 | 26000.00 | 26000.00 | KALKI ELECTRICALS
5.00 | Repairing of HT yard fencing with additional C channel supports of size 40x75 mm (02 nos), required excavation, making foundation for C channels with 1:3:8 Cement concrete, making required welding works, re arranging the weld mesh neatly, welding of L angle above the weld mesh for support purpose, painting with primer and silver paint wherever required, complete as required as per instructions of Engineer -in-Charge | 1.00 | Job |  | 60000.00 | 60000.00 | 60000.00 | KALKI ELECTRICALS
6.00 | Repairing of AB switches at AAI DP structure of HT yard including cleaning the contacts, lubricating, removing rust, replacing of HT blow out fuse holder on three phases, complete as required as per instructions of Engineer-in-Charge | 1.00 | Job |  | 40000.00 | 40000.00 | 40000.00 | KALKI ELECTRICALS
7.00 | High quality printing of name plate stickers (mini 0.5 micron thick vinyl printed/cut, self adhesive type) of various sizes for identification purpose of each feeder, busbar chamber identifications, cable Alley identification, current flow indications, danger notice, and various other notices as per the requirement given by AAI and pasting them on the LT/HT panels complete as required. | 75.00 | Sqm |  | 2600.00 | 195000.00 | 195000.00 | KALKI ELECTRICALS
8.00 | Service and Reconditioning of 2500A C&S Make ACB Jaw contacts including cleaning, de greasing, carbon deposit removal, heat treatment, silver plating, and making spring tension back to original complete as required. | 42.00 | Job |  | 4400.00 | 184800.00 | 184800.00 | KALKI ELECTRICALS
| Total in Figures |  |  |  |  | 632370.00
Lowest Amount Quoted BY: KALKI ELECTRICALS(632370.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M installations for the year 2023-24, SH. Painting of LT or HT panels and double pole structure and repair to DP structure at Coimbatore International Airport Tender ID: 2023_AAI_167033_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KALKI ELECTRICALS | 632370.00 | L1