## BoQ1
Government eProcurement System Created By: UJAWAL KATHALE Created Date/Time: 18-Oct-2023 05:06 PM Tender Title: Storage space requirement for New automation and ASMGCS project. Tender ID: 2023_AAI_167093_1
Tender Inviting Authority: AGM (E-C), O/o. ATS Complex, Andheri (East) Mumbai-400099
Name of Work: Storage space requirement for New automation and ASMGCS project.
Contract No: AAI/WR/MUM/ATS/E-C/157/2023
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | D B Infratech(GSTN-NA) |  | Classicon Projects India Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. a) All kinds of soil | 557.00 | cum |  | 180.00 | 100260.00 | 180.00 | 100260.00 | 100260.00 | D B Infratech, Classicon Projects India Pvt. Ltd.
2.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 3.38 | cum |  | 3000.00 | 10140.00 | 2000.00 | 6760.00 | 6760.00 | Classicon Projects India Pvt. Ltd.
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 58.00 | cum |  | 6600.00 | 382800.00 | 5300.00 | 307400.00 | 307400.00 | Classicon Projects India Pvt. Ltd.
4.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.All works upto plinth level.Concrete of M25 grade with minimum cement content of 330 kg /cum. | 74.00 | cum |  | 8700.00 | 643800.00 | 7000.00 | 518000.00 | 518000.00 | Classicon Projects India Pvt. Ltd.
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete. | 83.00 | sqm |  | 750.00 | 62250.00 | 300.00 | 24900.00 | 24900.00 | Classicon Projects India Pvt. Ltd.
6.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:4 (1 cement : 4 coarse sand) | 100.00 | cum |  | 8000.00 | 800000.00 | 6300.00 | 630000.00 | 630000.00 | Classicon Projects India Pvt. Ltd.
7.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:4 (1 cement: 4 coarse sand) | 434.00 | sqm |  | 500.00 | 217000.00 | 320.00 | 138880.00 | 138880.00 | Classicon Projects India Pvt. Ltd.
8.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 434.00 | Sqm |  | 475.00 | 206150.00 | 300.00 | 130200.00 | 130200.00 | Classicon Projects India Pvt. Ltd.
9.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 434.00 | Sqm |  | 280.00 | 121520.00 | 100.00 | 43400.00 | 43400.00 | Classicon Projects India Pvt. Ltd.
10.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 434.00 | sqm |  | 100.00 | 43400.00 | 88.00 | 38192.00 | 38192.00 | Classicon Projects India Pvt. Ltd.
11.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. A) Two or more coats on new work | 434.00 | Sqm |  | 250.00 | 108500.00 | 78.00 | 33852.00 | 33852.00 | Classicon Projects India Pvt. Ltd.
12.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. a) Granite stone slab colour black, Cherry/Ruby red Area of slab upto 0.50 sqm | 10.00 | sqm |  | 4000.00 | 40000.00 | 4000.00 | 40000.00 | 40000.00 | D B Infratech, Classicon Projects India Pvt. Ltd.
13.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 252.00 | kg |  | 200.00 | 50400.00 | 110.00 | 27720.00 | 27720.00 | Classicon Projects India Pvt. Ltd.
14.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 442.00 | sqm |  | 1300.00 | 574600.00 | 560.00 | 247520.00 | 247520.00 | Classicon Projects India Pvt. Ltd.
15.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion a) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 19.00 | kg |  | 650.00 | 12350.00 | 425.00 | 8075.00 | 8075.00 | Classicon Projects India Pvt. Ltd.
16.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) a) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 15.00 | kg |  | 650.00 | 9750.00 | 475.00 | 7125.00 | 7125.00 | Classicon Projects India Pvt. Ltd.
17.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 5.00 | sqm |  | 2800.00 | 14000.00 | 1000.00 | 5000.00 | 5000.00 | Classicon Projects India Pvt. Ltd.
18.00 | Providing and fixing to existing door frames. a)30 mm thick Fiberglass Reinforced Plastic (F.R.P.) flush door shutter in different plain and wood finish made with fire retardant grade unsaturated polyester resin, moulded to 3 mm thick FRP laminate all around, with suitable wooden blocks inside at required places for fixing of fittings and polyurethane foam (PUF)/ Polystyrene foam to be used as filler material throughout the hollow panel, casted monolithically with testing parameters of F.R.P. laminate conforming to table - 3 of IS: 14856, complete as per direction of Engineer-in-charge | 15.00 | sqm |  | 3500.00 | 52500.00 | 3300.00 | 49500.00 | 49500.00 | Classicon Projects India Pvt. Ltd.
19.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 4.00 | sqm |  | 4000.00 | 16000.00 | 4000.00 | 16000.00 | 16000.00 | D B Infratech, Classicon Projects India Pvt. Ltd.
20.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 262.00 | sqm |  | 250.00 | 65500.00 | 100.00 | 26200.00 | 26200.00 | Classicon Projects India Pvt. Ltd.
21.00 | Providing and fixing bright finished brass door latch with necessary screws etc. complete : a) 300x16x5 mm | 6.00 | each |  | 3000.00 | 18000.00 | 300.00 | 1800.00 | 1800.00 | Classicon Projects India Pvt. Ltd.
22.00 | Providing and fixing bright finished brass handles with screws etc. complete: a) 125 mm | 12.00 | each |  | 3000.00 | 36000.00 | 180.00 | 2160.00 | 2160.00 | Classicon Projects India Pvt. Ltd.
23.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size (24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash asteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/mK. | 240.00 | sqm |  | 1550.00 | 372000.00 | 1200.00 | 288000.00 | 288000.00 | Classicon Projects India Pvt. Ltd.
24.00 | Providing & laying stone soling for level / base course with stone of size 100mm to 250mm with screenings & filler materials(combination of aggrgate & stone dust etc.) including packing, ramming and dressing, etc. complete and as per direction of Engineer incharge.(Payment shall be made for compacted thickness only) | 140.00 | cum |  | 1600.00 | 224000.00 | 1500.00 | 210000.00 | 210000.00 | Classicon Projects India Pvt. Ltd.
25.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 7.00 | cum |  | 11500.00 | 80500.00 | 8000.00 | 56000.00 | 56000.00 | Classicon Projects India Pvt. Ltd.
26.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge.80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 350.00 | sqm |  | 1000.00 | 350000.00 | 850.00 | 297500.00 | 297500.00 | Classicon Projects India Pvt. Ltd.
27.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 4256.00 | kg |  | 88.00 | 374528.00 | 90.00 | 383040.00 | 374528.00 | D B Infratech
28.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 123.00 | kg |  | 200.00 | 24600.00 | 100.00 | 12300.00 | 12300.00 | Classicon Projects India Pvt. Ltd.
29.00 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | 25.00 | sqm |  | 100.00 | 2500.00 | 100.00 | 2500.00 | 2500.00 | D B Infratech, Classicon Projects India Pvt. Ltd.
30.00 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183. Density 16 kg/m³, 50 mm thick, wrapped in 200G Virgin Polythene bags placed over existing false ceiling and held in position by criss-crossing GI wire. | 240.00 | sqm |  | 250.00 | 60000.00 | 200.00 | 48000.00 | 48000.00 | Classicon Projects India Pvt. Ltd.
31.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 154.00 | sqm |  | 900.00 | 138600.00 | 750.00 | 115500.00 | 115500.00 | Classicon Projects India Pvt. Ltd.
32.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 88.00 | sqm |  | 900.00 | 79200.00 | 600.00 | 52800.00 | 52800.00 | Classicon Projects India Pvt. Ltd.
33.00 | Steel work in built up tubular (round, square or rectangular hollow tube etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes. | 8812.00 | kg |  | 137.00 | 1207244.00 | 130.00 | 1145560.00 | 1145560.00 | Classicon Projects India Pvt. Ltd.
34.00 | Painting road surface marking with adequate nos of coats to give uniform finish with ready mixed road marking paint conforming to IS : 164, on bituminous surface in white/yellow shade, including cleaning the surface of all dirt, scales, oil, grease and foreign material etc. complete. a) New work (Two or more coats) | 22.00 | sqm |  | 650.00 | 14300.00 | 200.00 | 4400.00 | 4400.00 | Classicon Projects India Pvt. Ltd.
35.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 240.00 | sqm |  | 1150.00 | 276000.00 | 1500.00 | 360000.00 | 276000.00 | D B Infratech
36.00 | Providing complete structural design with all design calculations and issue of " Good for Construction drawings" in 04 sets with vetting from Government Engineering College/NIT/IIT for all the structures to be constructed in this work as per the relevant and latest BIS standards & IS Codes all complete as per the direction of E-I-C. Noting extra will be paid in this account. | 1.00 | Job |  | 370000.00 | 370000.00 | 200000.00 | 200000.00 | 200000.00 | Classicon Projects India Pvt. Ltd.
37.00 | Wiring for light point/fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, with modulat switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper stranded conductor single core cable etc. as required.(Group C) | 21.00 | Point |  | 550.00 | 11550.00 | 1000.00 | 21000.00 | 11550.00 | D B Infratech
38.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit,and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.(Group C) | 18.00 | Point |  | 550.00 | 9900.00 | 600.00 | 10800.00 | 9900.00 | D B Infratech
39.10 | Wiring for circuit/ sub-main wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core stranded cable in surface/ recessed Steel conduit as required. 2x2.5 sq.mm+ 1x 2.5 sq.mm earth wire. | 80.00 | Mtr |  | 140.00 | 11200.00 | 350.00 | 28000.00 | 11200.00 | D B Infratech
39.20 | 4x2.5 sq.mm + 2 x 2.5 sq.mm earth wire | 50.00 | Mtr |  | 300.00 | 15000.00 | 550.00 | 27500.00 | 15000.00 | D B Infratech
39.30 | 2x4 sq.mm + 1x 4 sq.mm earth wire | 50.00 | Mtr |  | 210.00 | 10500.00 | 425.00 | 21250.00 | 10500.00 | D B Infratech
40.00 | Wiring for light/power plug with 2 x 4 sqmm FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit along with 1 No 4 sqmm FRLS PVC insulated copper conductor, single core stranded cable for loop earthing as required. | 100.00 | Mtr |  | 210.00 | 21000.00 | 350.00 | 35000.00 | 21000.00 | D B Infratech
41.00 | Wiring for light/power plug with 4 x 4 sq.mm FRLS PVC insulated copper conductor single core cable in surface. Recessed steel conduit along with 2 nos. 4 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 40.00 | Mtr |  | 380.00 | 15200.00 | 550.00 | 22000.00 | 15200.00 | D B Infratech
42.10 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 3 Module (100mm X 75mm) | 10.00 | Each |  | 850.00 | 8500.00 | 300.00 | 3000.00 | 3000.00 | Classicon Projects India Pvt. Ltd.
42.20 | 8 Module (200mm X 200mm) | 3.00 | Each |  | 1800.00 | 5400.00 | 500.00 | 1500.00 | 1500.00 | Classicon Projects India Pvt. Ltd.
43.10 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A switch | 10.00 | Each |  | 200.00 | 2000.00 | 150.00 | 1500.00 | 1500.00 | Classicon Projects India Pvt. Ltd.
43.20 | 15/16 A switch | 5.00 | Each |  | 350.00 | 1750.00 | 230.00 | 1150.00 | 1150.00 | Classicon Projects India Pvt. Ltd.
43.30 | 3 pin 5/6 A socket outlet | 10.00 | Each |  | 250.00 | 2500.00 | 160.00 | 1600.00 | 1600.00 | Classicon Projects India Pvt. Ltd.
43.40 | 6 pin 15/16 A socket outlet | 5.00 | Each |  | 450.00 | 2250.00 | 190.00 | 950.00 | 950.00 | Classicon Projects India Pvt. Ltd.
44.00 | Supply and fixing modular blanking plate on the existing modular plate and switch box excluding modular plate as required. | 5.00 | Each |  | 350.00 | 1750.00 | 40.00 | 200.00 | 200.00 | Classicon Projects India Pvt. Ltd.
45.00 | Supplying and fixing 30 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 30 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 14.00 | Each |  | 3000.00 | 42000.00 | 4000.00 | 56000.00 | 42000.00 | D B Infratech
46.10 | Supply and fixing following ways surface/recess mounting, vertical type, 415 volts, TPN MCB distribution board of steel sheet, dust protected, duly powder painted inclusive of 200 Amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required. Note :- Vewrtical type MCB TPDB is normally used where 3 phase outlets are required. 8 way (4+24) Double door | 2.00 | Each |  | 5500.00 | 11000.00 | 10000.00 | 20000.00 | 11000.00 | D B Infratech
46.20 | 12 way (4+36) Double door | 1.00 | Each |  | 7000.00 | 7000.00 | 13000.00 | 13000.00 | 7000.00 | D B Infratech
47.10 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. SP | 20.00 | Each |  | 250.00 | 5000.00 | 250.00 | 5000.00 | 5000.00 | D B Infratech, Classicon Projects India Pvt. Ltd.
47.20 | DP | 5.00 | Each |  | 1000.00 | 5000.00 | 650.00 | 3250.00 | 3250.00 | Classicon Projects India Pvt. Ltd.
48.10 | Supplying and fixing of following rating 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. 32 A, TP | 14.00 | Each |  | 2200.00 | 30800.00 | 1000.00 | 14000.00 | 14000.00 | Classicon Projects India Pvt. Ltd.
48.20 | 63 A, TPN | 2.00 | Each |  | 3300.00 | 6600.00 | 1050.00 | 2100.00 | 2100.00 | Classicon Projects India Pvt. Ltd.
48.30 | 100 A, TPN | 1.00 | Each |  | 5500.00 | 5500.00 | 1250.00 | 1250.00 | 1250.00 | Classicon Projects India Pvt. Ltd.
49.00 | Supply of 36 W LED recessed type (600 mm x 600 mm) fitting with extruded aluminium luminaire with heat sink installed back side all accesories, lockable holders and including connection etc. as required. As per AAI Specification | 24.00 | Each |  | 4500.00 | 108000.00 | 2000.00 | 48000.00 | 48000.00 | Classicon Projects India Pvt. Ltd.
50.00 | Installation, testing and commissioning of pre-wired LED fitting luminaries etc. of all types (surface/Recessed), complete with all accessories. Directly on ceiling/ wall , including connection with 1.5 sq.mm FRLS PVC insulated, stranded, copper conductor single core cable with flexible conduits and coupler and earthing etc. as required. | 24.00 | Each |  | 800.00 | 19200.00 | 300.00 | 7200.00 | 7200.00 | Classicon Projects India Pvt. Ltd.
51.10 | Supply of 1.1 KV grade, stranded copper, XLPE insulated, PVC Innersheated, armoured Aluminium Conductor Cable confirming to IS 7098 (Part-I) 1988 amended upto date of following sizes : 4C x16 sqmm | 100.00 | Mtr |  | 350.00 | 35000.00 | 160.00 | 16000.00 | 16000.00 | Classicon Projects India Pvt. Ltd.
51.20 | 3.5 x 35 sqmm | 50.00 | Mtr |  | 650.00 | 32500.00 | 230.00 | 11500.00 | 11500.00 | Classicon Projects India Pvt. Ltd.
51.30 | 3.5 x 120 sqmm | 200.00 | Mtr |  | 800.00 | 160000.00 | 640.00 | 128000.00 | 128000.00 | Classicon Projects India Pvt. Ltd.
52.10 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (Clamped with 1 mm thick saddle) | 30.00 | Mtr |  | 200.00 | 6000.00 | 60.00 | 1800.00 | 1800.00 | Classicon Projects India Pvt. Ltd.
52.20 | Above 35 Sq. mm and upto 95 Sq. mm (Clamped with 25x3 mm MS flat Clamp) | 40.00 | Mtr |  | 250.00 | 10000.00 | 75.00 | 3000.00 | 3000.00 | Classicon Projects India Pvt. Ltd.
53.10 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 sq. mm (Clamped with 1 mm thick saddle) | 60.00 | Mtr |  | 200.00 | 12000.00 | 60.00 | 3600.00 | 3600.00 | Classicon Projects India Pvt. Ltd.
53.20 | Above 35 Sq. mm and upto 95 Sq. mm (Clamped with 25x3 mm MS flat Clamp) | 50.00 | Mtr |  | 250.00 | 12500.00 | 75.00 | 3750.00 | 3750.00 | Classicon Projects India Pvt. Ltd.
54.10 | Laying and fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in existing PVC/Hume/Metal Pipe as required. Upto 35 sq. mm | 60.00 | Mtr |  | 200.00 | 12000.00 | 50.00 | 3000.00 | 3000.00 | Classicon Projects India Pvt. Ltd.
54.20 | Above 35 Sq. mm and upto 95 Sq. mm | 110.00 | Mtr |  | 250.00 | 27500.00 | 65.00 | 7150.00 | 7150.00 | Classicon Projects India Pvt. Ltd.
55.10 | Supply and making end termination with brass compression gland i/c proper socketing etc. as reqd for 1.1 KV grade XLPE Copper cond.cable of following sizes. 4C x 16 sqmm (28 mm) | 6.00 | Set |  | 2500.00 | 15000.00 | 450.00 | 2700.00 | 2700.00 | Classicon Projects India Pvt. Ltd.
55.20 | 3.5C x 25 sqmm (28 mm) | 2.00 | Set |  | 3000.00 | 6000.00 | 500.00 | 1000.00 | 1000.00 | Classicon Projects India Pvt. Ltd.
55.30 | 3.5C x 70 sqmm (38 mm) | 4.00 | Set |  | 3500.00 | 14000.00 | 600.00 | 2400.00 | 2400.00 | Classicon Projects India Pvt. Ltd.
56.10 | Supply and installing following size of perforated Hot dipped Galvanised Iron cable trays with perforation not more than 17.5% in concenient sections, joined with connectors, suspended from the ceiling with M.S suspenders including bolts & nuts painting suspenders etc as required. 150mm width x 50 mm depth x 1.6 mm thickness. | 50.00 | Mtr |  | 1100.00 | 55000.00 | 750.00 | 37500.00 | 37500.00 | Classicon Projects India Pvt. Ltd.
57.00 | Design, Supply, Installation, Testing & Commissioning of Double door mounted on MS angle stand of suitable size, totally enclosed, compartmentalized, cubical, dust, vermin proof and outdoor type panel IP-55 fabricated out of 2 mm thick cold rolled carbon anealed, sheet steel, internally strengthened with angle iron frame work with following incoming and outgoing feeders (fabricated out of 2 mm CRCA Sheet steel) including supplying and mounting including making connections /inter-connections with lugs / glands crimping tools etc complete as required. Incomer : - a) 200 A, MCCB, 4P, 35-37 KA (Icu= 100% Ics) with extended rotary handle and spreaders - 02 Nos. b) Multi function meter (Shows Voltage, Current & Frequency) with 3 line LCD Display of size 96 x 96 mm. - 02 Nos. c) Indication Lamp R, Y & B (LED Type) -02 set Automatic transfer switch with bypass switch arrangement for manual operation : a) 200A, 4P, 415V,50 Hz Automatic transfer switch. Outgoing : a) 100A, MCCB, 4P, 35-37 KA (Icu= 100% Ics) with extended rotary handle - 04 Nos. b) Indication Lamp R & G (LED type) - 04 Set Other : a)250A Copper busbar, 3 Phase and Neutral b) Necessary CT & PT Control wiring arrangement c) Power terminal and other accessories | 1.00 | Set |  | 70000.00 | 70000.00 | 400000.00 | 400000.00 | 70000.00 | D B Infratech
58.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories and providing mansonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/coke and salt as required. | 1.00 | Set |  | 7000.00 | 7000.00 | 7500.00 | 7500.00 | 7000.00 | D B Infratech
59.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 15.00 | Mtr |  | 650.00 | 9750.00 | 1600.00 | 24000.00 | 9750.00 | D B Infratech
60.00 | Providing and fixing 25 mm X 5 mm GI strip on surface or in recess for connections etc. as required. | 25.00 | Mtr |  | 40.00 | 1000.00 | 250.00 | 6250.00 | 1000.00 | D B Infratech
61.00 | Providing and fixing 6 SWG dia GI wire on surface or in recess for loop earthing as required. | 160.00 | Mtr |  | 30.00 | 4800.00 | 75.00 | 12000.00 | 4800.00 | D B Infratech
62.00 | Supply of 3.0 TR Mega Split Air conditioner unit with cooling capacity (watt) 10000 minimum, with copper coil ,minimum airflow volume (Wet CFM) High/medium/Low 770/690/550, having hermetically sealed compressor, regfrigerant R-32/R-22/ non CFC confirming to IS: 1391 / Part – 21/92 Amdt. No. 1 (except power consumption norms) with 10 feet copper refrigeration pipes and suitable copper cable and having features like auto air swing(2 way swing), speed setting(3/3), operation control(electronic), auto restart, on timer, suitable for operation on 415 V, 50 Hz, Three phase AC supply capable of performiong:-(a)Cooling (b)Dehumidifying. (c) Air-circulating (d) Filtering (anti-bacteria). | 14.00 | Nos. |  | 38000.00 | 532000.00 | 63000.00 | 882000.00 | 532000.00 | D B Infratech
63.00 | Installation, Testing & Commissioning of 3.0 TR Eco-friendly refrigerant Split Inverter type Air Conditioner etc. complete as required. | 14.00 | Job |  | 1000.00 | 14000.00 | 1750.00 | 24500.00 | 14000.00 | D B Infratech
64.00 | Providing & fixing extra suitable size refrigeration copper pipes beyond Ten feet for 3.0 Tr Mega split AC unit as required. | 30.00 | Mtr |  | 1300.00 | 39000.00 | 1300.00 | 39000.00 | 39000.00 | D B Infratech, Classicon Projects India Pvt. Ltd.
65.00 | Supplying and fixing of floor mounted MS angle Stand (1.5 feet height) suitable for mounting 3.0 Tr split AC`s outdoor unit including painting etc. complete as required. | 14.00 | Job |  | 1300.00 | 18200.00 | 1500.00 | 21000.00 | 18200.00 | D B Infratech
66.00 | Providing and fixing of 20 mm. dia. PVC Plumbing/drain Pipes for 3.0 Tr Split ACs on surface including all accessories like bends, sockets and water seal joints, etc. complete as required. | 50.00 | Mtr |  | 180.00 | 9000.00 | 200.00 | 10000.00 | 9000.00 | D B Infratech
67.00 | Supply of 5C X 4 Sq mm 1.1 KV grade flexible multicore copper conductor PVC insulated insulated and PVC sheathed armoured cable conforming to IS 694:2010 respectively with upto date ammendments. | 30.00 | Mtr |  | 480.00 | 14400.00 | 420.00 | 12600.00 | 12600.00 | Classicon Projects India Pvt. Ltd.
68.00 | Supply of 4C X 1.5 Sq mm 1.1 KV grade flexible multicore copper conductor PVC insulated insulated and PVC sheathed armoured cableconforming to IS 694:2010 respectively with upto date ammendments. | 100.00 | Mtr |  | 380.00 | 38000.00 | 110.00 | 11000.00 | 11000.00 | Classicon Projects India Pvt. Ltd.
69.00 | Supply and fixing of Three Phase, 415 V smart controller / Timer with 4 hr / 8 hr duration, 32A capacity, having OV & UV indication / protection suitable for AC power supply 240 V, 50 Hz. etc. complete as required. | 7.00 | Job |  | 2500.00 | 17500.00 | 3000.00 | 21000.00 | 17500.00 | D B Infratech
| Total in Figures |  |  |  |  | 8689142.00 |  | 7616044.00
Lowest Amount Quoted BY: Classicon Projects India Pvt. Ltd.(7616044.00)

## BOQ Summary
BOQ Summary Details Tender Title: Storage space requirement for New automation and ASMGCS project. Tender ID: 2023_AAI_167093_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Classicon Projects India Pvt. Ltd. | 7616044.00 | L1
| 2 | D B Infratech | 8689142.00 | L2