## BoQ1
Government eProcurement System Created By: SUBHASH KUMAR Created Date/Time: 17-Oct-2023 04:45 PM Tender Title: Supply of GLF Sapres and other allied works for E and M installations at Darbhanga Airport Tender ID: 2023_AAI_167317_1
Tender Inviting Authority: DGM (Engg-Elect), AAI, Darbhanga Airport, Darbhanga.
Name of Work: Supply of GLF spares and other allied works for Electrical & Mechanical Installations at Darbhanga Airport, Darbhanga(For the year 2023-2024)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Gmedia Enterprise(GSTN-19AMPPR8912D1ZK) |  | M/S CHAUDHARY CONSTRUCTION(GSTN-20AAPFC0455J1ZN) |  | M/S AMAR ENTERPRISES(GSTN-20AAMFA2722R1ZE) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply and fixing of MS checker plate of 8mm thickness in power house i/c MS support, painting etc. complete in all respect as per direction of EIC. | 25.00 | Sqmts | 6900.00 | 6000.00 | 150000.00 | 2500.00 | 62500.00 | 2500.00 | 62500.00 | 11500.00 | 287500.00 | 62500.00 | M/S CHAUDHARY CONSTRUCTION, M/S AMAR ENTERPRISES
2.00 | Supply and installation of heavy duty SMF battery of following rating for DG set in non operational area - 12V, 180 AH. Exide Xpress1800 or equivalent. | 4.00 | Each | 12000.00 | 10400.00 | 41600.00 | 17000.00 | 68000.00 | 10000.00 | 40000.00 | 16675.00 | 66700.00 | 40000.00 | M/S AMAR ENTERPRISES
3.00 | Supply and installation of heavy duty SMF battery of following rating for DG set in operational area - 12V 65 AH exide model 65D26RMF or equivalent. | 2.00 | Each | 10000.00 | 8500.00 | 17000.00 | 7500.00 | 15000.00 | 8000.00 | 16000.00 | 5750.00 | 11500.00 | 11500.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Supply and replacement of inline exhaust fan make CARYAIRE model CF-250BB, capacitor 4micro faried/450 INS CLF IP44,230 V ,50Hz 0.80Amps 170W 2284 RPM in Terminal building, above false ceiling height complete in all respect and as per direction of EIC. | 3.00 | Each | 10000.00 | 8200.00 | 24600.00 | 6000.00 | 18000.00 | 10000.00 | 30000.00 | 10350.00 | 31050.00 | 18000.00 | M/S CHAUDHARY CONSTRUCTION
5.00 | Supply and installation of Automatic hand dryer as per approved make at terminal building. | 12.00 | Each | 9000.00 | 5000.00 | 60000.00 | 8000.00 | 96000.00 | 6000.00 | 72000.00 | 14375.00 | 172500.00 | 60000.00 | Gmedia Enterprise
6.00 | Supply and replacement of LED driver of 4 W, 2A ,12VDC Make Phillips model C024C200V012FFNE1AI or equivqalent. | 20.00 | Each | 1200.00 | 1000.00 | 20000.00 | 800.00 | 16000.00 | 2000.00 | 40000.00 | 575.00 | 11500.00 | 11500.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | supply and replacement of LED strip suitable for functioning in driver of 4 W 2A 12Vdc Make Phillips model C024C200V012FFNE1AI or equivqalent | 100.00 | Mtrs | 500.00 | 400.00 | 40000.00 | 400.00 | 40000.00 | 700.00 | 70000.00 | 518.00 | 51800.00 | 40000.00 | Gmedia Enterprise, M/S CHAUDHARY CONSTRUCTION
8.00 | supply and replacement of Capacitor for APFC Panel make L&T Model LTCCR325B2 of following capacity -5KV. | 2.00 | Each | 8500.00 | 7400.00 | 14800.00 | 2500.00 | 5000.00 | 5000.00 | 10000.00 | 1725.00 | 3450.00 | 3450.00 | ABHISHEK INTEGRATIONS LIMITED
9.00 | Supply and replacement of Capacitor for APFC Panel make L&T Model LTCCR325B2 of following capacity-10KV. | 2.00 | Each | 9500.00 | 8350.00 | 16700.00 | 2500.00 | 5000.00 | 7000.00 | 14000.00 | 3450.00 | 6900.00 | 5000.00 | M/S CHAUDHARY CONSTRUCTION
10.00 | Supply and replacement of Capacitor for APFC Panel make L&T Model LTCCR325B2 of following capacity-15KV. | 2.00 | Each | 11500.00 | 10000.00 | 20000.00 | 2500.00 | 5000.00 | 9000.00 | 18000.00 | 4600.00 | 9200.00 | 5000.00 | M/S CHAUDHARY CONSTRUCTION
11.00 | Supply and replacement of Capacitor for APFC Panel make L&T Model LTCCR325B2 of following capacity-20KV. | 2.00 | Each | 13500.00 | 11800.00 | 23600.00 | 2500.00 | 5000.00 | 15000.00 | 30000.00 | 6440.00 | 12880.00 | 5000.00 | M/S CHAUDHARY CONSTRUCTION
12.00 | Supply and replacement of Capacitor for APFC Panel make L&T Model LTCCR325B2 of following capacity-25KV. | 2.00 | Each | 15000.00 | 13200.00 | 26400.00 | 2500.00 | 5000.00 | 15000.00 | 30000.00 | 8050.00 | 16100.00 | 5000.00 | M/S CHAUDHARY CONSTRUCTION
13.00 | Supply and installation of Electronic Display metre for 30KW nasu make CCR . | 1.00 | Each | 10000.00 | 8900.00 | 8900.00 | 9000.00 | 9000.00 | 10000.00 | 10000.00 | 8050.00 | 8050.00 | 8050.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Supply and fixing of 20 W, 4 ft LED tube suitable to operate on single phase, 230V, 50 Hz AC supply. | 30.00 | Each | 400.00 | 300.00 | 9000.00 | 250.00 | 7500.00 | 750.00 | 22500.00 | 403.00 | 12090.00 | 7500.00 | M/S CHAUDHARY CONSTRUCTION
15.00 | Supply and top up of transformer oil as per latest government specifications for transformer, AVR. | 200.00 | Ltrs | 150.00 | 130.00 | 26000.00 | 160.00 | 32000.00 | 200.00 | 40000.00 | 155.00 | 31000.00 | 26000.00 | Gmedia Enterprise
16.00 | Supply and laying of 3 &1/2 core 185sqmm size XLPE insulated and PVC sheathed, armoured Aluminum conductor power cable of 1.1 KV grade conforming to IS-7098 (part-I) 1988 with upto date amendments.185 sqmm in ground with bricks and sand. | 150.00 | Mtrs | 1100.00 | 550.00 | 82500.00 | 900.00 | 135000.00 | 700.00 | 105000.00 | 1265.00 | 189750.00 | 82500.00 | Gmedia Enterprise
17.00 | Supply and fixing of wall mounted 400 mm sweep fan suitable to work on single phase, 230V, 50 Hz AC supply. | 5.00 | Each | 3200.00 | 2700.00 | 13500.00 | 2500.00 | 12500.00 | 5000.00 | 25000.00 | 2243.00 | 11215.00 | 11215.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Supply and fixing of LED light fixture bajaz model Cool White 20 W LED Tube Light, 2 Ft or equivalent | 50.00 | Each | 300.00 | 200.00 | 10000.00 | 200.00 | 10000.00 | 500.00 | 25000.00 | 380.00 | 19000.00 | 10000.00 | Gmedia Enterprise, M/S CHAUDHARY CONSTRUCTION
19.00 | Supply and fixing of LED light fixture bajaz model BZSLO LED 15W (Round Celing Light) White or equivalent | 25.00 | Each | 500.00 | 400.00 | 10000.00 | 650.00 | 16250.00 | 500.00 | 12500.00 | 604.00 | 15100.00 | 10000.00 | Gmedia Enterprise
20.00 | Supply and fixing of LED light fixture bajaz model BRDCSL LED 16W (Round Celing Light) Yellow or equivalent | 25.00 | Each | 500.00 | 400.00 | 10000.00 | 700.00 | 17500.00 | 500.00 | 12500.00 | 978.00 | 24450.00 | 10000.00 | Gmedia Enterprise
21.00 | supply and fixing of calling bell with remote switch | 10.00 | Each | 900.00 | 600.00 | 6000.00 | 650.00 | 6500.00 | 2500.00 | 25000.00 | 690.00 | 6900.00 | 6000.00 | Gmedia Enterprise
22.00 | supply of laying of wired calling bell with switch to work in 240V ,50Hz system | 10.00 | Each | 500.00 | 440.00 | 4400.00 | 200.00 | 2000.00 | 2500.00 | 25000.00 | 633.00 | 6330.00 | 2000.00 | M/S CHAUDHARY CONSTRUCTION
23.00 | Supply of 20 W, 4 ft LED tube suitable to operate on single phase, 230V, 50 Hz AC supply. | 50.00 | Each | 500.00 | 440.00 | 22000.00 | 200.00 | 10000.00 | 500.00 | 25000.00 | 276.00 | 13800.00 | 10000.00 | M/S CHAUDHARY CONSTRUCTION
24.00 | Supply and insallation of heavy duty exhaust fan of 300mm size having 1400 RPM suitable to work on single phase, 230V, 50 Hz AC supply i/c making hole and fixing frame on wall . | 5.00 | Each | 4500.00 | 2500.00 | 12500.00 | 2500.00 | 12500.00 | 9000.00 | 45000.00 | 2990.00 | 14950.00 | 12500.00 | Gmedia Enterprise, M/S CHAUDHARY CONSTRUCTION
25.00 | Supply and insallation of heavy duty exhaust fan of 450mm size having 1400 RPM suitable to work on single phase, 230V, 50 Hz AC supply i/c making hole and fixing frame on wall . | 5.00 | Each | 6000.00 | 5600.00 | 28000.00 | 4000.00 | 20000.00 | 11000.00 | 55000.00 | 4600.00 | 23000.00 | 20000.00 | M/S CHAUDHARY CONSTRUCTION
26.00 | Supply and fixing of LED light fixture make bajaz model BZRSQL 36W GZ1 WH 2x2 LED Celing Light or equivalent | 25.00 | Each | 1000.00 | 800.00 | 20000.00 | 1500.00 | 37500.00 | 1000.00 | 25000.00 | 1610.00 | 40250.00 | 20000.00 | Gmedia Enterprise
27.00 | supply and replacement of Digital street light electronic timer for 240V 50Hz system | 2.00 | Each | 6000.00 | 5200.00 | 10400.00 | 2000.00 | 4000.00 | 7500.00 | 15000.00 | 6900.00 | 13800.00 | 4000.00 | M/S CHAUDHARY CONSTRUCTION
28.00 | Supply and replacement of Sewage submergible centrifugal feed pump make LUBI , model LFP-2135F, flow 12mcube /hr, 14mt height or equivalent i/c cleaning the sweage tank, dismentalling unserviacabale pump, replacing with new pump and making good all pipe connections etc as per EIC. | 1.00 | Job | 30475.00 | 26000.00 | 26000.00 | 25000.00 | 25000.00 | 25000.00 | 25000.00 | 26450.00 | 26450.00 | 25000.00 | M/S CHAUDHARY CONSTRUCTION, M/S AMAR ENTERPRISES
29.00 | HDD work in ground up to 3mtrs with 40mm HDPE pipe as per AAI approved make(to be supplied by agency) complete in all respect as per direction of EIC. | 200.00 | Mtrs | 1060.00 | 750.00 | 150000.00 | 400.00 | 80000.00 | 400.00 | 80000.00 | 750.00 | 150000.00 | 80000.00 | M/S CHAUDHARY CONSTRUCTION, M/S AMAR ENTERPRISES
30.00 | supply and fixing of 3 ph. Electrical energy meter classI 0-60Amps | 2.00 | Each | 7000.00 | 6100.00 | 12200.00 | 2600.00 | 5200.00 | 5000.00 | 10000.00 | 6900.00 | 13800.00 | 5200.00 | M/S CHAUDHARY CONSTRUCTION
31.00 | supply and fixing of Single Phase energy meter classI, 0-20amps | 4.00 | Each | 1500.00 | 1300.00 | 5200.00 | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 1610.00 | 6440.00 | 4000.00 | M/S CHAUDHARY CONSTRUCTION
32.00 | Supply of 200w 6.6 A holagen Runway lamp as of latest ICAO specification | 200.00 | Each | 800.00 | 550.00 | 110000.00 | 600.00 | 120000.00 | 340.00 | 68000.00 | 460.00 | 92000.00 | 68000.00 | M/S AMAR ENTERPRISES
33.00 | Supply of 105 w 6.6 A BIPIN (lnset ) Halogen Lamp as of latest ICAO specification | 20.00 | Each | 1500.00 | 1300.00 | 26000.00 | 1300.00 | 26000.00 | 1100.00 | 22000.00 | 1323.00 | 26460.00 | 22000.00 | M/S AMAR ENTERPRISES
34.00 | Supply of 200 W 6.6 A Elevated Approach Fiting lamp as of latest ICAO specification | 100.00 | Each | 1000.00 | 800.00 | 80000.00 | 1000.00 | 100000.00 | 1100.00 | 110000.00 | 454.00 | 45400.00 | 45400.00 | ABHISHEK INTEGRATIONS LIMITED
35.00 | Supply of Runway Lamp Holder (Flate end terminal ) as of latest ICAO specification for RWY edge light | 200.00 | Each | 700.00 | 550.00 | 110000.00 | 350.00 | 70000.00 | 290.00 | 58000.00 | 500.00 | 100000.00 | 58000.00 | M/S AMAR ENTERPRISES
36.00 | Supply of Runway Lamp Holder (Flate end terminal ) as of latest ICAO specification for PAPI edge light | 50.00 | Each | 700.00 | 550.00 | 27500.00 | 325.00 | 16250.00 | 300.00 | 15000.00 | 500.00 | 25000.00 | 15000.00 | M/S AMAR ENTERPRISES
37.00 | Supply of Runway Lamp Holder (Flate end terminal ) as of latest ICAO specification for Approach edge light | 50.00 | Each | 700.00 | 550.00 | 27500.00 | 325.00 | 16250.00 | 600.00 | 30000.00 | 500.00 | 25000.00 | 16250.00 | M/S CHAUDHARY CONSTRUCTION
38.00 | Supply of 6 sq.mm ESSNA -kit (copper ) 5kv grade as of latest ICAO specification | 50.00 | Each | 600.00 | 450.00 | 22500.00 | 500.00 | 25000.00 | 400.00 | 20000.00 | 454.00 | 22700.00 | 20000.00 | M/S AMAR ENTERPRISES
39.00 | Supply of 16 sq.mm 5 KV Grade plug&Recaptable (ESSNA Kit)(copper) as of latest ICAO specification | 50.00 | Each | 700.00 | 550.00 | 27500.00 | 500.00 | 25000.00 | 400.00 | 20000.00 | 489.00 | 24450.00 | 20000.00 | M/S AMAR ENTERPRISES
40.00 | Supply of Secondary 2 Pin lead of 0.3 mtr Length as of latest ICAO specification | 10.00 | Each | 750.00 | 600.00 | 6000.00 | 350.00 | 3500.00 | 500.00 | 5000.00 | 374.00 | 3740.00 | 3500.00 | M/S CHAUDHARY CONSTRUCTION
41.00 | Supply of Two Pin Secondary Plug Assembly for PAPI (2.5 Mtr long) as of latest ICAO specification | 10.00 | Each | 2000.00 | 1550.00 | 15500.00 | 900.00 | 9000.00 | 1000.00 | 10000.00 | 1179.00 | 11790.00 | 9000.00 | M/S CHAUDHARY CONSTRUCTION
42.00 | Supply of Base Plate Gaskets as of latest ICAO specification | 20.00 | Each | 200.00 | 170.00 | 3400.00 | 250.00 | 5000.00 | 250.00 | 5000.00 | 201.00 | 4020.00 | 3400.00 | Gmedia Enterprise
43.00 | Supply of breakable coupling for Approach GLF light fittings as of latest ICAO specification AMA make | 50.00 | Each | 1500.00 | 1300.00 | 65000.00 | 1000.00 | 50000.00 | 1000.00 | 50000.00 | 535.00 | 26750.00 | 26750.00 | ABHISHEK INTEGRATIONS LIMITED
44.00 | Supply of Isolating Transformer2O0w 20/6.6 A as of latest ICAO specification | 50.00 | Each | 5000.00 | 4000.00 | 200000.00 | 4200.00 | 210000.00 | 3000.00 | 150000.00 | 4773.00 | 238650.00 | 150000.00 | M/S AMAR ENTERPRISES
45.00 | Supply of Isolating Transformer200w 20/ 20 A as of latest ICAO specification | 10.00 | Each | 5000.00 | 4000.00 | 40000.00 | 4200.00 | 42000.00 | 3000.00 | 30000.00 | 4773.00 | 47730.00 | 30000.00 | M/S AMAR ENTERPRISES
46.00 | Supply of 360 Clear inner lens /Filters as of latest ICAO specification | 10.00 | Each | 3000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 3000.00 | 30000.00 | 2013.00 | 20130.00 | 20000.00 | Gmedia Enterprise, M/S CHAUDHARY CONSTRUCTION
47.00 | Supply of 360 Clear outer lens /Filters as of latest ICAO specification | 10.00 | Each | 3000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 3000.00 | 30000.00 | 2875.00 | 28750.00 | 20000.00 | Gmedia Enterprise, M/S CHAUDHARY CONSTRUCTION
48.00 | Supply of inner 180 deg Red lens filters as of latest ICAO specification | 5.00 | Each | 3000.00 | 2000.00 | 10000.00 | 2000.00 | 10000.00 | 3000.00 | 15000.00 | 2530.00 | 12650.00 | 10000.00 | Gmedia Enterprise, M/S CHAUDHARY CONSTRUCTION
49.00 | Supply of inner 180 deg Green lens filters as of latest ICAO specification | 5.00 | Each | 3000.00 | 2000.00 | 10000.00 | 2000.00 | 10000.00 | 3000.00 | 15000.00 | 2530.00 | 12650.00 | 10000.00 | Gmedia Enterprise, M/S CHAUDHARY CONSTRUCTION
50.00 | Supply of inner 180 deg yellow lens /filters as of latest ICAO specification | 5.00 | Each | 3000.00 | 2000.00 | 10000.00 | 3000.00 | 15000.00 | 3000.00 | 15000.00 | 2530.00 | 12650.00 | 10000.00 | Gmedia Enterprise
51.00 | Supply of Red Filter for papi as of latest ICAO specification | 12.00 | Each | 3500.00 | 2500.00 | 30000.00 | 2000.00 | 24000.00 | 3000.00 | 36000.00 | 3680.00 | 44160.00 | 24000.00 | M/S CHAUDHARY CONSTRUCTION
52.00 | Supply of I x l6 sq.mm Airfiled Lighting Cable as of latest ICAO specification | 200.00 | Mtrs | 290.00 | 250.00 | 50000.00 | 250.00 | 50000.00 | 300.00 | 60000.00 | 230.00 | 46000.00 | 46000.00 | ABHISHEK INTEGRATIONS LIMITED
53.00 | Supply of Single Core 1.5 sqmm FR-LSH PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volts Conforming to IS: 694. | 300.00 | Mtrs | 20.00 | 20.00 | 6000.00 | 15.00 | 4500.00 | 50.00 | 15000.00 | 16.00 | 4800.00 | 4500.00 | M/S CHAUDHARY CONSTRUCTION
54.00 | Supply of Single Core 2.5 sqmm FR-LSH PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volts Conforming to IS: 694. | 200.00 | Mtrs | 40.00 | 30.00 | 6000.00 | 25.00 | 5000.00 | 70.00 | 14000.00 | 26.00 | 5200.00 | 5000.00 | M/S CHAUDHARY CONSTRUCTION
55.00 | Supply of Single Core 4.0 sqmm FR-LSH PVC Insulated Industrial Grade Copper Conductor (Unsheathed) Flexible Cables, 1100 Volts Conforming to IS: 694.- | 100.00 | Mtrs | 60.00 | 45.00 | 4500.00 | 40.00 | 4000.00 | 120.00 | 12000.00 | 39.00 | 3900.00 | 3900.00 | ABHISHEK INTEGRATIONS LIMITED
56.00 | Supply of 1200 mm sweep ceiling fan suitable to work on single phase, 230V, 50 Hz AC supply. | 5.00 | Each | 4200.00 | 3000.00 | 15000.00 | 1500.00 | 7500.00 | 2500.00 | 12500.00 | 1610.00 | 8050.00 | 7500.00 | M/S CHAUDHARY CONSTRUCTION
57.00 | supply of Street Lights of 45W make : havels model endura city liner Neo or equivalent | 20.00 | Each | 3500.00 | 2500.00 | 50000.00 | 1800.00 | 36000.00 | 2000.00 | 40000.00 | 1633.00 | 32660.00 | 32660.00 | ABHISHEK INTEGRATIONS LIMITED
58.00 | supply of single phase submersible pump of 2 hp make KSB or equivalent | 1.00 | Each | 18000.00 | 15500.00 | 15500.00 | 18000.00 | 18000.00 | 20000.00 | 20000.00 | 20125.00 | 20125.00 | 15500.00 | Gmedia Enterprise
59.00 | supply of single phase submersible pump of 1 HP make KSB or equivalent | 1.00 | Each | 12000.00 | 10500.00 | 10500.00 | 12000.00 | 12000.00 | 20000.00 | 20000.00 | 13800.00 | 13800.00 | 10500.00 | Gmedia Enterprise
60.00 | supply of Modular Switch 16 Amp model havells/anchor or equivalent | 50.00 | Each | 120.00 | 120.00 | 6000.00 | 70.00 | 3500.00 | 120.00 | 6000.00 | 97.00 | 4850.00 | 3500.00 | M/S CHAUDHARY CONSTRUCTION
61.00 | supply of Modular Socket 16 Amp model havells/anchor or equivalent | 50.00 | Each | 160.00 | 180.00 | 9000.00 | 100.00 | 5000.00 | 1500.00 | 75000.00 | 150.00 | 7500.00 | 5000.00 | M/S CHAUDHARY CONSTRUCTION
62.00 | supply of Modular Switch 6 Amp.model havells/anchor or equivalent | 50.00 | Each | 90.00 | 50.00 | 2500.00 | 32.00 | 1600.00 | 120.00 | 6000.00 | 15.00 | 750.00 | 750.00 | ABHISHEK INTEGRATIONS LIMITED
63.00 | supply of Modular Socket 6 Amp.model havells/anchor or equivalent | 50.00 | Each | 130.00 | 120.00 | 6000.00 | 65.00 | 3250.00 | 300.00 | 15000.00 | 86.00 | 4300.00 | 3250.00 | M/S CHAUDHARY CONSTRUCTION
64.00 | supply of switch 1M board with plate | 10.00 | Each | 200.00 | 125.00 | 1250.00 | 90.00 | 900.00 | 200.00 | 2000.00 | 115.00 | 1150.00 | 900.00 | M/S CHAUDHARY CONSTRUCTION
65.00 | supply of switch 3M board with plate | 10.00 | Each | 300.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 1500.00 | ABHISHEK INTEGRATIONS LIMITED, M/S CHAUDHARY CONSTRUCTION
66.00 | supply of switch 4M board with plate | 10.00 | Each | 500.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 230.00 | 2300.00 | 1500.00 | M/S AMAR ENTERPRISES
67.00 | Supplying of 2.5 MFD Electrolytic Capacitor, to be operated at 250V AC, 50Hz, suitable for high speed of Fan, capacitor start & run, oil filled of relevent IS Code. (Make - Sarda / Philips / Universal.) | 50.00 | Each | 50.00 | 40.00 | 2000.00 | 30.00 | 1500.00 | 100.00 | 5000.00 | 25.00 | 1250.00 | 1250.00 | ABHISHEK INTEGRATIONS LIMITED
68.00 | Supplying of 4 MFD Electrolytic Capacitor, to be operated at 250V AC, 50Hz, suitable for high speed of Fan, capacitor start & run, oil filled of relevent IS Code. (Make - Sarda / Philips / Universal). | 20.00 | Each | 75.00 | 65.00 | 1300.00 | 50.00 | 1000.00 | 200.00 | 4000.00 | 75.00 | 1500.00 | 1000.00 | M/S CHAUDHARY CONSTRUCTION
69.00 | supply of Motor Starter Type 90, 163 Contactor 30/2 (30Amp). | 2.00 | Each | 3500.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 3795.00 | 7590.00 | 6000.00 | Gmedia Enterprise, M/S CHAUDHARY CONSTRUCTION
70.00 | supply of 20mm GI flexible conduit of ISI standard. | 100.00 | Mtrs | 90.00 | 70.00 | 7000.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 44.00 | 4400.00 | 4400.00 | ABHISHEK INTEGRATIONS LIMITED
71.00 | supply of 25mm GI flexible conduit of ISI standard. | 100.00 | Mtrs | 120.00 | 100.00 | 10000.00 | 55.00 | 5500.00 | 60.00 | 6000.00 | 63.00 | 6300.00 | 5500.00 | M/S CHAUDHARY CONSTRUCTION
72.00 | supply of 32mm GI flexible conduit of ISI standard. | 50.00 | Mtrs | 140.00 | 110.00 | 5500.00 | 65.00 | 3250.00 | 100.00 | 5000.00 | 81.00 | 4050.00 | 3250.00 | M/S CHAUDHARY CONSTRUCTION
73.00 | supply of 20mm ISI marked PVC conduit as per approved make. | 100.00 | Mtrs | 60.00 | 70.00 | 7000.00 | 40.00 | 4000.00 | 40.00 | 4000.00 | 37.00 | 3700.00 | 3700.00 | ABHISHEK INTEGRATIONS LIMITED
74.00 | supply of 25mm ISI marked PVC conduit as per approved make. | 100.00 | Mtrs | 80.00 | 90.00 | 9000.00 | 50.00 | 5000.00 | 40.00 | 4000.00 | 51.00 | 5100.00 | 4000.00 | M/S AMAR ENTERPRISES
75.00 | supply of 32mm ISI marked PVC conduit as per approved make. | 50.00 | Mtrs | 120.00 | 105.00 | 5250.00 | 70.00 | 3500.00 | 75.00 | 3750.00 | 72.00 | 3600.00 | 3500.00 | M/S CHAUDHARY CONSTRUCTION
76.00 | supply of quartz Room heater of 800W with ISI standard. | 10.00 | Each | 4000.00 | 2000.00 | 20000.00 | 2500.00 | 25000.00 | 2500.00 | 25000.00 | 3450.00 | 34500.00 | 20000.00 | Gmedia Enterprise
77.00 | Supply of AC MCB having fixed line / current characteristics for use in protection of industrial, commercial and domestic electrical installations suitable for use on 240v /415v 50Hz AC supply having facility for termination of alminium cable and fixing arrangements on steel monting rail conforming to IS: 8828 / 78 with up to date amendment and mounting rail to IS: 11039/83 of following rating.( Make - Havell's /MDS / Siemens / GE ) - Four pole MCB 40 Amp C series. | 5.00 | Each | 1800.00 | 1550.00 | 7750.00 | 1300.00 | 6500.00 | 1000.00 | 5000.00 | 1725.00 | 8625.00 | 5000.00 | M/S AMAR ENTERPRISES
78.00 | Supply of AC MCB having fixed line / current characteristics for use in protection of industrial, commercial and domestic electrical installations suitable for use on 240v /415v 50Hz AC supply having facility for termination of alminium cable and fixing arrangements on steel monting rail conforming to IS: 8828 / 78 with up to date amendment and mounting rail to IS: 11039/83 of following rating.( Make - Havell's / MDS / Siemens / GE )- TP & N MCB 10 Amp C series. | 5.00 | Each | 1800.00 | 1500.00 | 7500.00 | 1000.00 | 5000.00 | 1200.00 | 6000.00 | 1725.00 | 8625.00 | 5000.00 | M/S CHAUDHARY CONSTRUCTION
79.00 | Supply of AC MCB having fixed line / current characteristics for use in protection of industrial, commercial and domestic electrical installations suitable for use on 240v / 415v 50Hz AC supply having facility for termination of alminium cable and fixing arrangements on steel monting rail conforming to IS: 8828 / 78 with up to date amendment and mounting rail to IS: 11039/83 of following rating.( Make - Havell's / MDS / Siemens / GE )- Double pole MCB 63 Amp C series. | 5.00 | Each | 1500.00 | 1000.00 | 5000.00 | 700.00 | 3500.00 | 800.00 | 4000.00 | 1008.00 | 5040.00 | 3500.00 | M/S CHAUDHARY CONSTRUCTION
80.00 | Supply of AC MCB C series having fixed line / current characteristics for use in protection of industrial, commercial and domestic electrical installations suitable for use on 240v / 415v 50Hz AC single phase MCB 6. | 5.00 | Each | 200.00 | 150.00 | 750.00 | 150.00 | 750.00 | 150.00 | 750.00 | 115.00 | 575.00 | 575.00 | ABHISHEK INTEGRATIONS LIMITED
81.00 | Supply of AC MCB C series having fixed line / current characteristics for use in protection of industrial, commercial and domestic electrical installations suitable for use on 240v / 415v 50Hz AC single phase MCB 10. | 20.00 | Each | 200.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 115.00 | 2300.00 | 2300.00 | ABHISHEK INTEGRATIONS LIMITED
82.00 | Supply of AC MCB C series having fixed line / current characteristics for use in protection of industrial, commercial and domestic electrical installations suitable for use on 240v / 415v 50Hz AC single phase MCB 16. | 20.00 | Each | 200.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 115.00 | 2300.00 | 2300.00 | ABHISHEK INTEGRATIONS LIMITED
83.00 | Supply of AC MCB C series having fixed line / current characteristics for use in protection of industrial, commercial and domestic electrical installations suitable for use on 240v / 415v 50Hz AC single phase MCB 20. | 20.00 | Each | 200.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 115.00 | 2300.00 | 2300.00 | ABHISHEK INTEGRATIONS LIMITED
84.00 | Supply of AC MCB C series having fixed line / current characteristics for use in protection of industrial, commercial and domestic electrical installations suitable for use on 240v / 415v 50Hz AC single phase MCB 32. | 20.00 | Each | 200.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 115.00 | 2300.00 | 2300.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 2075500.00 |  | 1846200.00 |  | 2154500.00 |  | 2393075.00
Lowest Amount Quoted BY: M/S CHAUDHARY CONSTRUCTION(1846200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of GLF Sapres and other allied works for E and M installations at Darbhanga Airport Tender ID: 2023_AAI_167317_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S CHAUDHARY CONSTRUCTION | 1846200.00 | L1
| 2 | Gmedia Enterprise | 2075500.00 | L2
| 3 | M/S AMAR ENTERPRISES | 2154500.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 2393075.00 | L4