## BoQ1
Government eProcurement System Created By: Simerdeep Singh Created Date/Time: 13-Oct-2023 05:31 PM Tender Title: Miscellaneous civil works in Terminal Building , Modification inside Terminal Building partition work , Glazing repair , SS work , Repair of TB Toilets , Repair of drainage and sewerage, repair of apron, renovation of Security Morchas and passenger t Tender ID: 2023_AAI_167443_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-Civil), Srinagar International Airport,Srinagar.
Name of Work: Miscellaneous civil works in Terminal Building , Modification inside Terminal Building partition work , Glazing repair , SS work , Repair of TB Toilets , Repair of drainage and sewrage, repair of apron, renovation of Security Morchas and passenger toilets in car park at Srinagar International Airport, Srinagar for the year 2023-24.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED(GSTN-NA) |  | M/S KUCHAY CONSTRUCTION CORPORATION(GSTN-NA) |  | M/S GREEN CHANNEL BUILDERS(GSTN-NA) |  | BAKHTAWAR AHMAD RATHER(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size | 9.00 | Cum |  | 6200.00 | 55800.00 | 5500.00 | 49500.00 | 6000.00 | 54000.00 | 5500.00 | 49500.00 | 49500.00 | BAKHTAWAR AHMAD RATHER, M/S KUCHAY CONSTRUCTION CORPORATION
2.00 | Providing wood work in frames of false ceiling, partitions etc. sawn and fixed in position with necessary stainless steel screws etc. Kiln seasoned and chemically treated hollock wood | 2.00 | Cum |  | 62500.00 | 125000.00 | 65000.00 | 130000.00 | 59000.00 | 118000.00 | 70000.00 | 140000.00 | 118000.00 | M/S GREEN CHANNEL BUILDERS
3.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 2.52 | Sqm |  | 2500.00 | 6300.00 | 2100.00 | 5292.00 | 2000.00 | 5040.00 | 35000.00 | 88200.00 | 5040.00 | M/S GREEN CHANNEL BUILDERS
4.00 | Providing and fixing Pre-laminated flat pressed 3 layer (medium density) particle board or graded wood particle board IS : 3087 marked, with one side decorative and other side balancing lamination Grade I, Type II exterior grade IS : 12823 marked, in shelves with screws and fittings wherever required, edges to be painted with polyurethane primer (fittings to be paid separately). (a) 18 mm thick | 50.00 | Sqm |  | 1120.00 | 56000.00 | 900.00 | 45000.00 | 1000.00 | 50000.00 | 1600.00 | 80000.00 | 45000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
5.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 4.00 | Each |  | 120.00 | 480.00 | 150.00 | 600.00 | 100.00 | 400.00 | 100.00 | 400.00 | 400.00 | BAKHTAWAR AHMAD RATHER, M/S GREEN CHANNEL BUILDERS
6.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : (a) 250x16 mm | 4.00 | Each |  | 250.00 | 1000.00 | 275.00 | 1100.00 | 200.00 | 800.00 | 400.00 | 1600.00 | 800.00 | M/S GREEN CHANNEL BUILDERS
7.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 2.94 | Sqm |  | 3000.00 | 8820.00 | 3300.00 | 9702.00 | 2500.00 | 7350.00 | 3000.00 | 8820.00 | 7350.00 | M/S GREEN CHANNEL BUILDERS
8.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 2.00 | Each |  | 80.00 | 160.00 | 70.00 | 140.00 | 60.00 | 120.00 | 100.00 | 200.00 | 120.00 | M/S GREEN CHANNEL BUILDERS
9.00 | Providing and fixing aluminum U beading of required size to Pre-laminated/ flush door shutter, including fixing etc. complete as per direction of Engineer-in-charge. | 100.00 | Kg |  | 640.00 | 64000.00 | 510.00 | 51000.00 | 500.00 | 50000.00 | 700.00 | 70000.00 | 50000.00 | M/S GREEN CHANNEL BUILDERS
10.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 50.00 | Sqm |  | 820.00 | 41000.00 | 900.00 | 45000.00 | 700.00 | 35000.00 | 1200.00 | 60000.00 | 35000.00 | M/S GREEN CHANNEL BUILDERS
11.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 300.00 | Kg |  | 80.00 | 24000.00 | 100.00 | 30000.00 | 78.00 | 23400.00 | 105.00 | 31500.00 | 23400.00 | M/S GREEN CHANNEL BUILDERS
12.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 5926.00 | Kg |  | 140.00 | 829640.00 | 130.00 | 770380.00 | 120.00 | 711120.00 | 105.00 | 622230.00 | 622230.00 | BAKHTAWAR AHMAD RATHER
13.00 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. 10 x 160 mm | 600.00 | Each |  | 220.00 | 132000.00 | 180.00 | 108000.00 | 175.00 | 105000.00 | 250.00 | 150000.00 | 105000.00 | M/S GREEN CHANNEL BUILDERS
14.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc | 232.58 | Kg |  | 620.00 | 144199.60 | 600.00 | 139548.00 | 595.00 | 138385.10 | 800.00 | 186064.00 | 138385.10 | M/S GREEN CHANNEL BUILDERS
15.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Medium shade pigment using 50% white cement 50% Grey cement | 100.00 | Sqm |  | 1100.00 | 110000.00 | 1100.00 | 110000.00 | 1000.00 | 100000.00 | 700.00 | 70000.00 | 70000.00 | BAKHTAWAR AHMAD RATHER
16.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab colour of Black, Cherry/Ruby Red or equivalent | 50.00 | Sqm |  | 4500.00 | 225000.00 | 3100.00 | 155000.00 | 3800.00 | 190000.00 | 4000.00 | 200000.00 | 155000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
17.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 20.00 | Cum |  | 2000.00 | 40000.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 500.00 | 10000.00 | 10000.00 | BAKHTAWAR AHMAD RATHER
18.00 | Removing mortar from bricks and cleaning bricks including stacking within a lead of 50 m (stacks of cleaned bricks shall be measured): | 5.00 | 1000 nos |  | 4000.00 | 20000.00 | 1000.00 | 5000.00 | 2500.00 | 12500.00 | 1500.00 | 7500.00 | 5000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
19.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 1243.33 | Kg |  | 6.00 | 7459.98 | 5.00 | 6216.65 | 4.00 | 4973.32 | 5.00 | 6216.65 | 4973.32 | M/S GREEN CHANNEL BUILDERS
20.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 20.00 | Cum |  | 1500.00 | 30000.00 | 1500.00 | 30000.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 20000.00 | BAKHTAWAR AHMAD RATHER, M/S GREEN CHANNEL BUILDERS
21.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm sqm | 100.00 | Sqm |  | 80.00 | 8000.00 | 70.00 | 7000.00 | 60.00 | 6000.00 | 100.00 | 10000.00 | 6000.00 | M/S GREEN CHANNEL BUILDERS
22.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 20.00 | Cum |  | 300.00 | 6000.00 | 300.00 | 6000.00 | 219.00 | 4380.00 | 300.00 | 6000.00 | 4380.00 | M/S GREEN CHANNEL BUILDERS
23.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 10.00 | Cum |  | 9500.00 | 95000.00 | 9000.00 | 90000.00 | 9000.00 | 90000.00 | 7000.00 | 70000.00 | 70000.00 | BAKHTAWAR AHMAD RATHER
24.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 80 mm nominal dia Pipes | 40.00 | meter |  | 1980.00 | 79200.00 | 2000.00 | 80000.00 | 1800.00 | 72000.00 | 2000.00 | 80000.00 | 72000.00 | M/S GREEN CHANNEL BUILDERS
25.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. 25 mm dia nominal bore | 100.00 | Metre |  | 510.00 | 51000.00 | 350.00 | 35000.00 | 450.00 | 45000.00 | 450.00 | 45000.00 | 35000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
26.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. 40 mm dia nominal bore | 100.00 | meter |  | 750.00 | 75000.00 | 500.00 | 50000.00 | 700.00 | 70000.00 | 650.00 | 65000.00 | 50000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
27.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore | 20.00 | each |  | 780.00 | 15600.00 | 500.00 | 10000.00 | 700.00 | 14000.00 | 1000.00 | 20000.00 | 10000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
28.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 234.00 | Kg |  | 510.00 | 119340.00 | 530.00 | 124020.00 | 450.00 | 105300.00 | 850.00 | 198900.00 | 105300.00 | M/S GREEN CHANNEL BUILDERS
29.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 43.00 | Kg |  | 600.00 | 25800.00 | 600.00 | 25800.00 | 500.00 | 21500.00 | 850.00 | 36550.00 | 21500.00 | M/S GREEN CHANNEL BUILDERS
30.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): (a) With float glass panes of 5.50 mm thickness With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 2.00 | Sqm |  | 1510.00 | 3020.00 | 1200.00 | 2400.00 | 1300.00 | 2600.00 | 2500.00 | 5000.00 | 2400.00 | M/S KUCHAY CONSTRUCTION CORPORATION
31.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 100.00 | metre |  | 90.00 | 9000.00 | 90.00 | 9000.00 | 85.00 | 8500.00 | 120.00 | 12000.00 | 8500.00 | M/S GREEN CHANNEL BUILDERS
32.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 2.00 | each |  | 550.00 | 1100.00 | 500.00 | 1000.00 | 449.00 | 898.00 | 600.00 | 1200.00 | 898.00 | M/S GREEN CHANNEL BUILDERS
33.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns as per CPWD Specification 2019, to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mmthick (galvanized @ 120 grams per sqm including both sides)comprising of main-T runners of size 24x38 mm of length 3000 mm,cross - T of size 24x32 mm of length 1200 mm and secondaryintermediate cross-T of size 24x32 mm of length 600mm to formgrid module of size 600 x 600 mm, suspended from ceiling usinggalvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 12x50 mm long dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 76x25x25x1.6 mm fixed with grid and Z cleat of size 25x37x25x1.6mm thick with precut hole on both 25mm flange to pierce into 12x50mm or even bigger size dash fastener if require, fixed with Glavanised iron perimeter wall angle or size 24x24x0.40 mm of length 3000 mm to be fixed on periphey wall / partition with the help of plastic rawl plugs at 450mm center to center and 40 mm long dry wall S.S screws. The workshall be carried out as per specifications, drawing and as per directionsof the Engineer-in- Charge. With 15 mm thick Tegular edged light weight calcium sliciate false ceiling tiles | 112.00 | Sqm |  | 1700.00 | 190400.00 | 1200.00 | 134400.00 | 1500.00 | 168000.00 | 2000.00 | 224000.00 | 134400.00 | M/S KUCHAY CONSTRUCTION CORPORATION
34.00 | Providing and fixing 08 mm thick frameless toughened glass of approved brand and manufacture for Urinal Partition, including SS patch fittings of AAI approved make fixed in walls etc. all complete as per direction of Engineer-in-charge. | 9.00 | Sqm |  | 5600.00 | 50400.00 | 5000.00 | 45000.00 | 5000.00 | 45000.00 | 6000.00 | 54000.00 | 45000.00 | M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
35.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.).(material to be supplied by department) | 150.00 | Kg |  | 200.00 | 30000.00 | 150.00 | 22500.00 | 150.00 | 22500.00 | 200.00 | 30000.00 | 22500.00 | M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
36.00 | Providing ,installing and fixing in position at Curtain Wall,Gable end with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding of required shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant backer rods etc.(Manufacture test certificate to be provided for above specifications) | 116.80 | Sqm |  | 4200.00 | 490560.00 | 3300.00 | 385440.00 | 3500.00 | 408800.00 | 3200.00 | 373760.00 | 373760.00 | BAKHTAWAR AHMAD RATHER
37.00 | Replacing and installation in existing suspended Spider Glazing with glass panel having 12 mm thick clear toughened glass having necessary diameter holes to be held together with existing SS- 316 Grade Stainless steel Spider & bolt assembly hold on M.S. hollow sections including filling . The joints between glass panels (6 to 8 mm) and gaps at the perimeter to be filled with non staining weather sealant, The rate shall include all labour, T&P, scaffolding, other incidental charges including wastage, laminated glass,weather silicon etc. all complete.The spider fittings and bolts to be supplied by the department. | 7.57 | Sqm |  | 6200.00 | 46934.00 | 6500.00 | 49205.00 | 5500.00 | 41635.00 | 6500.00 | 49205.00 | 41635.00 | M/S GREEN CHANNEL BUILDERS
38.00 | Structural steel sections work bolted or welded in built up sections and framed work, cluding , hoisting, fixing in position all complete(structural steel section supplied by department) . | 1243.33 | Kg |  | 21.00 | 26109.93 | 21.00 | 26109.93 | 15.00 | 18649.95 | 20.00 | 24866.60 | 18649.95 | M/S GREEN CHANNEL BUILDERS
39.00 | Providing and fixing urinal sensor of approved make(Kohler or equivalent) wherever required complete. | 5.00 | Each |  | 29000.00 | 145000.00 | 24000.00 | 120000.00 | 25000.00 | 125000.00 | 3500.00 | 17500.00 | 17500.00 | BAKHTAWAR AHMAD RATHER
40.10 | Providing and fixing spare parts in existing Urinal Sensor of approved quality & make(Kohler ) and as per the direction of Engineer-in-charge. Control Box Assembly Sp | 20.00 | Each |  | 5550.00 | 111000.00 | 5000.00 | 100000.00 | 5000.00 | 100000.00 | 4500.00 | 90000.00 | 90000.00 | BAKHTAWAR AHMAD RATHER
40.20 | Providing and fixing spare parts in existing Urinal Sensor of approved quality & make(Kohler ) and as per the direction of Engineer-in-charge. Battery Box Assembly Sp | 20.00 | Each |  | 950.00 | 19000.00 | 1500.00 | 30000.00 | 1000.00 | 20000.00 | 950.00 | 19000.00 | 19000.00 | BAKHTAWAR AHMAD RATHER, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
40.30 | Providing and fixing spare parts in existing Urinal Sensor of approved quality & make(Kohler ) and as per the direction of Engineer-in-charge. Solinoid Valve Assy Sp | 20.00 | Each |  | 2850.00 | 57000.00 | 2300.00 | 46000.00 | 2500.00 | 50000.00 | 2000.00 | 40000.00 | 40000.00 | BAKHTAWAR AHMAD RATHER
40.40 | Providing and fixing spare parts in existing Urinal Sensor of approved quality & make(Kohler ) and as per the direction of Engineer-in-charge. Diaphragm Assy | 20.00 | Each |  | 450.00 | 9000.00 | 500.00 | 10000.00 | 500.00 | 10000.00 | 450.00 | 9000.00 | 9000.00 | BAKHTAWAR AHMAD RATHER, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
40.50 | Providing and fixing spare parts in existing Urinal Sensor of approved quality & make(Kohler ) and as per the direction of Engineer-in-charge. Sensor Lens Sp | 20.00 | Each |  | 400.00 | 8000.00 | 400.00 | 8000.00 | 300.00 | 6000.00 | 320.00 | 6400.00 | 6000.00 | M/S GREEN CHANNEL BUILDERS
40.60 | Providing and fixing spare parts in existing Urinal Sensor of approved quality & make(Kohler ) and as per the direction of Engineer-in-charge. Panel Sp | 20.00 | Each |  | 3600.00 | 72000.00 | 3000.00 | 60000.00 | 3500.00 | 70000.00 | 2500.00 | 50000.00 | 50000.00 | BAKHTAWAR AHMAD RATHER
40.70 | Providing and fixing spare parts in existing Urinal Sensor of approved quality & make(Kohler ) and as per the direction of Engineer-in-charge. O-Ring Sp | 20.00 | Each |  | 80.00 | 1600.00 | 110.00 | 2200.00 | 110.00 | 2200.00 | 120.00 | 2400.00 | 1600.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
40.80 | Providing and fixing spare parts in existing Urinal Sensor of approved quality & make(Kohler ) and as per the direction of Engineer-in-charge. Spring Diaphragm | 20.00 | Each |  | 500.00 | 10000.00 | 500.00 | 10000.00 | 500.00 | 10000.00 | 550.00 | 11000.00 | 10000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
40.90 | Providing and fixing spare parts in existing Urinal Sensor of approved quality & make(Kohler ) and as per the direction of Engineer-in-charge. Valve Cover Sp | 20.00 | Each |  | 500.00 | 10000.00 | 600.00 | 12000.00 | 550.00 | 11000.00 | 700.00 | 14000.00 | 10000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
41.00 | Providing and fixing wash basin (Make - Kohler Mod. No. 2764T-1-0 or equivalent) i/c removing old / damaged wash basin and refixing waste coupling, mixer and other existing accessories complete all as directed by Engineer-In-Charge. | 30.00 | Each |  | 9800.00 | 294000.00 | 8000.00 | 240000.00 | 8800.00 | 264000.00 | 7500.00 | 225000.00 | 225000.00 | BAKHTAWAR AHMAD RATHER
42.00 | Replacing of damaged and fixing in position vision glass panels (IGUs) comprising of hermetically-sealed 6-10-6 mm insulated glass (double glazed) vision panel units of size and shape as required and specified, comprising of an outer heat strengthened float glass 6mm thick, of approved colour and shade with reflective soft coating on surface # 2 of approved colour and shade, an inner Heat strengthned clear float glass 6mm thick, spacer tube 10mm wide, dessicants,filling with approved sealant, structural sealant of AAI approved make and gap of between glasses, and shall be sealed with weather sealant of AAI approved make , upto all heights etc. for linear as well as curvilinear portions of the building for all heights and all levels.The double insulated glass is hermetically sealed unit using double seal with Polyisobutylene (Butyl) and polysulphide (Thiokol) made up of one side with 6mm plain toughened glass and other side with 6mm thick tinted (as per approved colour) toughened glass of approved shade without tong marks, with an air gap of 10-12mm at all and directions of Engineer-in-charge.(Cost of aluminum work and MS frame work required as per design will be measured and paid separately under respective items of contract.)(Manufacture test certificate to be provided for above specifications) | 70.00 | Sqm |  | 9000.00 | 630000.00 | 5100.00 | 357000.00 | 5000.00 | 350000.00 | 6000.00 | 420000.00 | 350000.00 | M/S GREEN CHANNEL BUILDERS
43.00 | Removing and refixing glazed partitions etc. from spider glazing system, SS partition i/c removing & refixing of accessories fiitings , nuts , bolts , EPDM rubber / neoprene gasket , silicon ,etc whichever is required including shifting of material to location of refixing all complete as per the directions of engineer-in-charge (a) With float/Toughened glass panes of 8-12 mm thickness. (Note: For payment purpose, glass area is to be measured.) all material except weatther Silicon that is Neoprene gasket, nuts and bolts, U ftrame to be removed & reused ) The cost for removing & refixing of frame work shall be paid seperately. | 46.00 | Sqm |  | 2500.00 | 115000.00 | 2300.00 | 105800.00 | 2400.00 | 110400.00 | 2200.00 | 101200.00 | 101200.00 | BAKHTAWAR AHMAD RATHER
44.00 | Removing of glazed partitions except framework etc. from spider glazing system, SS partition, Curtain wall glazing i/c removing of accessories fiitings , nuts , bolts , EPDM rubber / neoprene gasket , silicon ,etc whichever is required including shifting of material to AAI store all complete as per the directions of engineer-in-charge (a) With float/Toughened glass panes of 8-12 mm thickness. (Note: For payment purpose, glass area is to be measured.)(all materialt waether Silicon, Neoprene gasket, nuts and bolts, U ftrame to be removed) The cost for removing of frame work shall be paid seperately. | 50.00 | Sqm |  | 1100.00 | 55000.00 | 950.00 | 47500.00 | 1000.00 | 50000.00 | 950.00 | 47500.00 | 47500.00 | BAKHTAWAR AHMAD RATHER, M/S KUCHAY CONSTRUCTION CORPORATION
45.00 | Providing and fixing 08 mm thick frameless toughened glass of approved brand and manufacture for Partition work , including SS fittings of approved make fixed in existing SS railings etc. all complete as per direction of Engineer-in-charge. | 30.00 | Sqm |  | 5800.00 | 174000.00 | 5500.00 | 165000.00 | 5700.00 | 171000.00 | 6200.00 | 186000.00 | 165000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
46.00 | Providing and fixing Greenlam Sturdo Classique Evergreen Series / Merino ZMS SS Series toilet cubicle (of following standard dimension which includes (Toilet cubicle with standard dimension of L Shape Thickness 12mm, Door 600x1785, Divider Height 1820, Overall Height 1995, Depth 1577, Width 1087)) made of heat, bacteria, water, chemical, scratch, impact and anti bacterial resistant 12mm thick solid compact laminate should be suede/*Raw Silk, which includes doors, pilasters & intermediate panels finished with approved texture/shade of AAI approved make and as per fire retardant BS-476/97 standard. This also includes providing and fixing in position necessary hardware Nylon Adjustable Foot, Nylon Gravity Hinge, Door Stopper Channel, Nyl Door Knob, Nylon Coat Hook With Door Stopper, Nylon Lockset With Indicator, Rubber For Door Stopper Channel,Sst 316 Screw,Toprail,U Channel,Wall Plug. All screws will of 304 Grade in stainless steel with satin finish. All pilasters are supported by Stainless steel Bottom Cladding. The base of the stainless steel bottom cladding will be anchored to the floor with a clearance height upto 150mm.(Manufacture test certificate to be provided for above specifications) | 30.00 | Each |  | 50000.00 | 1500000.00 | 32000.00 | 960000.00 | 33000.00 | 990000.00 | 30000.00 | 900000.00 | 900000.00 | BAKHTAWAR AHMAD RATHER
47.00 | Providing and fixing BABY DIAPER CHANGING STATION with dimensions W-855 mm x H-395 mm Depth (Opened) : 575 mm with Maximum Load capacity of 25 Kgs of material ABS PLASTIC of approved brand(Make Euronics Model No.EDC01 or equivalent) including fittings of approved make etc. all complete fixed into wall, wooden panel, etc as per direction of Engineer-in-charge.(The details are as per drawing attached) | 3.00 | Each |  | 3500.00 | 10500.00 | 32000.00 | 96000.00 | 33000.00 | 99000.00 | 42000.00 | 126000.00 | 10500.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
48.00 | Providing and fixing SWING HANDICAP GRAB BAR -S.STEEL of approved brand(Make Euronics or equivalent) including fittings of approved make etc. all complete as per direction of Engineer-in-charge.(as per drawing attached) | 13.00 | Each |  | 9500.00 | 123500.00 | 9000.00 | 117000.00 | 9000.00 | 117000.00 | 12000.00 | 156000.00 | 117000.00 | M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
49.00 | Providing and fixing S.STEEL GRAB RAIL (600 MM),32MM DIA.of approved brand(Make Euronics or equivalent) including fittings of approved make etc. all complete as per direction of Engineer-in-charge.(as per drawing attached) | 13.00 | Each |  | 3800.00 | 49400.00 | 4500.00 | 58500.00 | 3700.00 | 48100.00 | 4100.00 | 53300.00 | 48100.00 | M/S GREEN CHANNEL BUILDERS
50.00 | Providing and fixing EGR 04 LN,DISABLED GRAB BAR (L SHAPE) SIZE-600MM (H) X 600MM (D),32MM DIA. of approved brand(Make Euronics or equivalent) including fittings of approved make etc. all complete as per direction of Engineer-in-charge. | 13.00 | Each |  | 5900.00 | 76700.00 | 6000.00 | 78000.00 | 5500.00 | 71500.00 | 6000.00 | 78000.00 | 71500.00 | M/S GREEN CHANNEL BUILDERS
51.00 | Providing, erecting, fitting & fixing at all elevations incl. curved surfaces in existing roofing system ,edge flashing made up of 0.55 mm colour coated zincalume steel sheets of 400 mm width. The work will incl. cost of all labour, equip., hot-dipped zinc coated hexagonal head self drilling fasteners with EPDM/neoprene washers & consumable & screws etc at all heights. The work is to be carried out as per existing condition including all heights and direction of E-in-C . The flashing sheet to be of high tensile zincalume steel, (550 mpa) havng a total; zinc aliuminum coating total of both sides as per AS:1397-1993) and finished with coating of SMP/Super Polyster colour bond XRW quality apint as per AS/NZS-2728:1997(category-3) of approved colour & 20 microns thick on exposed surface over a primer coat of 5 microns, & 5 microns thick on back surface over a primer coat of 5 microns. The fixing of flashingl on horizontal runner(purlins & z-purlins) should be with hot-dipped zinc coated hexagonal head self drilling fasteners with EPDM/neoprene washer on theflashing sheets. The work shall also inlcude providing, erecting, fitting & fixing of all fasteners, flashing , capping for all edges caps corners etc. made out of 0.55 mm colour coated zincalume steel sheet of same specifications as above (the work is to be carried out in existing roofing sysytem & involves only flashing work .The above fixing arrangement shall be carried out as per directions of Engineer -in -charge as per the site condition whichever fixing arangement is required .No addition /deduction shall be carried for fixing items (Manufacture test certificate to be provided for above specifications) | 50.00 | Meter |  | 1050.00 | 52500.00 | 1100.00 | 55000.00 | 1000.00 | 50000.00 | 1300.00 | 65000.00 | 50000.00 | M/S GREEN CHANNEL BUILDERS
52.00 | Providing, erecting, fitting & fixing at all elevations incl. curved surfaces in existing roofing system ,edge flashing made up of 0.55 mm colour coated zincalume steel sheets with 400 mm width. The work will incl. cost of all labour, equip., hot-dipped zinc coated hexagonal head self drilling fasteners with EPDM/neoprene washers & consumable & screws etc at all heights. The is to be carried out as per existing condition including all heights and direction of E-in-C . The profile sheet to be of high tensile zincalume steel, (550 mpa) havng a total; zinc aliuminum coating total of both sides as per AS:1397-1993) and finished with coating of SMP/Super Polyster colour bond XRW quality apint as per AS/NZS-2728:1997(category-3) of approved colour & 20 microns thick on exposed surface over a primer coat of 5 microns, & 5 microns thick on back surface over a primer coat of 5 microns. The panel to be of standard size & each panel must have a male 7 female joints to provide complete water tight roofing. The fixing of panel on horizontal runner(purlins & z-purlins) should be with hot-dipped zinc coated hexagonal head self drilling fasteners with EPDM/neoprene washer on the crest of sheets. The work shall also inlcude providing, erecting, fitting & fixing of all fasteners, flashing , capping for all edges caps corners etc. made out of 0.55 mm colour coated zincalume steel sheet of same specifications as above , 7 'z'-purlin to be fixed over the inner sheet at purlin locations for fixing the top sheet. (flashing material to be provided by department.)(the work is to be carried out in existing roofing sysytem & involves only flashing work .The above fixing arrangement shall be carried out as per directions of Engineer -in -charge as per the site condition whichever fixing arangement is required .No addition /deduction shall be carried for fixing items (Manufacture test certificate to be provided for above specifications) | 100.00 | Meter |  | 650.00 | 65000.00 | 800.00 | 80000.00 | 700.00 | 70000.00 | 750.00 | 75000.00 | 65000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
53.10 | Providing & fixing of approved make translucent film, cast PVC, , thickness of 2 mil(0.05 mm) without adhesive and 3 mil (0.8) with adhesive having minimum tensile strength of 3.5 pound/inch at 73 F (0.6 Kg/cm at 23 C0. Adhesion after 24 hrs of installation should be 4 pounds/inch (0.7 kg/cm) on Acrylic, Glass Polycarbonate: (Manufacture test certificate to be provided for above specifications). Designer special crystal-effect film to reproduce sand-blasting effect on glass with customised designs & colours | 100.00 | Sqm |  | 3000.00 | 300000.00 | 3200.00 | 320000.00 | 2750.00 | 275000.00 | 2800.00 | 280000.00 | 275000.00 | M/S GREEN CHANNEL BUILDERS
53.20 | Providing & fixing of approved make translucent film, cast PVC, , thickness of 2 mil(0.05 mm) without adhesive and 3 mil (0.8) with adhesive having minimum tensile strength of 3.5 pound/inch at 73 F (0.6 Kg/cm at 23 C0. Adhesion after 24 hrs of installation should be 4 pounds/inch (0.7 kg/cm) on Acrylic, Glass Polycarbonate: (Manufacture test certificate to be provided for above specifications). frosted film to reproduce sand-blasting effect on glass | 50.00 | Sqm |  | 1700.00 | 85000.00 | 1600.00 | 80000.00 | 1600.00 | 80000.00 | 1800.00 | 90000.00 | 80000.00 | M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
54.00 | Providing & fixing of approved make ( 3 M AS001 or equivalent )anti-slip tapes of Size, Tape Width: 50mm of PVC material of approved colour as per requirement on floor or stairs with adequate adhesive after thoroughly cleaning of existing surface all complete. The rate includes removal of existing tapes where ever required. | 300.00 | Meter |  | 280.00 | 84000.00 | 260.00 | 78000.00 | 249.00 | 74700.00 | 350.00 | 105000.00 | 74700.00 | M/S GREEN CHANNEL BUILDERS
55.00 | Providing and fixing Flat glass mirror of thickness 5 mm over and including backing with BWP Ply Wood of 12 mm and fitted with wall with SS fittings of approved make mirror screws and SS including holes in the glass and plywood as per manufacture specification. All complete as per satisfaction of E-I-C | 40.00 | Sqm |  | 2500.00 | 100000.00 | 2700.00 | 108000.00 | 2800.00 | 112000.00 | 3200.00 | 128000.00 | 100000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
56.00 | Providing and fixing of Pre coated GI insulated profile Puff Panels (male and female ) 50 mm fixed in the structural steel frames of roof profiles (Loyd or AAI approved make ) made up of GI insulated puff panels of 50 mm of 0.6 mm thick colour coated steel sheet (outer & inner ) & sandivich insulation foam self extinguishing type with material confirming to IS 12436 with foam density 40 kg cum3_,Compressive strength > 205 KN/m2 at 10% deformation, thermal conductivity < 0.023 W/mK at mean temperature 100C, Dimensional stability +-2% at 100+-20C for 24 hrs, water vapour transmission <505 ng/pasm at 38+-10C & relative humidity gradient of 0 to 88+-2%,horizontal burning<125 mm, Close cell content >85% fixed into Ms hollow section framework with hot-dipped zinc coated hexagonal head self drilling screws all complete as per direction of EIC . (The wall Puff panel sheet should be closed at corners joint of wall & truss joint made up of ACP sheet of same colour.)(Manufacture test certificate to be provided for above specifications) MS steel frame work . ACP sheet & structural frame work to be paid separately in respective item | 50.00 | Sqm |  | 2500.00 | 125000.00 | 3500.00 | 175000.00 | 3200.00 | 160000.00 | 3500.00 | 175000.00 | 125000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
57.00 | Providing and fixing of Pre coated GI insulated profile Puff Panels (male and female ) 80 mm fixed in the structural steel frames for the sides of the wall (Loyd or AAI approved make) .Material of 0.6 mm thick colour coated steel sheet (outer & inner ) & sandivich insulation foam self extinguishing type with material confirming to IS 12436 with foam density 40 kg cum3_,Compressive strength > 205 KN/m2 at 10% deformation, thermal conductivity < 0.023 W/mK at mean temperature 100C, Dimensional stability +-2% at 100+-20C for 24 hrs, water vapour transmission <505 ng/pasm at 38+-10C & relative humidity gradient of 0 to 88+-2%,horizontal burning<125 mm, Close cell content >85% fixed into Ms hollow section framework with hot-dipped zinc coated hexagonal head self drilling screws all complete as per direction of EIC .(Manufacture test certificate to be provided for above specifications) (The wall Puff panel sheet should be closed at corners joint of wall & truss joint made up of ACP sheet of same colour.) MS steel frame work . ACP to be paid separately in respective item | 70.00 | Sqm |  | 2500.00 | 175000.00 | 3200.00 | 224000.00 | 3400.00 | 238000.00 | 3600.00 | 252000.00 | 175000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
58.00 | Painting with polyurethane PU paint of approved colour brand(AAI approved make) and manufacture to give an even shade: One or more coats on old work | 400.00 | Sqm |  | 100.00 | 40000.00 | 85.00 | 34000.00 | 80.00 | 32000.00 | 100.00 | 40000.00 | 32000.00 | M/S GREEN CHANNEL BUILDERS
59.10 | Providing and fixing spare parts in existing Sanitary fittings of approved quality & make(Jaquar) and as per the direction of Engineer-in-charge. Cartridge 32 mm ZCS-CHR 051(RED) | 60.00 | each |  | 900.00 | 54000.00 | 900.00 | 54000.00 | 900.00 | 54000.00 | 1200.00 | 72000.00 | 54000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
59.20 | Providing and fixing spare parts in existing Sanitary fittings of approved quality & make(Jaquar) and as per the direction of Engineer-in-charge. Circular Aerator Assy 28 mm | 60.00 | each |  | 250.00 | 15000.00 | 250.00 | 15000.00 | 250.00 | 15000.00 | 350.00 | 21000.00 | 15000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
59.30 | Providing and fixing spare parts in existing Sanitary fittings of approved quality & make(Jaquar) and as per the direction of Engineer-in-charge. Fitting BCW flora | 60.00 | each |  | 650.00 | 39000.00 | 675.00 | 40500.00 | 700.00 | 42000.00 | 850.00 | 51000.00 | 39000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
59.40 | Providing and fixing spare parts in existing Sanitary fittings of approved quality & make(Jaquar) and as per the direction of Engineer-in-charge. Handle Cock 2KB- CHR 005A | 60.00 | each |  | 350.00 | 21000.00 | 350.00 | 21000.00 | 386.00 | 23160.00 | 500.00 | 30000.00 | 21000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED, M/S KUCHAY CONSTRUCTION CORPORATION
59.50 | Providing and fixing spare parts in existing Sanitary fittings of approved quality & make(Jaquar) and as per the direction of Engineer-in-charge. Handle cock with bush set F10 | 60.00 | each |  | 500.00 | 30000.00 | 520.00 | 31200.00 | 530.00 | 31800.00 | 650.00 | 39000.00 | 30000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
59.60 | Providing and fixing spare parts in existing Sanitary fittings of approved quality & make(Jaquar) and as per the direction of Engineer-in-charge. Cartridge 31mm ZCS-CHR-049 | 60.00 | each |  | 650.00 | 39000.00 | 715.00 | 42900.00 | 700.00 | 42000.00 | 850.00 | 51000.00 | 39000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
59.70 | Providing and fixing spare parts in existing Sanitary fittings of approved quality & make(Jaquar) and as per the direction of Engineer-in-charge. Aerator Assy 24 mm | 40.00 | each |  | 120.00 | 4800.00 | 150.00 | 6000.00 | 153.00 | 6120.00 | 200.00 | 8000.00 | 4800.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
59.80 | Providing and fixing spare parts in existing Sanitary fittings of approved quality & make(Jaquar) and as per the direction of Engineer-in-charge. Circular Jali/Aerator 28 mm | 40.00 | each |  | 200.00 | 8000.00 | 200.00 | 8000.00 | 237.00 | 9480.00 | 300.00 | 12000.00 | 8000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED, M/S KUCHAY CONSTRUCTION CORPORATION
59.90 | Providing and fixing spare parts in existing Sanitary fittings of approved quality & make(Jaquar) and as per the direction of Engineer-in-charge. Jali 24 mm Aerator | 40.00 | each |  | 110.00 | 4400.00 | 130.00 | 5200.00 | 130.00 | 5200.00 | 200.00 | 8000.00 | 4400.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
60.00 | Providing and Fixing 5mm thick designer toughened lacquered glass of saint Gobin or equivalent on existing surfaces on wall with provision of Opening in the Laquered glass as per site requirement including SS fittings(the glass edges should be smooth rounded properly) as per direction of Engineer-in-charge | 25.00 | Sqm |  | 5200.00 | 130000.00 | 5000.00 | 125000.00 | 5000.00 | 125000.00 | 6500.00 | 162500.00 | 125000.00 | M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
61.00 | Providing and fixing SRI Box of size 610x610x1067(LxBxH) mm , made up of 18 mm plywood at sides and top with sliding arrangement and 610x610x381(LxBxH) mm top toughened glass arrangement with opening at top glass in Security Hold Area covered on all faces of plywood with 1mm laminate sheet(metallic clour) with aluminium beading size 30x30x3 mm at all edges as per the direction and satisfication of Engineer-in-Charge. | 6.00 | Each |  | 15000.00 | 90000.00 | 15000.00 | 90000.00 | 14000.00 | 84000.00 | 15000.00 | 90000.00 | 84000.00 | M/S GREEN CHANNEL BUILDERS
62.00 | Providing and fixing wooden table of tentative size 1835x770x710 mm or as per site requirement , made up of 18 mm BWP plywood at sides and top in Security Screening tables covered on all faces except bottom with 1mm laminate sheet(metallic or any other colour) on exposed surfaces with aluminium beading of size 30x30x3 mm at all edges as per the direction and satisfication of Engineer-in-Charge. (Note- Area at the top shall be considered for payment, Height is constant). The unexposed surface of plywood shall be provided with primer coat and two coats of synthetic enamel paint. | 17.00 | Sqm |  | 9000.00 | 153000.00 | 15000.00 | 255000.00 | 14000.00 | 238000.00 | 16000.00 | 272000.00 | 153000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
63.00 | Providing and fixing Frisking table of size 610x460x900 mm Wooden Frame 30x35 mm IInd classkiln seasoned chemically treated hollock wood , coverd on all 4 sides & top with 12 mm BWP plywood . 1 mm (metallic or any other colour) laminate to be fixed over plywood on aqll exposed surfaces all complete as per the direction and satisfication of Engineer-in-Charge. (Note- Area at the top shall be considered for payment,Height is constant)The unexposed surface of plywood shall be provided with primer coat and two coats of synthetic enamel paint. | 5.00 | Sqm |  | 8000.00 | 40000.00 | 8200.00 | 41000.00 | 8000.00 | 40000.00 | 7500.00 | 37500.00 | 37500.00 | BAKHTAWAR AHMAD RATHER
64.00 | Providing and fixing Boarding Gate Counter Table of size table of size 1000x892x1200(LxBxH) mm as per drawing with foolowing specifications 1.Main structure to be made with frame of 19 mm BWP plywood on top, front, side, shelves, openable doors vertical supports, nailed /screwed together. 2. 12 mm acrylic polymer acrylic solid surface( LG Hi- Macs/Corian/Durlax or approved equivalent ) including moulding at edges of required colours(colour category-C) and compatible with ANSIZ 124.3 or ANSIZ 124.6 standards, resembling real stone but made of 1/3 acrylic raisin (poly methyl acrylate )and 2/3 natural minerals. 1 to be fixed over plywood on the exposed surfaces & 1 mm laminate to be fixed on internal surfaces 3. 125 mm X 100 mm at the height of 775 mm to be provided in front face 4.shelves , openable shuuters as per the drawing to hold computers & its accesories to be provided all complete based on the attached drawing as per the direction and satisfication of Engineer-in-Charge. | 8.00 | Each |  | 90000.00 | 720000.00 | 95000.00 | 760000.00 | 80000.00 | 640000.00 | 60000.00 | 480000.00 | 480000.00 | BAKHTAWAR AHMAD RATHER
65.00 | Providing and fixing including installation 18 mm thick acrylic solid surface( LG Hi- Macs/Corian/Durlax or approved equivalent ) for counter top of counters/ Tables, wash basin counters including moulding at edges of required colours(colour category-C) and compatible with ANSIZ 124.3 or ANSIZ 124.6 standards, resembling real stone but made of 1/3 acrylic raisin (poly methyl acrylate )and 2/3 natural minerals,heat resistance withstand up to 2120 F, hardness rating 85 on the rockwell M scale, tensile strength 6000 psi,flexible strength 10000 psi in required shape and size by providing if required cut out by using a router with least a 0.4 inch bit complete as per Engineer-in-charge.The plan area (horizontal and vertical faces) including cut outs provided for wash basin will be measured for payment. | 50.00 | Sqm |  | 20500.00 | 1025000.00 | 21000.00 | 1050000.00 | 17000.00 | 850000.00 | 14500.00 | 725000.00 | 725000.00 | BAKHTAWAR AHMAD RATHER
66.00 | P/F aluminium composite panel of approved colour/shade in cladding consisting aluminium sheet on both faces of PE core with PVDF coating on front skin panel of approved make(AAI approved make) on aluminium frame upto 6.00 m height Aluminium composite panel shall be fixed on aluminium frame with necessary screws etc. and gap filled with structural sealant along all edges/joints of aluminium composite panel, all complete as per direction & satisfaction of Engineer-in-charge. (Aluminium frame work shall be measured & paid separetaly). a)4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick) | 120.00 | Sqm |  | 1700.00 | 204000.00 | 1650.00 | 198000.00 | 1500.00 | 180000.00 | 2800.00 | 336000.00 | 180000.00 | M/S GREEN CHANNEL BUILDERS
67.00 | Providing and fixing 1 mm thick PVC floor covering as per the approved design,colour by E .I.C. | 50.00 | Sqm |  | 500.00 | 25000.00 | 450.00 | 22500.00 | 483.00 | 24150.00 | 650.00 | 32500.00 | 22500.00 | M/S KUCHAY CONSTRUCTION CORPORATION
68.00 | Deduct for taking away of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 18.20 | kg |  | 200.00 | -3640.00 | 300.00 | -5460.00 | 260.00 | -4732.00 | 100.00 | -1820.00 | -5460.00 | M/S KUCHAY CONSTRUCTION CORPORATION
69.00 | Deduct for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 11.00 | kg |  | 28.00 | -308.00 | 30.00 | -330.00 | 26.00 | -286.00 | 10.00 | -110.00 | -330.00 | M/S KUCHAY CONSTRUCTION CORPORATION
70.00 | Deduct for taking away of aluminium butt hinges, sliding door bolts, tower bolts, pull boly lock, handle, door stopper, casement stay, tee chanals, plates etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 588.14 | kg |  | 60.00 | -35288.40 | 100.00 | -58814.00 | 95.00 | -55873.30 | 50.00 | -29407.00 | -58814.00 | M/S KUCHAY CONSTRUCTION CORPORATION
71.10 | Deduct for taking away of Wooden/plywood frames and/or shutters for Doors/windows/ clerestory windows, trusses, battens, particle board, glazed, wired, panelled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. Upto 2.00 sqm | 50.00 | Kg |  | 4.00 | -200.00 | 5.00 | -250.00 | 4.00 | -200.00 | 10.00 | -500.00 | -500.00 | BAKHTAWAR AHMAD RATHER
71.20 | Deduct for taking away of Wooden/plywood frames and/or shutters for Doors/windows/ clerestory windows, trusses, battens, particle board, glazed, wired, panelled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. Above 2.00 sqm | 50.00 | Kg |  | 18.00 | -900.00 | 5.00 | -250.00 | 4.00 | -200.00 | 10.00 | -500.00 | -900.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
72.00 | Deduct for taking away of steel work in frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 1539.64 | kg |  | 25.00 | -38491.13 | 30.00 | -46189.35 | 26.50 | -40800.59 | 15.00 | -23094.68 | -46189.35 | M/S KUCHAY CONSTRUCTION CORPORATION
73.00 | Dismantling and deduct for taking away existing toilet cubicle (Length front Door side=1.12 m ,B= 1.56 m, H= 1.83, Door width =0.60 m) This also includes dismantling and taking away existing hardware such as Nylon Adjustable Foot, Nylon Gravity Hinge, Door Stopper Channel, Nyl Door Knob, Nylon Coat Hook With Door Stopper, Nylon Lockset With Indicator, Rubber For Door Stopper Channel,Sst 316 Screw,Toprail,U Channel,Wall Plug,plywood etc. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 30.00 | Each |  | 180.00 | -5400.00 | 700.00 | -21000.00 | 680.00 | -20400.00 | 500.00 | -15000.00 | -21000.00 | M/S KUCHAY CONSTRUCTION CORPORATION
| Total in Figures |  |  |  |  | 10258495.98 |  | 9224360.23 |  | 8845169.48 |  | 9227080.57
Lowest Amount Quoted BY: M/S GREEN CHANNEL BUILDERS(8845169.48)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous civil works in Terminal Building , Modification inside Terminal Building partition work , Glazing repair , SS work , Repair of TB Toilets , Repair of drainage and sewerage, repair of apron, renovation of Security Morchas and passenger t Tender ID: 2023_AAI_167443_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S GREEN CHANNEL BUILDERS | 8845169.48 | L1
| 2 | M/S KUCHAY CONSTRUCTION CORPORATION | 9224360.23 | L2
| 3 | BAKHTAWAR AHMAD RATHER | 9227080.57 | L3
| 4 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED | 10258495.98 | L4