## BoQ1
Government eProcurement System Created By: Premananda Sethy Created Date/Time: 23-Jan-2024 07:35 PM Tender Title: Provision of PRM facilities for differently abled persons at VSS Airport, Jharsuguda Tender ID: 2023_AAI_168002_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: Provision of PRM facilities for differently abled persons at VSS Airport, Jharsuguda.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Raja Dash(GSTN-21CEDPD6645F1ZY)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. a) For thickness of tiles 10 mm to 25 mm | 402.00 | sqm | 100.00 | 39.80 | 15999.60 | 15999.60 | M/s Raja Dash
2.00 | Disposal of moorum/building rubbish/ malba/ similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved municipal dumping ground for lead upto 10 km for all lifts, complete as per directions of Engineer-in-charge. Note - item to be applicable in urban areas having directions for restricted hours for movement/ plying of load carrying motor vehicle of 3.5 cum or more. | 25.00 | cum | 100.00 | 295.00 | 7375.00 | 7375.00 | M/s Raja Dash
3.00 | Providing and laying tactile tile (for vision impaired persons as per standards) of size 300x300x9.8mm having with water absorption less than 0.5% and conforming to IS:15622 of approved make in all colours and shades in for outdoor floors such as footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete & as per direction of E-I-C. | 81.00 | sqm | 10.00 | 1700.00 | 137700.00 | 137700.00 | M/s Raja Dash
4.00 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge, i/c cleaning the surface of oil dirt, scales, oil, grease and other foreign material etc. and lining out complete. New work (Two or more coats) | 23.00 | sqm | 10.00 | 133.50 | 3070.50 | 3070.50 | M/s Raja Dash
5.00 | Providing and fixing stainless steel (Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). a) SS Railing for Differently Abled Toilet for differntly abled persons as per design of Ministry of Social Justice and empowerment & as per direction and satisfaction of E-I-C. | 292.00 | Kg | 10.00 | 580.25 | 169433.00 | 169433.00 | M/s Raja Dash
6.00 | Providing, fixing & fabriction of master plan/layout of Terminal building Design, supply, fabrication of acrylic, non glare, tactile pictorial building layout of size 2.5ft x 4ft min., of the approved design and make, having 6mm thick acrylic non glare base plate of the approved colour and non glare acrylic cut out symbols and upper case Sans Serif letters of height not less than 12mm, with the equivalent word/s written in Hindi & marathi with acrylic cut out Devnagri letters of height not less than 12mm, raised 1 to 2mm above base plate and of the approved colour such that there is adequate visual contrast with the base plate. A multilingual audio output indicating the names of the relevant spaces to be triggered on pressing the respective button. Grade 1 Braille consisting of SS/PVC rasters of 1.5 to 1.6mm dia. having rounded tops inserted by a raster pen or automatic insertion tool into the holes made by a rotary engraver to be integral with the sign face and be raised 0.6 to 0.9mm above base plate. Braille spacing to be as per Braille standards given by GOI. The map to be installed at the specified location as per accessibility standards, shall be oriented to the position of the viewer and to be installed at a height of 800 mm from the finished ground/ floor level and using the necessary hardware specified by the manufacturer. Sample of the audio tactile map to be preapproved by Access Consultant / Engineer in charge prior to delivery and installation. Pre approval of tactile layout to be taken from access consultant as per direction and satisfaction of E-I-C. | 4.00 | Each | 10.00 | 40474.00 | 161896.00 | 161896.00 | M/s Raja Dash
7.00 | Providing and fixing 3 M yellow marking stickers of 1 " inch width with reflective design including labour rate, fixing charges, etc. as per Engneering-in-charge. a) Staircase strips (Yellow) of 3M make for differntly abled persons as per design of Ministry of Social Justice and empowerment & as per direction and satisfaction of E-I-C. | 126.00 | Metre | 10.00 | 22.74 | 2865.24 | 2865.24 | M/s Raja Dash
8.00 | Providing and fixing of PVC Signage of dia. 50mm for reserved seating arrangement to be pasted on backrest for differntly abled persons as per design of Ministry of Social Justice and empowerment & as per direction and satisfaction of E-I-C. | 13.00 | Each | 10.00 | 1550.00 | 20150.00 | 20150.00 | M/s Raja Dash
9.00 | Providing and fixing of Belt / baggage collection point signage including SS free standi with box pattern face dimension of 1000mm for differntly abled persons as per design of Ministry of Social Justice and empowerment & as per direction and satisfaction of E-I-C. | 2.00 | Each | 10.00 | 4300.00 | 8600.00 | 8600.00 | M/s Raja Dash
10.00 | Providing and fixing Braille signage (4" x 1")of ABS Material desired design and fixing on SS Railing in desired location in Terminal Building including labour rate, carriage, etc,& as per direction and satisfaction of E-I-C. | 40.00 | Each | 10.00 | 1500.00 | 60000.00 | 60000.00 | M/s Raja Dash
11.00 | Brick work with common burnt clay machine moulded perforated bricks of class designation 12.5 conforming to IS: 2222 in superstructure above plinth level up to floor five level in cement mortar 1:6 (1 cement : 6 coarse sand) : With F.P.S.(non modular) bricks | 7.00 | Cum | 10.00 | 5800.00 | 40600.00 | 40600.00 | M/s Raja Dash
12.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 28.00 | Sqm | 10.00 | 232.00 | 6496.00 | 6496.00 | M/s Raja Dash
13.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 13.00 | Sqm | 10.00 | 232.00 | 3016.00 | 3016.00 | M/s Raja Dash
14.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 41.00 | Sqm | 10.00 | 147.30 | 6039.30 | 6039.30 | M/s Raja Dash
15.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 2.13 | Sqm | 10.00 | 2560.00 | 5452.80 | 5452.80 | M/s Raja Dash
16.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.Granite stone slab colour black, Cherry/Ruby red. Area of slab over 0.50 sqm | 10.00 | Sqm | 100.00 | 3825.00 | 38250.00 | 38250.00 | M/s Raja Dash
17.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) sqm 166.85 | 30.00 | Sqm | 100.00 | 120.00 | 3600.00 | 3600.00 | M/s Raja Dash
18.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 18.00 | Sqm | 10.00 | 100.00 | 1800.00 | 1800.00 | M/s Raja Dash
19.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 19.00 | Sqm | 10.00 | 1212.00 | 23028.00 | 23028.00 | M/s Raja Dash
20.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 500.00 | Kg | 10.00 | 123.90 | 61950.00 | 61950.00 | M/s Raja Dash
21.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns as per CPWD Specification 2019, to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mmthick (galvanized @ 120 grams per sqm including both sides)comprising of main-T runners of size 24x38 mm of length 3000 mm,cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to formgrid module of size 600 x 600 mm, suspended from ceiling usinggalvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 12x50 mm long dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 76x25x25x1.6 mm fixed with grid and Z cleat of size 25x37x25x1.6mm thick with precut hole on both 25mm flange to pierce into 12x50mm or even bigger size dash fastener if require, fixed with Glavanised iron perimeter wall angle or size 24x24x0.40 mm of length 3000 mm to be fixed on periphey wall / partition with the help of plastic rawl plugs at 450mm center to center and 40 mm long dry wall S.S screws. The workshall be carried out as per specifications, drawing and as per directionsof the Engineer-in-Charge. With 15 mm thick Tegular edged light weight calcium sliciate false ceiling tiles | 13.00 | Sqm | 10.00 | 1669.50 | 21703.50 | 21703.50 | M/s Raja Dash
22.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 1.00 | Each | 10.00 | 1913.75 | 1913.75 | 1913.75 | M/s Raja Dash
23.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 20 mm nominal dia Pipes | 6.00 | Rmt. | 10.00 | 300.00 | 1800.00 | 1800.00 | M/s Raja Dash
24.00 | Providing and fixing Polyvinyl Chloride (PVC) pipes, having thermal stability for hot & cold water supply including all PVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 75 mm nominal dia Pipes | 10.00 | Rmt. | 10.00 | 645.00 | 6450.00 | 6450.00 | M/s Raja Dash
25.00 | Providing and fixing health faucet with one meter long easy flex tube in chrome finish & wall hook in ABS body for WC of JAQUAR(ALDCHR-565) make or Equivalent including making connection, etc . | 1.00 | Each | 10.00 | 1540.93 | 1540.93 | 1540.93 | M/s Raja Dash
26.00 | Providing and Fixing of 35 mm thick artificial green grass mat of approved quality & colour including carriage, labour rate, etc.Complete as per direction of Engineer-in-charge. | 7.00 | Sqm | 10.00 | 1010.00 | 7070.00 | 7070.00 | M/s Raja Dash
27.00 | Providing and fixing to the inlet mouth of rain water pipe PTMT (an Engineering Thermoplastic) grating square (Slit) 150 mm square with a height of 8 mm and weighing not less than 100 gms. | 1.00 | Each | 10.00 | 72.00 | 72.00 | 72.00 | M/s Raja Dash
28.00 | Providing and erection of 3-D Prop (Precast concrete Prop) in size 750 mm length & 150mm Dia. (to encourage urination) approved quality & colour including carriage, labour rate, etc.Complete as per direction of Engineer-in-charge. | 1.00 | Each | 10.00 | 1155.25 | 1155.25 | 1155.25 | M/s Raja Dash
29.00 | Provision and fixing Tactile Warming indicator Stud of size 35 mm X 25 mm X (2mm to 4.5 mm thick), Stem: 6 mm X 12 mm Surface design: Skid proof circle made of stainless steel SS 316 of Maruti Engineers or equivalent approved make at required spacing on th existing granite / marble / RCC / cement concrete flooring surface including drilling of necessary holes, cleaning and fixing the Tactile Indicator Studs at appropriate position after injecting epoxy glue in the holes etc. all complete as per directions of Engineer-in-Charge. | 7812.00 | Each | 10.00 | 47.83 | 373647.96 | 373647.96 | M/s Raja Dash
30.00 | Provision and fixing Tactile Directional Strips of size 280 mm x 35 mm X 4.5 mm, Stem: 3 nos. of size 6 mm X 12 mm each, Surface design : Skid proof diamond made of stainless steel SS 316 of Maruti Engineers or equivalent approved make at required spacing on the existing granite / marble / RCC / cement concrete flooring surface including drilling of necessary holes, cleaning and fixing the Tactile Directional Strips at appropriate position after injecting epoxy glue in the holes etc. all complete as per directions of Engineer-in-Charge. | 3872.00 | Each | 10.00 | 259.26 | 1003854.72 | 1003854.72 | M/s Raja Dash
| Total in Figures |  |  |  |  | 2196529.55
Lowest Amount Quoted BY: M/s Raja Dash(2196529.55)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of PRM facilities for differently abled persons at VSS Airport, Jharsuguda Tender ID: 2023_AAI_168002_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Raja Dash | 2196529.55 | L1