## BoQ1
Government eProcurement System Created By: Vinod Kumar Pandey Created Date/Time: 06-Nov-2023 05:38 PM Tender Title: Providing Baggage check table, stamping boarding pass table and frisking stand along with provision of Glass partition with glass gate contained in, fixing of toughened glass over existing steel railings as well as provision of frangible bird watch t Tender ID: 2023_AAI_169054_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Providing Baggage check table, stamping boarding pass table and firsking stand along with provision of Glass partition with glass gate contained in, fixing of toughened glass over existing steel railings as well as provision of frangible bird watch tower and their approach pathway from perimeter road at LBSI Airport, Varanasi
Contract No: 2023_AAI_ 169054_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Rahul Constructions(GSTN-06AAFFR4603K1Z8) |  | RADHIKEY ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | Civil Works
1.00 | Fabricating, providing and fixing in position Baggage Check Table each of Size (2390 X 830X 760) mm (LXWXH) as per drawing attached at DW-1 made out by 18mm thick ISI water proof ply (MR grade) confirming to IS 303 of approved make with top, 2 sides and front end surfaces finished with 12 mm thick solid acrylic of approved make and of Colour combination as approved by Engineer-in-Charge with necessary moulding edges and interior shelves finished with 1mm thick laminate of approved make (in approved colour and shade) complete in all respect with all necessary hardwares, adhesives, tools, etc as per satisfaction of Engineer In - Charge. The rate shall be inclusive of material, transportation and loading/unloading charges, fabrication and placing at desired place at security check area at Domestic and International departures (or at places as decided by Engineer-in-Charge) of the Airport, including all taxes (but excluding GST)/levies/transportation at concerned station, etc complete in all respect. | 20.00 | each |  | 111000.00 | 2220000.00 | 111235.00 | 2224700.00 | 2220000.00 | Rahul Constructions
2.00 | Fabricating, providing and placing in position Table for stamping boarding passes of size (740 x 300 x 1000) mm as per drawing attached at DW-2, made out by 18 mm thick Boiling water proof ply (MR ply) confirming to IS 303 of approved make with complete exterior finish surface of 12 mm thick solid acrylic of approved make and of Colour combination as approved by Engineer-in-Charge with all necessary frames works, screws, hinges, bottom support, etc all complete as per drawing and direction of engineer in charge. The cost of complete work includes construction of frame work of 18 mm ply, fixing of solid acrylic with necessary moulding edges with all necessary hardwares, tools, screws, adhesives, bottom and intermediate supports, etc and placing in position as directed by the Engineer-in-Charge within the Airport Terminal Building including transportation of all materials at the Airport, etc., including all taxes (but excluding GST)/levies/transportation at concerned station, etc complete in all respect. | 15.00 | each |  | 39000.00 | 585000.00 | 16000.00 | 240000.00 | 240000.00 | RADHIKEY ENTERPRISES
3.00 | Fabricating , providing and placing in position (1050 x 650 x 150) mm Frisking stand as per attached drawing at DW-3 made of 18 mm thick Boiling water proof ply (MR ply) confirming to IS 303 of approved make with edges as per design with top layers of surrounding four sides covered with 6 mm thick solid acrylic of approved make and of Colour combination as approved by Engineer-in-Charge and top surface with 18 mm thick black pre-polished granite having round edges duly polished fixed on board with approved adhesive keeping 3mm x 3mm recessed groove alround including all hardwares, tools, adhesives, fittings, etc complete as per design, draiwng and directions of Engineer-in-Charge (Mild steel/Stainless steel/other iron containing materials are not to be used as screwing/clit members in order to avoid being detected while frisking). The rate shall be inclusive of material, transportation and loading/unloading charges, fabrication and placing at desired place at security check area at Domestic and International departures (or at places as decided by Engineer-in-Charge) of the Airport, including all taxes (but excluding GST)/levies/transportation at concerned station, etc complete in all respect. | 15.00 | each |  | 13000.00 | 195000.00 | 16000.00 | 240000.00 | 195000.00 | Rahul Constructions
4.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 300.00 | kg |  | 128.00 | 38400.00 | 130.00 | 39000.00 | 38400.00 | Rahul Constructions
5.00 | Supplying, installation, testing and commissioning of automatic sliding door operator of AIDO XL-C 4150 DORMAKABA or HAFELE or equivalent brand as per approved dwg. Compliant with european standards and produced according to the guidelines for power-operated doors, The track profile should be separate from the main profile for enabling reduction in vibration insulation. Operator length = 4150 mm, clear passage opening = 2100 mm, clear passage height = 2400 mm, includes micro processor controlled drive unit, with self learning mechanism, program selector with knob, motion detector, mechanical components, toothed belt, cover profile, floor guide for frameless glass (02 nos), glass clamping rail (02 nos). Body finish : standard silver anodised operator profile, with Electromechanical lock with 12 mm plain toughened frameless glass and heavy duty aluminium profile to hang automatic track for complete elevation - 2 moving panels. UPS of 750 VA shall be provided by client, which will give power backup of 20 min. Only & if the duration of power cut to the operator is more than 30 min., then separate arrangement needs to be done for the same as automatic operator requires uninterrupted stabilized power supply. Also supplying and installation of fixed partition with toughened glass 12 mm with necessary hardwares including providing small L connetors to fix the glass with the existing frame and whenever required so as to make it monolithic and reduce gaps. The above work include supplying, installation, testing and commissioning of above with necessary transportation to site, all levis and taxes but excluding GST, complete in all respect as per approved drawings and to the satisfaction of engineer-in-charge. (Note: M. S. Frame to be paid separately) | 36.00 | sqm |  | 9000.00 | 324000.00 | 30000.00 | 1080000.00 | 324000.00 | Rahul Constructions
6.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 10.00 | sqm |  | 3950.00 | 39500.00 | 10760.00 | 107600.00 | 39500.00 | Rahul Constructions
7.00 | Providing and fixing stainless steel fancy handle of approved make fixed with SS screws etc. complete as per direction of Engineer-in-charge. 200 mm | 8.00 | each |  | 150.00 | 1200.00 | 2000.00 | 16000.00 | 1200.00 | Rahul Constructions
8.00 | Providing and fixing 12 mm thick toughened glass over existing stainless steel frames using Stainless Steel brackets over floors/SS frames complete using SS screws, fittings, brackets, etc including making necessary holes for fixing of brackets, etc complete as per satisfaction and direction of Engineer-in-Charge. The rate should include providing of materials, fabrication/installation, placing at desired location as directed by EIC, all taxes (but excluding GST)/levis/transportation, etc complete in all respect. | 22.00 | sqm |  | 7800.00 | 171600.00 | 4500.00 | 99000.00 | 99000.00 | RADHIKEY ENTERPRISES
9.00 | Fabricating, providing and fixing in position Security Restricted Items (SRI) Box with its stand having following specifications: a) SRI Box having size (600 x 600 x 900) mm (LXWXH) (as per drawing attached DW-4 (a))made out by 12 mm thick solid acrylic (LG Hausys, Dupont, Merino Hanex or approved equivalent) of transparent in nature and approved by Engineer-in-Charge with necessary moulding edges with vertical sides fixed to each other firmly using necessary adhesives/SS bolts/SS screws and top surface (openable from one side using provided CP Brass Butt hinge at the other side) consisting of locking arrangement using CP brass cupboard lock and small opening at top cover, complete in all respect with all necessary hardwares, adhesives, tools, screws/bolts, clothes, etc as per satisfaction of Engineer In - Charge. b) Stand having size of (700 x 700 x 100) mm (LxWxH) (as per drawing attached DW-4 (b)) made out by 18 mm thick Boiling water proof ply (MR ply) confirming to IS 303 of approved make (Merino, Century, greenply or approved equivalent) as frame and top surface of vertical sides finished with 1mm thick laminate of approved make (merino/ green lam/century or equivalent in approved colour and shade) and top surface consisting of 18 mm thick black pre-polished granite firmly fixed to frame using approved adhesives. The SRI Box should be fabricated with edges completely and properly firmed to adjacent sides and the box should completely and safely rest over the stand. The rate shall be inclusive of material, transportation and loading/unloading charges, fabrication in all respect and placing at desired place at security check area (or at places as decided by Engineer-in-Charge) of the Airport, including all taxes (but excluding GST)/levies/transportation at concerned station, etc complete in all respect. | 4.00 | each |  | 23000.00 | 92000.00 | 53232.00 | 212928.00 | 92000.00 | Rahul Constructions
10.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 92.00 | cum |  | 105.00 | 9660.00 | 350.00 | 32200.00 | 9660.00 | Rahul Constructions
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 42.00 | cum |  | 5000.00 | 210000.00 | 8500.00 | 357000.00 | 210000.00 | Rahul Constructions
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 14.00 | cum |  | 6000.00 | 84000.00 | 8500.00 | 119000.00 | 84000.00 | Rahul Constructions
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 59.00 | sqm |  | 200.00 | 11800.00 | 700.00 | 41300.00 | 11800.00 | Rahul Constructions
14.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 92.00 | cum |  | 150.00 | 13800.00 | 300.00 | 27600.00 | 13800.00 | Rahul Constructions
15.00 | Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved s;ze, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge | 353.00 | sqm |  | 740.00 | 261220.00 | 935.00 | 330055.00 | 261220.00 | Rahul Constructions
16.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 17.00 | sqm |  | 710.00 | 12070.00 | 800.00 | 13600.00 | 12070.00 | Rahul Constructions
17.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 6.00 | sqm |  | 750.00 | 4500.00 | 800.00 | 4800.00 | 4500.00 | Rahul Constructions
18.00 | Supplying, Fabricating and Erection of Pre-Fabricated PUF-Panelled frangible Bird watch tower of size 1.8 m(L)X 1.8 m(B)X2.4(H) M (Dimensions are external dimensions, 2.4M height - lower side of the roof to bottom of the flooring ) with 2.7 meter height at the centre and 1 nos. main door of size 0.9m(B)X1.8m(H) made of sand witch panel of Wall and Roof 50mm thick with both sides 2mm thick FRP/ GRP sheet at the outer sides and middle part consists of PU foam of density 40 kg/m3, 3 nos of UPVC track sliding glass window size 0.9X 0.90 with loading, transporting, unloading and erection at site of work in all respect and complete. The prefabricated frangible hut shall consist of following - a) Provision of one number of main door with necessary locking arrangement. b) The roof is provided with 3º to 5º slope to enable easy drain of rain water. c) The PUF Panel shall be CFC free, Self-Extinguishing, and Fire Retardant having density of 40 kg /cum (± 2Kg tolerance limit) d) All necessary door fittings such as door hinges, handles and tower bolts shall also to be provided. e) The cost of the hut is inclusive of design, vetting of design by Govt. Engg. College, fragibility certficate form manufacturer, fabrication, transportation, all taxes excluding GST and commissioning of the hut at the proposed site as per drawing and specification over a Cement Concrete platform. | 5.00 | each |  | 278028.00 | 1390140.00 | 109300.00 | 546500.00 | 546500.00 | RADHIKEY ENTERPRISES
19.00 | Finishing walls with Acrylic Smooth exterior paint of required shade: New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm). Note: The design of white and red squares (2 feet X 2 feet) as per ICAO guidelines and direction of E-I-C. | 84.00 | sqm |  | 100.00 | 8400.00 | 120.00 | 10080.00 | 8400.00 | Rahul Constructions
20.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 10.00 | sqm |  | 99.00 | 990.00 | 90.00 | 900.00 | 900.00 | RADHIKEY ENTERPRISES
| Total in Figures |  |  |  |  | 5673280.00 |  | 5742263.00
Lowest Amount Quoted BY: Rahul Constructions(5673280.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing Baggage check table, stamping boarding pass table and frisking stand along with provision of Glass partition with glass gate contained in, fixing of toughened glass over existing steel railings as well as provision of frangible bird watch t Tender ID: 2023_AAI_169054_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rahul Constructions | 5673280.00 | L1
| 2 | RADHIKEY ENTERPRISES | 5742263.00 | L2