## BoQ1
Government eProcurement System Created By: KHEMRAJ MEENA Created Date/Time: 06-Nov-2023 05:09 PM Tender Title: Misc. R and M civil works at Kota Airport Tender ID: 2023_AAI_169997_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-C), Kishangarh Airport, Ajmer
Name of work : Misc. R&M civil works at Kota Airport.
Contract No: 9001297032
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Mahendra sisodia contractors(GSTN-08DDCPS8296G1ZW) |  | M/S M.K.Constructions(GSTN-08ABOPG3127H1ZP) |  | Lok Shail Enterprises(GSTN-08ACXPK9891L1ZA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 6.00 | Cum | 100.00 | 275.00 | 1650.00 | 200.00 | 1200.00 | 325.00 | 1950.00 | 1200.00 | M/S M.K.Constructions
2.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Hard rock (blasting prohibited) | 4.00 | Cum | 101.00 | 800.00 | 3200.00 | 800.00 | 3200.00 | 1800.00 | 7200.00 | 3200.00 | Mahendra sisodia contractors, M/S M.K.Constructions
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m | 7.00 | Cum | 101.00 | 250.00 | 1750.00 | 175.00 | 1225.00 | 380.00 | 2660.00 | 1225.00 | M/S M.K.Constructions
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to Plinthh level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 2.00 | Cum | 101.00 | 6500.00 | 13000.00 | 4500.00 | 9000.00 | 7000.00 | 14000.00 | 9000.00 | M/S M.K.Constructions
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to Plinthh level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 3.00 | Cum | 101.00 | 5500.00 | 16500.00 | 4000.00 | 12000.00 | 4800.00 | 14400.00 | 12000.00 | M/S M.K.Constructions
6.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: 1:1½:3 (1 cement : 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 6.00 | Cum | 100.00 | 7200.00 | 43200.00 | 6500.00 | 39000.00 | 7500.00 | 45000.00 | 39000.00 | M/S M.K.Constructions
7.00 | Centering and shuttering including strutting, propping etc. and removalof form for: Foundations, footings, bases of columns, etc. for mass concrete | 5.00 | Sqm | 101.00 | 270.00 | 1350.00 | 200.00 | 1000.00 | 280.00 | 1400.00 | 1000.00 | M/S M.K.Constructions
8.00 | Centering and shuttering including strutting, propping etc. and removalof form for: Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 28.00 | Sqm | 101.00 | 580.00 | 16240.00 | 300.00 | 8400.00 | 450.00 | 12600.00 | 8400.00 | M/S M.K.Constructions
9.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 3.00 | Cum | 101.00 | 4500.00 | 13500.00 | 4500.00 | 13500.00 | 7500.00 | 22500.00 | 13500.00 | Mahendra sisodia contractors, M/S M.K.Constructions
10.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand) | 4.00 | Cum | 101.00 | 5800.00 | 23200.00 | 4000.00 | 16000.00 | 6000.00 | 24000.00 | 16000.00 | M/S M.K.Constructions
11.00 | Random rubble masonry with hard stone in superstructure above plinth level and upto floor five level, including leveling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) at window sills, ceiling level and the like. Cement mortar 1:6 (1 cement : 6 coarse sand) | 16.00 | Cum | 100.00 | 6200.00 | 99200.00 | 5000.00 | 80000.00 | 7500.00 | 120000.00 | 80000.00 | M/S M.K.Constructions
12.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red: Area of slab over 0.50 sqm | 8.00 | Sqm | 101.00 | 3580.00 | 28640.00 | 3000.00 | 24000.00 | 4500.00 | 36000.00 | 24000.00 | M/S M.K.Constructions
13.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 18.00 | Metre | 101.00 | 350.00 | 6300.00 | 250.00 | 4500.00 | 350.00 | 6300.00 | 4500.00 | M/S M.K.Constructions
14.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 12.00 | Sqm | 101.00 | 2800.00 | 33600.00 | 2500.00 | 30000.00 | 2200.00 | 26400.00 | 26400.00 | Lok Shail Enterprises
15.00 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : (copper oxidized as per IS: 1378) 250x10 mm | 5.00 | Each | 101.00 | 74.00 | 370.00 | 40.00 | 200.00 | 100.00 | 500.00 | 200.00 | M/S M.K.Constructions
16.00 | Providing and fixing ISI marked oxidised M.S. door latches conforming to IS:5930 with screws etc. complete : (copper oxidized as per IS: 1378) 300x20x6 mm | 10.00 | Each | 100.00 | 75.00 | 750.00 | 80.00 | 800.00 | 100.00 | 1000.00 | 750.00 | Mahendra sisodia contractors
17.00 | Providing and fixing bright finished brass handles with screws etc. complete: 125 mm | 10.00 | Each | 101.00 | 200.00 | 2000.00 | 25.00 | 250.00 | 150.00 | 1500.00 | 250.00 | M/S M.K.Constructions
18.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 5.00 | Each | 101.00 | 100.00 | 500.00 | 70.00 | 350.00 | 100.00 | 500.00 | 350.00 | M/S M.K.Constructions
19.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 5.00 | Each | 101.00 | 800.00 | 4000.00 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 4000.00 | Mahendra sisodia contractors
20.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 788.00 | Kg | 101.00 | 90.00 | 70920.00 | 90.00 | 70920.00 | 92.00 | 72496.00 | 70920.00 | Mahendra sisodia contractors, M/S M.K.Constructions
21.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 10.00 | Sqm | 100.00 | 125.00 | 1250.00 | 1200.00 | 12000.00 | 2000.00 | 20000.00 | 1250.00 | Mahendra sisodia contractors
22.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete | 4.00 | Sqm | 101.00 | 1600.00 | 6400.00 | 1300.00 | 5200.00 | 2150.00 | 8600.00 | 5200.00 | M/S M.K.Constructions
23.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 17.00 | Sqm | 101.00 | 850.00 | 14450.00 | 800.00 | 13600.00 | 900.00 | 15300.00 | 13600.00 | M/S M.K.Constructions
24.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 18.00 | Sqm | 101.00 | 120.00 | 2160.00 | 1000.00 | 18000.00 | 1350.00 | 24300.00 | 2160.00 | Mahendra sisodia contractors
25.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately) Size of Tile 600x600 mm | 2.00 | Sqm | 101.00 | 1350.00 | 2700.00 | 1100.00 | 2200.00 | 1400.00 | 2800.00 | 2200.00 | M/S M.K.Constructions
26.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per Sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges cali Cum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/mK. | 43.00 | Sqm | 100.00 | 1250.00 | 53750.00 | 1400.00 | 60200.00 | 2000.00 | 86000.00 | 53750.00 | Mahendra sisodia contractors
27.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 7.00 | Sqm | 101.00 | 290.00 | 2030.00 | 205.00 | 1435.00 | 300.00 | 2100.00 | 1435.00 | M/S M.K.Constructions
28.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 7.00 | Sqm | 101.00 | 150.00 | 1050.00 | 100.00 | 700.00 | 150.00 | 1050.00 | 700.00 | M/S M.K.Constructions
29.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 32.00 | Sqm | 101.00 | 90.00 | 2880.00 | 90.00 | 2880.00 | 100.00 | 3200.00 | 2880.00 | Mahendra sisodia contractors, M/S M.K.Constructions
30.00 | Distempering with 1st quality acrylic distemper, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats | 1960.00 | Sqm | 101.00 | 50.00 | 98000.00 | 70.00 | 137200.00 | 70.00 | 137200.00 | 98000.00 | Mahendra sisodia contractors
31.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 1580.00 | Sqm | 100.00 | 8.00 | 12640.00 | 5.00 | 7900.00 | 13.00 | 20540.00 | 7900.00 | M/S M.K.Constructions
32.00 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade: One or more coats on old work | 150.00 | Sqm | 101.00 | 66.00 | 9900.00 | 60.00 | 9000.00 | 85.00 | 12750.00 | 9000.00 | M/S M.K.Constructions
33.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :. Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 600.00 | Sqm | 101.00 | 55.00 | 33000.00 | 75.00 | 45000.00 | 80.00 | 48000.00 | 33000.00 | Mahendra sisodia contractors
34.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) | 50.00 | Sqm | 101.00 | 400.00 | 20000.00 | 250.00 | 12500.00 | 380.00 | 19000.00 | 12500.00 | M/S M.K.Constructions
35.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 8.00 | Each | 101.00 | 100.00 | 800.00 | 80.00 | 640.00 | 200.00 | 1600.00 | 640.00 | M/S M.K.Constructions
36.00 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer, 3 mm thick water proofing membrane, black finished reinforced with glass fibre matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufactured of density at 25°C, 0.87 - 0.89 kg/litre and viscocity 70 - 160 cps. Over the primer coat the layer of membrane shall be laid using butane torch and sealing all joints etc., and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 350/300 N/5 cm. Tear strength in longitudinal and transverse direction as 60/80N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : 3 mm thick | 85.00 | Sqm | 100.00 | 425.00 | 36125.00 | 375.00 | 31875.00 | 600.00 | 51000.00 | 31875.00 | M/S M.K.Constructions
37.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'U' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately | 300.00 | Metre | 101.00 | 250.00 | 75000.00 | 350.00 | 105000.00 | 350.00 | 105000.00 | 75000.00 | Mahendra sisodia contractors
38.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | 4.00 | Each | 101.00 | 4000.00 | 16000.00 | 3500.00 | 14000.00 | 4800.00 | 19200.00 | 14000.00 | M/S M.K.Constructions
39.00 | Providing and fixing white vitreous china extended wall mounting water closet of size 780x370x690 mm of approved shape including providing & fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 4.00 | Each | 101.00 | 10000.00 | 40000.00 | 10000.00 | 40000.00 | 15500.00 | 62000.00 | 40000.00 | Mahendra sisodia contractors, M/S M.K.Constructions
40.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 25.00 | Metre | 101.00 | 375.00 | 9375.00 | 250.00 | 6250.00 | 530.00 | 13250.00 | 6250.00 | M/S M.K.Constructions
41.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 25 mm nominal dia Pipes | 100.00 | Metre | 100.00 | 320.00 | 32000.00 | 260.00 | 26000.00 | 500.00 | 50000.00 | 26000.00 | M/S M.K.Constructions
42.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 34.00 | Each | 101.00 | 75.00 | 2550.00 | 60.00 | 2040.00 | 75.00 | 2550.00 | 2040.00 | M/S M.K.Constructions
43.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 45.00 | Kg | 101.00 | 350.00 | 15750.00 | 450.00 | 20250.00 | 550.00 | 24750.00 | 15750.00 | Mahendra sisodia contractors
44.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 20.00 | Kg | 101.00 | 350.00 | 7000.00 | 500.00 | 10000.00 | 600.00 | 12000.00 | 7000.00 | Mahendra sisodia contractors
45.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 15.00 | Sqm | 101.00 | 900.00 | 13500.00 | 800.00 | 12000.00 | 1100.00 | 16500.00 | 12000.00 | M/S M.K.Constructions
46.00 | Repair/tightning of concertina coil and barbed wire fixed on airport boundry wall manually including removal of creepers, bushes etc with all required tools as per the dirtection and satisfaction of engineer-in-charge. Note:Length of boundary wall covered will be measured for payment. | 5000.00 | Metre | 100.00 | 6.00 | 30000.00 | 9.00 | 45000.00 | 8.00 | 40000.00 | 30000.00 | Mahendra sisodia contractors
47.00 | Providing and fixing of Hand Shower (Health Faucet) with 8mm Dia, 1.2 Meter Long Flexible Tube & Wall Hook of Jaquar or equivalent make (Item Code No: ALD-CHR-573) at site as per direction and satisfaction of E-I-C | 9.00 | Each | 101.00 | 1600.00 | 14400.00 | 800.00 | 7200.00 | 1600.00 | 14400.00 | 7200.00 | M/S M.K.Constructions
48.00 | Providing and fixing of Pillar cock(Item code: CON-CHR-011KN) of Jaquar make or equivalent as approved by E.I.C. | 9.00 | Each | 101.00 | 1375.00 | 12375.00 | 700.00 | 6300.00 | 1600.00 | 14400.00 | 6300.00 | M/S M.K.Constructions
49.00 | Providing and fixing of Toilet roll holder (Item code: ACN-CHR-1151N) of Jaquar make or equivalent as approved by E.I.C. | 9.00 | Each | 101.00 | 820.00 | 7380.00 | 300.00 | 2700.00 | 900.00 | 8100.00 | 2700.00 | M/S M.K.Constructions
50.00 | Providing and fixing of soap dish holder (Item code: ACN-CHR-1131N) of Jaquar make or equivalent as approved by E.I.C. | 5.00 | Each | 101.00 | 800.00 | 4000.00 | 300.00 | 1500.00 | 1050.00 | 5250.00 | 1500.00 | M/S M.K.Constructions
51.00 | Providing and fixing of Towel rail 300mm long (Item code: ACN-CHR-1101S) of Jaquar make or equivalent as approved by E.I.C. | 2.00 | Each | 100.00 | 1525.00 | 3050.00 | 300.00 | 600.00 | 1600.00 | 3200.00 | 600.00 | M/S M.K.Constructions
52.00 | Providing and fixing of white vitreous china urinal (Item code: URS-WHT-13257) of Jaquar make or equivalent make in approved shape & size as per direction and satisfaction of E-I-C. | 4.00 | Each | 101.00 | 9550.00 | 38200.00 | 7500.00 | 30000.00 | 9500.00 | 38000.00 | 30000.00 | M/S M.K.Constructions
53.00 | Providing and fixing soap dispenser of make Jaquar (item code- ACN-CHR-1137N) or equivalent as per direction & satisfaction of Engineer in charge. | 5.00 | Each | 101.00 | 3700.00 | 18500.00 | 2000.00 | 10000.00 | 3500.00 | 17500.00 | 10000.00 | M/S M.K.Constructions
54.00 | Providing and fixing white vitreous china extended wall mounting water closet of make Jaquar (item code- CNS-WHT-963UFSM) or equivalent along with single piece slim concealed cistern with floor mounting frame (item code- JCS-WHT- 2400FS) installation kit and "S-type" drain pipe connection set and flush control palte (item code- JCP-CHR-372415) including seat cover, cistern fittings, nuts, bolts and gasket etc. complete as per the direction & satisfaction of Engineer in charge. | 1.00 | Each | 101.00 | 24000.00 | 24000.00 | 20000.00 | 20000.00 | 21500.00 | 21500.00 | 20000.00 | M/S M.K.Constructions
55.00 | Providing and fixing beveled edge mirror of required size of superior glass of thickness 8 mm (of approved quality) complete with 6 mm thick hard board (MDF) ground fixed to wooden cleats with C.P. brass screws and washers complete as per direction & satisfaction of Engineer in charge. | 12.00 | Sqm | 101.00 | 2400.00 | 28800.00 | 1500.00 | 18000.00 | 3000.00 | 36000.00 | 18000.00 | M/S M.K.Constructions
56.00 | Providing and fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of of Size 595x595mm reinforced with fibre and natural filler of approved texture including removal of existing false ceiling tiles. Tegular edge should be treated to be a durable edge. Tile to be laid on existing grid system complete as per manufacturer's specifications and satisfaction of Engineer-in-charge. | 92.00 | Sqm | 100.00 | 1300.00 | 119600.00 | 1500.00 | 138000.00 | 1500.00 | 138000.00 | 119600.00 | Mahendra sisodia contractors
57.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern of Jaquar (item code- JAH-WHT-184NBTL) or equivalent make including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 4.00 | Each | 101.00 | 5800.00 | 23200.00 | 4000.00 | 16000.00 | 8500.00 | 34000.00 | 16000.00 | M/S M.K.Constructions
58.00 | Grinding/ polishing of existing kota stone flooring to achive a smooth, flat, consistent surface producing a non reflective matt finish with all necessary T & P including cleaning of all dirt, waste material all complete as per direction of Engineer-in-charge. | 420.00 | Sqm | 101.00 | 150.00 | 63000.00 | 160.00 | 67200.00 | 170.00 | 71400.00 | 63000.00 | Mahendra sisodia contractors
59.00 | Painting runway/taxi track/apron marking mechanically using suitable runway painting machine with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-Charge, i/c cleaning the surface of all dirt, scales, oil, grease and other foreign material etc. and lining out complete : New work (Two or more coats) | 20.00 | Sqm | 101.00 | 80.00 | 1600.00 | 100.00 | 2000.00 | 80.00 | 1600.00 | 1600.00 | Mahendra sisodia contractors, Lok Shail Enterprises
60.00 | Painting runway/taxi track/apron marking mechanically using suitable runway painting machine with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-Charge, i/c cleaning the surface of all dirt, scales, oil, grease and other foreign material etc. and lining out complete. Old work (One or more coats) | 3406.00 | Sqm | 101.00 | 50.40 | 171662.40 | 60.00 | 204360.00 | 57.00 | 194142.00 | 171662.40 | Mahendra sisodia contractors
61.00 | Providing and fixing of 420x420x150 mm size table top wash basin of make Jaquar (item code- JDS-BLM-25911) or equivalent complete as per direction & satisfaction of Engineer in charge. | 8.00 | Each | 100.00 | 8100.00 | 64800.00 | 6000.00 | 48000.00 | 8100.00 | 64800.00 | 48000.00 | M/S M.K.Constructions
62.00 | Clearing and grubbing land including uprooting rank vegetation, grass, bushes, shrubs, saplings and trees girth up to 300 mm, removal of stumps of trees cut earlier and disposal of unserviceable materials and stacking of serviceable material to be used or auctioned, up to a lead of 1000 metres as per direction of Engineer-In-Charge. By Mechanical Means (JCB/ Tractor) | 20000.00 | Sqm | 101.00 | .95 | 19000.00 | 2.00 | 40000.00 | 2.00 | 40000.00 | 19000.00 | Mahendra sisodia contractors
63.00 | Deduction of cost for taking away the serviciable materials i.e. usable wood from site received from execution of item no. 62. The usable wood shall be the property of agency and same will be handed over to agency after duly weighed/ measured. Note:- Rates as per unit mentioned in this item shall be quoted accordingly. | 2500.00 | Kg | 101.00 | 10.50 | 26250.00 | 50.00 | 125000.00 | 3.00 | 7500.00 | 7500.00 | Lok Shail Enterprises
| Total in Figures |  |  |  |  | 1557997.40 |  | 1698275.00 |  | 1923888.00
Lowest Amount Quoted BY: Mahendra sisodia contractors(1557997.40)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. R and M civil works at Kota Airport Tender ID: 2023_AAI_169997_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mahendra sisodia contractors | 1557997.40 | L1
| 2 | M/S M.K.Constructions | 1698275.00 | L2
| 3 | Lok Shail Enterprises | 1923888.00 | L3