## BoQ1
Government eProcurement System Created By: ASHISH PANDEY Created Date/Time: 09-Nov-2023 03:18 PM Tender Title: Construction of New Terminal Building, Second Link Taxi Track, Apron Expansion, and associated works at Prayagraj Airport- On Design and Build Basis. SH Construction of Prefabricated Office Building at Prayagraj Airport. (Recall) Tender ID: 2023_AAI_170447_1
Tender Inviting Authority: Manager (E-C)
Name of Work: Construction of New Terminal Building, Second Link Taxi Track, Apron Expansion, and associated works at Prayagraj Airport- On Design & Build Basis. SH: Construction of Prefabricated Office Building at Prayagraj Airport. - (Recall)
Contract No: 2023_AAI_170447_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | TINNY CRAFT(GSTN-07ACKPN0993P1ZT) |  | Multi Decor India Pvt Ltd(GSTN-06AAHCM8530F1ZI) |  | Fermium Constructions LLP(GSTN-06AADFF1864C1ZU) |  | NITYA NAND AND SONS CONTRACTORS PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Designing, providing, installing and fixing factory finished custom designed cold form Light Gauge Steel Framed super structure comprising of steel wall panel, trusses, purlins etc manufactured out of 0.75 mm to 2.50 mm thick steel sheet as per design requirements including vetting of structural design and drawings from NIT/IIT as per floor plan given in tender document. The internal clear height shall be 3.00m with additonal height for sloping roof as per design. Structure (LGSF) The steel sheet shall be galvanized (AZ-150 GSM Aluminium Zinc Alloy coated steel having yield strength 300- 550 Mpa) conforming to AISI specifications and IBC 2009 for cold formed steel framing and construction and also as per IS: 875- 1987 (Part-I; Dead Load , Part-II; Imposed load, Part-III; wind load , Part-IV; Snow load, and Part-V; Special load & load combinations), IS 800- 1984 (Code of practice for general construction in steel) and IS: 801- 1975 (Code of Practice for Use of Cold Formed Light Gauge Steel Structural Members In General Building construction). The framing section shall be cold form C-type having minimum web depth 89 mm x 39mm flange x 11mm lip in required length as per structural design requirement duly punched with dimple/slot at required locations as per approved drawings. The slots will be along centre line of webs and shall be spaced minimum 250mm away from both ends of the member. All self-drilling tapping 168 screws for joining the members shall have a Type II coating in accordance with ASTM B633(13) or equivalent corrosion protection of gauge 10 & 12, TPI 16 & 8 of length 20mm. The frames shall be fixed to RCC slab or Tie beam over Neoprene rubber using selfexpanding carbon steel anchor bolt of dia as per approved drawings, design subject to minimum 12mm diameter and 121mm length conforming to AISI 304. Connections Proper usage of Connection Accessories like Heavy duty tension Ties, Light duty Hold-ons, Twist Straps (to connect truss with wall frames), Strong Tie, Tie Rod, H-Brackets, Boxing Sections, LShaped Angles shall be ensured for required structural integrity & stability. | 368.00 | Sqm | 100.00 | 13000.00 | 4784000.00 | 14666.00 | 5397088.00 | 12000.00 | 4416000.00 | 13500.00 | 4968000.00 | 4416000.00 | Fermium Constructions LLP
1.01 | External Cladding Providing and fixing of external wall system on Light gauge steel frame work with outer face having EIFS as per details below on top of 9mm thick heavy duty fiber cement board confirming to IS 14862:2000, type A (High pressure steam cured) as per standard sizes fixed with self-drilling / taping screws / fasteners@ 60cm c/c of approved make. A grove of 2 mm to 3mm shall be maintained and groves shall be sealed with silicon-based sealant. The board shall be fixed in a staggered pattern and internal face 12.5mm thick gypsum plaster board fixed on 8mm thick fiber cement board confirming to IS 14862:2000 of category III type B (High pressure steam cured) as per standard sizes fixed with self-drilling / taping screws / fasteners @ 60cm c/c of approved make, proper taping and jointing to be done using fiber mesh tape and epoxy and acrylic based jointing compound for seamless finish. i) A breathable vapour barrier underneath the cement fiber board as per National Building Code2009 ii)Providing and fixing thermal insulation with Resin Bonded rock wool conforming to IS: 8183, having density 48 kg/m3, 75 mm thick fixed to wall. Internal Cladding & Insulation i) 12.5mm thick gypsum plaster board fixed on 8mm thick fiber cement board on both the face of walls confirming to IS 14862:2000 of category III type B (High pressure steam cured) as per standard sizes fixed with self-drilling / taping screws / fasteners @ 60cm c/c of approved make, proper taping and jointing to be done using fiber mesh tape and epoxy and acrylic based jointing compound for seamless finish. ii) Wet Area Cladding- 9 mm - HD Type A Fiber Cement Boards single layer & wall tiles on top of FCB as per below specifications. iii) Providing and fixing thermal insulation with Resin Bonded rock wool conforming to IS: 8183, having density 48 kg/m3, 75 mm thick fixed to wall. EIFS Providing external thermal insulation and composite system with 1st layer: 25mm thick expanded polystyrene (EPS) fixed on fibre cement board using polymer based adhesive, 2nd layer: 145 GSM fibre glass mesh, 3rd layer: 3 to 4mm thick layer of polymer based render coat.
1.02 | 5ft High Partition i) 12.5mm thick gypsum plaster board fixed on 8mm thick fiber cement board on both the face of walls confirming to IS 14862:2000 of category III type B (High pressure steam cured) as per standard sizes fixed with self-drilling / taping screws / fasteners @ 60cm c/c of approved make, proper taping and jointing to be done using fiber mesh tape and epoxy and acrylic based jointing compound for seamless finish. Top Roof PITCHED/ SLOPED ROOF- i) The roof shall be constructed of 0.5mm PPGL 550Mpa corrugated sheet ii) Roof insulation 75mm thick, 48kg density iii) Flashing, ridge, rain water gutter & PVC down take pipes as per drawings Note: 1. Outside Floor Area of Building along external wall shall be measured for payment. 2. 02 canopies of Size 2m x 2m shall be built at main entrance gates as per attached drawing, the cost of which shall be deemed to be included in this item. No separate measurement shall be made for this area for payment. 3. Wherever doors and windows are placed on the external walls, the edges shall be properly sealed using Silicon Sealant, etc, so that no water leakage occurs inside. No separate payment shall be done for the same.
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 88.00 | Cum | 100.00 | 450.00 | 39600.00 | 286.85 | 25242.80 | 200.00 | 17600.00 | 250.00 | 22000.00 | 17600.00 | Fermium Constructions LLP
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m. | 128.00 | Cum | 10.00 | 400.00 | 51200.00 | 253.95 | 32505.60 | 500.00 | 64000.00 | 190.00 | 24320.00 | 24320.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
4.00 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | 38.00 | Cum | 10.00 | 8000.00 | 304000.00 | 6670.25 | 253469.50 | 6500.00 | 247000.00 | 6600.00 | 250800.00 | 247000.00 | Fermium Constructions LLP
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 16.00 | Cum | 10.00 | 7500.00 | 120000.00 | 6326.05 | 101216.80 | 6000.00 | 96000.00 | 5800.00 | 92800.00 | 92800.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
6.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 35.00 | Cum | 10.00 | 8500.00 | 297500.00 | 7783.65 | 272427.75 | 7000.00 | 245000.00 | 7000.00 | 245000.00 | 245000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD, Fermium Constructions LLP
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 109.00 | Sqm | 10.00 | 400.00 | 43600.00 | 307.95 | 33566.55 | 700.00 | 76300.00 | 250.00 | 27250.00 | 27250.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 61.00 | Sqm | 10.00 | 400.00 | 24400.00 | 411.05 | 25074.05 | 600.00 | 36600.00 | 250.00 | 15250.00 | 15250.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 40.00 | Sqm | 10.00 | 400.00 | 16000.00 | 804.25 | 32170.00 | 600.00 | 24000.00 | 250.00 | 10000.00 | 10000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
10.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 3607.00 | Kg | 10.00 | 90.00 | 324630.00 | 89.65 | 323367.55 | 100.00 | 360700.00 | 82.00 | 295774.00 | 295774.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
11.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 5.00 | Cum | 10.00 | 7000.00 | 35000.00 | 6658.25 | 33291.25 | 6500.00 | 32500.00 | 6000.00 | 30000.00 | 30000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
12.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 113.00 | Sqm | 100.00 | 1200.00 | 135600.00 | 1063.45 | 120169.85 | 1400.00 | 158200.00 | 1200.00 | 135600.00 | 120169.85 | Multi Decor India Pvt Ltd
13.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm | 20.00 | Each | 100.00 | 300.00 | 6000.00 | 374.35 | 7487.00 | 400.00 | 8000.00 | 200.00 | 4000.00 | 4000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
14.00 | Providing and fixing bright finished brass door latch with necessary screws etc. complete : 300x16x5 mm | 17.00 | Each | 10.00 | 300.00 | 5100.00 | 273.20 | 4644.40 | 500.00 | 8500.00 | 200.00 | 3400.00 | 3400.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
15.00 | Providing and fixing bright finished brass handles with screws etc. complete: 125 mm | 20.00 | Each | 10.00 | 250.00 | 5000.00 | 205.10 | 4102.00 | 500.00 | 10000.00 | 225.00 | 4500.00 | 4102.00 | Multi Decor India Pvt Ltd
16.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 20.00 | Each | 10.00 | 300.00 | 6000.00 | 109.60 | 2192.00 | 500.00 | 10000.00 | 75.00 | 1500.00 | 1500.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
17.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 20.00 | Each | 10.00 | 800.00 | 16000.00 | 856.30 | 17126.00 | 4000.00 | 80000.00 | 1500.00 | 30000.00 | 16000.00 | TINNY CRAFT
18.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 42.00 | Sqm | 10.00 | 2500.00 | 105000.00 | 2015.75 | 84661.50 | 3000.00 | 126000.00 | 2400.00 | 100800.00 | 84661.50 | Multi Decor India Pvt Ltd
19.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.5 mm thick | 145.00 | Sqm | 10.00 | 800.00 | 116000.00 | 890.55 | 129129.75 | 2000.00 | 290000.00 | 1200.00 | 174000.00 | 116000.00 | TINNY CRAFT
20.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 330.00 | Kg | 10.00 | 110.00 | 36300.00 | 102.25 | 33742.50 | 140.00 | 46200.00 | 100.00 | 33000.00 | 33000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
21.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 100.00 | Kg | 10.00 | 120.00 | 12000.00 | 143.30 | 14330.00 | 140.00 | 14000.00 | 100.00 | 10000.00 | 10000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
22.00 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. | 37.00 | Cum | 10.00 | 8500.00 | 314500.00 | 7958.65 | 294470.05 | 6500.00 | 240500.00 | 8000.00 | 296000.00 | 240500.00 | Fermium Constructions LLP
23.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 23.00 | Sqm | 100.00 | 900.00 | 20700.00 | 935.60 | 21518.80 | 1200.00 | 27600.00 | 1050.00 | 24150.00 | 20700.00 | TINNY CRAFT
24.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 345.00 | Sqm | 100.00 | 1400.00 | 483000.00 | 1416.65 | 488744.25 | 1500.00 | 517500.00 | 1200.00 | 414000.00 | 414000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
25.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 46.00 | Sqm | 10.00 | 1400.00 | 64400.00 | 1466.50 | 67459.00 | 1500.00 | 69000.00 | 1200.00 | 55200.00 | 55200.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
26.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. | 15.00 | Sqm | 10.00 | 1100.00 | 16500.00 | 1718.70 | 25780.50 | 2000.00 | 30000.00 | 1500.00 | 22500.00 | 16500.00 | TINNY CRAFT
27.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 309.00 | Sqm | 10.00 | 150.00 | 46350.00 | 166.85 | 51556.65 | 140.00 | 43260.00 | 148.00 | 45732.00 | 43260.00 | Fermium Constructions LLP
28.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 1024.00 | Sqm | 10.00 | 125.00 | 128000.00 | 137.85 | 141158.40 | 140.00 | 143360.00 | 95.00 | 97280.00 | 97280.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
29.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 5.00 | Cum | 10.00 | 10000.00 | 50000.00 | 8613.55 | 43067.75 | 8000.00 | 40000.00 | 8000.00 | 40000.00 | 40000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD, Fermium Constructions LLP
30.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 378.00 | Sqm | 10.00 | 1400.00 | 529200.00 | 1011.20 | 382233.60 | 800.00 | 302400.00 | 850.00 | 321300.00 | 302400.00 | Fermium Constructions LLP
31.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C pan) with seat and lid , 10 litre low level white P.V.C flushing cistern, including flush pipe with manually controlled device (handle lever), conforming to IS 7231 with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 5.00 | Each | 10.00 | 10000.00 | 50000.00 | 5540.55 | 27702.75 | 5000.00 | 25000.00 | 7000.00 | 35000.00 | 25000.00 | Fermium Constructions LLP
32.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required :Range of two urinal basins with 5 litre white P.V.C. automatic flushing cistern | 4.00 | Each | 10.00 | 12000.00 | 48000.00 | 8115.55 | 32462.20 | 5000.00 | 20000.00 | 9000.00 | 36000.00 | 20000.00 | Fermium Constructions LLP
33.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 4.00 | Each | 10.00 | 10000.00 | 40000.00 | 2275.00 | 9100.00 | 3000.00 | 12000.00 | 9000.00 | 36000.00 | 9100.00 | Multi Decor India Pvt Ltd
34.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :Kitchen sink with drain board. 510x1040 mm bowl depth 250 mm | 1.00 | Each | 100.00 | 12000.00 | 12000.00 | 6008.45 | 6008.45 | 4000.00 | 4000.00 | 9000.00 | 9000.00 | 4000.00 | Fermium Constructions LLP
35.00 | Providing and fixing toilet paper holder.C.P. brass | 5.00 | Each | 100.00 | 500.00 | 2500.00 | 680.80 | 3404.00 | 2000.00 | 10000.00 | 1200.00 | 6000.00 | 2500.00 | TINNY CRAFT
36.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 50.00 | Mtr | 10.00 | 250.00 | 12500.00 | 441.15 | 22057.50 | 500.00 | 25000.00 | 200.00 | 10000.00 | 10000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
37.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External Work 40 mm nominal dia Pipes | 50.00 | Mtr | 10.00 | 350.00 | 17500.00 | 559.20 | 27960.00 | 700.00 | 35000.00 | 370.00 | 18500.00 | 17500.00 | TINNY CRAFT
38.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External Work 50 mm dia nominal bore | 100.00 | Mtr | 10.00 | 450.00 | 45000.00 | 654.20 | 65420.00 | 1000.00 | 100000.00 | 600.00 | 60000.00 | 45000.00 | TINNY CRAFT
39.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 25 mm nominal bore | 1.00 | Each | 10.00 | 800.00 | 800.00 | 399.15 | 399.15 | 2500.00 | 2500.00 | 7500.00 | 7500.00 | 399.15 | Multi Decor India Pvt Ltd
40.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. A. Circular tank | 2000.00 | per litre | 10.00 | 15.00 | 30000.00 | 9.70 | 19400.00 | 20.00 | 40000.00 | 14.00 | 28000.00 | 19400.00 | Multi Decor India Pvt Ltd
41.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. The item shall include cost of fixing windows to Prefabricated frame using suitable fasteners(Glazing, paneling to be paid for separately) : For fixed portion (For 3 track Aluminium Sliding Windows) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 324.00 | Kg | 10.00 | 325.00 | 105300.00 | 466.30 | 151081.20 | 700.00 | 226800.00 | 540.00 | 174960.00 | 105300.00 | TINNY CRAFT
42.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) (For 3 track Aluminium Sliding Windows) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 486.00 | Kg | 10.00 | 325.00 | 157950.00 | 564.80 | 274492.80 | 700.00 | 340200.00 | 540.00 | 262440.00 | 157950.00 | TINNY CRAFT
43.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 23.00 | Sqm | 10.00 | 400.00 | 9200.00 | 1325.55 | 30487.65 | 1500.00 | 34500.00 | 750.00 | 17250.00 | 9200.00 | TINNY CRAFT
44.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 16.00 | Kg | 10.00 | 350.00 | 5600.00 | 560.85 | 8973.60 | 1000.00 | 16000.00 | 540.00 | 8640.00 | 5600.00 | TINNY CRAFT
45.00 | Providing and fixing mineral fibre false ceiling tiles at all heights of size 595X595mm of approved texture, design and pattern. The tiles should have Humidity Resistance (RH) of 99%, Light Reflectance ? 85%, Thermal Conductivity k = 0.052 - 0.057 w/m K, Fire Performance as per (BS 476 pt - 6 &7)in true horizontal level suspended on interlocking T-Grid of hot dipped all round galvanized iron section of 0.33 mm thick (galvanized @120 gsm) comprising of main T runners of 15x32 mm of length 3000 mm, cross T of size 15x32mm of length 1200 mm and secondary intermediate cross T of size 15x32 mm of length 600 mm to form grid module of size 600x600 mm suspended from ceiling using galvanized mild steel item (galvanised@80gsm) 50 mm long 8mm outer diameter M-6 dash fasteners, 6 mm diameter fully threaded hanger rod up to 1000 mm length and L-shape level adjuster of size 85x25x2 mm, spaced at 1200 mm centre to centre along main ‘T’. The system should rest on periphery walls /partitions with the help of GI perimeter wall angle of size24x24X3000 mm made of 0.40 mm thick sheet, to be fixed to the wall with help of plastic rawl plug at 450 mm centre to centre & 40 mm long dry wall S.S. screws. The exposed bottom portion of all T-sections used in false ceiling support system shall be pre-painted with polyester baked paint, for all heights. The work shall be carried out as per specifications, drawings and as per directions of the engineer-in-charge. With 16 mm thick beveled tegular mineral fibre false ceiling tile (NRC 0.55 to 0.6) | 329.00 | Sqm | 100.00 | 1050.00 | 345450.00 | 2069.90 | 680997.10 | 1500.00 | 493500.00 | 1500.00 | 493500.00 | 345450.00 | TINNY CRAFT
46.00 | Providing and fixing of Roller blinds (Blackout type) of Mac Décor / Hunter Douglas / Vista / approved equivalent on the windows at all heights, all materials and labour etc., complete in all respects as per directions of Engineer having following specifications:- i) Composition: 100% Polyester, Blackout 3 Pass Foam Coating ii) Thickness:- 0.60 mm iii) Weight: 390 gm/sqm iv) Degree of Opacity - 100% Material & Color shade will be as per sample approved by Engineer in Charge. | 37.00 | Sqm | 100.00 | 1800.00 | 66600.00 | 2337.00 | 86469.00 | 3500.00 | 129500.00 | 1800.00 | 66600.00 | 66600.00 | TINNY CRAFT, NITYA NAND AND SONS CONTRACTORS PVT LTD
47.00 | Providing and fixing beveled mirror edge 8 mm thick of approved make in required shape and size without plastic moulded frame, i/c fixing with studs and making necessary holes, as per direction and satisfaction of E.I.C. | 3.00 | Sqm | 10.00 | 1500.00 | 4500.00 | 2000.00 | 6000.00 | 3000.00 | 9000.00 | 1000.00 | 3000.00 | 3000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
48.00 | Providing and fixing CPVC ball valve of approved quality as per satisfaction of E-I-C. 40 mm | 1.00 | Each | 10.00 | 600.00 | 600.00 | 350.00 | 350.00 | 2000.00 | 2000.00 | 130.00 | 130.00 | 130.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
49.00 | Providing and fixing UPVC SWR Pipe, including bends, tees, jointing all complete as per direction and satisfaction of Engineer-in-Charge. 100 mm | 50.00 | Mtr | 10.00 | 650.00 | 32500.00 | 650.00 | 32500.00 | 600.00 | 30000.00 | 200.00 | 10000.00 | 10000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
50.00 | Cutting of concrete road using cutter machine and demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | 2.00 | Cum | 10.00 | 3000.00 | 6000.00 | 450.00 | 900.00 | 1500.00 | 3000.00 | 900.00 | 1800.00 | 900.00 | Multi Decor India Pvt Ltd
51.00 | Providing and fixing Plywood door frame of thickness 19mm fixed with suitable fasteners on Prefabricated Building Frame all complete as per direction of Engineer-in-Charge. | 31.00 | Sqm | 10.00 | 2000.00 | 62000.00 | 5000.00 | 155000.00 | 2000.00 | 62000.00 | 1800.00 | 55800.00 | 55800.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
52.00 | Providing and fixing brass ball valve of approved make complete as per direction of Engineer-In-Charge 40 mm dia | 1.00 | Each | 10.00 | 1000.00 | 1000.00 | 650.00 | 650.00 | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 650.00 | Multi Decor India Pvt Ltd
53.00 | SITC of 2 ft. x 2ft. LED light fixture suitable for installation on surface/ false ceing grid , powder coated Pressure die Cast aluminium housing, comprising of LED’s of approved make, and as per specifications complete and as required as per AAI approved make list. | 35.00 | Each | 100.00 | 3500.00 | 122500.00 | 4000.00 | 140000.00 | 2000.00 | 70000.00 | 1500.00 | 52500.00 | 52500.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
54.00 | SITC of 18w/20w LED tubelight fixture 4 feet, suitable for surface mounting including batten etc.complete as per specification complete as required and as per AAI approved make list. | 15.00 | Each | 100.00 | 950.00 | 14250.00 | 1500.00 | 22500.00 | 1200.00 | 18000.00 | 750.00 | 11250.00 | 11250.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
55.00 | SITC of 9 W square shape LED Light fixture suitable for installation on surface/false ceiling grid ,powder coated Pressure die Cast aluminium housing, comprising of LED’s of approved make, and as per specifications complete and as required as per AAI approved make list. | 15.00 | Each | 10.00 | 900.00 | 13500.00 | 1200.00 | 18000.00 | 1000.00 | 15000.00 | 600.00 | 9000.00 | 9000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
56.00 | Supply and fixing of 240V, 50 Hz, 1280 rpm, 400 mm sweep wall fan of approved makes as per relevant standard including all accessories suitable for installation on wall. | 15.00 | Each | 10.00 | 2000.00 | 30000.00 | 2500.00 | 37500.00 | 3000.00 | 45000.00 | 4500.00 | 67500.00 | 30000.00 | TINNY CRAFT
57.00 | Supply and fixing of 240V, 50 Hz, 1250 rpm, 250 mm sweep non - metallic (plastic) body exhaust fan with louvers, of approved make as per relevant standard including all accessories suitable for installation on wall. | 5.00 | Each | 10.00 | 2000.00 | 10000.00 | 2200.00 | 11000.00 | 2000.00 | 10000.00 | 2400.00 | 12000.00 | 10000.00 | TINNY CRAFT, Fermium Constructions LLP
58.00 | SITC of 1.5 TR Nominal capacity Inverter type cooling Hi-wall Split type Air conditioning units comprising of Indoor and Outdoor unit i/c refrigerant piping of suitable size between Indoor to outdoor duly insulated & suitable size of copper conductor cables ( up to 7 m per unit to be provided), Floor MS structure / frame stand (M S Angle size 50x50x6 mm.) for Outdoor unit and required size of drain piping with insulation, with indoor hanging arrangement, inclusive of initial charging of refrigerant, etc. complete as required. (R-32/R-410 A Refrigerant to be used ). The item also includes supply and installation of 4 KVA voltage stabilizer. (Make : Vguard/Bluebird/Bluestar) | 13.00 | Each | 10.00 | 35000.00 | 455000.00 | 50000.00 | 650000.00 | 50000.00 | 650000.00 | 63000.00 | 819000.00 | 455000.00 | TINNY CRAFT
59.00 | ​SITC of self contained drinking water cooler with inbuilt RO water purifier of 80 liters storage and 40 liters cooling capacity with stainless steel body, 2 faucets confirming to IS 1475/78 with upto date amendment suitable for operation on 230Volts +/- 10% 50Hz. single phase A.C. supply as required.​​ (As approved make.) | 1.00 | Each | 10.00 | 45000.00 | 45000.00 | 150000.00 | 150000.00 | 50000.00 | 50000.00 | 50000.00 | 50000.00 | 45000.00 | TINNY CRAFT
60.00 | Supply of XLPE insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1978 with upto date amendments etc as required for the following sizes.(Make : As per approved list.) 3 & 1/2 core, 25 sq.mm | 200.00 | Meter | 10.00 | 220.00 | 44000.00 | 150.00 | 30000.00 | 500.00 | 100000.00 | 210.00 | 42000.00 | 30000.00 | Multi Decor India Pvt Ltd
61.00 | Supply of XLPE insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1978 with upto date amendments etc as required for the following sizes.(Make : As per approved list.) 4 core , 16 sq.mm. | 200.00 | Meter | 10.00 | 225.00 | 45000.00 | 120.00 | 24000.00 | 450.00 | 90000.00 | 175.00 | 35000.00 | 24000.00 | Multi Decor India Pvt Ltd
62.00 | Supply of 185 L , single door refrigerator with anti bacterial gasket, top freezer ,frost free complete as required. (Make : Voltas/LG/Godrej/Samsung/Haier/Whirlpool/Panasonic) | 1.00 | Each | 10.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 35000.00 | 35000.00 | 24000.00 | 24000.00 | 15000.00 | TINNY CRAFT, Multi Decor India Pvt Ltd
63.00 | Supply of 20 L Micro wave Oven with autocook menu complete as required. ( Make : LG/Samsung/Godrej/Haier/Panasonic/Whirlpool/IFB) | 1.00 | Each | 10.00 | 9000.00 | 9000.00 | 8500.00 | 8500.00 | 10000.00 | 10000.00 | 10500.00 | 10500.00 | 8500.00 | Multi Decor India Pvt Ltd
64.00 | Supply of 1600 W Induction heater used for food cooking with preset menu complete as required. ( Make : LG/ Bajaj / USHA/Phillips/ Havells/ IFB) | 1.00 | Each | 10.00 | 4000.00 | 4000.00 | 3500.00 | 3500.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 3000.00 | NITYA NAND AND SONS CONTRACTORS PVT LTD
65.00 | To carry out the item of work as per requirement of site from the CPWD schedule of rates ( DSR E&M - 2022) as per CPWD specifications complete as required. (Total amount of Rs. 4,00,000.00 (exclusive of GST) is kept for -DSR Items-2022) [(Note - Rate of DSR items shall be quoted against total amount of Rs 4.00 Lac(Four Lac Only ) in figure excluding GST which shall be converted in percentage (above/below) and rate of DSR items shall be calculated as per quoted rates/ percentage and will be paid accordingly ) [(Note - Rate of DSR items shall be quoted against total amount of Rs 4.00 Lakh (Four Lakh Only ) in figure for e.g. if contractor wants to quote 10% below 4.00 lakh then he should quote 3,60,000 and similarly if contractor wants to quote 10% above 4.00 lakh then he should quote 4,40,000 ) | 1.00 | Job | 10.00 | 375000.00 | 375000.00 | 440000.00 | 440000.00 | 400000.00 | 400000.00 | 400000.00 | 400000.00 | 375000.00 | TINNY CRAFT
| Total in Figures |  |  |  |  | 10372830.00 |  | 11654809.25 |  | 10900220.00 |  | 10671526.00
Lowest Amount Quoted BY: TINNY CRAFT(10372830.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New Terminal Building, Second Link Taxi Track, Apron Expansion, and associated works at Prayagraj Airport- On Design and Build Basis. SH Construction of Prefabricated Office Building at Prayagraj Airport. (Recall) Tender ID: 2023_AAI_170447_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TINNY CRAFT | 10372830.00 | L1
| 2 | NITYA NAND AND SONS CONTRACTORS PVT LTD | 10671526.00 | L2
| 3 | Fermium Constructions LLP | 10900220.00 | L3
| 4 | Multi Decor India Pvt Ltd | 11654809.25 | L4